## Slide 1
Enforcing the 2010
FLORIDA BUILDING CODE, Energy Conservation
Ann Stanton, Instructor

## Slide 2: What is Florida’s energy code?
Although Florida’s energy code has been in effect statewide since 1979, it is now based on the International Energy Conservation Code (IECC).
It is a minimum standard for energy use in buildings
It applies to all new buildings and additions that are heated or cooled for human comfort.
It applies to “renovations” for the items being changed.
It applies to “building systems” in existing buildings: HVAC, water heating, lighting, motors

## Slide 3: Are there exceptions to complying with the energy code?
Existing buildings
  except certain renovations, additions, changes of occupancy type & new building systems that have to comply.
Buildings where the design rate is less than 1Watt/square foot
Buildings not heated or cooled by mechanical means
Buildings not conditioned for human comfort where no-one works on a regular basis.
Buildings where federal standards preempt state codes
Hunting or recreational buildings less than 1,000 square feet that are not a principal residence.

## Slide 4: In general, there are two ways to comply with the energy code:
  A Prescriptive compliance method, where you do everything on a list of prescribed requirements; or
  A Performance compliance method, where the building complies as a whole by means of an energy simulation analysis tool where the performance of the building as designed is compared to its performance when calculated with Standard Reference Design features (effectively, the building must come in under an energy budget).
    There are few minimum code requirements in a performance-based code.

## Slide 5
CHAPTER 4
RESIDENTIAL
ENERGY EFFICIENCY
Administration
Building envelope

## Slide 6: Compliance for residential buildings is by Form 402 or by Form 405
Form 402:
Prescriptive compliance
Form 405:
Performance compliance
  Walls, ceilings floors: Meet minimum R-values given in Table 402.1.1
    Frame walls R-13
    Block walls
      Interior insulation R-7.8
      Exterior insulation R-6
    Ceilings: R-30
    Floors: Raised R-13, SOG R-0
  Windows: Maximum 20% of conditioned floor area; U-factor ≤0.65; SHGC ≤0.30
  Ducts: Must be inside conditioned space & tested to Qn ≤0.03 by a Class 1 BERS Rater or Class A, B or Mechanical contractor
  HVAC Controls: Programmable thermostat required for forced air furnaces
  Walls, ceilings, floors: No minimums except R-19 ceiling, space permitting (State law)
  Windows: No limit. Maximum weighted average SHGC 0.50 except if 4’ overhang
  Ducts: R-6 if in the attic. Credit provided if testing shows less leakage
HVAC Controls: Thermostat required for each system. Credit for programmable thermostat.

## Slide 7
Form 402-2010 is a 2 page list of prescriptive requirements and features that will be installed.

## Slide 8: Total UA Alternative for residential (Section 402.1.1.3)
There is now another Prescriptive code compliance alternative for residential applications—the Total UA Alternative
It allows U-value tradeoffs for the building walls, windows, ceiling and floors. It tells you whether the building envelope meets code.
You’ll need to read the printout carefully to find out if they say they met all other criteria for compliance by Section 402 (ducts in conditioned space, tested to “significantly leak-free”; maximum 20% glass to floor area; maximum SHGC 0.30; no electric resistance heat, etc.).
Two Total UA Alternative programs have been approved by the Commission:
  a US Department of Energy program called REScheck that doesn’t look at all like other Florida forms.
  EnergyGauge USA has a Total UA envelope calculation in it as well

## Slide 9
Form 405 is a printout from a Commission-approved computer program

## Slide 10: Performance-Based Compliance
Notes: The new 2010 Code maximum e-Ratio is 0.80.

## Slide 11: What computer programs are approved by the Florida Building Commission?
Go to http://www.floridabuilding.org/fbc/committees/energy/Energy_Code_Compliance_Software.html for a list of Commission-approved energy code compliance software.

## Slide 12: Residential: Who can demonstrate code compliance?
Single-family home (including duplexes and town homes) calculation can be performed by anyone.
Multiple-family homes calculations can be performed by an architect, an engineer, a Class A, B or Mechanical contractor, or by a Class 1 BERS rater.
Residential buildings greater than 3 stories shall comply with the commercial energy code compliance criteria in Chapter 5.

## Slide 13: Residential energy code compliance certification:
I hereby certify that the plans and specifications covered by the calculation are in compliance with the Florida Energy Code. PREPARED BY: _____________ DATE: ___________ I hereby certify that this building is in compliance with the Florida Energy Code: OWNER AGENT:_____________________DATE:____________ | Review of plans and specifications covered by this calculation indicates compliance with the Florida Energy Code. Before construction is completed, this building will be inspected for compliance in accordance with Section 553.908, F.S. CODE OFFICIAL:___________________________________ DATE:______________________________________

## Slide 14: Who completes the checklists?
The person who completes the form checks to show the listed mandatory requirements will be met.
  Sections marked “Mandatory” apply to all buildings.
  Sections marked “Prescriptive” apply to requirements of the Prescriptive code compliance method.
The “Ck” column on the form is for the building inspector to verify that efficiencies claimed have been met in the field.

## Slide 15
“Check Lines” for Form 402
Compliance Verification

## Slide 16
“Check Lines” for Form 405
Compliance Verification

## Slide 17: Residential code calculations
Wall, ceiling and floor types have typically been pre-configured.
R-values of framing members, concrete blocks, gypsum board etc. are not used.
All R-values are insulation only, tested & labeled per FTC rule16 CFR 460.
Most computer programs allow the user to calculate gross wall areas and subtract window and door areas.
Walls are entered by the type of assembly and the R-value of insulation

## Slide 18: Air sealing and insulation
Section 402.4.2 of the code requires building air tightness and insulation installation to be demonstrated as compliant with the code.
  It provides the option of testing with a blower door to demonstrate that air leakage is less than 7 ACH or
  That tightness be considered acceptable when items listed in Table 402.4.2, Air Barrier and Insulation Inspection Component Criteria, are found acceptable. For example (to name a few):
    Air barrier/thermal barrier in substantial contact with wall
    Windows and doors: space around them is sealed
    Shafts, penetrations: utility penetrations, knee walls, flue shafts sealed
    Recessed lighting: air tight, IC rated, sealed to drywall.

## Slide 19: How to calculate wall area:
WALL TYPE A Concrete block, R-5 |  | LENGTH X | HEIGHT = | AREA
W1 East |  | 40.0 |  | 
W2 West |  | 45.7 |  | 
W3 North |  | 35.0 |  | 
W4 South |  | 35.0 |  | 
Subtotal |  | 155.7 | 8’ | 1,245.6
Wall AREA SUBTOTAL, Wall Type A |  |  |  | 1,245.6
 | GLAZING on Wall Type A |  |  | - 180.0
 | DOORS on Wall Type A (2’8x6’8) |  |  | - 19.0

## Slide 20: How to calculate windows and other glass areas: (includes skylights, sliding glass doors and all windows in doors which exceed 1/3 of the door area)
OR WALL GLASS TYPE OH OH WIDTH X HEIGHT= GLASS No. of AREA
TYPE U-factor SHGC Length Separation (Rough Opening) AREA Windows SUBTOTALS
E A 0.65 .4 2.0 3.0 3.0 5.0 15.0 4 60.0 E B 1.00 .9 4.0 4.0 2.0 6.7 13.4 13.4
W A 0.65 .4 2.0 3.0 3.0 5.0 15.0 4 60.0
N A 0.65 .4 2.0 3.0 3.0 5.0 15.0 2 30.0 S A 0.65 .4 2.0 3.0 3.0 5.0 15.0 2 30.0 Total Glass Area 193.4 % Glass to Floor Area (1600 s.f.) 12.1
Wall Type Description R-Value Glass Area SHGC Type A Concrete block R= 5 180.0 sq.ft. 0.4 Type B Wood frame R= 11 13.4 sq.ft. 0.9
Window areas are rough openings and include the mullions.

## Slide 21: Window information you need to know:
Windows and doors are called “fenestrations”
How well a window prevents heat transfer by conduction is measured by its Coefficient of Thermal Resistance (U-factor). The lower the U-factor, the more efficient it is.
How well a window prevents radiant heat from getting into a room is measured by its Solar Heat Gain Coefficient (SHGC). The lower the SHGC, the more efficient it is.
U-factor and SHGC are tested and labeled in accordance with National Fenestration Rating Council (NFRC) procedures
Conduction is not a big problem in Florida; the temperature difference from inside to outside is small
Radiation is a big problem in Florida (duh). The sun beats down hard on roofs and radiates through windows.

## Slide 22: Form 402-2010: Windows
6. Glass type and area: |  | CK
a. U-factor | 6a. ______________ | 
b. SHGC | 6b. ______________ | 
c. Glass area | 6c. ______________ sq. ft. | 
7. Percentage of glass to floor area | 7. _______________ % | 

## Slide 23: Form 405-2010: Windows
7. Windows | Description | Area
a. U-Factor: S H G C : | Dbl, U=0.75 SHGC=0.40 | 276.00 ft²
b. U-Factor: S H G C : | Dbl, U=0.60 SHGC=0.30 | 40.00 ft²
c. U-Factor: S H G C : | Dbl, U=0.50 SHGC=0.35 | 40.00 ft²
d. U-Factor: S H G C : | other (see details) other (see details) | 60.00 ft²
Area Weighted Average Overhang Depth Area Weighted Average SHGC: |  | 2.0 ft² 0.406

## Slide 24: How do you calculate ceiling area?
A flat ceiling will have the same area as the floor footprint. This is the baseline ceiling.
Cathedral ceilings will have more area abutting the attic space. Calculate the area as multiple rectangles.
Knee walls on cathedral ceilings are also considered to be ceiling area.

## Slide 25: Calculating cathedral ceiling area
Figure 1: Ceiling area = AB x AC
Figure 2: Ceiling area = 2 x (AB x AC)
Figure 3: Ceiling area = (AB x AC) + (AB x CD)
                c D D D

## Slide 26: Ceiling area, slope
From the plans, you know that the width of the room is 20 feet and the height to the roof’s peak is 15 feet.
How do you calculate the slope?
A2 + B2 = C2
152 + 202 = C2
225 + 400 = 625
C2 = √625 = 25 feet C =
                A=15’
                B=20’

## Slide 27
CHAPTER 5
COMMERCIAL
ENERGY EFFICIENCY
Administration
Building envelope

## Slide 28: Who can sign commercial energy code calculations?
Forms may be prepared by an architect or engineer-- or by a Class A, B or Mechanical contractor or Class 1 BERS rater if the system(s) are ≤ 15 tons.
The code requires design professionals responsible under Florida law for the design of lighting, electrical, mechanical and pluming systems to certify compliance of such system by signing the form; i.e. they should take responsibility for their work.
The owner or owner’s agent should also sign to agree that the finished building will meet code.

## Slide 29: In addition to the certification signatures required for residential, the following design professional signatures are required:
If required by Florida law, I hereby certify that the system design
is in compliance with the Florida Energy Code. Registration number
ARCHITECT:____________________________________________________________________________________
ELECTRICAL SYSTEM DESIGNER:_________________________________________________________________
LIGHTING SYSTEM DESIGNER:___________________________________________________________________
MECHANICAL SYSTEM DESIGNER:_______________________________________________________________
PLUMBING SYSTEM DESIGNER:__________________________________________________________________

## Slide 30: Compliance for commercial and multiple-family buildings ›3 stories is by Form 502 or by Form 506
  Prescriptive Envelope Compliance for Shell Buildings, Renovations, Occupancy changes: Form 502
    pre-calculated using prescriptive table values for only the envelope
    neither the 2007 nor the 2010 Florida energy code have a true prescriptive compliance method for commercial buildings because of the overall increase in code stringency
    Renovation criteria are only for the items being changed
  Total Building Performance Compliance: Form 506
    compliance based on a budget of 80% of standard reference design (baseline) using annual energy use simulation

## Slide 31: Form 502: Envelope requirements (equipment, lighting etc. are code minimums)
Building component | Shell |  | Renovation | 
 | U-factor | R-value | U-factor | R-value
Roof Absorptance | ≤ 0.22 |  | ≤ 0.22 | 
Roof U-factor/R-value | ≤ 0.025 | ≥R-40 | ≤ 0.027 | ≥R-38
Wall Absorptance | ≤ 0.3 |  | ≤ 0.3 | 
Wall U-factor/R-value | 0.032 | ≥ 30 | ≤ 0.052 | ≥ 19
Floor U-factor/R-value | 0.032 | ≥ 30 | ≤ 0.052 | ≥ 19
Window U-factor | ≤ 0.45 |  | ≤ 0.45 | 
Window SHGC, North, 0-40% WWR Ratio | ≤ 0.25 |  | ≤ 0.25 | 
Window SHGC, North, 40-50% WWR Ratio | ≤ 0.19 |  | ≤ 0.25 | 
Window SHGC, All, 0-50%% WWR Ratio | ≤ 0.19 |  | ≤ 0.25 | 

## Slide 32: Shell buildings (buildings not designed to completion)
Apparent R-value requirements for shell buildings and renovations in Section 502.1.1.1 are very high.
Section 101.4.9 of the energy code allows shell buildings to comply by either Section 502 or Section 506, but requires compliance by Section 506 be demonstrated later anyway.
If complying by Section 506, all assumptions made about features not installed until later that are not on the plans must be listed and appended to the code compliance form.

## Slide 33: Design goal is to “PASS” code (come in under budget)
Form 506-2010
(printout from computer program)

## Slide 34: The 2010 Commercial energy code:
  Allows code official to determine limited/special use building application when nationally recognized energy analysis procedures have been used to demonstrate that the building would use less energy than a code compliant building of the same configuration.
  Utilizes an Energy Cost Budget Method – Proposed vs Standard Reference Design (Baseline) building models
  Limits fan motor nameplate horsepower or fan system bhp per Table 503.2.10.1.
  Requires daylight zones be provided with individual controls independent of general area lighting.

## Slide 35: Commercial code calculations
Buildings and systems are more complex.
U-values of assemblies are calculated and entered into the computer program, along with net wall area.
Fenestration area is window-to-wall area (WWR) as opposed to % of conditioned floor area (CFA) as in residential.
Insulation values should be printed out separately for the benefit of the plan examiner and building inspector.
Equipment and Lighting schedules on plans should agree with those on the computer printout.

## Slide 36: Florida-specific criteria for air infiltration in commercial buildings:
Vented dropped ceiling cavities over conditioned space:
  Ceiling is considered both upper thermal envelope and pressure envelope of the building.
  Shall contain a continuous air barrier between the conditioned space and vented unconditioned space; must be sealed to the air barrier of the walls.
Unvented dropped ceiling cavities over conditioned space with no air barrier (t-bar ceilings):
  Completely seal from exterior environment (at the roof plane) and adjacent spaces by a continuous air barrier sealed to the walls.
What is an air barrier?
  Air barriers comprise the planes of primary resistance to air flow between the interior spaces of a building and the outdoors or adjacent spaces.
  Must be substantially leak free: air leakage ≤ 0.05 cfm/ft2 at an air pressure gradient of 25 pascal.
  Durable nonporous materials sealed with long-life mastic constitute air barriers: house wraps, taped & sealed dry wall ok.
  Acoustical tile ceilings, batt insulation facings and asphalt-impregnated fiberboard & felt paper are not air barriers.

## Slide 37: Building Mechanical Systems
a. General principles b. Code requirements

## Slide 38: a. Heating, ventilating and air-conditioning (HVAC) systems
Heating: By burning fossil fuels (chemical), heat is produced and is transferred to air or water (molecular) and carried to the space to be heated.
Cooling: Electrical energy is used to drive a compressor, which produces mechanical energy, changing refrigerant to a fluid; release of the fluid (expansion) causes cold which is carried to the space to be cooled.
Heat pumps use the reverse of the cooling cycle to heat space.

## Slide 39: HVAC equipment sizing
Equipment that is oversized for the cooling load required does not remove moisture from the air because it stops cooling when the set temperature has been reached.
Sizing needs to be performed on the building configuration and materials that the equipment will be cooling by the a/c contractor or mechanical engineer designing the system.
Equipment has to be “matched” so that the indoor unit will perform as designed when used with the outdoor unit.
Rules of thumb do not work in sizing.

## Slide 40: Equipment efficiency
Heating and cooling systems are required to meet certain minimum efficiencies as required by adopted national standards (IECC, ASHRAE 90.1) and federal law.
Different types of equipment have different minimum requirements. See Tables 503.2.3(1)-(8) in the Florida Building Code, Energy Conservation.

## Slide 41: When comfort conditioning, there are two forms of heat
Sensible heat—energy that results in a change of temperature of a substance.
  Felt as heat
  Can be measured with an ordinary dry bulb thermometer
Latent heat—amount of heat that must be added to or removed from a substance to cause a change of state
  Can’t be measured by a thermometer
  Amount of heat required for water to change state
Combination of sensible + latent heat is called enthalphy

## Slide 42: Cooling equipment is rated by:
  Seasonal Energy Efficiency Ratio (SEER): air conditioners/heat pumps < 65,000 Btu/h
  Energy Efficiency Ratio (EER): air source, water source units ≥ 65,000 Btu/h, PTACs, SPVAC, room units
  Integrated Energy Efficiency Ratio (IEER): weighed operation at various load capacities, unitary a/c & heat pumps ≥ 65,000 Btu/h

## Slide 43: Heating equipment is rated by:
  Heating Seasonal Performance Factor (HSPF): heat pumps < 65,000 Btu/h
  Coefficient of Performance (COP): air source, water source units ≥ 65,000 Btu/h, PTACs, SPVACs (heating mode)
  Annual Fuel Utilization Efficiency (AFUE): gas/oil-fired furnaces < 225,000 Btu/h
  Combustion Efficiency (Ec): gas/oil-fired warm air duct furnaces, unit heaters
  Thermal Efficiency (Et): gas/oil-fired warm air furnaces, ≥ 225,000 Btu/h

## Slide 44: How is the impact of climate variation handled in the code?
The IECC divides Florida into two climate zones: Miami-Dade, Monroe and Broward Counties (Climate Zone1) and the rest of the state (Climate Zone 2)
Florida’s performance-based code uses weather data for the closest weather station to the building to model impact of climate on the building.

## Slide 45: b. Equipment Requirements, residential
Chapter 4 of the energy code refers HVAC equipment and duct closure requirements to Chapter 5 to avoid duplication.
Section 403.2.2 requires duct testing by a Class 1 BERS rater, Class A or B or Mechanical contractor to demonstrate that the ducts are substantially air tight. The report should be attached to the form.
    Homes complying by Section 405 may get credit for duct testing but are not required to test.
Section 403.4.3 has efficiency requirements for water heating equipment, including piping insulation and heat traps.
Section 403.6 has specific requirements for equipment sizing, which will be covered later in this program.
Section 403.9 has efficiency requirements for swimming pool heaters and pumps.

## Slide 46: Residential HVAC equipment sizing:
  Section 403.6.1 of the code requires an ACCA Manual J (or other approved HVAC calculation method) be performed on the building.
  Equipment should be chosen in accordance with ACCA Manual S based on ACCA Manual J
  Manufacturer’s expanded performance data shall be used to select cooling-only equipment
  Total capacity should be not less than the calculated total load but not more than 1.15 X total load.
  Latent capacity of equipment ≥ calculated latent load.
  Section 101.4.7 requires that equipment sizing be done for existing residential buildings.
  The a/c contractor is responsible for determining the load and equipment selection.

## Slide 47: b. Equipment requirements, commercial
Located in Chapter 5, referenced from Chapter 4.
Equipment sizing is required.
    For new commercial buildings, sizing is performed according to ASHRAE/ACCA Standard 183 or ACCA Manual N.
    Sizing is not required for existing commercial buildings (changed in 2012 Supplement because of unintended consequences).
Code minimum HVAC efficiencies shall be met per Tables 503.2.3(1) – (8).
    Performance method allows whole building tradeoffs for equipment that is more efficient than national standards.
Ducts shall be constructed and sealed according to Table 503.2.7.2.
Commercial buildings >5,000 s.f. shall be tested, adjusted and balanced according to Sec. 503.2.9.1.
    written balance report provided to building owner or designated representative

## Slide 48: Lighting Systems

## Slide 49: Residential lighting: 50% of lights must be high-efficacy lamps
High-efficacy lamps include compact fluorescent lamps, T-8 or smaller diameter linear fluorescent lamps, or lamps with a minimum efficacy of:
60 lumens per watt for lamps over 40 watts,
50 lumens per watt for lamps over 15 watts to 40 watts, and
40 lumens per watt for lamps 15 watts or less
Examples:
Compact Fluorescent
Linear Fluorescent
Metal Halide
High Pressure Sodium
LED
Induction

## Slide 50: Commercial building lighting controls:
  Where building is >5,000 s.f., automatic lighting shutoff is required, either:
    Scheduled time-of-day to control interior lighting
    Occupant sensor to shut off lights within 30 minutes
    Signal from control or alarm system if unoccupied
  Exceptions:
      Lighting intended for 24 hour operation
      Spaces where patient care is directly provided
      Where an automatic shutoff would endanger safety of occupants
Space controls
    Each area enclosed by walls or floor-to-ceiling partitions shall have at least one control device to independently control the general space lighting.
      Except: Remote location permitted for safety/security.
    Automatic controls required in classrooms, meeting & break rooms
      Except: Shop, lab, preK-12
    All other spaces, manual or automatic capable of ≤4 hour override, limited as follows:
      ≤ 10,000 s.f. 2,500 s.f. max. controlled space
      > 10,000 s.f. 10,000 s.f. max. controlled space
Exterior lighting shall have automatic controls capable of turning off exterior lighting when sufficient daylight is available or when lighting is not required
    Where not dawn to dust: Astronomical time switch
    Where dawn to dusk: astronomical time switch or photosensor
      Except: Covered vehicle entrances or exits or parking structures for safety, security or eye adaptation

## Slide 51: Checking code compliance: the role of the code official

## Slide 52: What is the role of the plans examiner?
Check the plans against details on the form or printout for gross errors. Verify that the plans PASS code.
Section 103.2.2 of the Florida Building Code, Energy Conservation, provides that construction documents shall be of sufficient clarity to indicate the location, nature and extent of the work proposed, and show in sufficient detail pertinent data and features of the building, systems, and equipment. To include, in part:
  Insulation materials and their R-values,
  Fenestration U-factors, SHGCs, area calculations
  Mechanical system design criteria: size, efficiency
  Fan motor horsepower and controls
  Duct sealing, insulation, location
  Lighting fixture schedule and controls

## Slide 53
Verify that the plans reflect the right building features and orientation
Make sure all the windows on the plans are:
  1) on the form and
  2) match the efficiencies described on the form for U-factor, SHGC, overhang and area.
Reject if component descriptions for walls, ceilings, floors on the computer program’s “Input” printout don’t match the plans.
Does the ceiling area used on the form match the area on the plans, especially for cathedral ceilings and knee walls.

## Slide 54
Verify that the equipment type and efficiency described on the form matches equipment listed on the plans.
Check that the HVAC equipment sizing calculation matches the size of equipment installed.
Check that the type and number of lights reflected on the printout match those described on the plans. For residential, are 50% of the wired fixtures high efficacy lamps?
Review checklist on form for compliance with mandatory requirements
Make notes for the field inspector on the form
For commercial buildings, has the operations manual (including T&B report and electric schematic) been provided to the building owner?

## Slide 55: What is the role of the building inspector?
To verify that the project is constructed in accordance with the plans (as summarized on the form/printout) and any notes from plans examiner.

## Slide 56
  Do window labels support the U-factor and SHGC claimed?
  Are there windows that are not on the plans?
  Does the wall, ceiling and floor insulation meet the R-values claimed on the form?
  Is the insulation properly installed?
  Are all penetrations through the building envelope--like around windows and doors, utility & plumbing penetrations, recessed lighting--adequately caulked/sealed? (Residential: See Table 402.4.2, the Air barrier & Insulation inspection list).

## Slide 57
  Is the equipment type, efficiency and location as claimed?
  Are ducts adequately insulated to at least R-6 for residential and meet the requirements of Table 503.2.7.1 for commercial?
  Are ducts sealed and attached per Table 503.2.7.2?
  For residences complying by Section 402, or claiming credit for tight ducts when complying by Section 405, has duct testing been performed to prove ducts are tight (look for a test report)?
  Are the lighting fixtures as described on the plans?

## Slide 58: Let’s look at some energy basics to help you understand what you’re reviewing/inspecting

## Slide 59: What is energy?
Energy is the capacity for doing work.
It is usable when converted from one form to another
Forms of energy include: mechanical, kinetic, molecular, chemical, more

## Slide 60: Energy terms commonly used
Kilowatt hour (kWh): The basic unit of electric power, equal to 1000 Watts
British thermal unit (Btu): Standard unit for measuring heat energy. It is the amount of heat energy necessary to raise the temperature of one pound of water one degree Fahrenheit.

## Slide 61: Temperature
Measurement of the intensity of heat
On the Fahrenheit scale: 32oF to 212oF (conversion of water from ice to steam)
Heat always flows from hot to cold temperature. Flow of heat through a building “envelope” is called heat transfer.
Humidity
The amount or degree of moisture in the air

## Slide 62: Ways heat is transferred:
Conduction: Flow by molecular action within a solid material from a higher to a lower temperature area
Convection: Process of transferring heat using liquids or gases, such as air.
  Can be “forced” by mechanical means.
  Occurs naturally, “free” transfer by air currents caused by temperature or density differences.
Radiation: Transfer between objects at different temperatures, e.g. the sun to earth.
  Measured by difference in temperature between objects, distance, and amount of energy emitted.

## Slide 63: How do you calculate a U-value? First, determine thermal resistance (R-value) of the assembly:
Thermal Resistance is the measure of a material’s ability to retard heat flow.
It is based on a material’s actual thickness with 1 sq. ft. area at 1oF temperature difference and is expressed as hr.oF.ft2/Btu.
R-values for a product are typically given on the product manufacturer’s specification sheet or on a materials list in an engineering document such as the ASHRAE Handbook of Fundamentals.
The total R-value for an assembly is the sum of the R-value of the components of that assembly.

## Slide 64: R-value
Inside air film 0.68
½” gypsum board 0.45
3 ½” air space 1.01
¾” plywood sheathing 0.93
Hollow-backed metal siding 0.61
Outside air film 0.17 Rtotal 3.85

## Slide 65: U-factor is the coefficient of heat transmission through a building component or assembly equal to the time rate of heat flow/unit between the warm & cold side.
        R1 R2 R3 Rn
U = 1
Rtotal warm
cold
Rt = R1 + R2 + R3 +…Rn
Example: U=1÷Rt = 1÷3.85 = 0.260 Btu/(hr.ft2.oF)

## Slide 66: Parallel path or subassemblies
A wood frame wall has:
  Wall cavity area (space between framing members)
  Solid wood areas (framing such as studs and plates)
Each pathway has different energy transmitting characteristics
The U-value is typically calculated for the separate pathways and then apportioned by area.
Framing factors (% of area in framing) are often used.
Uo = (UxA)cavity + (UxA)framing + (UxA)windows + (UxA)doors
_______________________________________________
Total Wall Area (Ao)

## Slide 67: Resources
National resources: www.energycodes.gov/
2010 FBC-Energy Conservation: ecodes.cyberregs.com/cgi-exe/cpage.dll?pg=x&rp=/nonindx/st/fl/index.htm&sid=2012091010175099978&aph=0&cid=iccf&uid=iccf0002&clrA=005596&clrV=005596&clrX=005596&ref=/nonindx/st/index.html
2012 Energy Code Supplement: www.floridabuilding.org/fbc/links_to_code_resources.html
Building Officials Association of Florida: www.boaf.org
DBPR staff support: (850) 487-1824

## Slide 68: Code support has moved!!!
From the Florida Department of Community Affairs (DCA)- to the Florida Department of Business and Professional Regulation (DBPR).
The Building Code Information System remains at www.floridabuilding.org
Individual email addresses have changed.
    Example: Ann.Stanton@myfloridalicense.com
Telephone numbers have changed as well, although the unit number remains the same: (850) 487-1824.
  Ann Stanton: (850) 717-1834