Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 4
11/3/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Mechanical
TAC:
 11 
SubCode:
Building
9‑Fire Protection Systems
916
 3853 
Changes to Carbon Monoxide Protection
Steven Bassett
9
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

x⁭3. No comment is needed.     [ G2    ]						⁭4. Straw poll:     [    ]
COMMISSION ACTION:  AM (Consent*)
Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Mechanical
15‑Referenced Standards
Referenced Standards
 4036 
Add AMCA 550 to Referenced Standards
Amanda Hickman
15
Comment
x⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [  A1   ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A1  10-0   ]
COMMISSION ACTION:  AM (A1)(23/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Mechanical
10‑Boilers, Water Heaters and Pressure Vessels
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
*Consent = Mod voted for on consent to affirm TAC’s action with vote of 23/0.

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 4
11/3/2010
Total Mods for this TAC:
Mechanical
TAC:
 11 
1003.1
 3793 
Retain base code (IMC) language.
J Glenn‑BASF
10
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

x⁭3. No comment is needed.     [  G1   ]						⁭4. Straw poll:     [    ]
COMMISSION ACTION:  AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
SubCode:
Building
2711‑Administrative Provisions (Reserved)
New appendix
 4391 
Add a new Appendix “XX” (Designation to be assigned)
Doug Harvey
2711
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [G3, G4     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G3 ,G4/   1-9  ]
COMMISSION ACTION:  NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Mechanical
6‑Duct Systems
606.4
 3791 
Retain base code (IMC) language
J Glenn‑BASF
6
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

X⁭3. No comment is needed.     [ G1    ]						⁭4. Straw poll:     [    ]
COMMISSION ACTION:  NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
10‑Boilers, Water Heaters and Pressure Vessels
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
*Consent = Mod voted for on consent to affirm TAC’s action with vote of 23/0.

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 4
11/3/2010
Total Mods for this TAC:
Mechanical
TAC:
 11 
1006.6
 3649 
Add exception to this section of code for a solar system that can have multiple PRV's. Discharging a 1/2&quot; relief valve device in the solar loop into thie T&amp;P tank discharge should be acceptable.
Ben Bentley
10
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1, G2   ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1, G2  2-8  ]
COMMISSION ACTION:  NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
14‑Solar Systems
1402.2
 3600 
Water heaters and/or solar storage tank‑water heater combinations are considered to be solar equipment. An execption should be made for the solar water heater since no one expects it to be raised 6 feet off the finished floor.
Ben Bentley
14
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1, G2 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1 - G2  6-4  ]
COMMISSION ACTION:  NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
1402.5.1
 3391 
FSEC clearly shows a PRV only for the solar loop in manuals and approved systems. FSEC is correct. Code needs to show T&amp;P for tank and PRV for solar loop.
Ben Bentley
14
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [  G1,G2,G3   ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G1 -  G2 - G3   6-4  ]
COMMISSION ACTION:  NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
1402.5.4
 3601 
For clarity to distinguish between potable and non potable liquid single phase solar energy systems.
Ben Bentley
14
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [G1, G2     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1  - G2  7-3  ]
COMMISSION ACTION:  NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
*Consent = Mod voted for on consent to affirm TAC’s action with vote of 23/0.

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 4 of 4
11/3/2010
Total Mods for this TAC:
Mechanical
TAC:
 11 
SubCode:
Residential
23‑Solar Systems
2301.2.9
 3602 
If mod 3389 is accepted then the last sentence of this code 2301.2.9 needs to be changed.
Ben Bentley
23
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [ G1, G2 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1 - G2  2-8  ]
COMMISSION ACTION:  NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
M2301.2.3
 3389 
Solar P&amp;T valve vs PRV only valve‑ local bldg depts are interpreting M2301.2.3 to mean a t&amp;p valve only. FSEC clearly shows a PRV only for the solar loop. FSEC is correct. Code needs to show t&amp;p for tank and PRV for solar loop.
Ben Bentley
23
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1, G2    ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1 - G2  2-8  ]
COMMISSION ACTION:  NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
*Consent = Mod voted for on consent to affirm TAC’s action with vote of 23/0.

TAC Recommendations