Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 10
11/3/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Plumbing
TAC:
 34 
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
424.2.17.1.9
 3936 
This proposal makes changes to the pool alarm requirements in order to provide for consistency with the UL 2017 General‑Purpose Signaling Devices and Systems standard that an exit alarm must comply with per the code.
Jennifer Hatfield
4
Comment
Commission Action: AM (Consent)*
Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
35‑Referenced Standards
APSP
 4311 
Clarifies that NSPI is the former name of the APSP.  Updates the ANSI/NSPI‑5 standard for residential inground pools to reflect the 2010 revision. Deletes one of two portable spa standard references (ANSI‑6), which is referenced twice, deletes the '92 reference.
Jennifer Hatfield
35
Comment
Commission Action: AM (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Residential
41‑Swimming Pools
R4101.17.1.9
 3934 
This proposal makes changes to the pool alarm requirements in order to provide for consistency with the UL 2017 General‑Purpose Signaling Devices and Systems standard that an exit alarm must comply with per the code.
Jennifer Hatfield
41
Comment
Commission Action: AM (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
(Consent)* = Mod taken under consent with a vote of 23-0

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 10
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 34 
43‑Referenced Standards
APSP
 4328 
Clarifies that NSPI is the former name of the APSP.  Updates the ANSI/NSPI‑5 standard for residential inground pools to reflect the 2010 revision.
Jennifer Hatfield
43
Comment
Commission Action: AM (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Building
35‑Referenced Standards
UL
 3939 
Updates the UL 2017 Standard for General‑Purpose Signaling Devices and Systems to the 2008 second edition.
Jennifer Hatfield
35
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
SubCode:
Fuel Gas
3‑General Regulations
301.1.1
 4400 
Clarify the elevation above which appliances, equipment and installations are required to be elevated is the elevation specified in 1612.4.
Christopher Jones
3
Comment
Commission Action: AS (Consent)*
Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
(Consent)* = Mod taken under consent with a vote of 23-0

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 10
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 34 
301.3
 3479 
This section refers to 105, however 105 exists only in the ICC code. Unless this is corrected there is no way to allow provisions for &quot;alternative&quot; methods in the Fuel Gas  Code. I suggest either using the ICC wording in 105 or referring the reader to section 101.1.
Jose Guanch
3
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
305.4
 4079 
To make Section 305.4 of the Florida Fuel Gas Code the same as the 2009 International Fuel Gas Code.
Robert Trumbower
3
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
4‑Gas Piping Installations
404.15.3
 3745 
Retain base code (IFGC) language as it provides better direction
J Glenn‑BASF
4
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
406.7.4
 3748 
Retain base code (IFGC) language as it provides better direction
J Glenn‑BASF
4
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
(Consent)* = Mod taken under consent with a vote of 23-0

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 4 of 10
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 34 
SubCode:
Plumbing
3‑General Regulations
309.2
 4402 
Clarify the elevation above which plumbing systems, equipment and fixtures are required to be elevated is the elevation specified in 1612.4.
Christopher Jones
3
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
4‑Fixtures, Faucets and Fixture Fittings
403.7
 3741 
Sections 403.5 and 403.6 do not exist in the IPC Renumber 403.7 to 403.5 and remove the &quot;reserved&quot;
J Glenn‑BASF
4
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
SubCode:
Residential
24‑Fuel Gas
2415.14.3
 4023 
Retain base code (IRC) language.
J Glenn‑BASF
24
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
(Consent)* = Mod taken under consent with a vote of 23-0

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 5 of 10
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 34 
2417.7.4
 4024 
Retain base code (IRC) language
J Glenn‑BASF
24
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
G2408.2 (305.3)
 4081 
To make Section G2408.2 (305.3) of the Florida Residential Code the same as the Section 305.3 of the Florida Fuel Gas Code.
Robert Trumbower
24
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
26‑General Plumbing Requirements
2603.6
 4022 
Retain base code language
J Glenn‑BASF
26
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
41‑Swimming Pools
R4101.4.2
 3899 
Move provisions for pools in flood hazard areas that are found in Appendix G of the IRC into the body of the code.  This modification refers back to R322 to determine whether specific requirements apply.
Rebecca Quinn
41
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
(Consent)* = Mod taken under consent with a vote of 23-0

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 6 of 10
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 34 
43‑Referenced Standards
UL
 3937 
Updates the UL 2017 Standard for General‑Purpose Signaling Devices and Systems to the 2008 second edition with revisions.
Jennifer Hatfield
43
Comment
Commission Action: AS (Consent)*

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
SubCode:
Existing Building
3‑Prescriptive Compliance Method
New 302.5
 4337 
Add language to address residential swimming pools
Duren Gary
3
Comment
Commission Action: NAR (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Plumbing
3‑General Regulations
305.6
 3740 
Retain base code language
J Glenn‑BASF
3
Comment
Commission Action: NAR (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
(Consent)* = Mod taken under consent with a vote of 23-0

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 7 of 10
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 34 
6‑Water Supply and Distribution
604.1
 3742 
Retain the based code (IPC) language
J Glenn‑BASF
6
Comment
Commission Action: NAR (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
606.1 (5)
 3426 
Adds text &quot;supplying three or more branch intervals&quot;. This clarifies the intent of this code section to apply only to multistory buildings.
James Bickford
6
Comment
Commission Action: NAR (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
611.2
 3744 
Retain the based code (IPC) language
J Glenn‑BASF
6
Comment
Commission Action: NAR (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
7‑Sanitary Drainage
702.1
 4160 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
7
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
(Consent)* = Mod taken under consent with a vote of 23-0

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 8 of 10
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 34 
702.2
 4255 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
7
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
702.3
 4315 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
7
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
10‑Traps, Interceptors and Separators
1003.3.4
 4432 
Provides a level of environmental protection from decomposition of these devices from both the interior and exterior environments that these devices are subject to.
Paul Bohres
10
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
11‑Storm Drainage
1102.1
 4316 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
11
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
(Consent)* = Mod taken under consent with a vote of 23-0

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 9 of 10
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 34 
1102.2
 4318 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
11
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
1102.3
 4319 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
11
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
1102.4
 4321 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
11
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
1107
 4371 
1107.1 (Add) Secondary drain inlet shall be not less than 2 inches (51 mm) nor more than 4 inches (102 mm) above the finish roof covering and shall be located as close as practical to the required vertical leaders or downspouts.
scott waltz
11
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Residential
26‑General Plumbing Requirements
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
(Consent)* = Mod taken under consent with a vote of 23-0

TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 10 of 10
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 34 
P2603.2
 4212 
This modification is a correlation with the modification that deletes the prescriptive construction requirements in the code that do not apply to the design of buildings in Florida.
T Stafford
26
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Existing Building
5‑Repairs
New 510.1
 4338 
Add language to address residential swimming pool and spa issues
Duren Gary
5
Comment
Commission Action: NAR  (Consent)*

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation without a Second
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
(Consent)* = Mod taken under consent with a vote of 23-0
TAC Recommendations