Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 24
11/3/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Structural
TAC:
 81 
SubCode:
Building
16‑Structural Design
1601.1, 1612
 3885 
Florida‑specific mods to Chpt 16, retain I‑Code flood provisions. Defines ‘local floodplain management ordinance’ where communities will adopt FIRMs and higher stnds for NFIP Community Rating System. FBC requested statutory authority so that local higher stnds do not sunset every 3 years.
Rebecca Quinn
16
Comment
X1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
3. No comment is needed.     [     ]						⁭4. Straw poll:     [A2/ 8-0  ]

COMMISSION ACTION: AM(A2)(20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
1602, 1603, 1605, 1609, 1620
 4214 
This proposal updates ASCE 7 to the 2010 Edition and introduces new ultimate design wind speed maps in the code.
T Stafford
16
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G2   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G2 /1-7]

COMMISSION ACTION: AM(21/0) Same as TAC

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
1620
 4143 
ASCE 7‑05 commentary states that high uplift may exist on rooftop equipment, but no methodology is given. Load calculations may vary by a large factor based on two methods given. This modification is to eliminate such differences and include uplift and revised lateral forces based on FIU research.
Arindam Gan Chowdhury
16
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.  Do not support comment.  Comment does not address TAC's concerns(s)     [A2  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  A2/  2-6  ]

COMMISSION ACTION: AM(Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
31‑Special Construction
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
3109.2
 4234 
Add statutory definition for &quot;Substantial improvement&quot; to the code.
Jack Glenn
31
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [  G2, G3 ,G4 ,G5 ,G6 ,G7     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [   G2 -G3- G4 -G5 -G6 /0-8 /G7 rest 0-8  ]
COMMISSION ACTION: AM(Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
3113.1
 3574 
When required by local government to reduce noise attenuation in new structure or addition to existing structure near an airport, applicant must provide documentation that structure meets the reduction requirement.
Kevin Gartland
31
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭x2  Do not support comment.  Comment does not address TAC's concerns(s)     [ G1 ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1/ 0-8 ]
COMMISSION ACTION: AM(Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Existing Building
2‑Definitions
202
 3901 
Florida‑specific mods to retain I‑Code flood provisions. Defines ‘local floodplain management ordinance’ where communities will adopt FIRMs and higher stnds for NFIP Community Rating System. FBC requested statutory authority so that local higher stnds do not sunset every 3 years.
Rebecca Quinn
2
Comment
X1.Support comment.  Comment sufficiently addresses the TAC's concern(s).    [  A1   ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A1 /8-0  ]
COMMISSION ACTION: AM(A1)(20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Mechanical
15‑Referenced Standards
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
Referenced Standards
 4036 
Add AMCA 550 to Referenced Standards
Amanda Hickman
15
Comment
X1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [ A1  ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A1 /8-0  ]
COMMISSION ACTION: AM (A1)(20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Residential
3‑Building Planning
R325.1
 3575 
When required by local government to reduce noise attenuation in new structure or addition to existing structure near an airport, applicant must provide documentation that structure meets the reduction requirement.
Kevin Gartland
3
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X ⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [ G3  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  G3/ 0-8 ]

COMMISSION ACTION: AM (Consent*)
Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
5‑Floors
R502, R503, R505
 4206 
This modification deletes the prescriptive construction requirements in the code that do not apply to the design of buildings in Florida.
T Stafford
5
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	x⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G2, G3 ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G3/ 0-8, G3/ 0-8   ]
COMMISSION ACTION: AM  (20/0)

COMMISSION ACTION: AM 20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
6‑Wall Construction
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 4 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
R617
 3858 
Adds labeling requirements for manufactured soffit sytems.
Joseph Belcher
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3.No comment is needed.     [   G2  ]						⁭4. Straw poll:     [   ]
COMMISSION ACTION: AM (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
7‑Wall Covering
R703.12.3
 4468 
Proosal eliminates wind load provisions of AAMA 1402 which are contrary to the wind load provisions of the code.
Joseph Belcher
7
Comment
X1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [ G1    ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1 /8-0  ]
COMMISSION ACTION: Withdrawn

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
8‑Roof‑Ceiling Construction
R802, R803, R804
 4209 
This modification deletes the prescriptive construction requirements in the code that do not apply to the design of buildings in Florida.
T Stafford
8
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1/ 0-8  ]

COMMISSION ACTION: AM 20/0) Same as TAC

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
44‑High Velocity Hurricane Zones
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 5 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
R4403.9
 4146 
ASCE 7‑05 commentary states that high uplift may exist on rooftop equipment, but no methodology is given. Load calculations may vary by a large factor based on two methods given. This modification is to eliminate such differences and include uplift and revised lateral forces based on FIU research.
Arindam Gan Chowdhury
44
Comment
X1.Support comment.  Comment sufficiently addresses the TAC's concern(s).    [  A3   ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [  A3   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A3/  0-8   Reconsidered / 8-0  ]
COMMISSION ACTION: AM (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
R4403
 4230 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition.
T Stafford
44
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1 / 1-7 ]
COMMISSION ACTION: AM (21/0) Same as TAC

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Building
2‑Definitions
202
 3873 
Florida‑specific mod to IBC flood provisions. Sec. 1612 and CCCL Sec 3109 use “substantial improvement” with different dfns. . FL Div Emerg Mgnt will coordinate a group with FBC and DEP to consider changes for future cycle.
Rebecca Quinn
2
Comment
X1.  Support comment.  Comment sufficiently addresses the TAC's concern(s).    [   A2  ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A2 /8-0    ]
COMMISSION ACTION: AM (A2)(20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
14‑Exterior Walls
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 6 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
1405
 4215 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition and introduces new ultimate design wind speed maps in the code.
T Stafford
14
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G2   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G2/  1-7    ]
COMMISSION ACTION: AS (20/0) 

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
16‑Structural Design
1609.1.1
 4177 
This modification deletes language that, due to a glitch in ASCE 7, could result in low and erroneous roof uplift pressures for higher sloped roofs.
T Stafford
16
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.  Do not support comment.  Comment does not address TAC's concerns(s)     [G2, G3    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G2/  1-7,  G3/ 1-7 ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
1609.1.2.1
 4033 
Adds to standard to section 1609.1.2.1 Louvers. Louvers protecting intake and exhaust ventilation
Amanda Hickman
16
Comment
X1.  Support comment.  Comment sufficiently addresses the TAC's concern(s).    [A1, A3     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  A1/ 8-0 A3/ 7-1 ]
COMMISSION ACTION: AM (A1+A3+Handout)(20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
21‑Masonry
2108.1
 4065 
Updates references in an existing Florida Specific Amendment to account for changes in the referenced document.
Joseph Belcher
21
Comment
X1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [ A2  ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A2/ 8-0     ]
COMMISSION ACTION: AM (A2)(20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 7 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
2109
 4218 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition and introduces new ultimate design wind speed maps in the code.
T Stafford
21
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.  Do not support comment.  Comment does not address TAC's concerns(s)     [  G1   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1 /1-7  ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
23‑Wood
2304, 2308
 4219 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition and introduces new ultimate design wind speed maps in the code.
T Stafford
23
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.  Do not support comment.  Comment does not address TAC's concerns(s)     [ G1    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G1 /1-7  ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
31‑Special Construction
3109.1.1
 4203 
Modification corrects a formatting error in the 2007 Florida Building Code relating to construction of structures seaward of the coastal construction control line (CCCL).
Jack Glenn
31
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [  G3, G4, G5, G6   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G3, G4, G5, G6 / 0-8    ]
COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
35‑Referenced Standards
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 8 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
2002.4.1
 4285 
change AAF Guide to Construction in High Wind Areas from 2007 edition to 2010 edition
David Miller
35
Comment
X1. Support comment. Comment sufficiently addresses the TAC's concern(s).    [A1 ,  A2 ,  A3    ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A1 .  A2  , A3 / 7-0  ]

COMMISSION ACTION: AM(A1+A2+A3)(20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
3501
 4220 
This modification updates ASCE 7 to the 2010 Edition.
T Stafford
35
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G1    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1 / 1-6    ]
COMMISSION ACTION: AS(20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
SubCode:
Residential
2‑Definitions
R202
 4221 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition.
T Stafford
2
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G1 /  1-6  ]

COMMISSION ACTION: AS(Consent)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
3‑Building Planning
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 9 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
301.2.1.1
 4198 
Retain base code (IRC) language
J Glenn‑BASF
3
Comment
X1.  Support comment.  Comment sufficiently addresses the TAC's concern(s).    [  A2 ,G1  ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A2/ 7-0 ,G1/ 8-0 ]

COMMISSION ACTION: AM(A2+G1)(20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
301.2.2.4.2
 4194 
Add base code (IRC) language for clarity
J Glenn‑BASF
3
Comment
X1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [G1   ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1/ 7-0  ]

COMMISSION ACTION: NAR(0/20)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
R301.2.1.4
 3666 
Clarify the intent of Section R301.2.1.4 with regard to the 20% increase in uplift load regarding roof‑to‑wall connection.
Mo Madani
3
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3.  No comment is needed.     [     ]						⁭4. Straw poll:     [  test ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
R301.3, R301.5
 4204 
This modification deletes the prescriptive construction requirements in the code that do not apply to the design of buildings in Florida.
T Stafford
3
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G1   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G1/ 0-7  ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 10 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
R301
 4222 
This modification updates ASCE 7 to the 2010 Edition and introduces an ultimate design wind speed map.
T Stafford
3
Comment
X1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [   G1  ]	X⁭2.  Do not support comment.  Comment does not address TAC's concerns(s)     [  G2   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1 / 7-0 ,G2 /1-6  ]
COMMISSION ACTION: AM (G1)(21/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
4‑Foundations
R401, R404
 4223 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition.
T Stafford
4
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G3  ]
⁭X3. No comment is needed.     [G1 ,  G2  ]     						⁭4. Straw poll:     [  G3/ 1-7  ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
R401.1
 3898 
Second sentence in R401.1 requires foundations to meet the rqmts of R322 in addition to Chpt 4; thus #2 in the exception is not necessary.  Other proposals for Chpt 44 will require meeting the rqmts of R322 if structures in HVHZ are also in flood hazard areas.
Rebecca Quinn
4
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ] 
⁭X3. No comment is needed.     [G1 ,  G2  ]  4. Straw poll:     [  ]
COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
R404
 4205 
This modification is a correlation with the proposed modifcation that deletes the prescriptive construction requirements in the code that do not apply to the design of buildings in Florida.
T Stafford
4
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [ G1  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1/ 0-8    ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
5‑Floors
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 11 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
R502
 4224 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition.
T Stafford
5
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  G1 /1-7 ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
6‑Wall Construction
606.14.1
 4103 
Retain base code (IRC) language
J Glenn‑BASF
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [   G1  ]						⁭4. Straw poll:     [  ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
606.8.1
 4102 
Retain base code (IRC) language
J Glenn‑BASF
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [ G1    ]						⁭4. Straw poll:     [   ]
COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
609.1.2
 4098 
Retain base code (IRC) language
J Glenn‑BASF
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3.No comment is needed.     [  G1   ]						⁭4. Straw poll:     [   ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 12 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
609.1.4
 4104 
Retain base code (IRC) language
J Glenn‑BASF
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭X3. No comment is needed.     [  G1   ]						⁭4. Straw poll:     [   ]
COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
609.1.5
 4105 
Retain base code (IRC) language
J Glenn‑BASF
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [    G1 ]						⁭4. Straw poll:     [     ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
R602, R603, R604, R605, R611
 4207 
This modification deletes the prescriptive construction requirements in the code that do not apply to the design of buildings in Florida.
T Stafford
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G3     ]
⁭X3. No comment is needed.     [G2     ]						⁭4. Straw poll:     [ G3/ 0-8  ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
R602, R603, R606, R607, R608, R609, R611
 4225 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition.
T Stafford
6
Comment

1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [  G2   ]
⁭X3. No comment is needed.     [G1    ]						⁭4. Straw poll:     [G2/ 1-7   ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 13 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
R612.11.4 [was FL613.7.5] Installation instruction
 3579 
ASTME2112 does not address Florida Specific CMU/stucco walls. Language is permissive.
Dick Wilhelm
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [ G1  ]						⁭4. Straw poll:     [  ]
COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
R612.1
 3578 
Clarifies that the structural installation of windows and doors is part of the structural design and construction of walls and partitions as provided for in Chapter 6 of the FBC and IRC.
Dick Wilhelm
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [ G1    ]						⁭4. Straw poll:     [  ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
R616
 3582 
Strikes prescriptive language which will be contained in its entirety in FMA/AAMA 100‑07, Standard Practice for the Installation of Windows with Flanges or Mounting Fins in Wood Frame Construction.
Dick Wilhelm
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [ G1    ]						⁭4. Straw poll:     [     ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
R617.4
 3860 
Adds installation criteria, addresses permited substitution of components, parts, or fasteners, specifies factor of safety for testing.
Joseph Belcher
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [G2     ]						⁭4. Straw poll:     [     ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
7‑Wall Covering
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 14 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
702.3.4
 4038 
Retain base code (IRC) language as it provides better direction
J Glenn‑BASF
7
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [G1     ]						⁭4. Straw poll:     [    ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
703.10
 4044 
Retain the base code (IRC) language.
J Glenn‑BASF
7
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [ G1   ]						⁭4. Straw poll:     [  ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
703.11
 4200 
This proposal establishes a proper basis for vinyl siding applications with foam sheathing by applying appropriate adjustment factors to vinyl siding wind pressure rating.
T Stafford
7
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [ G2    ]						⁭4. Straw poll:     [    ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
703.1
 4040 
Retain the base code (IRC) language while delteing the Florida Specific Amendment.
J Glenn‑BASF
7
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [ G1    ]						⁭4. Straw poll:     [     ]

COMMISSION ACTION: AS (Consent*)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 15 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
R702
 4208 
This modification is a correlation with the modification that deletes the prescriptive construction requirements in the code that do not apply to the design of buildings in Florida.
T Stafford
7
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G2     ]
⁭X3. No comment is needed.     [  G1    ]						⁭4. Straw poll:     [   G2/ 0-8   ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
R703
 4226 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition.
T Stafford
7
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G2    ]
⁭X3. No comment is needed.     [G1     ]						⁭4. Straw poll:     [ G2 /1-7   ]

COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
8‑Roof‑Ceiling Construction
R802, R803, R804
 4227 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition.
T Stafford
8
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  G1   /1-7   ]

COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
43‑Referenced Standards
R4301
 4231 
This modification updates ASCE 7 to the 2010 Edition.
T Stafford
43
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [G1   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1/  1-7  ]
COMMISSION ACTION: AS (20/0)

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 16 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
SubCode:
Building
15‑Roof Assemblies and Rooftop Structures
New 1504.9
 4374 
The code currently requires that garden and lanscaped roofs be evlauated for wind resistance. This new section proposes a design guide to be used for this purpose.
Mike Ennis
15
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [   G1  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G1/ 1-7  ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
16‑Structural Design
1609.1.3
 4447 
Delete section 1609.1.3 in its entirety without substitution.
Kurt Roeper
16
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G2    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  G2 / 0-8   ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
1612.5
 4397 
Modifies a provision to be consistent with NFIP, ASCE 7, and ASCE 24, to use language that is consistent with structural design and loads.
Christopher Jones
16
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]⁭    x2. Do not support comment.  Comment does not address TAC's concerns(s)   [ G2 ,G3   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  G2/ 0-8,  G3 / 0-8 ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 17 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
Table 1609.7(1)
 3650 
Wind load values have been revised based on ASCE 7‑10 provisions.
Joseph Hetzel
16
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [A4     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  A4/ 0-7     ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
18‑Soils and Foundations
1808.2 Design for capacity and settlement
 3606 
Upon identification of weak soils or soils having the possibility of differential settlement, require a design statement regarding either the remediation of the soils or indication within the building plan that the foundation system is designed with the understanding of the geologically hazard.
timothy moore
18
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ] X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G12,   G13 ,  G14,  G15,  G16 , G17 ]
⁭X3. No comment is needed.     [G11 ]						⁭4. Straw poll:     [G12  - G13 -  G14-  G15  -G16 –g17/ 0-7   ]
COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
22‑Steel
2222.3.3 and 2223.10.1
 3597 
Cables and Rods shall not be used as bracing in Cold ‑Formed and Pre‑Engineered steel buildings. This proposal is to delete the word &quot;habitable&quot; from these two sections of the code.
Mohammed Shaikh
22
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [  G2   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G2 / 0-8  ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
2223.1, 2223.2, 2223.3, 2223.4, 2223.5, 2223.6
 4290 
The proposal updates responsibilities and document requirements for metal building systems to match the FL Board of Professional Engineers updated regulations with respect to engineers of record and delegated engineers.
William Shoemaker
22
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭X2. Do not support comment.  Comment does not address TAC's concerns(s)     [ A2  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A2/ 0-8  ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 18 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
2223.11
 4246 
This proposal updates the certification requirement in Section 2223.11.2 to the new IAS AC472 accreditation program that replaced the discontinued AISC, Category MB Program.
William Shoemaker
22
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [A1     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A1 /0-8    ]

COMMISSION ACTION: AM (A1) (20/0)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
2223.8.3
 4284 
This proposal deletes an unnecessary requirement that is covered by other required design standards.
William Shoemaker
22
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭X2.Do not support comment.  Comment does not address TAC's concerG1ns(s)     [ G1    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G1 /0-8     ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
24‑Glass and Glazing
2404.1
 3928 
Using base code language for Loads on vertical glass.
J Glenn‑BASF
24
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [ A1    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [   A1/ 0-8 ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
31‑Special Construction
3109
 4416 
Change language in the Code in relation to working within the CCCL.
James Battaglia
31
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G4 , G5 , G6  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [   G4 - G5 - G6/ 0-8  ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 19 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
3109
 4434 
Clarifies language regarding exceptions to 100 year storm event design standards.
George Merlin
31
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [  G4  ,G5 , G6  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  G4 - G5 - G6 / 0-8    ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
2711‑Administrative Provisions (Reserved)
New appendix
 4391 
Add a new Appendix “XX” (Designation to be assigned)
Doug Harvey
2711
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [ G3, G4  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G3 /0-8  G4/  0-8  ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Residential
3‑Building Planning
R301.2.1.2
 3667 
This section is modified to imply that all openings into a roof structure whether vertical or horizontal need to be protected in the event of a hurricane or high wind event from debris as well as wind and rain. This will reduce structrual, wind, water, and personal belonging damage in such an event.
Michael Hemmer
3
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.  Do not support comment.  Comment does not address TAC's concerns(s)     [A2, A3 ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [   A2/ 0-8,  A3/  0-8 ]

COMMISSION ACTION: AM(see handout)(18/4)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 20 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
Table R301.2(3)
 3651 
Wind load values have been revised based on ASCE 7‑10 provisions.
Joseph Hetzel
3
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ A2  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  A2 / 0-8   ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
4‑Foundations
403.1
 4095 
Retain base code (IRC) language
J Glenn‑BASF
4
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [ G1  ]						⁭4. Straw poll:     [   ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
5‑Floors
501 and 502
 3904 
Removes section which is applicable to areas with wind speeds less than 100 mph. Also reinstate I‑code format and reserve sections which are not applicable to FL. This will eliminate confusion and misuse of the code sections which are not applicable.
Jon Caudill
5
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [ G2  ]						⁭4. Straw poll:     [   ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
R506.2.5
 4472 
Updates referenced organization and adds new ICC Acceptance Criteris.
Joseph Belcher
5
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [  G1 ]						⁭4. Straw poll:     [    ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 21 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
6‑Wall Construction
602
 4032 
Removes section which is applicable to areas with wind speeds less than 100 mph. Also reinstate I‑code format and reserve sections which are not applicable to FL. This will eliminate confusion and misuse of the code sections which are not applicable.
Jon Caudill
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1  /0-8   ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
612.6.1
 4193 
Retain base code (IRC) language
J Glenn‑BASF
6
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  G1 / 0-8 ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
7‑Wall Covering
703.11
 4045 
Retain base code (IRC) language.
J Glenn‑BASF
7
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	x⁭2.  Do not support comment.  Comment does not address TAC's concerns(s)     [GG1     ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1  /0-8  ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
703.4
 4041 
Retain base code (IRC) language as it provides better direction.
J Glenn‑BASF
7
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	x⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [  G1   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  G1/  0-8 ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 22 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
8‑Roof‑Ceiling Construction
802.2.9.1
 4473 
Deletes prescriptive roof tiedown requirements for windspeeds higher than 100 mph.
Randall Shackelford
8
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [  G1  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  G1/ 0-8   ]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
9‑Roof Assemblies
R402.4.2 Compressible or shifting soil
 4280 
Upon identification of weak soils or soils having the possibility of differential settlement, require a design statement regarding either the remediation of the soils or indication within the building plan that the foundation system is designed with the understanding of the geologically hazard.
timothy moore
9
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G6, G7, G8, G9. G10    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G6 -G7 -G8- G9- G10/  0-8   ]
COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
R4403
 4229 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition.
T Stafford
9
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.  Do not support comment.  Comment does not address TAC's concerns(s)     [  G1   ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  G1 /1-7   ]

COMMISSION ACTION: Withdrawn

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
44‑High Velocity Hurricane Zones
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 23 of 24
11/3/2010
Total Mods for this TAC:
Structural
TAC:
 81 
R4408.9.3.3 and R4408.10.10.1
 3866 
Cables and rods shall not be used to brace Cold‑Formed (R4408.9.3.3) and Pre‑Engineered (R4408.10.10.1) steel buildings.
This proposal is to delete the word “habitable” from these two sections.
Mohammed Shaikh
44
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1, G2    ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1 -  G2 /  0-8]

COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
R4410.4
 3529 
As per the General portion of this section. We are requesting that the Soffit Vents and Gable Vents on Structures either have Specific Product Approvals or be protected with an Product Approved Shutter to prevent wind and water damage in that structure.
Michael Hemmer
44
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2.Do not support comment.  Comment does not address TAC's concerns(s)     [   A1  ]
⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  A1/ 0-8   ]
COMMISSION ACTION: NAR (Consent*)

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Residential
7‑Wall Covering
703.10
 4124 
Retain base code (IRC) language
J Glenn‑BASF
7
Comment
1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]
⁭X3. No comment is needed.     [ G1    ]						⁭4. Straw poll:     [     ]
COMMISSION ACTION: Withdrawn

Proponent
Summary
Mod #
Section
Chapter
Withdrawn
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 24 of 24
11/3/2010
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations