Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 5
11/3/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Roofing
TAC:
 15 
SubCode:
Building
15‑Roof Assemblies and Rooftop Structures
1507.15
 3814 
Liquid‑applied roof coatings.
Pate Lisa
15
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A4/ Y0-N6    ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
1521.17.1
 3799 
This modification adds a specific code reference relevant to the asphalt shingle section.
Mark Zehnal
15
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A3/ Y0-N6    ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Residential
44‑High Velocity Hurricane Zones
R4402.10.17.1
 3800 
This modification adds a specific code reference relevant to the asphalt shingle section.
Mark Zehnal
44
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A5 & A6/ Y0-N6    ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Test Protocols
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 5
11/3/2010
Total Mods for this TAC:
Roofing
TAC:
 15 
1‑126
3.2.1
 4437 
Core Cut into lightweight Cocrecte and lightweight insulating concrete should have a acceptable moisture by weight content.
High moisture in LWC can have a long term affect on deck.
Katherine Cleary
1
Comment
x⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [ G1-8 ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [A10 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A10/Y0 –N6 , G1, G2, G3, G4, G5, G6, G7, G8/Y 6 –N2 ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Building
15‑Roof Assemblies and Rooftop Structures
1503.6
 4334 
Clarifies that skylights are to be installed and flashed in accordance with manufacturers instructions; provides an exception to requirement for crickets
Chuck Anderson
15
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A10/Y1 –N7    ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
1504, 1507
 4217 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition and introduces new ultimate design wind speed maps in the code.
T Stafford
15
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G2/Y4 –N4     ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 5
11/3/2010
Total Mods for this TAC:
Roofing
TAC:
 15 
1507
 4201 
This proposal specifies methods for a secondary water barrier under roof coverings for new construction.
T Stafford
15
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G1/Y0-N8    ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
New 1505.8
 4272 
Add a new section to the code (1505.8) to define the method designing a vegatative (Garden) roof for fire resistance as required by the code.
Mike Ennis
15
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G1-2/ Y2-N6     ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
2711‑Administrative Provisions (Reserved)
New appendix
 4391 
Add a new Appendix “XX” (Designation to be assigned)
Doug Harvey
2711
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G3-4/Y1-N7     ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Residential
9‑Roof Assemblies
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 4 of 5
11/3/2010
Total Mods for this TAC:
Roofing
TAC:
 15 
903.2.2
 4335 
Clarifies that skylights are to be installed and flashed in accordance with manufacturers instructions; provides an exception to requirement for crickets
Chuck Anderson
9
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A2/Y1-N7     ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
R905
 4202 
This proposal specifies methods for a secondary water barrier under roof coverings for new construction.
T Stafford
9
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G2/Y0-N8    ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
R905
 4228 
This modification is a correlation to the modification that updates ASCE 7 to the 2010 Edition.
T Stafford
9
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G1/Y4-N4     ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Test Protocols
1‑120
1.01 A
 3531 
This modification provides additional clarification on tile installation procedures for adhered systems.
Jaime Gascon
1
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A1/Y5-N3     ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 5 of 5
11/3/2010
Total Mods for this TAC:
Roofing
TAC:
 15 
1‑114
Appendix D Section 5.5
 3532 
This modification adds clarification as to the number of test specimens required for this test standard.
Jaime Gascon
1
Comment
x⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A1/Y8-N0    ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Residential
43‑Referenced Standards
R905.3
 4250 
Inserting correct edition of standard reference document.
Pate Lisa
43
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

x⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [  Withdrawn   ]

Proponent
Summary
Mod #
Section
Chapter
Withdrawn
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations