Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 7
11/3/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 20 
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
420
 4156 
Revises the design criteria for nursing homes by allowing an option for household models.
James Gregory
4
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [ A5 ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A5/ Y-8, N-0 ]
Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
423.25
 4238 
Correct impact and cyclic loading and missle criteria reference.
Jon Hamrick
4
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A3/Y-8, N-0  ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
30‑Elevators and Conveying Systems
3010
 3473 
REVISE Section 3010 to renumber in outline format, adds data plate requirement, and removes items 3010.1.3(c), 3010.1.3(d), and 3010.1.3(e) from the section.
DOUG MELVIN
30
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [A6 ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G4, G5, G7 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G4/ Y-0 N-8, G5/Y0-N8, G7/ Y0-N8, A6/ Y8-N0 ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
31‑Special Construction
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 7
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 20 
3109.2
 4234 
Add statutory definition for &quot;Substantial improvement&quot; to the code.
Jack Glenn
31
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    []	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G2, G2, G4, G5, G6, G7 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G2/Y0-N8, G3/Y0-N8, G4/Y0-N8, G5/Y0-N8, G6/Y0-N8, G7/Y0-N8 ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
419.1
 4172 
Revises the Scope section of 419.
James Gregory
4
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [  A1 ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A1/Y8 –N0 ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
428.3.2.1
 3924 
Clarifying that during plant inspections of manufactured buildings, all subsytems (plumbing, electrical, etc.) requires inspection.
Ila Jones
4
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [ A3 ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A3/Y8-N0 ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
30‑Elevators and Conveying Systems
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 7
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 20 
3008
 4377 
Renumber to meet FBC numbering system.
Deletes rules adopted elsewhere
Revises incorrect code reference
Lee Rigby
30
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [A6, A4, G3, G4, G5]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A6/Y0-N8, A4/Y0-N8, G3/Y1-N7, G4/Y0-N8, G5/Y1-N7 ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
31‑Special Construction
3109.1.1
 4203 
Modification corrects a formatting error in the 2007 Florida Building Code relating to construction of structures seaward of the coastal construction control line (CCCL).
Jack Glenn
31
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G3, G4, G5, G6 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G3/Y0-N8, G4/Y0-N8, G5/Y0-N8, G6/Y0-N8 ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
419.3.15.7.2
 4287 
Revises and clarifies the requirements for recepticles in the critical care areas.
James Gregory
4
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [ G1,G2 ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G1/Y7-N1, G2/Y7-N1 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 4 of 7
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 20 
419.3
 4186 
Revises sections to comply with updated references.
James Gregory
4
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [   A2  ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A2/ 7/Y8-N0 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
421
 4375 
This modification makes general revisions to all of Section 421 to clarify, and update this section for new references.
James Gregory
4
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [  A3   ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A3/Y8-N0 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
424.1.6.1
 4266 
To prevent adding unnecessary fixtures to a building that only serves a swimming pool. And it is intended to prevent adding the building fixture count to the pool fixture count to determine the number of fixtures required. The cumulative practice has led to nonsensical fixture counts.
jim manning
4
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [   A1  ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A1/Y7-N1 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
30‑Elevators and Conveying Systems
3002
 3441 
ADD Florida Supplement sections 3002.1 through 3002.3 and 3002.5 through 3002.8.
DELETE Florida Supplement section 3002.4 and REVISE to read same as IBC 2009 Section 3002.4  with underlined text; and ADD Florida Supplement Section 3002.9.
DOUG MELVIN
30
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G4 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ G4/Y0-N8  ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 5 of 7
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 20 
3011
 3476 
REVISE Section 3011 to renumber in outline format and ADD 3011.1.5 additional electrolysis protection and 3011.1.6 inspection for underground hydraulic piping
DOUG MELVIN
30
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [   A1  ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [A1/Y8-N0 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
31‑Special Construction
3109
 4416 
Change language in the Code in relation to working within the CCCL.
James Battaglia
31
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G4, G5, G6 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G4/Y0-N8, G5/Y0-N8, G6/Y0-N8 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
3109
 4434 
Clarifies language regarding exceptions to 100 year storm event design standards.
George Merlin
31
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G4, G5, G6 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [G4/Y0-N8, G5/Y0-N8, G6/Y0-N8 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
35‑Referenced Standards
3500
 3519 
This modification updates the code references to the ASME A17.1 and A18.1 national standards.
DOUG MELVIN
35
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [  A3 ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A3/Y8-N0 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 6 of 7
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 20 
SubCode:
Existing Building
11‑Historic Buildings
1101.3
 3902 
The NFIP regs allow work on certain historic structures that would otherwise be substantial improvement to be performed without compliance, provided the building retains its historic designation. This mod specifies those “certain” structures that qualify.
Rebecca Quinn
11
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [ A1 ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A1/Y8-N0, G1/Y0-N8    ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
15‑Reference Standards
1500
 3520 
This modification updates the code references to the ASME A17 and A18 national standards.
DOUG MELVIN
15
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [   A1  ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A1/Y8-N0 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Plumbing
10‑Traps, Interceptors and Separators
1003.3.4
 3530 
Clarifies intent to permit the use of grease traps that comply with Rule 64E‑6 and are sized 750 to 1250 gallons.
James Bickford
10
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [   A3  ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ A3/Y8-N0 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 7 of 7
11/3/2010
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations