Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 10
11/3/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Code Administration
TAC:
 34 
SubCode:
Building
1‑Scope and Administration
110.3
 4353 
The proposal extends inspections to all installations of hurricane resistant coverings or systems,.
Joseph Belcher
1
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Building
1‑Scope and Administration
102.7, 107.3.5, 111.2, 111.3
 3894 
Florida‑specific modifications to Chapter 1, related to retaining flood provisions of the I‑Codes.
Rebecca Quinn
1
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
105.1
 4351 
Applies permitting requirements to all hurricane protection devices, materials, and systems.
Joseph Belcher
1
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 10
11/3/2010
Total Mods for this TAC:
Code Administration
TAC:
 34 
105
 3672 
Staff proposes change to reflect the findings of the Florida Building Commission in Declaratory Statement DCA08‑DEC‑209 relative to the cut off date for constructing buildings to previously approved plans after implementation of the new codes.
Jon Caudill
1
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
106.3.5
 4352 
The proposal would require the submittal of construction documents and plan review for impact resistant coverings or system.
Joseph Belcher
1
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
107.3
 3920 
Modification to allow photocopies of Department of Community Affairs approved manufactured building plans to be submitted to building departments in lieu of signed and sealed plans.
Ila Jones
1
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
SubCode:
Residential
1‑Scope and Administration
101.2
 4020 
Removes “multiple single‑family dwellings” from the wording. Retain base code (IRC) language.
J Glenn‑BASF
1
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 10
11/3/2010
Total Mods for this TAC:
Code Administration
TAC:
 34 
2‑Definitions
202 Manufactured Home
 4018 
Retain base code (IRC) language as it provides better direction.
J Glenn‑BASF
2
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
SubCode:
Building
1‑Scope and Administration
101.2 Exception
 3524 
Provides a square foot threshold for the application of the IBC to single‑family dwellings and townhouses.
Anthony Apfelbeck
1
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
102.1
 3456 
add the following to the end of the first sentence of 102.1:
&quot;... provided it is at least as restrictive as the general requirement.&quot;
Heinz Rosen
1
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 4 of 10
11/3/2010
Total Mods for this TAC:
Code Administration
TAC:
 34 
102.2(h)
 4167 
To clearify the usage of personal and commercial uses of Chickee/Tiki huts as per florida building codes
ali hosein
1
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
104.10
 3588 
Reinsert section 104.10 from the 2009 IBC into the FBC.
Anthony Apfelbeck
1
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
105.1
 3447 
Add storage systems to the list of required permit activity.
James Battaglia
1
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
105.1
 3611 
This modification is meant to add language to encompass all Product Approved Opening Protection be incorporated in the permitting process to insure conformity.
Michael Hemmer
1
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 5 of 10
11/3/2010
Total Mods for this TAC:
Code Administration
TAC:
 34 
105.3.1.2
 3445 
Provide a note to clarify what components are to be included when defining when an engineer is required based on system cost.
Albert Jenks
1
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
107.2.1
 4068 
To allow the Building Official to require electronic media, in a file format specified, to be submitted when the jurisdiction is capable of processing electronically.
Sergio Ascunce
1
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
2‑Definitions
201.3 and 201.4
 3585 
Revises section 201.3 and 201.4 to eliminate the unnecessary Florida specific changes and restore a majority of the text to the core text in the 2009 IBC.
Anthony Apfelbeck
2
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
202
 3587 
Provides a definition for &quot;Nonresidential Farm Buildings&quot; as the term is utilized in section 102. Provides a definition for &quot;Farm&quot; as utilized in the the definition of &quot;Nonresidential Farm Buildings.&quot;
Anthony Apfelbeck
2
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
4‑Special Detailed Requirements Based on Use and Occupancy
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 6 of 10
11/3/2010
Total Mods for this TAC:
Code Administration
TAC:
 34 
401.2.1
 3877 
Retain language from the base code and renumber “Florida Specific” language starting at Section 430 and reserve section 424 – 429 for future code expansion.
J Glenn‑BASF
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
15‑Roof Assemblies and Rooftop Structures
1512.4, 1512.4.1, 1512.4.2, 1512.4.2.1, 1512.4.2.2
 3691 
Clarification
chris schulte
15
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
1512.4.2.3, 1512.4.2.4, 1512.4.3, 1512.4.3.1
 3692 
Clarification
chris schulte
15
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
1512.4.3.2, 1512.4.3.3
 3693 
Clarification
chris schulte
15
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
32‑Encroachments into the Public Right‑of‑Way
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 7 of 10
11/3/2010
Total Mods for this TAC:
Code Administration
TAC:
 34 
3202.5
 3960 
Remove unnecessary requirements are covered in the existing base code.
J Glenn‑BASF
32
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
2706‑Rodent Proofing (Reserved)
New Appendix
 4384 
The purpose of this proposed change is to add a new optional appendix to the FBC for green and high‑performance buildings.
steve ferguson
2706
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Existing Building
4‑Classification of Work
405.1
 4245 
This proposal clarifies the application of a Level 3 Alterations as it applies to portions of buildings.
Anthony Apfelbeck
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Mechanical
1‑Administration and Enforcement
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 8 of 10
11/3/2010
Total Mods for this TAC:
Code Administration
TAC:
 34 
All
 4383 
Replace the Florida Building Code‑Mechanical with the 2009 International Mechanical Code in its entirety.
Doug Harvey
1
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Plumbing
1‑Scope And Administration
All
 4380 
Replace the Florida Building Code‑Plumbing with the 2009 International Plumbing Code in its entirety.
Doug Harvey
1
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Residential
12‑Mechanical Administration
12‑21
 4390 
Replace the Florida Building Code, Residential Section 12‑21 Mechanical with Section 12‑21 Mechanical of the 2009 International Residential Code in its entirety.
Doug Harvey
12
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
14‑Heating and Cooling Equipment
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 9 of 10
11/3/2010
Total Mods for this TAC:
Code Administration
TAC:
 34 
14‑23
 4387 
Replace the Florida Building Code, Residential Section 14‑23 Plumbing with Section 14‑23 Plumbing of the 2009 International Residential Code in its entirety.
Doug Harvey
14
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
24‑Fuel Gas
24
 4388 
Replace the Florida Building Code, Residential Section 24‑Fuel Gas with Section 24 Fuel Gas of the 2009 International Residential Code in its entirety.
Doug Harvey
24
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
44‑High Velocity Hurricane Zones
R4402.1.4, R4402.1.4.1, R4402.1.4.2, R4402.1.4.2.1
 3694 
Clarification
chris schulte
44
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
R4402.1.4.2.2, R4402.1.4.2.3, R4402.1.4.2.4
 3695 
Clarification
chris schulte
44
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 10 of 10
11/3/2010
Total Mods for this TAC:
Code Administration
TAC:
 34 
R4402.1.4.3, R4402.1.4.3.1, R4402.1.4.3.2
 3696 
Clarification
chris schulte
44
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
R4402.1.4.3.3
 3697 
Clarification
chris schulte
44
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations