Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 15
11/3/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
105, 304, 423, 428
 3641 
Change all references of “community college” to “Florida college,” add definition of a Florida college.
Jon Hamrick
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
419, 420, 423, 424
 3880 
Florida‑specific mods to Chpt 2, related to consistency with flood provisions of the NFIP.  Mods coordinated with applicable State agencies:  419 &amp; 420 (Agency for Health Care Admin); 423 (Office of Educational Facilities).  Specified elevations are consistent with ASCE 24, referenced in 1612.
Rebecca Quinn
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
419.2
 4174 
Revises this section for clarity.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
419.3.17
 4289 
Revises nurse call requirements to coordinate with the 2010 Guidelines.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
419.3
 4182 
Clarifies what facilties need to meet sectin 419 requirements.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
419.4.2.2
 4292 
Clarifies this section of the code.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
419.4.2.6.1
 4277 
Revises this section for clarity and to bring it into conformity with the rest of the section.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
420.4.2.2
 4294 
Revises section for clarity.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
420.4.
 4357 
Revises these sections to coordinate with the requirements of the code.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
421.3.12
 4435 
Clarifies this seciton.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 4 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
419.3.12.1
 4440 
Clarifies this seciton.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
419.4.2.5
 4358 
Clarifies and coordinates this section with the code.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
419.4.2.6.4
 4423 
Adds clarifying language to the section.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
419.4.2.9.1.5
 4427 
Adds hurricane requirement for this section.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 5 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
420.4.2.6.1
 4281 
clarity and to bring it into conformity with the rest of the section.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
420.4.2.6.4
 4422 
Adds clarifying language to the section.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
420.4.2.9.1.5
 4428 
Adds hurricane requirement for this section.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
421.3.6.1
 4431 
Clarifes location of HVAC equipment.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 6 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
421.3.7.1
 4439 
Clarifies this seciton.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
423.10
 3635 
Requires water irrigation systems on public school district properties and Florida college properties to be equipped with soil moisture sensors. This is a requirement of Section 373.62, Florida Statutes. Renumbers building code sections that follow new language.
Jon Hamrick
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
423.18
 3636 
Deletes duplicate occupancy capacity requirements found in Chapter 10, Florida Building Code, Building, from Section 423.18.1 of the same volume. Renumbers section.
Jon Hamrick
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
423.3
 3637 
Raises the threshold for performing day‑labor projects and for when a licensed contractor is required to bid on capital improvement projects from $200,000 to $300,000. This change reflects current Florida Statute requirements.
Jon Hamrick
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 7 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
423.8.4
 3690 
Add exemption for installing a fire sprinkler system in an existing educational occupany. This exemption is proposed by Modification 3507 to be removed from Section 903.2.3
Jon Hamrick
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
428.4.1
 3935 
Clarifies the expiration date of approved manufactured building plans upon effective date of new code.
Ila Jones
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
428.5
 3932 
Deletes language that has been adopted in Rule 9B‑1, Florida Administrative Code, regarding recertification of previously approved manufactured buildings.  Also, deletes language that is not supported by Section 553.375, Recertification of Manufactured Buildings
Ila Jones
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
428.5
 3933 
Removes language from the code that has been adopted in Rule 9B‑1, Florida Administrative Code regarding factory‑built schools.  Clarifies that code inspections for factory‑built schools can be performed by a DCA approved agency.
Ila Jones
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 8 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
428.7
 3941 
Deletes requirement that factory‑built schools designated as existing buildings must comply with Section 423.  Clarifies that a DCA approved agency can perform inspections on factory‑built schools.
Ila Jones
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
428
 3944 
This modification contains edits to Section 428 that maintains consistency with Rule 9B‑1, Florida Administrative Code.
Ila Jones
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
437.2.8.1
 4418 
Corrects the type of essential electrical system for use in a Hospice.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
30‑Elevators and Conveying Systems
3001
 3468 
Revise section 3001.1 Scope: clarify administrative Note:; revise section 3001.2 consistent with references in section 3001.1 Scope; revise ASME national standard title; revise sections 3001.3 and 3001.5; and revise definitions in Section 3001.6.
DOUG MELVIN
30
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 9 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
3004
 3463 
REVISE section 3004.3.1 to replace International Code reference with Florida Building Code reference.
DOUG MELVIN
30
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
3005
 3466 
REVISE section 3005.4 to remove reference to seismic restraint and to change sentence structure, and remove type of (a major) alteration.
DOUG MELVIN
30
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
3008
 3471 
REVISE section 3008.2 to read as follows.
DOUG MELVIN
30
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
3009
 3472 
REVISE Section 3009 to reformat for outline numbering form
DOUG MELVIN
30
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 10 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
3012
 3477 
REVISE and renumber in outline numbering format for Section 3012
DOUG MELVIN
30
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
3013
 3861 
REVISE Section 3013 to replace an obsolete chart with text for clarity, remove ambiguity of purpose, and advise that an elevator construction permit is required when certain work is performed.
DOUG MELVIN
30
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
35‑Referenced Standards
3500
 3593 
Updates referenced code.
James Gregory
35
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
3500
 4295 
Adding a new reference standard.
James Gregory
35
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 11 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
3500
 4297 
Adds and updates the UL standard for nurse call systems.
James Gregory
35
Comment

Proponent
Summary
Mod #
Section
Chapter
Approved as Submitted
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
419.3.15.2
 4424 
Adds clarifying language to the section.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
420.3.16.1
 4441 
Clarifies this seciton.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 12 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
420.3.20.4
 4425 
Adds clarifying language to the section.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
421.3.10.10
 4436 
Clarifies this seciton.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
423.10.2.8
 4394 
Deletes 423.10.2.8.
Anthony Apfelbeck
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
423.10.5
 4401 
Deletes section 423.10.5.
Anthony Apfelbeck
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 13 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
423.26.8
 4373 
Requires buildings with time‑out rooms to be protected by a fire sprinkler system.
Anthony Apfelbeck
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
423.4.5
 4385 
Deletes the provisions of 423.4.5
Anthony Apfelbeck
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
423.8.8
 4389 
Deletes section 423.8.8.
Anthony Apfelbeck
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
Table 436.5
 4275 
Table 436.5 has &quot;YES&quot; and &quot;NO&quot; in the &quot;1 story above LED1&quot; row. This should state &quot;YES&quot;.
Jose Guanch
4
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Residential
3‑Building Planning
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 14 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
306.3
 4021 
Retain base code (IRC) language.
J Glenn‑BASF
3
Comment

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
419.1.1
 4075 
Clarifying language.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Withdrawn
419.2
 4076 
Adds clarifying language.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Withdrawn
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 15 of 15
11/3/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 54 
419.4.2.6.3
 4421 
Adds clarifying language to the section.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Withdrawn
437.2.8.1
 4376 
Corrects the generator requirement.
James Gregory
4
Comment

Proponent
Summary
Mod #
Section
Chapter
Withdrawn
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations