986	POLYGLASS USA	Roofing	Underlayments	Approval.  	There was no certificate of independence.  ASTME D 2626 was listed in the report but omitted on the application. Year/edition on the application do not match the code for ASTM D 226 and ASTM D 1970.
	1213	Mule-Hide Products Co.,	Roofing	Modified Bitumen 	Approval.
		Roof System	
	1757	Zion Tile Corporation	Roofing	Roofing Tiles	Approval. 	[June deferral for no certificate of independence.  Standard year was not consistent with the code.]
	1870	EcoStar	Roofing	Roofing Tiles	Approval.  	Standard editions were corrected for the June deferral.
	1882	Ludlow Coated Products	New/Innovative 	Other	Wall Sheathing      	Approval.
	Envelope Products
	1934	PHILIPS PRODUCTS 	Windows	Other	Sliding Glass Doors 	Deferral	Staff could not open the attached pdf file.
	2009	IND. MILLWORK CORP	Exterior Doors	Swinging	Approval.  	[June deferral for different manufacturer name and address on Miami-Dade web site.  No limitations of use.  No code sections provided.  Lists test protocols.  Correct year of standard (1994) and add section 1606.1.4.]
	2030	Dryvit Systems, Inc	Panel Walls	Ext. Insulation Finish System 	Conditional Approval   	TAS standards were correctly listed; however, the application listed standards either not in the code or they were fire standards.  Compliance method was changed to Certification Mark or Listing.	
	2122	Johns Manville	Roofing	Modified Bitumen 	Approval.  	The edition of the standards have been corrected from the June deferral.
	Roof System
	2397	Phoenix Architectural 	Shutters	Storm Panels	Approval.
	Products, Inc
	2408	Hurst Awning Company 	Shutters	Other	Shade Bahama        	Approve.  	The method of compliance has been changed to certification mark or listing for the June deferral.  The certificate of independence is no longer necessary.  The current NOA lists this product as a sunshade (not as a shutter).
	Inc.
	2435	Roatan Mahogany 	Exterior Doors	Swinging	Conditional Approval.  	The compliance method for the June deferral was changed to certification mark or listing.  Limits of use were not provided in the application.
	Millwork, Inc.
	2436	Roatan Mahogany 	Windows	Fixed	Conditional Approval.  	The compliance method for the June deferral was changed to certification mark or listing.  Limits of use were not provided in the application.
	Millwork, Inc.
	2437	Roatan Mahogany 	Windows	Casement	Conditional Approval.  	The compliance method for the June deferral was changed to certification mark or listing.  Limits of use were not provided in the application.
	Millwork, Inc.
	2491	Marvin Windows and 	Windows	Casement	Approval.  	[June deferral to add code sections 1707.4.2 and 1606.1.4.  Year/edition of standards were not consistent with the code.] 
	Doors
	2494	Plaza Door Co., Inc.	Exterior Doors	Sliding	Conditional Approval. 	 The compliance method for the June deferral was changed to certification mark or listing.  Limits of use were not provided in the application.
	2500	Wedgcor, Inc.	Structural Components	Deck-Roof	Approval	The applicant made the required changes to the application.
	2503	Wedgcor, Inc.	Panel Walls	Siding	Approval.  	[June deferral for wrong standard listed.  The code references ASTM E 72 as the test for panels.]
	2561	Nucor Building Systems	Roofing	Other	Structural roofing  	Approval.  	[June deferral for year/edition of the referenced standards were not consistent with the code.]
	2571	O'Hagin's, Inc.	Roofing	Other	Ventilation         	Approval 	The applicant made the required changes to the application.
	2580	Marvin Window & Door 	Windows	Double Hung	Approval 	[June deferral for standard year edition not consistent with the code.  Add code sections.]
	2583	Marvin Window & Door	Windows	Awning	Approval 	[June deferral to add code sections.  Year/edition of the referenced standards were not consistent with the code.]
	2587	Marvin Window & Door	Windows	Fixed	Approval 	[June deferral to add code sections 1707.4.2 and 1606.1.4.  Year edition of standards were not in the code.]
	2595	Marvin Window & Door	Exterior Doors	Swinging	Approval.  	[June deferral to add code sections 1707.4.2 and 1606.1.4.  Year edition of standards were not consistent with the code.]
	2608  	PrimeSource Building 	Roofing	Roofing Fasteners		Deferral	 June deferral for No section 1506.5.1.  Year/edition not consistent with the code.]  See below.7-21-04 Jon Caudill: I have a call in for Mr. Furio (who is a distributor for these products, not the manufacturer), to advise him that he must have manufacturers authorization to apply for them.  7-22-04 Jon Caudill: I spoke to Bob Furio, Prime Source Building Products, regarding his authorization to apply on behalf of all of these manufacturers.  He said that he was not in fact officially authorized to make application for PA. I discussed the fact that Jim Loveland, with Maze, had indicated that his company didn’t have in plant QA, and to his knowledge, none of the other manufacturers, particularly the foreign manufacturers, did either. I explained to Mr. Furio that the process required the manufacturers or their authorized representatives to make application.  I also explained that the manufacturers would have to have QA from a approved QA Entity.  This product is listed, and has no NOA from Miami-Dade.
	Products
	2611	Marvin Window & Door	Exterior Doors	Sliding	Approval.  	[June deferral to add code sections 1707.4.2. and 1606.1.4.  Year edition of standards were not consistent with the code.]
	2616	Marvin Window & Door	Exterior Doors	Other	Sidelite and 	Approval. 	[June deferral to add reference code sections 1606.1.4 and 1707.4.2.  Year edition of standards was not in the code.]
	2617	Superior Window Corp.	Windows	Projected	Approval.  
	2640	A.G.R. Fabrications Inc.	Structural Components	Railing	Approval.  	The method of compliance has been changed to certification mark or listing for the June deferral.  The certificate of independence is no longer necessary.

	2689	2001 Company	Roofing	Single Ply Roof 	Approval	 [June deferral because it was tested to standard edition not in the code.  Should be 1994.]
	Systems
	2690	ASC Profiles Inc.	Roofing	Other	Metal Roofing       	Approval	The applicant made the required changes to the application.
	2695	Innovative Metals 	Roofing	Other	structural roofing  	Approval 	[June deferral because the reference year of the standard was not in the code.  (TAS 125 is 2003).]
	Company, Inc.
	2710	NuAir Windows and 	Windows	Single Hung	Approval	The applicant made the required changes to the application.
	Doors
	2741	Builders First Source	Windows	Single Hung	Conditional Approval  	The standard referenced should be ANSI/AAMA/NWWDA 101.I.S.2-97.  The limitations of use are too general. 
	2742	Innovative Window 	Windows	Single Hung	Conditional Approval  	Limitations of use were too general and there were no design pressures listed.
	Concepts LLC
	2748	Superior Window Corp.	Windows	Projected	Approval

	2752	Danvid Window 	Windows	Single Hung	Conditional Approval	The limits of use were provided in the model description column.  R
	Company
	2774	United Structures of 	Roofing	Non-structural Metal 	Deferral.  	The standards/editions listed on the application are not consistent with the standards listed in the code.
	America, Inc.	Roofing
	2786	BetterBilt	Windows	Single Hung	Conditional Approval	The products have the same model number but different descriptions.  Limitations of use are provided in the model description column.
	2795	Yale Ogron Windows 	Windows	Fixed	Conditional Approval 	The application states that TAS 201, 202, and 203 are 2000 where the code has 1994.  Limitations of use are provided in the model description column.
	and Doors
	2796	Hurd Millwork Company 	Windows	Double Hung	Conditional Approval 	No design pressures were provided in the limits of use column. 
	2797	Hurd Millwork Company 	Windows	Fixed	Conditional Approval 	No design pressures were provided in the limits of use column.
	2804	Architectural Building 	Roofing	Non-structural Metal 	Deferral  	The application has UL 580-1996 while the code has 1994 with 1995 revisions. 
	Components	Roofing
	2806	Ruffin Building Systems	Structural Components	Deck-Roof	Approval

	2807	Ruffin Building Systems	Structural Components	Deck-Roof	Deferral	The standards/editions listed on the application are not consistent with the standards listed in the code. Recommend deferral
	2808	GAF Materials 	Roofing	Single Ply Roof 	Conditional Approval 	The application lists TAS 110-2000 when FBC lists TAS 100-1995. 
	Corporation	Systems
	2813	GAF Materials 	Roofing	Underlayments	Approval
	Corporation	
	2815	Alside, Inc., Div. of AMI 	Windows	Single Hung	Conditional Approval. 	Limits of use was entered into model description field. 

	2823	Kolbe and  Kolbe 	Windows	Double Hung	Deferral  	Limitations of use were not provided.  The standards provided on the application do not indicate which agency has the standard.  The FBC references ASTM E 1996-99 while the application lists E1996-02, The FBC references AAMA 101/I.S. 2-1997 when the application states 101/I.S. 2-2002. 
	Millwork
	2824	Kolbe and  Kolbe 	Windows	Single Hung	Deferral 	Limitations of use were not provided on the application.  The standards provided on the application do not indicate which agency has the standard.  The FBC references ASTM E 1996-99 while the application lists E1996-02, The FBC references AAMA 101/I.S. 2-1997 when the application states 101/I.S. 2-2002.  It appears that the applicant chose the wrong listing agency for this application.  See the previous application. 
	Millwork
	2825	Kolbe and  Kolbe 	Exterior Doors	Swinging	Deferral 	Limitations of use were not provided on the application.  The standards provided on the application do not indicate which agency has the standard.  The FBC references ASTM E 1996-99 while the application lists E1996-02, The FBC references AAMA 101/I.S. 2-1997 when the application states 101/I.S. 2-2002. 
	Millwork
	2830	Smith Mountain Impact 	Windows	Fixed	Approval
	Systems
	2834	Kolbe and  Kolbe 	Windows	Awning	Conditional Approval 	The standards and editions are not listed correctly. 
	Millwork
	2836	E.S. Windows, Inc.	Exterior Doors	Sliding	Approval

	2837	E.S. Windows, Inc.	Windows	Fixed	Approval

	2838	E.S. Windows, Inc.	Windows	Horizontal Slider	Approval

	2839	E.S. Windows, Inc.	Windows	Single Hung	Approval

	2840	Kolbe and  Kolbe 	Windows	Fixed	Conditional Approval 	The standards and editions are not listed correctly. 
	Millwork
	2841	Ludlow Coated Products	New/Innovative 	Other	Housewraps          	Denial	Out side the scope of Rule 9B-72.
	Envelope Products
	2842	Kolbe and  Kolbe 	Windows	Casement	Conditional Approval 	The standards and editions are not listed correctly. 
	Millwork

	Millwork
	2847	Lomanco, Inc	Roofing	Other	Ridge Vents        	Approval 

	2855	Hayfield Window and 	Windows	Horizontal Slider	Approval
	Door Company
	2859	Construction Specialties,	Panel Walls	Wall Louver	Approval
	 Inc.
	2860	Johns Manville	Roofing	Modified Bitumen 	Conditional Approval 	The standard listed should be ASTM D 6163.
	Roof System
	2863	Kinro, Inc	Windows	Single Hung	Conditional Approval  	The standard listed should be ANSI/AAMA/NWWDA 101 I.S. 2-97.
	Millwork

	2864	Kinro, Inc	Windows	Single Hung	Conditional Approval 	The standard listed should be ANSI/AAMA/NWWDA 101 I.S. 2-97.
	Millwork

	2865	Kinro, Inc	Exterior Doors	Sliding	Conditional Approval 	The standard listed should be ANSI/AAMA/NWWDA 101 I.S. 2-97. 
	Millwork

	2877	Valco Enterprises, Ltd.	Shutters	Accordion	Approval

	2878	Roll-A-Way Security 	Shutters	Roll-up	Approval
	Shutters
	2879	Bernardo Shutter 	Shutters	Accordion	Approval
	Corporation
	2880	Bernardo Shutter 	Shutters	Bahama	Approval
	Corporation
	2881	Bernardo Shutter 	Shutters	Colonial	Approval
	Corporation
	2891	Blocksom &amp; Co.	Roofing	Other	static roof vent    	Approval

	2896	Action Windoor 	Windows	Single Hung	Approval
	Technology
	2906	Atrium Windows and 	Windows	Single Hung	Approval
	Doors, NC
	2907	Atrium Windows and 	Windows	Horizontal Slider	Approval
	Doors, NC
	2908	Mule-Hide Products Co.,	Roofing	Single Ply Roof 	Approval
	 Inc.	Systems
	2915	CPI International, Inc.	Sky Lights	Skylight	Approval

	2918	Laminator's Inc	Panel Walls	Siding	Approval

	2920	Sealoflex, Inc.	Roofing	Waterproofing	Approval

	2921	American Building 	Windows	Horizontal Slider	Conditional approval  	The standard listed should be ANSI/AAMA/NWWDA 101 I.S. 2-97. 
	Millwork

	Components, Inc.
	2922	Kennedy Skylights, LLC	Sky Lights	Skylight	Deferral.  	The standards listed on the application are not consistent with the standards listed in the code.

	2926	Quaker Window Products	Windows	Fixed	Conditional approval  	The standard listed should be ANSI/AAMA/NWWDA 101 I.S. 2-97.
	 Co. Inc.
	2932	Metal Sales 	Roofing	Other	Structural panels   	Deferral.  	The application lists UL 580-04 while the FBC lists UL 580-94. 
	Manufacturing 
	Corporation
	2941	ITW Buildex	New/Innovative 	Other	Fastener            	Denial	Fasteners other than roofing fasteners are outside the scope of the Rule. 
	Envelope Products
	2946	JORDAN WINDOWS and	Windows	Awning	Approval
	 DOORS
	2947	Nana Wall Systems, Inc.	Exterior Doors	Swinging	Approval

	2949	JORDAN WINDOWS and	Windows	Casement	Approval
	 DOORS
	2952	Sun Metals Systems, 	Windows	Fixed	Approval

	2954	Sun Metals Systems, 	Windows	Fixed	Approval

	2955	Sun Metals Systems, 	Exterior Doors	Sliding	Approval

	2956	Sun Metals Systems, 	Exterior Doors	Sliding	Approval

	2961	Ruffin Building Systems	Panel Walls	Siding	Approval

	2965	United Roofing	Roofing	Underlayments	Deferral  	The application lists ASTM 4869-98 while the FBC lists ASTM D 4869-89 (1993).  The application lists ASTM D 226-98 while the FBC lists ASTM D 226-95. 

	2981	Wellbilt International 	Panel Walls	Other	load bearing wall pa	Approval
	2984	Innovative Building 	Windows	Fixed	Approval
	Products, Inc.
	2986	Knudson MFG. INC.	Roofing	Non-structural Metal 	Approval
	Roofing
	2991	Dura-Loc Roofing 	Roofing	Non-structural Metal 	Approval
	Systems Ltd.	Roofing
	2998	Sargent Manufacturing 	Exterior Doors	Swinging	Approval. 	

	Company
	3005	Reddi Form	Structural Components	Insulation Forms	Deferral  	The standards listed on the application are not consistent with the standards listed in the code. 

	3008	Barrett Company	Roofing	Cements-Adhesives-C	Conditional approval	Recommend conditional approval. Needs entire NOA uploaded or referenced by #NOA
	oatings
	3011	Barrett Company	Roofing	Waterproofing	Conditional approval	Recommend conditional approval. Needs entire NOA uploaded or referenced by #NOA

	3019	Ceco Door Products	Exterior Doors	Swinging	Approval

	3021	BAY CITY WINDOW 	Exterior Doors	Swinging	Approval
	COMPANY
	3022	BAY CITY WINDOW 	Exterior Doors	Sliding	Approval
	COMPANY
	3024	BAY CITY WINDOW 	Windows	Casement	Approval
	COMPANY
	3027	BAY CITY WINDOW 	Windows	Fixed	Approval
	COMPANY
	3028	BAY CITY WINDOW 	Windows	Single Hung	Approval
	COMPANY
	3031	Seasonshield 	Windows	Single Hung	Deferral	Glass type needs to be specified and Chapter 26 needs to be addressed.
	Incorporated
	3033	Traco Windows and 	Exterior Doors	Sliding	Conditional approval	Not for use in HVHZ  TAS 201, 202, 203
	Doors, Inc.
	3034	Metals USA Building 	Windows	Fixed	conditional approval
	Products
	3036	Traco Windows and 	Exterior Doors	Sliding	Approval
	Doors, Inc.
	3037	Traco Windows and 	Exterior Doors	Swinging	Approval
	Doors, Inc.
	3038	Traco Windows and 	Exterior Doors	Swinging	Approval
	Doors, Inc.
	3040	Traco Windows and 	Windows	Single Hung	Approval
	Doors, Inc.
	3041	Traco Windows and 	Windows	Single Hung	Approval
	Doors, Inc.
	3042	Traco Windows and 	Windows	Double Hung	Approval
	Doors, Inc.
	3043	Traco Windows and 	Windows	Horizontal Slider	Approval
	Doors, Inc.
	3044	Traco Windows and 	Windows	Horizontal Slider	Approval
	Doors, Inc.
	3045	Traco Windows and 	Windows	Casement	Approval
	Doors, Inc.
	3046	Traco Windows and 	Windows	Awning	Approval
	Doors, Inc.
	3047	Traco Windows and 	Windows	Fixed	Approval
	Doors, Inc.
	3051	Marvin Windows and 	Windows	Horizontal Slider	Approval
	Doors
	3059	Seasonshield 	Windows	Fixed	Deferral	Needs to comply with HVHZ. Glass type needs to be specified and laminate needs to comply with chapter 26.
	Incorporated
	3061	Simonton Windows	Windows	Fixed	Approval

	3063	Yale Security Inc.	Exterior Doors	Swinging	Conditional approval	Change category to structural components and listed Ansi Standards

	3067	Corbin Russwin Inc.	Exterior Doors	Swinging	Conditional Approval  	The application is for door latching hardware which is outside the scope of Rule 9B-72. Table pending results of DEC statement Recommend conditional approval. Change category to structural components and listed Ansi Standards

	3074	Danvid Window 	Windows	Single Hung	Approval
	Company
	3075	Arrow United Industries	Panel Walls	Wall Louver	Approval

	3078	Amweld Building 	Exterior Doors	Swinging	Approval
	Products LLC.
	3086	SNE Enterprises	Windows	Casement	Approval

	3087	SNE Enterprises	Windows	Double Hung	Approval

	3089	SNE Enterprises	Windows	Fixed	Approval

	3090	SNE Enterprises	Windows	Horizontal Slider	Approval

	3091	SNE Enterprises	Windows	Projected	Approval

	3092	SNE Enterprises	Windows	Single Hung	Approval

	3096	Tritex ICF Products, Inc.	Structural Components	Insulation Forms	Deferral.  	The standards listed on the application are not consistent with the standards listed in the code.
	3097	PALM CITY 	Windows	Casement	Approval
	MILLWORK, INC.
	3098	PALM CITY 	Windows	Casement	Approval
	MILLWORK, INC.
	3113	Taylor Building Products	Exterior Doors	Swinging	Approval

	3126	BiltBest Windows and 	Windows	Double Hung	Approval
	Patio Doors
	3128	Simonton Windows	Windows	Single Hung	Approval

	3129	Sun Windows, Inc.	Windows	Double Hung	Approval

	3130	Velux-America, Inc.	Sky Lights	Skylight	Deferral	The standards listed on the application are not consistent with the standards listed in the code.

	3131	Pella Corporation	Exterior Doors	Sliding	Deferral	The standards listed on the application are not consistent with the standards listed in the code.

	3132	Pella Corporation	Windows	Single Hung	Approval

	3133	Pella Corporation	Windows	Fixed	Approval
	3134	Pella Corporation	Windows	Horizontal Slider	Approval
	3137	Pella Corporation	Windows	Casement	Approval

	3138	Pella Corporation	Windows	Awning	Approval

	3139	General Aluminum 	Windows	Fixed	Approval
	Company
	3140	Pella Corporation	Windows	Double Hung	Approval

	3141	General Aluminum 	Windows	Fixed	Approval
	Company
	3142	General Aluminum 	Windows	Single Hung	Approval
	Company
	3143	General Aluminum 	Windows	Fixed	Approval
	Company
	3151	Peachtree Doors and 	Windows	Casement	Approval
	Windows
	3153	Peachtree Doors and 	Exterior Doors	Swinging	Approval
	Windows
	3154	Peachtree Doors and 	Windows	Double Hung	Approval
	Windows
	3157	Peachtree Doors and 	Windows	Fixed	Approval
	Windows
	3158	Peachtree Doors and 	Windows	Projected	Approval
	Windows
	3159	Peachtree Doors and 	Windows	Horizontal Slider	Approval
	Windows
	3160	Peachtree Doors and 	Windows	Single Hung	Approval
	Windows
	3163	Weather Shield	Windows	Casement	Approval

	3165	Weather Shield	Windows	Double Hung	Approve.
	3166	Weather Shield	Windows	Fixed	Approve.

	3167	Weather Shield	Windows	Mullions	Approve.

	3168	Weather Shield	Exterior Doors	Swinging	Approve.

	3169	Atrium Windows and 	Exterior Doors	Sliding	Approve.
	Doors - Texas
	3181	Superior Window Corp.	Windows	Casement	Approve.

	3183	Superior Window Corp.	Windows	Casement	Approve.

	3185	Kensington Windows Inc	Windows	Casement	Approve.

	3186	Kensington Windows Inc	Windows	Horizontal Slider	Approve.

	3187	Kensington Windows Inc	Windows	Fixed	Approve.

	3188	Kensington Windows Inc	Windows	Double Hung	Approve.

	3189	Superior Window Corp.	Windows	Single Hung	Approve.

	3191	Superior Window Corp.	Windows	Single Hung	Approve.

	3204	Atlas Window Systems 	Exterior Doors	Swinging	Deferral	Laminate glass is not identified nor 50 lb/ft for panic hardware.
	Inc.
	3205	Energy Saving Products 	Exterior Doors	Sliding	Conditional approval	Not for use in HVHZ 
	of Florida
	3206	Marvin Windows and 	Exterior Doors	Sliding	Conditional approval 	Not for use in HVHZ
	Doors
	3208	PGT Industries	Windows	Fixed	Approve.

	3209	PGT Industries	Windows	Single Hung	Approve.

	3210	Energy Saving Products 	Windows	Single Hung	Approve.
	of Florida
	3212	Energy Saving Products 	Windows	Fixed	Approve.
	of Florida
	3214	Seasonshield 	Windows	Horizontal Slider	Deferral	Needs to comply with HVHZ. More info needed.
	Incorporated

	Incorporated
	3215	Seasonshield 	Windows	Casement	Deferral	Needs to comply with HVHZ. Glass type needs to be specified and laminate needs to comply with chapter 26.
	Incorporated

	Incorporated
	3216	Nor-Lake, Incorporated	Structural Components	Coolers-Freezers	Approve.

	3217	Seasonshield 	Exterior Doors	Swinging	Deferral	Needs to comply with HVHZ. Glass type needs to be specified and laminate needs to comply with chapter 26.
	Incorporated

	Incorporated
	3222	Superior Window Corp.	Windows	Mullions	Approve.

	3224	Superior Window Corp.	Windows	Mullions	Approve.

	3234	ODL, Inc.	Exterior Doors	Swinging	Deferral.	Need to provide weathering data. The polyurethane raw material has variability which exceeds the HVHZ.

	880	Capitol	Windows	Mullions	Conditional approval. 	No limits of use, no certificate of independence, and no hard copy.

	945	Roller Star USA	Shutters	Roll-up	Conditional approval.  	The application does list testing standards, does not  indicate HVHZ, and hard copy has not been received.

	987	BetterBilt	Windows	Mullions	Conditional approval.  	No limits of use, no certificate of independence, and no hard copy.

	1370	Plastpro Inc. / Nanya 	Exterior Doors	Swinging	Approve.
	Plastics Corp.
	1945	Mid-America Door	Exterior Doors	Sectional	Approve.  	[June deferral.  Need certificate of independence from the evaluation entity.  [D] Not approved validation entity. Need to check this.  Jon Caudill.]

	2144	Sealoflex, Inc.	Roofing	Liquid Applied Roof 	Approve.
	Systems
	2382	Mid-America Door	Exterior Doors	Sectional	Approve.  	[June deferral.  Need certificate of independence from the evaluation entity.  Need to add ASTM E 330 or DASMA 108.  Add s. 1707.4.3 and 1707.3.2.  Remove s.1704.4 and Chapter 17.  Chapters 22 and 26 were not addressed in the report. ] 

	2399	United States Aluminum	Exterior Doors	Swinging	Deferral.  	The FBC references ASTM E 330-84 but the application states ASTM E 330-90.  The FBC references ASTM E 1996-99 while the application references ASTM E 1996-92.  The validation entity is a testing lab and does not appear to be certified for testing doors.
	 Corp.
	2420	Stanek Windows	Windows	Mullions	Approve	[June deferral.  Need technical documentation and calculations in evaluation report.  Missing limitation of use.  Missing certificate of independence from the evaluation entity.  Need an evaluation report which includes the criteria for an evaluation report as provided in Rule 9B-72.]  

	2432	The Foundry	Panel Walls	Siding	Conditional approval	[June deferral.  Year/edition of the standards are inconsistent with the report.  Original validation entity validating outside their scope; now, the applicant has a new validation entity.] 
	Corporation
	2511	Metal Building 	Roofing	Non-structural Metal 	Approve.  	[June deferral. TAS110, and 125 should have been performed. Not in HVHZ. Installation instructions did not match evaluation report.]
	Supplies, LLC	Roofing
	2517	Metal Building 	Roofing	Non-structural Metal 	Approve.  	[June deferral.  Not tested for HVHZ. Also, can’t use T caps and nails on metal deck.]
	Supplies, LLC	Roofing
	2523	Alcoa Home Exteriors, 	Panel Walls	Siding	Approve. 	 [June deferral.  Validation entity validating outside their accreditation.]
	Inc.
	2537	Alcoa Home Exteriors, 	Panel Walls	Siding	Approve.  	pplicant made the recommended changes from the June 04 deferral including a statement of equivalence of standards from the engineer of record.  
	Inc.
	2538	Mid-America Door	Exterior Doors	Sectional	Approve.  	June deferral was corrected.  [Need certification of independence from the evaluation entity.  Validation entity outside scope of accreditation.]

	2549	Taylor Building Products	Exterior Doors	Swinging	Deferral	need statement of independence, need statement of equivalency (did not test to TAS 201 and 203) and the hard copy was not received.  The year of the standard on the application should be ASTM E 1996-99.

	2551	Metal Building 	Structural Components	Deck-Roof	Approve.  	June deferral.  The evaluation report did not address standards listed on the application.  Validation entity is outside the scope of his accreditation.]
	Supplies, LLC
	2555	Metal Building 	Panel Walls	Siding	Approve.  	[June deferral.  Validation entity outside scope of accreditation.]
	Supplies, LLC
	2556	Metal Building 	Roofing	Non-structural Metal 	Approve.  	[June deferral.  Validation entity outside scope of accreditation.]
	Supplies, LLC	Roofing
	2591	Silverline Building 	Windows	Single Hung	Conditional approval.  	Applicant made changes from the June deferral except 101/I.S. 2 should be listed as ANSI/AAMA/NWWDA 101/I.S. 2-97; ASTM E 84-95 should be 1997, and ASTM D 638 listed on the application is not listed in the code.
	Products Corp.
	2593	Silverline Building 	Windows	Fixed	Approve.  	No apparent changes made from the June deferral.  Assuming that the original calculations were correct as validated for the August meeting.
	Products Corp.
	2597	Silverline Building 	Windows	Single Hung	Conditional approval.  	Applicant made changes from the June deferral except 101/I.S. 2 should be listed as ANSI/AAMA/NWWDA 101/I.S. 2-97; ASTM E 84-95 should be 1997, and ASTM D 638 listed on the application is not listed in the code.
	Products Corp.
	2600	Silverline Building 	Windows	Single Hung	Conditional approval.  	Applicant made changes from the June deferral except 101/I.S. 2 should be listed as ANSI/AAMA/NWWDA 101/I.S. 2-97. Recommend conditional approval
	Products Corp.
	2607	Silverline Building 	Windows	Fixed	Conditional approval.  	Applicant made changes from the June deferral except ASTM E 84-95 should be 1997, and ASTM D 638 listed on the application is not listed in the code.
	Products Corp.
	2609	Silverline Building 	Windows	Fixed	Conditional approval.  	No apparent changes made from the June deferral.  Assuming that the original calculations were correct as validated for the August meeting.  ASTM D 638 listed on the application is not listed in the code.
	Products Corp.
	2612	Silverline Building 	Windows	Single Hung	Conditional approval.  	No apparent changes made from the June deferral.  Assuming that the original calculations were correct as validated for the August meeting.  ASTM D 638 listed on the application is not listed in the code.
	Products Corp.
	2613	Silverline Building 	Windows	Fixed	Conditional approval.  	No apparent changes made from the June deferral.  Assuming that the original calculations were correct as validated for the August meeting.  ASTM E 84-95 should be 1997.  ASTM D 638 listed on the application is not listed in the code.
	Products Corp.
	2614	Silverline Building 	Windows	Single Hung	Conditional approval.  	No apparent changes made from the June deferral.  Assuming that the original calculations were correct as validated for the August meeting.  Standard 101/I.S. 2 should be listed as ANSI/AAMA/NWWDA 101/I.S. 2-97; ASTM E 84-95 should be 1997, and ASTM D 638 listed on the application is not listed in the code.
	Products Corp.
	2626	Great Lakes Window, 	Windows	Horizontal Slider	Deferral.  	Standard 101/I.S. 2 should be listed as ANSI/AAMA/NWWDA 101/I.S. 2-97, and ASTM (E) 1886-99 should be 1997. 
	Inc.
	2627	Great Lakes Window, 	Windows	Fixed	Conditional approval.  	Standard 101/I.S. 2 should be listed as ANSI/AAMA/NWWDA 101/I.S. 2-97, and ASTM (E) 1886-99 should be 1997.  [June deferral for year/edition of standard not matching the code.]
	Inc.
	2635	Butler Manufacturing 	Roofing	Other	Struc. Metal Roofing	Conditional approval.  	Limitations of use was left blank.  [June deferral missing certificate of independence.  There was no evidence of testing provided  for slope ≤ 2:12 as required by the code.] Recommend Conditional approval not for use in HVHZ
	Company
	2641	Alcoa Home Exteriors, 	Panel Walls	Soffits	Deferral.  	Per the June deferral, the applicant changed his validator but still needs to change the year of the standard on the application to 1988 for ASTM D 3679. Recommend deferral. Pending review of documentation/letter of equivalency
	Inc.
	2662	Butler Manufacturing 	Panel Walls	Other	Steel Panels        	Deferral  	The evaluation report could not be downloaded and there were no limits of use. [June deferral.  The code requires testing as per ASTME 72.  For this product, rational engineering is used instead of testing.  Outside scope of validation accreditation.] 
	Company
	2664	CENTRIA	Panel Walls	Other	Composite Wall 	Deferral.  	Limits of use were attached not listed in the application summary table.  [June deferral.  Electronic certificate of independence not there.  There is no indication from the documentation submitted that the products were tested to ASTM E 72.  Year/edition of the standard is not consistent with the code.  Should be 1980 and should have s. 1706.1.] Check for closed construction.

	2665	UNION CORRUGATING 	Roofing	Non-structural Metal 	Approve.
	COMPANY	Roofing
	2671	United States Aluminum	Panel Walls	Storefronts	Deferral.  	There are no limits of use provided.  The validation entity is a testing lab but is not certified to test this type of product.  ASTM E 330-90 should be 1984.  IG600 references ASTM E 1996-02 when the FBC references 1999.  The report references SSTD12-97 when the FBC references 1999.
	 Corp.
	2672	United States Aluminum	Panel Walls	Curtain Walls	Deferral.  	There are no limits of use provided.  The validation entity is a testing lab but is not certified to test this type of product.  The application has ASTM E 1886-02 when the FBC references 1997
	 Corp.
	2685	JORDAN WINDOWS and	Windows	Mullions	Deferral.  	There are drawings and tables attached but not an evaluation report for the product.  There is no hard copy received and no certificate of independence from the engineer of record.
	 DOORS
	2686	Nucor Building Systems	Panel Walls	Other	Steel Panels        	Approve.  	[June deferral.  Code section 1706.1 requires panels to comply with ASTM E 72.  There is no indication in the evaluation report that the product was tested to ASTM E 72.]

	2694	Superior Walls of 	Structural Components	Wall	Defer  	There are no limits of use in the column.  Check for closed construction.
	America, Ltd.
	2700	Powers Steel Inc.	Structural Components	Other	Steel Lintels       	Conditional approval.  	SSTD-1999 should be SSTD-10 1999.  Decorative cementous coatings not applied, deflections listed, not for use in HVHZ, rebar installed.  Address deflection, indicate in the table that 2 #5 bars are placed at the top and bottom.

	2711	Town and Country 	Roofing	Other	patio-screenroom    	Conditional approval.  	The engineer put an AR before his license number.  The certificate of independence was not provided.  Not for use in HVHZ.
	Industries, Inc.
	2726	ATFAB	Roofing	Non-structural Metal 	Conditional approval  	June deferral changes were made. Recommend conditional approval if in HVHZ must comply with TSA 100 &125
	Roofing
	2730	Amarr Garage Doors	Exterior Doors	Sectional	Conditional approval.  	Limitations of use not for use in HVHZ

	2759	Architectural Traditions	Windows	Fixed	Conditional approval.  	No limitation of use provided.

	2791	Schuco Homecraft, L.P.	Exterior Doors	Sliding	Conditional approval.  	ASTM E 1929, ASTM E 2843, and ASTM E 635 are listed on the application but not in the FBC.  There are no limits of use and no certification of independence. 

	2819	Alenco	Windows	Mullions	Conditional approval.  	Limits of use are missing from the application but are in the report.  There is no certificate of independence provided.

	2868	General American Door	Exterior Doors	Sectional	Approve.

	2876	Marlyn Metals, Inc.	Roofing	Non-structural Metal 	Approve.
	Roofing
	2883	Wheeling Corrugating 	Roofing	Non-structural Metal 	Approve.
	Company	Roofing
	2887	Vistawall Group	Panel Walls	Storefronts	Approve.  	Limits of use are general.

	2889	Vistawall Group	Panel Walls	Curtain Walls	Approve.  	Limits of use are general.

	2899	Window and Shutter 	Shutters	Roll-up	Approve.  	The first attachment is not legible.
	Designs Corp.
	2900	M W Manufacturers Inc.	Windows	Double Hung	Approve.

	2902	M W Manufacturers Inc.	Windows	Fixed	Approve.

	2905	ATAS International, Inc.	Roofing	Non-structural Metal 	Conditional approval.  	The standards in the evaluation report were not provided on the application and there were no installation instructions in the report. Recommend conditional approval.   Not for use in HVHZ
	Roofing
	2927	Vinyl Technologies Inc.	New/Innovative 	Other	Vinyl Window Buck   	Conditional approval.  	The correct listing for the standard is ANSI/AAMA/NWWDA 101/I.S. 2-97.
	Envelope Products
	2940	Consolidated Metals of 	Roofing	Non-structural Metal 	Approve.
	Florida	Roofing
	2945	Headrick Building 	Roofing	Other	Ventilation         	Approve.
	Products, Inc
	2948	Johns Manville	Roofing	Modified Bitumen 	Conditional approval.  	TAS 110-95 is listed on the application but not in the evaluation report.
	Roof System
	2958	ACCU-WELD LLC	Windows	Double Hung	Approve.

	2959	M W Manufacturers Inc.	Windows	Fixed	Approve.

	2960	M W Manufacturers Inc.	Windows	Fixed	Approve.

	2975	Consolidated Metals of 	Structural Components	Deck-Roof	Approve.
	Florida
	2979	ODL, Inc.	Exterior Doors	Swinging	Approve.

	2982	Gentek Building 	Panel Walls	Soffits	Deferral.  	ASTM D 1402-86 and CAN/CGSB-93 are not listed in the FBC.

	2983	ODL, Inc.	Exterior Doors	Swinging	Approve.

	2987	Dunbarton Corporation	Exterior Doors	Swinging	Approve.

	2995	Coastal Metal Roofing, 	Roofing	Non-structural Metal 	Approve.
	Inc	Roofing
	3003	Metal Roofing, Inc.	Roofing	Non-structural Metal 	Approve.
	Roofing
	3007	Ankmar Door 	Exterior Doors	Sectional	Approve.
	Manufacturing
	3012	ASHE industries	New/Innovative 	Other	roof overhang panel 	Conditional approval.  	The application is missing the certificate of independence.  The application lists ASTM E 330-90 while the code calls for ASTM E 330-84.  Rule 9B-72 shows ASTM E 330-97 and 2002 as equivalent.  Correct the application for consistency in the code or equivalent standard listed.
	Envelope Products
	3014	Silverline Building 	Windows	Horizontal Slider	Approve.
	Products Corp.
	3026	Clopay Building 	Exterior Doors	Sectional	Approve.
	Products Company
	3030	Plastpro Inc. / Nanya 	Exterior Doors	Swinging	Approve.
	Plastics Corp.
	3048	Cement Precast 	Structural Components	Other	Concrete Lintels    	Approve.
	Products, Inc
	3057	Eurotech Industries, Inc.	Exterior Doors	Swinging	Conditional approval.  	The hard copy of the report has not been received.

	3060	Clopay Building 	Exterior Doors	Sectional	Conditional approval.  	On the application TAS 201, 202, and 203 are shown as 2001 while the code indicates 1994.
	Products Company
	3070	Raynor Garage Doors	Exterior Doors	Sectional	Conditional approval.  	The application lists ASTM E 330-90 while the code calls for ASTM E 330-84.  Rule 9B-72 shows ASTM E 330-97 and 2002 as equivalent.  Correct the application for consistency in the code or equivalent standard listed.  Signed and sealed copy has not been received.

	3071	Morton Buildings, Inc	Roofing	Other	Struct Metal Roofing	Conditional approval	Not for use in HVHZ

	3072	Morton Buildings, Inc	Panel Walls	Other	Struct Metal Panel  	Approve.

	3073	Morton Buildings, Inc	Exterior Doors	Swinging	Approve.

	3076	Wayne-Dalton Corp.	Exterior Doors	Sectional	Conditional approval.  	The application lists ASTM E 330-90 while the code calls for ASTM E 330-84.  Rule 9B-72 shows ASTM E 330-97 and 2002 as equivalent.  Correct the application for consistency in the code or equivalent standard listed.

	3088	Star Building Systems	Structural Components	Deck-Roof	Approve.

	3093	Star Building Systems	Panel Walls	Siding	Approve.

	3094	Star Building Systems	Structural Components	Wall	Approve.

	3114	Florida Rock Industries, 	Structural Components	Other	lintels             	Conditional approval.  	No certificate of independence received.
	Inc
	3117	Berridge Manufacturing 	Roofing	Non-structural Metal 	Conditional approval 	Not to be used in HVHZ
	Co.	Roofing
	3118	Berridge Manufacturing 	Structural Components	Deck-Roof	Approve.
	Co.
	3119	Powers Steel Inc.	Structural Components	Other	Steel Lintels       	Conditional approval.  	SSTD –1999 should be SSTD 10-1999.  No signed and sealed report received.  The application lists FBC as 1999. Recommend conditional approval.  Not for use in HVHZ

	3135	MODERN METAL 	Roofing	Non-structural Metal 	Approve.
	SYSTEMS, INC.	Roofing
	3136	Florida Extruders 	Windows	Mullions	Approve.
	International, Inc.
	3144	Metalcraft, Inc.	Roofing	Non-structural Metal 	Approve.
	Roofing
	3149	CENTRIA	Roofing	Other	Struc. Metal Roofing	Approve.

	3150	CENTRIA	Roofing	Other	Struc. Metal Roofing	Approve.

	3155	CENTRIA	Panel Walls	Other	Composite Wall 	Conditional approval.  	Attached instructions are not legible.

	3162	ATAS International, Inc.	Roofing	Non-structural Metal 		Conditional approval.	Not for use in HVHZ

	Roofing
	3170	W.R. Grace	New/Innovative 	Other	Self Adhered 	Denial	Outside the scope of the Rule.
	Envelope Products
	3172	YKK AP America	Panel Walls	Curtain Walls	Approve.

	3173	YKK AP America	Panel Walls	Storefronts	Conditional approval.  	The application lists ASTM E 330-90 while the code calls for ASTM E 330-84.  Rule 9B-72 shows ASTM E 330-97 and 2002 as equivalent.  Correct the application for consistency in the code or equivalent standard listed. Check for closed construction.

	3174	CENTRIA	Panel Walls	Other	Struc. Metal Panels 	Approve.  

	3194	Architectural Traditions	Exterior Doors	Swinging	Approve.

	3195	Architectural Traditions	Exterior Doors	Swinging	Approve.

	3196	Architectural Traditions	Exterior Doors	Swinging	Approve.

	3197	Architectural Traditions	Exterior Doors	Swinging	Approve.

	3198	Architectural Traditions	Exterior Doors	Swinging	Approve.
	3199	Architectural Traditions	Exterior Doors	Swinging	Approve.

	3200	Architectural Traditions	Exterior Doors	Swinging	Approve.

	3201	Architectural Traditions	Exterior Doors	Swinging	Approve.

	3202	M and R Products, Inc.	Windows	Other	Window "Add-on 	Conditional approval.  	The year/edition of the standards are missing from the application.

	3203	RM Enterprises, Inc.	Structural Components	Other	A/C Stands          	Conditional approval.  	The application is missing standards and sections, and the attachments on the internet could not be opened.

	3218	Transparent Protection 	Shutters	Storm Panels	Denial.  	The certificate of independence is missing from the application on the web site.  Clarify.  Drawing states product will be manufactured by others not defined.  Installation of the product and test report is not clear or/and panel or what?
	Systems, Inc.
	3221	Weather Guard, Inc.	Shutters	Storm Panels	Deferral  	The certificate of independence is missing from the application on the web site.   Not the manufacturer who submitted the application.

	3226	M W Manufacturers Inc.	Windows	Mullions	Conditional approval.  	The certificate of independence is missing from the application on the web site.  

	3229	Elite Aluminum 	Roofing	Other	Panel Span Tables  	Conditional approval.  	The certificate of independence is missing from the application on the web site.
	Corporation
	3232	Trainor Glass Company	Panel Walls	Curtain Walls	Denial  	Laminated glass cannot pass the large missile impact test.  TAS 204 does not exist.  Not under QA.  The certificate of independence is missing from the application on the web site. 

	3233	Metals USA Building 	Roofing	Other	Patio Cover         	Conditional approval.  	The certificate of independence is missing from the application on the web site.  No signed and sealed hard copy received.
	Products
	3236	Hopes Windows 	Windows	Fixed	Approval
	Incoporated
	3237	Silverline Building 	Windows	Mullions	Conditional approval.  	The certificate of independence is missing from the application on the web site.  No signed and sealed hard copy received.  Applicant will clarify drawing.
	Products Corp.

	77	Allied Foam Products	Panel Walls	Other	structural envelope 	Approve.  	Certificate of independence has been received from the June deferral. 

	1077	Nailite International Inc	Panel Walls	Siding	Conditional approval.  	Missing applicable standards, limitations of use, and certificate of independence.

	1651	LP	Panel Walls	Siding	Conditional approval.  	No limitations of use, nor certificate of independence.

	1653	LP	Panel Walls	Soffits	Conditional approval.  	No limitations of use, nor certificate of independence.

	1702	Dura-Loc Roofing 	Roofing	Non-structural Metal 	Conditional approval.  	No certificate of independence.  Not HVHZ.  F.J. Engineering is not an approved validation entity.  Staff, verify that the engineer validated not the firm.
	Systems Ltd.	Roofing
	1730	Hurri-Bolt, Inc.	Structural Components	Wood Connectors 	Conditional approval.  	No limitations of use.  SBC and the International 1 & 2 Family Dwellings Code were listed in the code sections/standards field.
	Anchors
	2434	Go-Bolt, Inc.	Structural Components	Wood Connectors 	Approve.
	Anchors
	2440	Roseburg Forest 	Structural Components	Engineered Lumber	Conditional approval.  	The limits of use box is too general and should reflect the information found in the evaluation report.  Standards listed on the application were corrected and certificate of independence was added to correct the June deferral.
	Products
	2515	Alcoa Home Exteriors, 	Panel Walls	Siding	Approve.  	The applicant made the required changes from June deferral including a statement of equivalence of standards from the engineer of record.
	Inc.
	2516	Crawford Tracey 	Panel Walls	Curtain Walls	Deferral.  	Could not locate the date of the SBCCI report or the expiration date; the certificate of independence is from the test lab that ran the test when it should be from ICC; could not open the uploaded ICC letter report.  Not for use in HVHZ
	Corporation
	2582	ITW Buildex	New/Innovative 	Other	Fastener            	Denial  	Could not open the evaluation report; the product is a sheathing fastener and unless used in a roofing application, the product falls outside the scope of the Rule 9B-72; no limits of use were listed on the application.
						Recommend denial.
	Envelope Products
	2661	Alcan Composites USA 	Panel Walls	Siding	Conditional approval.  	The SBCCI legacy report is not dated and there were no limits of use.  [June deferral.  There is not indication in the evaluation report that the product was tested to standards in accordance with FBC.]
	Inc.
	2772	Kadant Composites	Roofing	Other	Plastic Composite   	Deferral.  	The application lists ASTM D 635-97 while the FBC lists 1988; the application lists ASTM E 108-96 when the FBC lists 1995; the application lists ASTM E 1929-95 when FBC lists 1977(1985).  There was no certificate of independence.

	2818	DR GOODROOF INC	Roofing	Roofing Tiles	Conditional approval.  	The FBC does not reference ASTM C 1492.  RAS 118, 119, and 120 are installation standards.  There was not certificate of independence.  

	2820	American PolySteel, 	Structural Components	Insulation Forms	Deferral.  	There were no limitations of use provided.  The application lists ASTM C 578-01 which is not in the FBC; ASTM E 84-98 (FBC 1997); ASTM E 119-98 (FBC 1995); and ACI 318-99 (FBC 2002).

	2822	Simpson Strong-Tie Co.	Structural Components	Wood Connectors 	Conditional approval 	no certificate of independence and no limits of use provided on the application.
	Anchors
	2850	International Beams Inc.	Structural Components	Engineered Lumber	Deferral.  	No certificate of independence.  No code sections or standards listed (applicant listed ICC evaluation report number).  No limits of use provided.

	2919	Acrocrete, Inc	New/Innovative 	Other	EIFS                	Conditional approval.  	No standards or code sections listed; only referenced Miami-Dade NOA; limits of use contain the same NOA numbers. Category to be changed to Wall Sub Category
	Envelope Products
	2931	Logix Insulated 	Structural Components	Insulation Forms	Approve.
	Concrete Forms
	2934	Robbins Engineering, 	Structural Components	Truss Plates	Conditional approval.  	No certificate of independence.  The application lists ANSI/TPI 1-2002 while the FBC lists 1995. 
	Inc.
	2994	Dura-Loc Roofing 	Roofing	Non-structural Metal 	Conditional approval 	no certificate of independence provided. Verify info from Validator.  Validated by FJ Engineering, which is not an approved validation entity.
	Systems Ltd.	Roofing
	3029	BPB America Inc.	New/Innovative 	Other	Gypsum Sheathing   	Conditional approval.  	The application lists ASTM E 84-95 while FBC lists 1997; and ASTM E 136-94 when FBC lists 1996. Recommend conditional move into category of wall panel. Check similar product GP/Panama City to change category should not be new and innovative, go on line to make change.  
	Envelope Products
	3066	IPS Corporation	Roofing	Waterproofing	Approve.  	(SBCCI legacy report has no date.)

	3102	HB and G Building 	Structural Components	Plastics	Approve.
	Products
	3124	RGM Products, Inc.	Roofing	Asphalt Shingles	Deferral.  	No certificate of independence.  The application lists UL 997, UL 2218, and ER 6139 which are not found in the FBC; ASTM D 3161 should be 1999; and ASTM D 3462-03 when the FBC has 1993.

	3146	CENTRIA	Panel Walls	Other	Composite Wall 	Conditional approval 	no certificate of independence. Staff to work with applicant to change status to certification agency

	3152	CENTRIA	Roofing	Other	Struc. Metal Roofing	Conditional approval.  	No certificate of independence.  Limits of use refers to the evaluation report.  The application lists TAS 125-95 when FBC lists 2003. Staff to work with applicant to change status to certification agency

	3156	Birdview Skylights	Sky Lights	Skylight		Conditional approval.  	The certificate of independence is from the validator.  Also need it from the evaluation entity.  . Staff to work with applicant to change status to certification agency

	1655	Kirsch Building Products	Roofing	Underlayments	Approve.  	[June deferral. Missing installation documents, certificate of independence.  Year/edition of code not consistent with the code.  Add s. 1507.3.3.]
	 LLC
	1718	Celcore Incorporated	Roofing	Roofing Insulation	Approve.

	2192	Metal-Era, Inc.	Roofing	Other	metal roof edge     	Deferral.  	Compliance method should be certification mark or listing (Miami-Dade NOA).  Certificate of independence was not provided.  The installation instructions do not indicate design pressures. Recommend conditional approval.  Verify that this product falls into the scope of the rule

	2265	UNION CORRUGATING 	Roofing	Non-structural Metal 	Conditional approval  	[June deferral.  Year/edition of the standards were not consistent with the code.  Code section should be 1504.3.] Recommend conditional approval. Not to be used in HVHZ
	COMPANY	Roofing
	2282	Burns, Morris &amp; 	Exterior Doors	Other                exterior door frames	Conditional approval 	The application is for door frames which is outside the scope of Rule 9B-72.  June deferral for missing certificate of independence. Tabled Recommend conditional approval. Change category to structural components and listed ANSI Standards

	Stewart, L.P.
	2302	Wausau Window and 	Windows	Other	Fixed and Operable 	Conditional approval.  	Four of the five standards listed on the application were not in the code.
	Wall Systems
	2376	Tarco	Roofing	Built up Roofing	Deferral.  	No certificate of independence.  The application lists ASTM D 3909-02 when the FBC has 1995.

	2416	ACCU-WELD LLC	Windows	Casement	Approve.

	2586	Resolite A Division of 	Sky Lights	Skylight	Deferral.  	Compliance method was changed from certification mark or listing to testing report.  There is no quality assurance agency nor validation entity listed for the testing report compliance method.  [June deferral to add section and AAMA 1600/IS 7.]
	Stabilit America
	2624	JELD-WEN	Exterior Doors	Swinging	Conditional approval.  	No certificate of independence provided.  Staff to contact applicant for E1300 compliance, foam description, not for use in HVHZ, inpact info

	2749	Moss Supply Company	Exterior Doors	Sliding	Conditional approval.  	No certificate of independence.  The application lists Moss Supply Company as the applicant when the report lists Veka Inc. Staff to contact applicant to verify that Moss is an authorized dealer and can sell the product under their label/name.

	2779	Tarco	Roofing	Underlayments	Deferral.  	The testing lab is also the validation entity.  There is no certificate of independence.  The application lists ASTM (D) 4869-02 when FBC lists 1989 (1993).

	2780	Tarco	Roofing	Underlayments	Deferral.  	No certificate of independence.  The application lists ASTM D 226-02 when FBC lists 1995.

	2781	Tarco	Roofing	Underlayments	Deferral.  	No certificate of independence.  The application lists ASTM D 226-02 when FBC lists 1995.

	2782	Tarco	Roofing	Underlayments	Deferral.  	No certificate of independence.  The application lists ASTM D 226-02 when FBC lists 1995.

	2783	Tarco	Roofing	Underlayments	Deferral.  	No certificate of independence.  The application lists ASTM D 1970-02 when FBC lists 1995. Recommend deferral. Not for use in HVHZ.

	2792	Plycraft Garage Doors	Exterior Doors	Sectional	Conditional approval.  	The certificate of independence is from the validator and not the test lab.  TAS 201, 202, and 2003 were listed as 2001 when the FBC has 1994. Verify that the American Testing Lab in NC is approved by FBC The osb in the product complies HVHZ if it does, not listed as limitation of use.  Need to address humid environment.

	2833	Copper Sales, Inc.	Structural Components	Deck-Roof	Conditional approval.  	The application lists ASTM E 1592 which is not in the FBC.

	2909	ACCU-WELD LLC	Windows	Fixed	Approve.

	2910	ACCU-WELD LLC	Windows	Horizontal Slider	Approve

	2911	ACCU-WELD LLC	Windows	Double Hung	Approve 

	2957	ACCU-WELD LLC	Windows	Double Hung	Deferral.  	The application lists ASTM E 283-91 and ASTM E 331-93 which are not in the FBC; ASTM E 330-90 (FBC 1984) [Rule 9B-72 recognizes ASTM E 330-97and 02 as equivalent.]; ASTM E 1886-99 (FBC 1997); and ASTM E 1996-04 (FBC 1999).

	2999	Wausau Window and 	Windows	Other	Fixed and Projected 	Deferral.  	The application lists ASTME 1996-02 while the FBC lists 1999.   Check to see whether the lab is FBC approved.
	Wall Systems
	3020	The Brewer Company	Roofing	Cements-Adhesives-C	Conditional approval.  	No certificate of independence.  The application lists ASTM D 3019 which is not found in the FBC.
	oatings
	3055	Koppers Inc	Roofing	Cements-Adhesives-C	Conditional approval.  	The application lists ASTM D 3019 which is not in the FBC. Check private label issue with Brewers Company.  Clarify label issue.
	oatings
	3080	Sealoflex, Inc.	New/Innovative 	Other	Wall Coating System	Deny  	No certificate of independence. Recommend denial.  Outside the scope of Rule 9B-72.
	Envelope Products
	3161	Four Seasons Solar 	Structural Components	Deck-Roof	Deferral.  	No certificate of independence.  Code sections, limits of use and test reports were very general.  Three test reports were from two test labs not listed on the application. 
	Products LLC
	3192	CURRIES	Exterior Doors	Swinging	Deferral. 	Check info/complete test on website.  Drawings show components that cannot be verified because the complete test report is not posted on the system.

	3227	Wayne-Dalton Corp.	Shutters	Storm Panels	Conditional approval.  	No certificate of independence.  Uploads include an engineer’s report .  Limits of use refers back to the test report. 

	3230	Besam AES	Exterior Doors	Automatic	Conditional approval.  	No certificate of independence.  TAS 201, 202, and 203 are listed in the application as 2003 when the FBC lists 1994; ASTM E 1996-97/02 when FBC lists 1999; and ASTM E 283 is not listed in the FBC. Check American Testing Lab in NC is approved by FBC.