2452	Mulia, Inc.	Windows	Fixed	ok

	2477	I - Truss Technologies, 	Structural Components	Other	ok
	Inc.
	2493	CURRIES	Exterior Doors	Swinging	ok

	2520	Windsor Windows and 	Windows	Casement	ok
	Doors
	2521	Windsor Windows and 	Windows	Double Hung	ok
	Doors
	2522	Windsor Windows and 	Windows	Fixed	ok
	Doors
	2526	Windsor Windows and 	Exterior Doors	Swinging	ok
	Doors
	2527	Windsor Windows and 	Windows	Awning	ok
	Doors
	2550	Stanek Windows	Windows	Casement	ok
	2552	Stanek Windows	Windows	Horizontal Slider	ok 

	2553	Stanek Windows	Exterior Doors	Sliding	ok

	2654	Metl-Span I, Ltd.	Roofing	Other	ok

	2656	Atrium Windows and 	Windows	Fixed	ok
	Doors - Texas
	2657	Atrium Windows and 	Windows	Single Hung	ok
	Doors - Texas

	2674	Vi Win Tech	Exterior Doors	Sliding	ok

   	2680	Phoenix Architectural 	Shutters	Storm Panels	ok
	Products, Inc
	2684	Westwood Millwork, Inc.	Windows	Fixed	ok

	2745	Georgia Foam, Inc.	Structural Components	Insulation Forms	ok.

	2746	Superior Window Corp.	Windows	Projected	ok

	2747	Superior Window Corp.	Windows	Projected	ok

	2760	PGT Industries	Windows	Fixed	ok

	2761	PGT Industries	Windows	Projected	ok

	2762	PGT Industries	Windows	Horizontal Slider		  ok
	INC.
	2763	PGT Industries	Windows	Fixed	ok

	2764	PGT Industries	Exterior Doors	Sliding	ok

	2766	PGT Industries	Windows	Projected	ok

	2769	PGT Industries	Windows	Single Hung	ok
	2439	Advanced Aluminum	Structural Components	Deck-Roof	ok, signed and sealed report received.

	2456	Hurst Awning Company 	Shutters	Roll-up	ok, signed and sealed report received.
	Inc.
	2464	Hurst Awning Company 	Shutters	Accordion	Signed and sealed report received.  ok
	Inc.
	2478	Advanced Aluminum	Roofing	Non-structural Metal 	Signed and sealed report received.  ok
	Roofing
	2482	Town and Country 	Shutters	Accordion	Signed and sealed report received.  ok.
	Industries, Inc.
	2483	Town and Country 	Shutters	Roll-up	Signed and sealed report received.  ok.
	Industries, Inc.
	2486	Streamline Roofing And	Structural Components	Deck-Roof	Signed and sealed report received.  ok.
	 Construction, Inc.
	2487	Streamline Roofing And	Roofing	Non-structural Metal 	Signed and sealed report received.  ok.
	 Construction, Inc.	Roofing
	2540	Coastal Metal Roofing, 	Roofing	Non-structural Metal 	Signed and sealed report not received.  ok
	Inc	Roofing
	2628	Kensington Windows Inc	Windows	Double Hung	Signed and sealed report received.  [ A]Ted: Evaluation doesn’t use ASTM 1300. Polycarbonate layer, 1300 not applicable.  Rick: Should be able to use engineering rationale analysis. 

	2629	Kensington Windows Inc	Windows	Fixed	Signed and sealed report not received.  .  [ A]Ted: Evaluation doesn’t use ASTM 1300. Polycarbonate layer, 1300 not applicable.  Rick: Should be able to use engineering rationale analysis.

	2630	Kensington Windows Inc	Windows	Casement	Signed and sealed report not received.  .  [ A]Ted: Evaluation doesn’t use ASTM 1300. Polycarbonate layer, 1300 not applicable.  Rick: Should be able to use engineering rationale analysis.
	2633	Owens Corning	Panel Walls	Soffits	Signed and sealed report received.  ok.

	2652	Corrugated Industries of 	Structural Components	Deck-Roof	Signed and sealed report received.  ok.
	Florida, Inc.
	2653	Corrugated Industries of 	Roofing	Non-structural Metal 	Signed and sealed report received.  ok.
	Florida, Inc.	Roofing
	2659	Alcoa Home Exteriors, 	Panel Walls	Siding	Signed and sealed report received.  ok.
	Inc.
	2668	Town and Country 	Shutters	Bahama	Signed and sealed report received.  ok.
	Industries, Inc.
	2669	Efficient Building 	Structural Components	Wall	Signed and sealed report received.  ok.
	Systems, LLC
	2715	Tri-County Metals	Roofing	Non-structural Metal 	Signed and sealed report received.  ok.
	Roofing
	2728	ATFAB	Structural Components	Other	Signed and sealed report received.  ok.

	2732	Schuco Homecraft, L.P.	Windows	Fixed	Signed and sealed report not received.  Ok

	2734	M W Manufacturers Inc.	Windows	Double Hung	Signed and sealed report received.  ok.

	2765	Architectural Traditions	Exterior Doors	Swinging	Signed and sealed report received.  Ok

	2768	Architectural Traditions	Windows	Casement	Signed and sealed report not received.  Ok

             2395	CAOBA Doors                  Exterior Doors                  Swinging	ok

	2705	NuAir Windows and 	Windows	Awning	ok
	Door

	2707	Southern Millwork 	Exterior Doors	Swinging	Add sections.  [C]
	Company
	2709	NuAir Windows and 	Windows	Horizontal Slider	Year/edition of standard not consistent with the code (1994).  [C]
	Doors
	2712	NuAir Windows and 	Exterior Doors	Sliding	Year/edition of the standard not consistent with the code.  [C]
	Doors
	2717	Peerless Products, Inc.	Windows	Single Hung	Add section.  [C]

	2720	Peerless Products, Inc.	Windows	Double Hung	Add section.  [C]

	2721	INDUSTRIAL 	Exterior Doors	Swinging	Add section 1606.1.4 and correct year of standard (1994).  (Check bounced.)  [C]
	MILLWORK CORP
	2722	Peerless Products, Inc.	Windows	Casement	Add section.  [C]

	2725	Peerless Products, Inc.	Windows	Awning	Add section.  [C]

	2727	Peerless Products, Inc.	Windows	Projected	Add section.  [C]

	2750	Innovative Window 	Windows	Fixed	ok. Model 3072 was tested under ASTM E 330, not 202. Recommend [C], model # 3072 limitations of use indicate not HVHZ as required by code.
	Concepts LLC
	2751	Danvid Window 	Windows	Single Hung	Add section.  Year/edition of the standard not consistent with the code.  [C]
	Company
	2755	PHILIPS PRODUCTS 	Exterior Doors	Swinging	Section 1706.1 should be 1707.4.3.  [C]
	552	Duro-Last Roofing Inc.	Roofing	Single Ply Roof Systems	Years/editions of the standards are not consistent with the code.  ASTM G 53 should be ASTM G 153.  Signed and sealed report received.  .  [C]Testing was to ASTM G153. Change to conditional.
	
	1766	Dunbarton Corporation	Exterior Doors frame	Swinging	Signed and sealed report received.  Need to reference the correct year/edition of the standards (1994).  [C] Ted: Plastic skin on product; not shown as tested per Ch. 26. Info on skin can be provided

	1768	Dunbarton Corporation	Exterior Doors	Swinging	Signed and sealed report received.  Need to correct the year/edition for the standards to be consistent with the code (1994). [C] Ted: Plastic skin on product; not shown as tested per Ch. 26. Info on skin can be provided

	1769	Dunbarton Corporation	Exterior Doors	Swinging	Signed and sealed report received.  No certificate of independence.  Year/edition of the standard is not consistent with the code.  [C] Certificate of independence contained within the report. Ted: Plastic skin on product; not shown as tested per Ch. 26. Info on skin can be provided
	1979	Cantera Doors Inc.	Exterior Doors	Swinging	Signed and sealed report received, need certificate of independence from the evaluation entity.  [C]
	2181	Rolsafe	Shutters	Roll-up	Signed and sealed evaluation report received.  Need certificate of independence from the evaluation entity. [C] 

	2211	Cookson Company, The	Exterior Doors	Roll-up	Signed and sealed report received.  Need to correct the year/edition of the standards for consistency with the code (TAS 1994).  [C]

	2219	Englert Inc.	Roofing	Non-structural Metal 	Signed and sealed report received.  Need to submit the certificate of independence electronically.  Need to add standards included in the evaluation report (UL 580-94 and SSTD 12-99).  Change section 423 to 1606.1.4.  No references to HVHZ.  .  [C] Ted: Not to be used in HVHZ. Not intended to be HVHZ. Three models with 3 reports. 
	Roofing
	2266	Englert Inc.	Structural Components	Deck-Roof	Signed and sealed report received.  Need certificate of independence.  Change section from 423 to 1606.1.4.  Need to add standards as referenced in the evaluation report.  Add Standard SSTD 12-99.  Upload the certificate of independence.  No references to HVHZ.  Code reference for s. 423(24)(d) does not indicate referenced code/document.  Missing code references: 1504.3, 1508.4, 1518.9, 1523.6.5.2.4, and 2222.4.  [C]

	2274	Janus International 	Exterior Doors	Roll-up	Signed and sealed report received.  Correct year/edition of standards listed on the application (1994).  [C]
	Corporation
	2334	Raymond Building 	Shutters	Storm Panels	Signed and sealed report received.  Need certificate of independence from the evaluation entity.  [C]
	Supply Shutter Division
	2350	Fabral	Roofing	Non-structural Metal 	Signed and sealed report not received.  No certificate of independence.  Year/edition of the standards are not consistent with the code.  (The validator was changed from the April 04 meeting.)  [C]
	Roofing
	2355	Simpson Strong-Tie Co.	Structural Components	Wood Connectors 	Need signed and sealed report and certificate of independence.  The code requires testing to ASTM D 1761 (s. 1707.3.1).  The product was tested to a standard not in the code.  [C]
	2419	Gulf Coast Supply and 	Roofing	Non-structural Metal 	Signed and sealed report received.  Add section 1507.  [C] Ted: If to be used in HVHZ, need to be tested to TAS. Not to be used in HVHZ.
	Mfg., Inc.	Roofing

	2484	Vistawall Group	Panel Walls	Storefronts	Signed and sealed report received.  Need certificate of independence.  [C]

	2485	Overhead Door 	Exterior Doors	Roll-up	Signed and sealed report received.  Need certificate of independence from the evaluation entity.  Add DASMA 108 1998.  [C]
	Corporation
	2501	Dominion Building 	Exterior Doors	Swinging	Signed and sealed report received.  Need certificate of independence from the evaluation entity.  [C]
	Products
	2502	Dominion Building 	Exterior Doors	Swinging	Signed and sealed report received.  Need certificate of independence from the evaluation entity.  [C]
	Products
	2533	CertainTeed 	Roofing	Modified Bitumen Roof 	Signed and sealed report received.  Need to correct the standard reference listed on the application (ASTM G 153)(clerical error).  Year/edition of the standards are not consistent with the code.  Report does not state product was tested to FM 4470 or any test in the reference standards.(products were tested to FM 4470) .  [C] Ted: 1523.6.2 TAS 110,114 in entirety. Evaluator asserts product was tested to those standards. Ted: Did not see appendices. 
	Corporation-Roofing	System
	2534	IB Roof Systems	Roofing	Single Ply Roof Systems	Signed and sealed report received.  The Evaluation Report does not state that the product was tested to the standards listed on the application under referenced standards.  Year/edition of the standards are not consistent with the code.  Test was done to a standard not in the code (ASTM G 153) .  [C].Ref. standards can be corrected in the reports. 
	2545	Coastal Metal Roofing, 	Roofing	Non-structural Metal 	Signed and sealed report received.  [C] Not tested per TAS 110, 12,100. Should not be used in HVHZ.
	Inc	Roofing
	2581	Clopay Building 	Exterior Doors	Sectional	Signed and sealed report received.  Need to fix the year/edition of the standards for consistency with the code.  [C]
	Products Company
	2602	Comfort View Products 	Windows	Mullions	Signed and sealed report received.  Will 2 tables suffice as an evaluation report?  Need certificate of independence.  [C]
	LLC
	2620	United Steel Products 	Structural Components	Wood Connectors 	Signed and sealed report not received.  Upload certificate of independence.  [C] 
	Company	Anchors
	2621	United Steel Products 	Structural Components	Wood Connectors 	Signed and sealed report received.  Need certificate of independence.  [C]
	Company	Anchors
	2623	Dunbarton Corporation	Exterior Doors	Swinging	Signed and sealed report received.  Correct reference to code edition (2001).. [C]

	2625	Silverline Building 	Windows	Single Hung	Signed and sealed report received.  Year/edition of the reference standards on the application are not consistent with the code. .  [C] Ted: not tested for TAS 202. Not HVHZ.
		Products Corp.

             2637                       Dixieland Metals, Inc.           Roofing                          Non-structural Metal 	Signed and sealed report received. [C] Not to be used in HVHZ
 
	2650	Discount Direct Metal 	Roofing	Non-structural Metal 	Signed and sealed report received.  [C] Ted: If used HVHZ, test to TAS 110, 100. Not use in HVHZ.
	Roofing	Roofing
	
	2651	Silverline Building 	Windows	Fixed	Signed and sealed report received.  [C ] Ted: non-impact window. Test to TAS 202. Not to be used in HVHZ. Change ref. standard from 2004 to 2001.
	Products Corp.
	2678	Wayne-Dalton Corp.	Exterior Doors	Sectional	Signed and sealed report received.  Need certificate of independence.  Add DASMA 108 for consistency with the evaluation report.  [C]

	2681	American Shutter 	Shutters	Colonial	Certificate of independence is not sealed.  Received photo copied report without sealed impression.  Year/edition of standard not consistent with the code.  [C]
	Systems Association, 
	Inc.
	2683	American Shutter 	Shutters	Bahama	Photo copies of report received (no sealed impression).  Need to correct the year/edition of the standards for consistency with the code.  Certificate of independence is not sealed. .  [C]
	Systems Association, 
	Inc.
							
	2736	M W Manufacturers Inc.	Windows	Fixed	Signed and sealed report received.  Standards not addressed in the evaluation report need to be removed from the application.  [C]

	2738	M W Manufacturers Inc.	Windows	Single Hung	Signed and sealed report received.  Standards on the application that are not addressed in the evaluation report should be removed from the application.  [C]

	2739	M W Manufacturers Inc.	Windows	Fixed	Signed and sealed report received.  Standards not addressed in the evaluation report need to be removed from the application.  [C]

	2756	Metals USA Building 	Roofing	Other	Signed and sealed report has been received.  [C] To change from roofing to panel walls.
	Products
	2770	Amarr Garage Doors	Exterior Doors	Roll-up	Need to correct section (should be 1707.4.3.2)and standard as applicable.  Add DASMA 108 as stated in the evaluation report.  [C]

	1064	GenFlex Roofing 	Roofing	Single Ply Roof Systems	Needs certificate of independence from Miami-Dade.  Year/edition of standard not consistent with the code.  (UL 1897 should be 1993) .  [C] Proponent indicates test has been performed. 
	Systems
	1621	Alcoa Home Exteriors, 	Panel Walls	Siding	Need certificate of independence from the evaluation entity.  The Evaluation Report does not list standards on the application.  Need to list code section.  Year/edition of standards are not consistent with the code.  .  [C] Ted: Could move to Certification Compliance Option.
	Inc.
	1670	Hobe Sound Aluminum 	Shutters	Colonial	Missing certificate of independence, and limitations of use.  Verify code sections and reference standards.  Correct reference standard for SSTD 12.  [C]
	&amp; Shutter Corp.
	1868	VP Buildings, Inc.	Roofing	Other	Need certificate of independence from ICC.  [C]

	1878	VP Buildings, Inc.	Panel Walls	Other	Need certificate of independence from ICC.  [C]

	1892	HENDEE 	Shutters	Other	Need certificate of independence from Miami-Dade.  [C] Could change to Certification Compliance Option.
	ENTERPRISES, INC.

	2199	PHIL-INSUL CORP - 	Structural Components	Insulation Forms	Need certificate of independence.  [C]
	INTEGRASPEC

	2495	Crane Performance 	Panel Walls	Siding	Very good evaluation report.  Need to list standards per the evaluation report on the application.  Need certificate of independence.  [C] Evaluation refers to 2603, not 2605.2 for HVHZ.  
	Siding
	2499	Southeastern Metals 	New/Innovative 	Other	Need to list standards per the evaluation report.  Need certificate of independence.  [C]
	Mfg. Co.	Envelope Products
	2524	Georgia-Pacific 	New/Innovative 	Other	Need certificate of independence.  Add standards indicated in the report.  Add ASTM E 72.  [C]
	Corporation Gypsum	Envelope Products

	2554	Taylor Building Products	Exterior Doors	Swinging	Need certificate of independence from Miami-Dade.  [C]
	1642	Monarch Windows and 	Windows	Double Hung	Need certificate of independence.  [C]
	Door
	1734	Monarch Windows and 	Windows	Casement	Need notice of independence.  [C]
	Doors
	1795	Monarch Windows and 	Windows	Double Hung	Need certificate of independence.  Add s. 1707.4.2.  [C]
	Doors
	1796	Monarch Windows and 	Windows	Single Hung	Need certificate of independence.  [C]
	Doors
	1797	Monarch Windows and 	Windows	Double Hung	Need certificate of independence.  Add s. 1707.4.2.  [C]
	Doors
	1798	Monarch Windows and 	Exterior Doors	Swinging	Need certificate of independence.  [C]
	Doors
	1971	Al's Sheetmetal Industry 	Roofing	Other	Need certificate of independence.  [C]Ted: Evaluation does not indicate compliance with G90 & limitation of height to 33 feet. 
	LLC
	2559	Flexia Corporation	Roofing	Underlayments	Year/edition of the reference standards on the application are not consistent with the code.  [C]

	2569	Soprema, Inc. (Canada)	Roofing	Underlayments	Year/edition of the reference standards on the application are not consistent with the code.  [C].

	2570	Soprema, Inc. (Canada)	Roofing	Underlayments	Year/edition of the reference standards on the application need to be corrected as per the evaluation report. .  [C]

	2698	Hunter Panel	Roofing	Roofing Insulation	Year/edition of the reference standards on the application are not consistent with the code.  Need certificate of independence. .  [C] Has been tested to both current and out of date standards.

	2753	Wayne-Dalton Corp.	Shutters	Roll-up	Need certificate of independence.  Year/edition of the reference standards on the application are not consistent with the code. .  [C] Will use old standard report.

	2773	KD Manufacturing	Shutters	Metal	Add the standards as stated in the testing report (TAS 201, TAS 202, and TAS 203).  [C] Not to be used in HVHZ is in conditions of approval.
	1268	Collier, A Division of 	Exterior Doors	Sectional		Need to correct the standard (TAS not PA) and the year of the standard (TAS is 1994).  ASTM E 1886 is 1997 and SBCCI SSTD 12 is 1999.  [C]
	System Design and Mfg.

	1831	DORMA Architectural 	Exterior Doors	Swinging	Code reference for 1600 does not exist.  Should list 1606.  Does not list the HVHZ code sections.  [NOA is provided on Miami-Dade web site.]  [C].
	Hardware

	2106	Arch Aluminum and 	Exterior Doors	Swinging	OK.  Application has NOA.  NOA lists TAS 201-94 and TAS 203-94 which are not code reference sections.  No FBC code references provided.  Manufacturer is not listed on Certification Agency’s web site.  [C].
	Glass Co., Inc.

	2356	PALM CITY 	Exterior Doors	Other	Lists test protocols, does not list code sections.  Need to add s. 1606.1.4 and correct the edition of the standard to 1994. [C]
	MILLWORK, INC.

	2359	PALM CITY 	Windows	Casement	Lists test protocols, does not list code sections.  Need to add s. 1606.1.4 and correct the edition of the standard to 1994. [C]
	MILLWORK, INC.
	2377	PALM CITY 	Windows	Fixed	Lists test protocols, does not list code sections.  Need to add code section and correct the edition of the standard. [C]
	MILLWORK, INC.
	2378	PALM CITY 	Windows	Other	Lists test protocols, does not list code sections.  Need to add s. 1606.1.4 and correct the edition of the standard to 1994. [C]
	MILLWORK, INC.
	2385	PALM CITY 	Exterior Doors	Swinging	Lists test protocols, does not list code sections.  Need to add s. 1606.1.4 and correct the edition of the standard to 1994. [C]
	MILLWORK, INC.
	2386	PALM CITY 	Windows	Casement	Lists test protocols, does not list code sections.  Need to add s. 1606.1.4 and correct the edition of the standard to 1994. [C]
	MILLWORK, INC.
	2387	PALM CITY 	Windows	Fixed	Lists test protocols, does not list code sections.  Need to add s. 1606.1.4 and correct the edition of the standard to 1994. [C]
	MILLWORK, INC.
	2388	PALM CITY 	Windows	Single Hung	Lists test protocols, does not list code sections.  Need to add code section and correct the edition of the standard to 1994. [C]
	MILLWORK, INC.
	2398	H-R Windows	Windows	Single Hung	No performance level indicated.  Need to indicate limitations of use.  Has wrong standard and wrong section.  Should have 1707.4 and ANSI/AAMA 101/I.S. 2-97 [C]

	2400	BUILDERS CHOICE 	Windows	Fixed	Need to add code section and the current edition of the standard. [C]
	WINDOW AND DOOR
	2402	BUILDERS CHOICE 	Windows	Single Hung	Need to add code section and the current edition of the standard. [C]
	WINDOW AND DOOR
	2403	Don Young Co. Inc.	Windows	Double Hung	Need to provide the correct year edition for the standard to 1997.  AAMA 101 standard listed as performance level  No code sections. [C]

	2405	Don Young Co. Inc.	Windows	Horizontal Slider	Need to provide the correct year edition for the standard to 1997.  AAMA 101 standard listed as performance level.  [C]

	2406	Don Young Co. Inc.	Windows	Fixed	Need to provide the correct year edition for the standard to 1997.  AAMA 101 standard listed as performance level.  [C]

	2407	Don Young Co. Inc.	Exterior Doors	Sliding	Need to provide the correct year edition for the standard to 1997.  AAMA 101 standard listed as performance level. .  [C]

	2410	General Aluminum 	Windows	Horizontal Slider	Missing code section 1707.4.2.  [C]
	Company
	2411	Tristar Skylights	Sky Lights	Skylight	No standards listed.  References South Florida Building Code.  Wrong codes and standards listed.  [C]

	2418	Maxim Industries, Inc.	Sky Lights	Skylight	Lists test protocols.  Does not list code sections.  Need to provide correct year (1994) for the standards listed.  Add s. 1707.4.2.1.1.  [C]

	2430	Strictly Wholesale, INC	Exterior Doors	Swinging	Standard number is missing.  [C]

	2442	Sun-Tek Mfg	Sky Lights	Skylight	Lists test protocols.  Should have TAS instead of DCBCCD PA.  Delete FBC.  Does not list code sections.  Certification Agency web site does not contain much information.  Add s. 1707.4.2.1.1.  [C]

	2472	INDUSTRIAL 	Windows	Fixed	Add section 1606.1.4 and correct year of standard (1994).  (Check bounced.)  [C]
	MILLWORK CORP
	2475	Quikrete	Roofing	Roof Tile Adhesives	Need to add code section.  [C]

	2576	O'Hagin's, Inc.	Roofing	Other	List the standards as per the attachment.  [C]

	2596	Jeld-Wen Hawkins 	Windows	Double Hung	Add code section 1707.4.2.  [C]
	Window Division
	2599	Jeld-Wen Hawkins 	Windows	Casement	Add code section 1707.4.2.  [C]
	Window Division
	2601	Jeld-Wen Hawkins 	Windows	Projected	Add code section 1707.4.2.  [C]
	Window Division
	2603	Jeld-Wen Hawkins 	Windows	Horizontal Slider	Add code section 1707.4.2.  [C]
	Window Division
	2604	Jeld-Wen Hawkins 	Windows	Fixed	Add code section  [C]
	Window Division
	2606	Jeld-Wen Hawkins 	Exterior Doors	Sliding	Add code section 1707.4.2.  [C]
	Window Division

	2631	Headrick Building 	Roofing	Other	Correct the year of the standard.  [C]
	Products, Inc
	2642	Pella Corporation	Windows	Horizontal Slider	Add section.  [C]

	2643	Pella Corporation	Windows	Fixed	Add section.  [C]

	2644	Pella Corporation	Exterior Doors	Swinging	Add section.  [C]

	2645	Pella Corporation	Windows	Single Hung	Add section.  [C]

	2646	Pella Corporation	Exterior Doors	Sliding	Add section.  [C]

	2647	Velux-America, Inc.	Sky Lights	Skylight	Wrong standard listed.  Should be AAMA/WDMA 1600/IS7 or TAS 202 for skylights.  .  [C]Recommend conditional approval based on listing of standards as above 

	2648	Moss Supply Company	Windows	Single Hung	Add section.  [C]

	2649	Precision Millworks	Windows	Fixed	Add section.  [C]

	2670	Peerless Products, Inc.	Windows	Fixed	Add section.  [C]
	
	2675	Parrett Manufacturing, 	Windows	Fixed	Add section.  [C]
	Inc.
	2691	Windoworld Industries 	Windows	Fixed	add code section 1606.1.4.  Tests done to standard edition not in the code.  Remove PA.  Add ASTM E 1996-99.  Change ASTM E 1886 to 1997.  Conditional based on listing Laminate manuf.& updating standards.  .  [C]
	Inc.
	2693	Moss Supply Company	Windows	Double Hung	Add standard.  [C]

	2699	Windoworld Industries 	Windows	Dual Action	Add sections and ASTM E 1996.  Year/edition of standard not consistent with the code. Disc: Conditional based on listing Laminate manuf.& update standards  .  [C]
	Inc.
	2701	Windoworld Industries 	Exterior Doors	Swinging	Need to add code sections 16061.4.  Need to indicate compliance with Chapter 26/HVHZ for plastics.  Need to correct the reference standards.  Remove FER Chapter 36.  Remove SFBC.  Add ASTME E 1996 and change the edition year for ASTM E 1886.  Disc:  Mo: can go with conditional update standards and list laminate manufacturer.  [C]
	Inc.

            1757	Zion Tile Corporation	Roofing	Roofing Tiles	No certificate of independence.  Standard year is not consistent with the code.  [D]

	1870	EcoStar	Roofing	Roofing Tiles	Need to add code sections and address standard equivalency to those in the code.  Edition of standards are not in the code.  UL 790 is 1997 FBC, application lists 2003 UL 790.  UL 1897 is 1993 FBC, application lists 2003 UL i1897.  No code sections provided.  .  [D]

	2009	INDUSTRIAL 	Exterior Doors	Swinging	Different manufacturer name and address on Miami-Dade web site.  No limitations of use.  No code sections provided.  Lists test protocols.  Correct year of standard (1994) and add section 1606.1.4.  .  [D]
	MILLWORK CORP
	
	2122	Johns Manville	Roofing	Modified Bitumen Roof 	Needs code sections.  Year of standard is not consistent with the code.  .  [D]

	System
	2230	Siplast / Icopal	Roofing	Waterproofing	Does not provide code sections or standards that are referenced in the code.  Need to provide limitations of use. .  [D]

	2460	ARCHITECTURAL 	Roofing	Non-structural Metal 	Need to list code section.  Standard not consistent with the code.  .  [D]
	METAL 	Roofing
	FABRICATIONS, INC.

	2460	ARCHITECTURAL 	Roofing	Non-structural Metal 	Need to list code section.  Standard not consistent with the code.  .  [D]
	METAL 	Roofing
	FABRICATIONS, INC.

	2489	Whirlwind Building 	Panel Walls	Siding	Wrong standard listed.  The code references ASTM E 72 as the test for panels.  .  [D]
	Systems
	2491	Marvin Windows and 	Windows	Casement	Need to add code sections 1707.4.2 and 1606.1.4.  Year/edition of standards are not consistent with the code.  .  [D]
	Doors

	2500	Wedgcor, Inc.	Structural Components	Deck-Roof	Year of standard listed is not consistent with the code.  Add code section.  .  [D]

	2503	Wedgcor, Inc.	Panel Walls	Siding	Wrong standard listed.  The code references ASTM E 72 as the test for panels.  .  [D]

	2561	Nucor Building Systems	Roofing	Other	Year/edition of the referenced standards are not consistent with the code.  .  [D]

	2571	O'Hagin's, Inc.	Roofing	Other	Product was tested to standard year/edition not consistent with the code.  .  [D] 

	2580	Marvin Windows and 	Windows	Double Hung	Standard year edition not consistent with the code.  Add code sections.  .  [D]
	Doors
	2583	Marvin Windows and 	Windows	Awning	Add code sections.  Year/edition of the referenced standards are not consistent with the code.  .  [D]
	Doors
	2586	Resolite A Division of 	Sky Lights	Skylight	Add section Add code requirement AAMA 1600/IS7.  .  [D]
	Stabilit America
	2587	Marvin Windows and 	Windows	Fixed	Need to add code sections 1707.4.2 and 1606.1.4.  Year edition of standards are not in the code.  .  [D]
	Doors
	2595	Marvin Windows and 	Exterior Doors	Swinging	Add code sections 1707.4.2 and 1606.1.4.  Year edition of standards are not consistent with the code.  .  [D]
	Doors
	
	2608	PrimeSource Building 	Roofing	Roofing Fasteners	No section 1506.5.1.  Year/edition not consistent with the code.  .  [D]
	Products
	2611	Marvin Windows and 	Exterior Doors	Sliding	Add code sections 1707.4.2. and 1606.1.4.  Year edition of standards are not consistent with the code.  .  [D]
	Doors
	2616	Marvin Windows and 	Exterior Doors	Other	Need to reference code sections 1606.1.4 and 1707.4.2.  Year edition of standards is not in the code.  .  [D] 
	Doors

	2689	2001 Company	Roofing	Single Ply Roof Systems	Tested to standard edition not in the code.  Should be 1984.  .  [D]

	2690	ASC Profiles Inc.	Roofing	Other	Add section 1504.3.  the edition for the test standard is not consistent with the code.  The edition for the standard should be 1994.  .  [D]

	2695	Innovative Metals 	Roofing	Other	Reference year of the standard not in the code.  (TAS 125 is 2003)  .  [D]
	Company, Inc.
	2708	NuAir Windows and 	Windows	Fixed	The year of the standard should be 1994.  [D] Ted: product is underdesigned under ASTM E1300. Staff get with entity to verify engineering assumptions.

	2710	NuAir Windows and 	Windows	Single Hung	Year/edition of the standard not consistent with the code.  [D]Ted: product is underdesigned. Staff get with entity to verify engineering assumptions.
	Doors

	650	Kensington Windows Inc	Windows	Double Hung	Signed and sealed report not received.  [D] Ted: Not shown to comply with ASTM E 1300. 

	1654	POLYGLASS USA	Roofing	Modified Bitumen Roof 	Signed and sealed report received.  [D] Ted: validation provided by entity outside of the scope of their accreditation
	System

	1925	Owens Corning	Roofing	Roofing Insulation	Year/edition of the standard not consistent with code. [D]
	1945	Mid-America Door	Exterior Doors	Sectional	Signed and sealed evaluation report received.  Need certificate of independence from the evaluation entity.  [D] Not approved validation entity. Need to check this.

	2382	Mid-America Door	Exterior Doors	Sectional	Signed and sealed report received.  Need certificate of independence from the evaluation entity.  Need to add ASTM E 330 or DASMA 108.  Add s. 1707.4.3 and 1707.3.2.  Remove s.1704.4 and Chapter 17.  Chapters 22 and 26 were not addressed in the report.  [D]Ted: Validation entity is not approved. 

	2420	Stanek Windows	Windows	Mullions	Need technical documentation and calculations in evaluation report.  Missing limitation of use.  Missing certificate of independence from the evaluation entity.  Signed and sealed report received.  Need an evaluation report which includes the criteria for an evaluation report as provided in Rule 9B-72.  .  [D]

	2432	The Foundry	Panel Walls	Siding	Signed and sealed report received.  Year/edition of the standards are inconsistent with the report.  [D] Ted: Validation entity validating outside their scope.

	2511	Metal Building 	Roofing	Non-structural Metal 	Signed and sealed report received.  ok.  [D] Ted: TAS110,125 should have been performed. Not in HVHZ. Installation instructions did not match evalution.
	Supplies, LLC	Roofing
	2517	Metal Building 	Roofing	Non-structural Metal 	Signed and sealed report received.  [D].Ted: Not tested for HVHZ. Also, can’t use T caps and nails on metal deck. 
	Supplies, LLC	Roofing
	2523	Alcoa Home Exteriors, 	Panel Walls	Siding	ok.  Signed and sealed report received.   [D] Ted: Validation entity validating outside their accreditation. 
	Inc.
	2537	Alcoa Home Exteriors, 	Panel Walls	Siding	Signed and sealed report received.  Year/edition of the standard is not consistent with the code.  Need certificate of independence from the evaluation entity.  [D] Validation entity outside scope of accreditation.
	Inc.
	2538	Mid-America Door	Exterior Doors	Sectional	Signed and sealed report received.  Need certification of independence from the evaluation entity.  [D] Ted: Validation entity outside scope of accreditation. 

	2551	Metal Building 	Structural Components	Deck-Roof	Signed and sealed report received.  The evaluation report does not address . standards listed on the application. .  [D] Validation entity outside scope of accreditation.
	Supplies, LLC
	2555	Metal Building 	Panel Walls	Siding	Signed and sealed report received.  [D]. Validation entity outside scope of accreditation.
	Supplies, LLC
	2556	Metal Building 	Roofing	Non-structural Metal 	Signed and sealed report received.  .  [D]. Validation entity outside scope of accreditation.

	2558	ATAS International, Inc.	Roofing	Non-structural Metal 	Signed and sealed report received.  The proposed product covers low-slope roofs which require compliance with testing standards.  The evaluation report is not based on test evaluations.  Need certificate of independence. .  [D]
	Roofing
	2589	Petersen Aluminum 	Roofing	Non-structural Metal 	Signed and sealed report received.  The engineer is both the evaluator and the validator. .  [D]
	Corporation	Roofing
	2591	Silverline Building 	Windows	Single Hung	Signed and sealed report received.  Year/edition of the reference standards on the application are not consistent with the code. .  [D]
	Products Corp.
	2593	Silverline Building 	Windows	Fixed	Signed and sealed report received.  [D] Ted: Used area to evaluate size of windows. Review of ASTM 1300 shows underdesign. Rerun calculations. 
	Products Corp.
	2597	Silverline Building 	Windows	Single Hung	Signed and sealed report received.  Year/edition of the reference standards on the application are not consistent with the code. .  [D]
	Products Corp.
	2600	Silverline Building 	Windows	Single Hung	Signed and sealed report received.  Year/edition of the reference standards on the application are not consistent with the code. .  [D] Ted: Does not show tested for TAS 202, should indicate not in HVHZ. Was tested. Plastic testing date discrepancy.
	Products Corp.
	2607	Silverline Building 	Windows	Fixed	Signed and sealed report received.  .  [D] Ted: Used area to evaluate size of windows. Review of ASTM 1300 shows underdesign. Rerun calculations. 

	2609	Silverline Building 	Windows	Fixed	Signed and sealed report received.  .  [D] Ted: Used area to evaluate size of windows. Review of ASTM 1300 shows underdesign. Rerun calculations. 

	2612	Silverline Building 	Windows	Single Hung	Signed and sealed report received.  Year/edition of the reference standards on the application are not consistent with the code. .  [D]
	Products Corp.
	2613	Silverline Building 	Windows	Fixed	Signed and sealed report received.  Year/edition of reference standards on the application are not consistent with the code. .   [D] Ted: Used area to evaluate size of windows. Review of ASTM 1300 shows underdesign. Rerun calculations. 

	Products Corp.
	2614	Silverline Building 	Windows	Single Hung	Signed and sealed report received.  Year/edition of the reference standards on the application are not consistent with the code. .  .   [D] Ted: Used area to evaluate size of windows. Review of ASTM 1300 shows underdesign. Rerun calculations. 
	Products Corp.
	2626	Great Lakes Window, 	Windows	Horizontal Slider	Signed and sealed report received.  Year/edition of the standards are not consistent with the code. .  [D]
	Inc.
	2627	Great Lakes Window, 	Windows	Fixed	Signed and sealed report received.  Year/edition of the standards are not consistent with the code. .  [D] 
	Inc.

	2635	Butler Manufacturing 	Roofing	Other	Signed and sealed report received.  Need certificate of independence.  For slope ≤ 2:12 the code requires testing.  No evidence of testing provided. .  [D]
	Company
	2641	Alcoa Home Exteriors, 	Panel Walls	Soffits	Signed and sealed report received.  Year/edition of the standard is not consistent with the code. .  [D] Ted: Validator validated outside the scope of accreditation. 
	Inc.

	2662	Butler Manufacturing 	Panel Walls	Other	Signed and sealed report received.  The code requires testing as per ASTME 72.  For this product, rational engineering is used instead of testing.  .  [D] Outside scope of validation accreditation.
	Company
	2664	CENTRIA	Panel Walls	Other	Signed and sealed report received. Electronic certificate of independence not there.  There is no indication from the documentation submitted that the products were tested to ASTM E 72.  Year/edition of the standard is not consistent with the code.  Should be 1980 and should have s. 1706.1. .  [D]

	2686	Nucor Building Systems	Panel Walls	Other	Signed and sealed report received.  Code section 1706.1 requires panels to comply with ASTM E 72.  There is no indication in the evaluation report that the product was tested to ASTM E 72. .  [D]

	2700	Powers Steel Inc.	Structural Components	Other	Certificate of independence online and signed and sealed report received.  Need to upload the certificate of independence.  [D] Craig: 11 issues from previous submittal; go thru individually. Disclosed same industry interest. Total loads vs superimposed loads: will change documents to total loads. State limitation for use with ACQ wood treatments. 

	2726	ATFAB	Roofing	Non-structural Metal 	Signed and sealed report received.  Standards listed on the application are not consistent with the code.  ASTM A 752 should be ASTM A 792. .  [D]
	Roofing

	77	Allied Foam Products	Panel Walls	Other	Closed construction.  Insulation not covered in Rule 9B-72.  Need certificate of independence from the evaluation entity.  [Outside the scope of Rule 9B-72.] [D]

	2030	Dryvit Systems, Inc	Panel Walls	Exterior Insulation Finish 	Need certificate of independence from Miami-Dade.  List tests as stated in the report: TAS 201, TAS 202, TAS 203, ASTM C 297.  Need to reference the correct code section.  Section 2315 should be 1626.  Chapter 35 should be Chapter 26.  Evaluation report needs to address plastic. .  [D]
	System
	2039	ThermaSteel 	Structural Components	Other	Need certificate of independence from ICC.  The report needs to show equivalency with ASTM E 72 for structural panels as required by the code. .  [D]

	2408	Hurst Awning Company 	Shutters	Other	Need certificate of independence.  The Evaluation Report does not reference the standards listed on the application.  The Evaluation Report does not indicated product was tested to PA 202. .  [D]
	Inc.
	2435	Roatan Mahogany 	Exterior Doors	Swinging	Add code section and standards.  Need certificate of independence from Miami-Dade.  Evaluation report needs to reference standards. .  [D]
	Millwork, Inc.
	2436	Roatan Mahogany 	Windows	Fixed	Add code section and standards.  Need certificate of independence from Miami-Dade.  Evaluation report needs to reference standards. .  [D]
	Millwork, Inc.
	2437	Roatan Mahogany 	Windows	Casement	Add code section and standards.  Need certificate of independence from Miami-Dade.  Evaluation report needs to reference standards. .  [D]
	Millwork, Inc.
	2440	Roseburg Forest 	Structural Components	Engineered Lumber	Need certificate of independence.  Year of standard is not consistent with code standard year.  Missing limitations of use in report.  Standard not in the code.  .  [D]
	Products
	2461	Vande Hey Raleigh 	Roofing	Roofing Tiles	Need certificate of independence.  The evaluation report addresses testing criteria and installation criteria not consistent with the FBC.  There is not equivalency statement provided.  Does not list standards required.  Report does not include ASTM C 1167 .  [D]
	Roof Tile 
	2494	Plaza Door Co., Inc.	Exterior Doors	Sliding	The Evaluation Report does not list standards.  Need certificate of independence. .  [D]

	2515	Alcoa Home Exteriors, 	Panel Walls	Siding	Need certificate of independence for evaluation entity.  Add ASTM D 4756 and s. 1403.9.2.  Year edition of standard not consistent with the code.  .  [D] SBCCI approval references ASTM D 4756. Independence similar situation to Miami Dade. Ted: still have issue of validator operating outside the scope of accreditation. 
	Inc.
	2532	Alcan Composites USA 	Panel Walls	Siding	The evaluation report addresses compliance with standards to codes that are not FBC.  Need certificate of independence. .  [D]
	Inc.
	2640	A.G.R. Fabrications Inc.	Structural Components	Railing	The evaluation report does not indicate that the product was tested to the standards listed.  Need certificate of independence from the evaluation entity. .  [D]

	2661	Alcan Composites USA 	Panel Walls	Siding	There is not indication in the evaluation report that the product was tested to standards in accordance with FBC. .  [D]
	Inc.

	2775	Plycraft Garage Doors	Exterior Doors	Roll-up	Year/edition of the reference standards on the application are not consistent with the code.  Add code sections 1707 and 1606.1.4.  [D] Ted: Panels are made of OSB. Have to comply with sec. 23__. Proponent said solid hemlock.

	1655	Kirsch Building Products	Roofing	Underlayments	Missing installation documents, and missing certificate of independence.  Year/edition of the reference standards on the application are not consistent with the code.  Add s. 1507.3.3. .  [D]
	 LLC
	2265	UNION CORRUGATING 	Roofing	Non-structural Metal 	Need certificate of independence.  Year/edition of the reference standards on the application are not consistent with the code.  Correct the code section to 1504.3.  .  [D]
	COMPANY	Roofing
	2282	Burns, Morris &amp; 	Exterior Doors	Other	Has been removed from the system.  Missing certificate of independence.  [D.] Withdrawn by manufacturer.
	Stewart, L.P.

	2428	Simpson Door Company	Exterior Doors	Swinging	Lists test protocols.  Does not list code sections.  Need to reference correct standard and code section.  [Deny] Two NOAs referenced not applicable.

	1317	MBCI, L.P.	Roofing	Non-structural Metal 	Need signed and sealed evaluation report.  Need certificate of independence.  Year/edition of the standards are not consistent with the doe.  Does not support referenced standards or the installation instructions.  .  [Deny]Ted: validation provided by entity outside of the scope of their accreditation.
	Roofing
	1941	Liquid Plastics Inc.	Roofing	Liquid Applied Roof 	Sealed report received.  Need certification of independence from evaluation entity.  Year/edition of the standards are not consistent with the code.  The report provides for standards not listed in the code.  (ASTM G 53 is not in the code.)  .  [Deny]Ted: Needs to be in compliance with applicable standards, not tested for impact resistance, with 19 psf, damage Must comply with TAS 114 in its entirety.

	Systems
	1994	Eurotech Industries, Inc.	Exterior Doors	Swinging	Received signed and sealed report.  Need certificate of independence.  The engineers are from the same company.  Need to list the standards as per the evaluation report.  Test standards listed in the report but not on the application include AAMA 101, TAS 201, TAS 202, and TAS 203.  .  [Deny] Ted: Miami Dade has copy of application. Water penetration was tested with hurricane conditions. Good for 48 psf. One of side panels ratio insufficient. 

	Anchors