IFGC/IFGS CHAPTER 8
REFERENCED STANDARDS
This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the standard, the standard identification, the effective date and title, and the section or sections of this document that reference the standard. The application of the referenced standards shall be as specified in Section 102.8.
 American National Standards Institute
25 West 43rd Street
Fourth Floor
New York, NY 10036
 ANSI
 Standard		Referenced
reference		in code
number	Title	section number
 LC 1—97	Interior Gas Piping Systems Using Corrugated Stainless Steel Tubing	403.5.4
 Z21.1—00	Household Cooking Gas Appliances	623.1
 Z21.5.1—99	Gas Clothes Dryers - Volume I -Type 1 Clothes Dryers	613.1 
 Z21.5.2—99	Gas Clothes Dryers - Volume II- Type 2 Clothes Dryers with  Z21.5.2a-99 and Z21.5.2b-99 Addenda	613.1, 614.3
 Z21.8—94	Installation of Domestic Gas Conversion Burners	619.1
 Z21.10.1—00	Gas Water Heaters - Volume I - Storage, Water Heaters with Input Ratings of 75,000 Btu per Hour or Less	624.1
 Z21.10.3—98	Gas Water Heaters - Volume III - Storage, Water Heaters with Input Ratings Above 75,000 Btu per hour, Circulating and   Instantaneous Water Heaters—with Z21.10.3a-99 Addendum  	 624.1
 Z21.11.1—91	Gas-Fired Room Heaters -Volume I - Vented Room  Heaters—with
	1993 Addendum (Replaced by Z21.86-98/CSA 2.32 - M98, Vented Gas-Fired Space Heating Appliances)	622.1
 Z21.11.2—96	Gas-Fired Room Heaters - Volume II - Unvented Room Heaters
	with Addendum A-97 and Addendum B-98	621.1
 Z21.13—99	Gas-Fired Low-Pressure Steam and Hot Water Boilers—with Addenda Z21.13a-1993 and Z21.13b-1994	631.1
 Z21.15—97	Manually Operated Gas Valves for Appliances, Appliance Connector Valves, and Hose End Valves	409.1.1
 Z21.19—90	Refrigerators Using Gas (R 1999) Fuel—with Addenda Z721.19a-1992 (R1999) and Z21.19b-1995 (R1999)	625.1
 Z21.40.1—96	Gas-Fired Heat Activated Air  Conditioning and Heat Pump Appliances—with Z21.40.1a-98 Addendum	 627.1
 Z21.40.2—96	Gas-Fired Work Activated Air Conditioning and Heat Pump
	Appliances (Internal Combustion)—with Z21.40.2a-97 Addendum	627.1
 Z21.42—93	Gas-Fired Illuminating Appliances	628.1
 Z21.47—00	Gas-Fired Central Furnaces—with Addendum Z21.47a-00	618.1
 Z21.48—92	Gas-Fired Gravity and Fan Type Floor Furnaces—with 1993	Addendum (Replaced by Z21.86-98/CSA 2.32-M98, Vented Gas-Fired Space Heating Appliances)	609.1
 Z21.49—92	Gas-Fired Gravity and Fan-Type Vented Wall Furnaces—with 1993 Addendum B-94 (Replaced by Z21.86-98/CSA 2.32-M98, Vented Gas-Fired Space Heating Appliances)	608.1
 Z21.50—98	Vented Decorative Gas Appliances	604.1
 Z21.56—98	Gas-Fired Pool Heaters—with Addendum Z21.56a-99	616.1
 Z21.58—95	Outdoor Cooking Gas Appliances—with Addendum Z21.58a-1998	623.1
 Z21.60—00	Decorative Gas Appliances for Installation in Solid-Fuel Burning Fireplaces	602.1
 Z21.61—83 (R 1996)	Toilets, Gas-Fired	625.1
 Z21.69—97	Connectors for Movable Gas Appliances	411.1
 Z21.83—98	Fuel Cell Power Plants	632.1
 Z21.84—99	Manually-Lighted, Natural Gas Decorative Gas Appliances for  Installation in Solid Fuel Burning Fireplaces	602.1, 602.2
 Z21.86—98/CSA 2.32 M98	Gas-Fired Vented Space Heating Appliances	608.1, 609.1, 622.1
 Z21.88—99	Vented Gas Fireplace Heaters	605.1
 Z83.4—99	Non-Recirculating Direct-Gas-Fired Industrial Air Heaters with  Addendum Z83.4a-2001	611.1
 Z83.6—90 (R 1998)	Gas-Fired Infrared Heaters	630.1
 Z83.8—96	Gas -Fired Unit Heaters—with Addendum Z83.8a-1997	620.1
 Z83.9—96	Gas-Fired Duct Furnaces	610.1
 Z83.11—00	Gas Food Service Equipment (Ranges and Unit Broilers), Baking
	and Roasting Ovens, Fat Fryers, Counter Appliances and Kettles, Steam Cookers, and Steam Generators	623.1
 Z83.18—90	Recirculating Direct Gas-Fired Industrial Air Heaters with Addenda Z83a 2001 and Z83.18b 1992	612.1
 American Society of Mechanical Engineers
Three Park Avenue
New York, NY 10016-5990
 ASME
 Standard		Referenced
reference		in code
number	Title	section number
 B1.20.1—R92	Pipe Threads, General Purpose (inch)	403.9
 B16.1—98	Cast Iron Pipe Flanges and Flanged Fittings, Class 25, 125 and 250 	403.12
 B16.20—98	Metallic Gaskets for Pipe Flanges  Ring-Joint, Spiral-Wound, and Jacketed — with Addendum B16.20a-2000 	403.12
 B16.33—90	Manually Operated Metallic Gas Valves for Use in Gas Piping  Systems up to 125 psig (Sizes 1/2  through 2)	409.1.1
 B31.3—02 99	Process Piping	704.1.2, 705.2, 705.3
 B36.10M—00	Welded and Seamless Wrought-Steel Pipe	403.4.2
 BPVC—01	ASME Boiler & Pressure Vessel Code (2001 Edition)	630.1, 703.2.2, 703.3.3, 703.3.4
 CSD-1—02 98	Controls and Safety Devices for Automatically Fired Boilers with  the ASME CSD-1a-1999 Addendum	631.1
 ASTM International
100 Barr Harbor Drive
West Conshohocken, PA 19428-2959
 ASTM
 Standard		Referenced
reference		in code
number	Title	section number
 A 53/A 53M—02 01	Specification for Pipe, Steel, Black and Hot Dipped Zinc-Coated Welded and Seamless	403.4.2
 A 106—99	Specification for Seamless Carbon Steel Pipe for High-Temperature Service	 403.4.2
 A 254—97	Specification for Copper Brazed Steel Tubing	403.5.1
 A 539—99	Specification for Electric Resistance-Welded Coiled Steel Tubing for Gas and Fuel Oil Lines	403.5.1
 B 88—02 99	Specification for Seamless Copper Water Tube	403.5.2
 B 210—00	Specification for Aluminum and Aluminum-Alloy Drawn Seamless Tubes	403.5.3
 B 241/B 241M—00	Specification for Aluminum and Aluminum-Alloy, Seamless Pipe and Seamless Extruded Tube	403.4.4, 403.5.3
 B 280—99e1	Specification for Seamless Copper Tube for Air Conditioning and  Refrigeration Field Service	403.5.2
 C 64—72 (1977)	Withdrawn No Replacement (Specification for Fireclay Brick Refractories for Heavy
	Duty Stationary Boiler Service)	503.10.2.5
 C 315—02 00	Specification for Clay Flue Linings	501.12
 D 2513—01A	Specification for Thermoplastic Gas Pressure Pipe, Tubing, and Fittings	403.6, 403.6.1, 403.11, 404.14.2
 American Water Works Association
6666 West Quincy Avenue
Denver, CO 80235
 AWWA
 Standard		Referenced
reference		in code
number	Title	section number
 C111—00	Rubber-Gasket Joints for Ductile-Iron Pressure Pipe and Fittings	403.12
 Compressed Gas Association
1725 Jefferson Davis Highway, 5th Floor
Arlington, VA 22202-4102
 CGA
 Standard		Referenced
reference		in code
number	Title	section number
 S-1.1—(20011994)	Pressure Relief Device Standards—Part 1—Cylinders for Compressed Gases	703.3
 S-1.2—(1995)	Pressure Relief Device Standards—Part 2—Cargo and Portable Tanks for Compressed Gases	703.3
 S-1.3—(1995)	Pressure Relief Device Standards—Part 3—Stationary Storage Containers for Compressed Gases	703.3
 CSA America Inc.
8501 E. Pleasant Valley Rd.
Cleveland, OH USA 44131-5575
 CSA
 Standard		Referenced
reference		in code
Partnumber	Title	section number
 CSA 8—93 
 (Revision 1, 1999)	Requirements for Gas-Fired Log Lighters for Wood Burning Fireplaces	603.1
 Department of Transportation
400 Seventh St. SW.
Washington, DC 20590
 DOTn
 Standard		Referenced
reference		in code
number	Title	section number
 49 CFR,
Parts 192.281(e) &
192.283 (b)	Transportation of Natural and Other Gas by Pipeline: Minimum Federal Safety Standards	403.6.1
 Parts 100-180	Hazardous Materials Regulations	703.2.2, 703.3.3, 703.3.4
Florida CODES
 International Code Council
5203 Leesburg Pike, Suite 600
Falls Church, VA 22041
 ICC
 Standard		Referenced
reference		in code
number	Title	section number
FBC-04 IBC—03	Florida International Building Code, Building®	102.2.1, 201.3, 301.10, 301.11, 301.12, 301.14, 302.1, 302.2, 305.6, 306.6, 401.1.1, 412.6, 413.3, 413.3.1, 501.1, 501.3, 501.12, 501.15.4, 609.3, 614.2, 706.1, 706.3
 ICC EC—03	ICC Electrical Code™—Administrative Provisions	201.3, 306.3.1, 306.4.1, 306.5.2, 309.2, 413.8.2.4, 703.6
FEBC 04 IEBC—03	Florida International Existing Building Code™	101.2
Ch.13, FBC-B 04 IECC—03	CCCCCCCCCh. 13, Florida Building Code, Building (Energy Efficiency) International Energy Conservation Code®	301.2
FFPC 04 IFC—03	Florida Fire Prevention Code International Fire Code®	201.3, 303.4, 401.2, 412.1, 412.6, 412.7, 412.7.3, 412.8, 413.1, 413.3, 413.3.1, 413.4, 413.8.2.5, 701.1, 701.2, 703.2, 703.2.2, 703.3.8, 703.4, 703.5, 704.1.2, 704.3, 704.4, 706.2, 706.3.4, 706.3.5, 706.3.6, 707.2, 707.1, 708.1
FBC-M 04 IMC—03	Florida Building Code, International Mechanical Code®	 101.2.5, 201.3, 301.1.1, 301.13, 304.11, 501.1, 614.2, 618.5, 621.1, 624.1, 631.2, 632.1, 703.1.2, 706.3.2
FBC-P 04 IPC—03	Florida Building Code, International Plumbing Code®	 201.3, 301.6,  624.1.1, 624.2
FRC 04 IRC—03	Florida International Residential Code®	703.2.1
 Manufacturers Standardization Society of
the Valve and Fittings Industry
127 Park Street, Northeast
Vienna, VA 22180
 MSS
 Standard		Referenced
reference		in code
number	Title	section number
 SP-6—96	Standard Finishes for Contact Faces of Pipe Flanges and Connecting-End Flanges of Valves and Fittings	403.12
 SP-58—93	Pipe Hangers and Supports—Materials, Design and Manufacture	407.2
 National Fire Protection Association
1 Batterymarch Pike
P.O. Box 9101
Quincy, MA 02269-9101
 NFPA
 Standard		Referenced
reference		in code
number	Title	section number
 37—02 98	Installation and Use of Stationary Combustion Engines and Gas Turbines	616.1
 50A—99	Gaseous Hydrogen Systems at Consumer Sites	706.1
 51—02 97	Design and Installation of Oxygen-Fuel Gas Systems for Welding, Cutting, and Allied Processes	414.1
 58—01	Liquefied Petroleum Gas Code	401.2, 402.6.1, 403.6.2, 403.11
 82—99	Incinerators, and Waste and Linen Handling Systems and Equipment	607.1
 85—01	Boiler and Combustion Construction Systems Hazards Code	631.1 
 88B—97	Repair Garages	305.5
 211—03 00	Chimneys, Fireplaces, Vents, and Solid Fuel-Burning Appliances	503.5.2, 503.5.3, 503.5.6.1, 503.5.6.3
 853—00	Standard for the Installation of Stationary Fuel Cell Power Plants  	633.1
 Underwriters Laboratories Inc.
333 Pfingsten Road
Northbrook, IL 60062
 UL
 Standard		Referenced
reference		in code
number	Title	section number
 103—01 98	Factory-Built Chimneys,for Residential Type and Building Heating Appliances—with Revisions thru March 1999	506.1
 127—96	Factory-Built Fireplaces—with Revisions through November 1999	621.7
 441—96	Gas Vents—with Revisions through December April 1999	502.1
 641—95	Type L Low-Temperature Venting Systems—with Revisions through  April 1999	502.1
 795—01 99	Commercial-Industrial Gas Heating Equipment	610.1,  618.1, 631.1
 959—01	Medium Heat Appliance Factory-Built Chimneys	506.3
 1738—93	Venting Systems for Gas Burning Appliances, Categories II, III and  IV with Revisions through December 2000	502.1
 1777—96 98	Chimney Liners—with Revisions through August July 1998	501.12, 501.15.4