CHAPTER 15
REFERENCED STANDARDS

This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the standard, the standard identification, the effective date and title, and the section or sections of this document that reference the standard. The application of the referenced standards shall be as specified in Section 102.8.

 Air Conditioning Contractors of America 2800 Shirlington Road, Suite 300, Arlington, VA 22206 1712 New Hampshire Ave, NW Washington, DC 20009
 ACCA
Standard										Referenced
Reference									in code
Number			Title							Section number
 
Manual DC95		Residential Duct Systems					603.2

 American National Standards Institute 25 West 43rd Street 11 West 42nd Street New York, NY 10036
 ANSI

Standard										Referenced
Reference									in code
Number			Title							Section number

.Z 10.1-98		Gas Water Heaters-Volume I-Storage, Water Heaters
			With Input Ratings of 75,000 Btu per Hour or Less		1002.1

.Z10.3-98		Gas Water Heaters-Volume III-Storage, Water heaters 	1002.1

 Z21.8C1994 (R2002)	Installation of Domestic Gas Conversion Burners		919.1
 
 Z21.83C1998		Fuel Cell Power Plants					924.1

 Air-Conditioning and Refrigeration Institute Suite 200 425 41004301 North Fairfax Drive Arlington, VA 22203
 ARI
Standard										Referenced
Reference									in code
Number			Title							Section number
 
 700C9995		Specifications for Fluorocarbon and Other Refrigerants	1102.2.2.3

 American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc.1791 Tullie Circle, NE Atlanta, GA 30329-2305
 ASHRAE
Standard										Referenced
Reference									in code
Number			Title							Section number

ASHRAEC2000		HVAC Systems and Equipment HandbookC2000		312.1

 ASHRAEC2001		ASHRAE Fundamentals HandbookC2001			312.1, 603.2

 15C2001		Safety Standard for Refrigeration Systems			1101.6, 1105.8, 
										1108.1

 34C2001		Designation and Safety Classification of Refrigerants		202, 1102.2.1,
										1103.1

.62-200189		Ventilation for Acceptable Indoor Air Quality		403.5

 American Society of Mechanical Engineers Three Park Avenue New York, NY 10016-5990
 ASME
Standard										Referenced
Reference									in code
Number			Title							Section number

 B1.20.1C1983		Pipe Threads, General Purpose (Inch)			1203.3.5, 
(R1999)										1303.3.3

 B16.3C199899		Malleable Iron Threaded Fittings, Classes 150 & 300		Table 1202.5

 B16.5C1996		Pipe Flanges and Flanged Fittings NPS 2 through NPS 24C
 			With B16.5a-1998 Addenda				Table 1202.5

 B16.9C2001 1993	Factory-Made Wrought Steel Buttwelding Fittings		Table 1202.5

 B16.11C2001 1996	Forged Fittings, Socket-Welding and Threaded		Table 1202.5

 B16.15C1985 (R1994)	Cast Bronze Threaded Fittings, Classes 125 and 250		Table 1202.5

 B16.18C2001		Cast Copper Alloy Solder Joint Pressure Fittings		513.13.1, Table 1202.5
1984(R1994)

 B16.22C2000		Wrought Copper and Copper Alloy Solder Joint Pressure	513.13.1,
1995 			FittingsCwith B16.22a-1998 Addenda			Table 1202.5

 B16.23C2002 1992	Cast Copper Alloy Solder Joint Drainage Fittings: DWV	Table 1202.5

 B16.24 - 2001		Cast Copper Alloy Pipe Flanges and Flanged Fittings: 
1991 (R1998)		Class 150, 300, 400, 600, 900, 1500 and 2500,		Table 1202.5

 B16.26C1988		Cast Copper Alloy Fittings for Flared Copper Tubes		Table 1202.5

 B16.28C1994		Wrought Steel Buttwelding Short Radius Elbows and Returns	Table 1202.5

 B16.29C2001 1994	Wrought Copper and Wrought Copper Alloy Solder Joint
			Drainage Fittings-DWV					Table 1202.5

 BPVCC20011998	Boiler & Pressure Vessel Code (Sections I, II, IV, V & VI)	1003.1, 1004.1, 1011.1

 CSD-1C2002 1998	Controls and Safety Devices for Automatically Fired Boilers	1004.1

 ASTM International 100 Barr Harbor Drive West Conshohocken, PA 19428-2959
 ASTM
Standard										Referenced
Reference									in code
Number			Title							Section number

 A 53/A 53MC02 01	Specification for Pipe, Steel, Black and Hot-Dipped, 		Table 1202.4,
			Zinc-Coated Welded and Seamless				Table 1302.3

 A 106C02a 99el		Specification for Seamless Carbon Steel Pipe for 		Table 1202.4,
			High-Temperature Service					Table 1302.3

 A 126C01		Specification for Gray Iron Castings for Valves, 
			Flanges, and Pipe Fittings					Table 1202.5

A 254C97(2002)		Specification for Copper Brazed Steel Tubing		Table 1202.4, 
										Table 1302.3

 A 420/A 420MC02 01	Specification for Piping Fittings of Wrought Carbon Steel 
			and Alloy Steel for Low-Temperature Service		Table 1202.5

 A 539C99		Specification for Electric-Resistance-Welded Coiled Steel 
			Tubing for Gas and Fuel Oil Lines				Table 1302.3

 B 32C00el		Specification for Solder Metal				1203.3.3

 B 42C98		Specification for Seamless Copper Pipe, Standard Sizes	513.13.1, 1107.4.2,
										Table 1202.4,
										Table 1302.3

 B 43C98		Specification for Seamless Red Brass Pipe, Standard Sizes	513.13.1, 1107.4.2, 
										Table 1202.4, 
										Table 1302.3

 B 68C02 99		Specification for Seamless Copper Tube, Bright Annealed	513.13.1

 B 75C02 99		Specification for Seamless Copper Tube			Table 1202.4, 
										Table 1302.3

 B 88C02 99el		Specification for Seamless Copper Water Tube		513.13.1, 1107.4.3, 
										Table 1202.4, 	
										Table 1302.3

 B 135C02 00		Specification for Seamless Brass Tube			Table 1202.4, 
										Table 1302.3

 B 251C02 97		Specification for General Requirements for Wrought
			 Seamless Copper and Copper-Alloy Tube			513.13.1, Table 1202.4

 B 280C02 99el		Specification for Seamless Copper Tube for Air		513.13.1, 1107.4.3,
			Conditioning and Refrigeration Field Service		Table 1302.3

 B 302C02 00		Specification for Threadless Copper Pipe, Standard Sizes	Table 1202.4, 
										Table 1302.3

 B 813C00e01		Specification for Liquid and Paste Fluxes for Soldering 
			of  Copper and Copper Alloy Tube				1203.3.3

 C 315C02 00		Specification for Clay Flue Linings				801.16.1, Table 803.10.4

 C 411C97		Test Method for Hot-Surface Performance of High-
			Temperature Thermal Insulation				604.3

 D 56C02a 01		Test Method for Flash Point by Tag Closed Tester		202

 D 93C02a 00		Test Method for Flash Point of Pensky-Martens Closed 
			Cup Tester						202

 D 1527C99		Specification for Acrylonitrile-Butadiene-Styrene (ABS)
			Plastic Pipe, Schedules 40 and 80				Table 1202.4

 D 1693C01		Test Method for Environmental Stress-Cracking of Ethylene
			Plastics							Table 1202.4

 D 1785C99		Specification for Poly (Vinyl Chloride)(PVC) Plastic Pipe, 
			Schedules 40, 80 and 120					Table 1202.4

D 2235C01		Specifications for Solvent Cement for Acrylonitrile-
			Butadiene-Styrene (ABS) Plastic Pipe and Fittings		1203.3.4

 D 2241C00 01		Specification for Poly (Vinyl Chloride)(PVC) Pressure-
			Rated Pipe (SDR-Series)					Table 1202.4

 D 2282C99		Specification for Acrylonitrile-Butadiene-Styrene (ABS)
			Plastic Pipe (SDR-PR)					Table 1202.4

 D 2412C96a		Test Method for Determination of External Loading 
			Characteristics of Plastic Pipe by Parallel-Plate Loading	603.8.3

 D 2447C01 99		Specification for Polyethylene (PE) Plastic Pipe, Schedules 
			40 and 80, Based on Outside Diameter			Table 1202.4

.D 2466-02 01		Specification for Poly (Vinyl Chloride)(PVC) Plastic Pipe 
			Fittings, Schedule 40					Table 1202.5
 
 D 2467C01		Specification for Poly (Vinyl Chloride)(PVC) Plastic 
			Pipe Fittings, Schedule 80					Table 1202.5

 D 2468C96a		Specification for Acrylonitrile-Butadiene-Styrene (ABS)
			Plastic Pipe Fittings, Schedule 40				Table 1202.5

 D 2513C00		Specification for Thermoplastic Gas Pressure Pipe, Tubing, 
			and Fittings						Table 1202.4, 1203.15.3

 D 2564C02 96a		Specification for Solvent Cements for Poly (Vinyl Chloride)
			 (PVC) Plastic Piping Systems				1203.3.4

D 2661-97		Acrylonitrile-Butadiene-Styrene (ABS) Schedule 40
			Plastic Drain, Waste, and Vent Pipe and Fittings		Table 5153.2A

D2665-98 97A		Poly (Vinyl Chloride) (PVC) Plastic Drain, Waste, and
			Vent Pipe and Fittings					Table 5153.2A

 D 2683C98		Specification for Socket-Type Polyethylene Fittings for
			Outside Diameter-Controlled Polyethylene Pipe and Tubing	Table 1202.4, 1203.15.1

 D 2837C01ael 98a	Test Method for Obtaining Hydrostatic Design Basis for 
			Thermoplastic Pipe Materials				Table 1202.4

 D 2846/D 2846MC99	Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)
			Plastic Hot and Cold Water Distribution Systems		Table 1202.4, 1203.3.4

D 2949-97		3.25-in. Outside Diameter Poly (Vinyl Chloride)(PVC)
			Plastic Drain, Waste, and Vent Pipe and Fittings		Table 5153.2A, 5153.2B

 D 2996C01 00		Specification for Filament-Wound Fiberglass (Glass Fiber 
			Reinforced Thermosetting Resin) Pipe			Table 1302.3

 D 3035C01		Specification for Polyethylene (PE) Plastic Pipe (DR-PR) 
			Based on Controlled Outside Diameter			Table 1202.4

 D 3278C96el		Test Methods for Flash Point of Liquids by Small Scale 
			Closed-Cup Apparatus					202

 D 3309C96a (2002)	Specification for Polybutylene (PB) Plastic Hot- and 
			Cold- Water Distribution Systems				Table 1202.4, 1203.10.1

D3311-94		Drain, Waste, and Vent (DWV) Plastic Pipe Fittings Patterns	Table 5153.2B

 D 3350C01		Specification for Polyethylene Plastics Pipe and 
			Fittings Materials						Table 1202.4

 E 84C01		Test Method for Surface Burning Characteristics of 		202, 510.8, 602.2.1,
			Building Materials					602.2.1.5, 603.1.7, 603.15, 604.3, 1204.1

 E 119C00e		Test Method for Fire Tests of Building Construction 
			and Materials						607.5.2, 607.6.2

 E 136C99e1		Test Method for Behavior of Materials in a Vertical 
			Tube Furnace at 750oC					202

 E 814C02 00		Test Method for Fire Tests of Through-Penetration Fire Stops	506.3.10

F 409-99a 97		Thermoplastic Accessible and Replaceable Plastic Tube 
			Pipe and Tubular Fittings					Table 5153.2B

F 438C02 01		Specification for Socket Type Chlorinated Poly (Vinyl 
			Chloride) (CPVC) Plastic Pipe Fittings, Schedule 40		Table 1202.5

 F 439C02 01		Specification for Socket Type Chlorinated Poly (Vinyl 
			Chloride) (CPVC) Plastic Pipe Fittings, Schedule 80		Table 1202.5

 F 441/F 441MC02 99	Specification for Chlorinated Poly (Vinyl Chloride) 
			(CPVC) Plastic Pipe, Schedules 40 and 80			Table 1202.4

 F 442/F 442MC99	Specification for Chlorinated Poly (Vinyl Chloride) 
			(CPVC) Plastic Pipe (SDR-PR)				Table 1202.4

F 493C97		Specification for Solvent Cements for Chlorinated Poly 
			(Vinyl Chloride) (CPVC) Plastic Pipe and Fittings		1203.3.4

.F 628-97		Acrylonitrile-Butadiene-Styrene (ABS) Schedule 40 Plastic
			Drain, Waste, and Vent Pipe with Cellular Core		Table 5153.2B

.F 876C02 01		Specification for Crosslinked Polyethylene (PEX) Tubing	Table 1202.4

 F 877C02a 01		Specification for Crosslinked Polyethylene (PEX)		Table 1202.4,
			Plastic Hot and Cold-Water Distribution Systems		Table 1202.5

 F 891-98e1 96a		Coextruded Poly (Vinyl Chloride)(PVC) Plastic Pipe with 	Table 5153.2A,
			Cellular Core						Table 5153.2B

 F 1055C98		Specification for Electrofusion Type Polyethylene Fittings	Table 1202.4,
			for Outside Diameter Controlled Polyethylene Pipe and Tubing 1203.15.2

 F 1281C02e 01		Specification for Crosslinked Polyethylene/Aluminum/ 
			Crosslinked Polyethylene (PEX-AL-PEX) Pressure Pipe	Table 1202.4

 F 1974C02 00e		Standard Specification for Metal Insert Fittings for 
			Polyethylene/Aluminum/Polyethylene and Crosslinked
			 Polyethylene/Aluminum/Crosslinked Polyethylene
			 Composite Pressure Pipe					Table 1202.5
 
 American Welding Society550 N.W. LeJeune Road P.O. Box 351040 Miami, FL 331365
 AWS
Standard										Referenced
Reference									in code
Number			Title							Section number

 A5.8C92		Specifications for Filler Metals for Brazing and Braze 
			Welding							1203.3.1, 1303.3.1

 Canadian Standards Association178 Rexdale Blvd.Rexdale (Toronto), Ontario, Canada M9W 1R3
 CSA
Standard										Referenced
Reference									in code
Number			Title							Section number

 CAN/CSA B137.10M	Crosslinked Polyethylene/Aluminum/Polyethylene 
C99			Composite Pressure Pipe Systems				Table 1202.4
 
CAN/CSA B 181.1-9996	ABS Drain, Waste, and Vent Pipe and Pipe Fittings		Tables 5153.2A, 5153.2B

CAN/CSA B 181.3 – 86	Polyolefin Laboratoy Drainage Systems with Revisions	Table 5153.2A
 through October 1990

CODES
Standard										Referenced
Reference									in code
Number			Title							Section number

Florida Building Code, Building

Florida Building Code, Fuel Gas		[Add references from search]

Florida Building Code, Plumbing

Florida Fire Prevention Code

 Department of Labor, Occupational Safety and Health Administrationc/o Superintendent of Documents, US Government Printing Office, Washington, DC 20402-9325
 DOL
Standard										Referenced
Reference									in code
Number			Title							Section number

 29 CFR Part 1910.1000	Air Contaminants						502.6
(1974)

 Federal Specifications*General Services Administration7th & D Streets Specification Section, Room 6039Washington, DC 20407
 FS
Standard										Referenced
Reference									in code
Number			Title							Section number

 WW-P-325B (1976)	Pipe, Bends, Traps, Caps and Plugs; Lead (for Industrial
			 Pressure and Soil and Waste Applications			Table 1202.4
 
 * Standards are available from the Supt. of Documents, U.S. Government Printing Office, Washington, DC 20402-9325.

International Institute of Ammonia Refrigeration Suite 250, 1110 North Glebe Road, Arlington, VA 22201 700  1101 Connecticut Ave., NW, Washington, DC 20036
 IIAR
Standard										Referenced
Reference									in code
Number			Title							Section number

 2C99			Equipment, Design, and Installation of Ammonia 
			Mechanical Refrigerating Systems				1101.6

 Manufacturers Standardization Society of the Valve & Fittings Industry, Inc.127 Park Street, N.E., Vienna, VA 22180
MSS
Standard										Referenced
Reference									in code
Number			Title							Section number

 SP-69C1996		Pipe Hangers and Supports CSelection and Application	305.4

 North American Insulation Manufacturers Association, Suite 310, 44 Canal Center Plaza, Alexandria, VA 22314
 NAIMA
Standard										Referenced
Reference									in code
Number			Title							Section number

 AH116C02		Fibrous Glass Duct Construction Standards			603.4
 
 National Fire Protection Association, 1 Batterymarch Park, Quincy, MA 02269
 NFPA
 Standard									Referenced
Reference									in code
Number			Title							Section number

 31C01			Installation of Oil-Burning Equipment			801.2.1, 801.18.1, 
										801.18.2, 920.2, 922.1, 
										1308.1

 37C02 98		Stationary Combustion Engines and Gas Turbines		915.1, 915.2

 58C01			Liquefied Petroleum Gas Code				502.9.10

 69C02 97		Explosion Prevention Systems				510.8.3

70-02 96		National Electrical Code					306.31, 306.6.4.1
										602.2.1, 1106.8

 72C02 99		National Fire Alarm Code					606.3, 607.3.3, 607.3.4

82C99			Incinerators and Waste and Linen Handling Systems
			and Equipment						601.1

.86-99 95		Standard for Ovens and Furnaces				924.1

 88BC97		Repair Garages						304.25, 708.2

90A-02 96		Standard for the Installation of Air Conditioning and 
			Ventilating Systems					301.15, 606.2

90B-02 96		Standard for the Installation of Warm Air Heating and 
			Air Conditioning Systems					301.15

91C99			Exhaust Systems for Air Conveying of Vapors, Gases,	502.9.5.1, 502.17
			Mists, and Noncombustible Particulate Solids		511.1

96-01 94		Ventilation Control and Fire Protection of Commercial
			Cooking Operations					506.1

 211C03 00		Chimneys, Fireplaces, Vents, and Solid Fuel-Burning
			Appliances						801.1, 806.1

.214-96			Standard on Water Cooling Towers				908.1

 262C02 99		Standard Method of Test for Flame Travel and Smoke 
			of Wires and Cables for Use in Air-Handling Spaces		602.2.1

.664-02 98		Prevention of Fires and Explosions in Wood Processing and
			 Woodworking Facilities					511.4

 704C01 96		Identification of the Hazards of Materials for Emergency	502.8.4, Table 1103.1,
			Response						510.1

 853C00			Installation of Stationary Fuel Power Plants			924.1

 8501C01 97		Boiler and Combustion Systems Hazards Code
			Single Burner Boiler Operation				1004.1

 8502C99 		Prevention of Furnace Explosions/Implosions in Multiple 
	-		Burner Boiler-Furnaces					1004.1

 8504C96		Atmospheric Fluidized-Bed Boiler Operation		1004.1

  Sheet Metal and& Air Conditioning Contractors’ National Assoc., Inc., 4201 4021 Lafayette Center Drive Road, Chantilly, VA 20151-1209 22021
 SMACNA
Standard										Referenced
Reference									in code
Number			Title							Section number

 SMACNAC95		HVAC Duct Construction StandardsCMetal and Flexible	603.3
.
SMACNA.-1985		HVAC Air Duct Leakage Test Manual.			603.3.3

 SMACNAC92		Fibrous Glass Duct Construction Standards			603.4
 
 Underwriters Laboratories, Inc.333 Pfingsten Road, Northbrook, IL 60062-2096
 UL
Standard										Referenced
Reference									in code
Number			Title							Section number

 17C94			Vent or Chimney Connector Dampers for Oil-Fired 
			AppliancesCwith Revisions through September 1999 1998	803.6

 103C01 98		Factory-Built Chimneys, Residential Type and Building
			 Heating ApplianceCwith Revisions through March 1999	805.2

 127C96			Factory-Built FireplacesCwith Revisions through 
			November 1999						805.3, 903.1, 903.3

 174C98			Household Electric Storage Tank Water HeatersCwith 
			revisions through October 1999				1002.1

 181C96			Factory-made Air Ducts and Air ConnectorsCwith 		512.2, 603.5, 603.5.6.1,
			Revisions through December 1998				603.5.6.2, 603.5.6.5
										603.9.1, 604.13

181A-94			Closure Systems for Use with Rigid Air Ducts and Air
			Connectors – with Revisions thru December 14, 1998		603.1.7

181B-95			Closure Systems for use with Flexible Air Ducts and 
			Air Connectors - with Revisions thru May 18, 2000		603.1.7

 197C03 93		Commercial Electric Cooking AppliancesCWith Revisions 
			Through January 2000					507.1

 207C01 93		Refrigerant-Containing Components and Accessories,
			NonelectricalCwith Revisions Through October 1997		1101.2

 343C97			Pumps for Oil-Burning Appliances-with revisions 
			through May, 2002 December 22, 1999			1302.7

 391C95			Solid-Fuel and Combination-Fuel Central and Supple-
			mentary FurnacesCwith Revisions Through May 1999	918.1

 412C93			Refrigeration Unit CoolersCwith Revisions through
			November 2001 1998					1101.2

 471C95			Commercial Refrigerators and FreezersCwith Revisions 
			through November, 2001 April 1998			1101.2

 536C97			Flexible Mmetallic Hose - with revisions through 
			October 2000						1302.8

 555C99			Fire Dampers - with Revisions through January, 2002 
			October, 2000						607.3

 555CC96		Ceiling Dampers						607.3, 607.6.2

 555SC99		Smoke DampersCwith Revisions through January, 2002 
			December 1999						607.3, 607.3.1.1

 586C96			High-Efficiency, Particulate, Air Filter Units – with
			revisions through Aapril 21, 2000				605.2

 641C95			Type L Low-Temperature Venting SystemsCwith 
			Revisions through April 1999				802.1

 710C95			Exhaust Hoods for Commercial Cooking Equipment-
			with Revisions through April 1999				507.1, 507.7

.723			Standard for Test for Surface Burning Characteristics
			of Building Materials					603.1.7

 726C95 98		Oil-Fired Boiler AssembliesCwith Revisions through 
			January 2001 1999					916.1, 1004.1

 727C94			Oil-Fired Centeral FurnacesCwith Revisions through 
			January 1999						918.1

 729C94 98		Oil-Fired Floor FurnacesCwith Revisions through
			January 1999						910.1, 928.1

 730C94 98		Oil-Fired Wall FurnacesCwith Revisions through 
			January 1999						909.1, 929.1

 731C95			Oil-Fired Unit HeatersCwith Revisions through
			January 1999						920.1

 732C95			Oil-Fired Storage Tank Water Heaters-With 
			revisions through January 1999				1002.1

 737C96			Fireplace StovesCwith Revisions through January 2000	805.2, 905.1

 762C99			Outline of Investigation for Power Ventilators for 
			Restaurant Exhaust Appliances				506.5.1

 791C93			Residential IncineratorsCwith Revisions through May 1998	907.1

 834C95 98		Heating, Water Supply, and Power Boilers –Electric- 
			with Revisions Tthrough November 1999 1998		1004.1

 867C00			Electrostatic Air Cleaners					605.2

 896C93			Oil-Burning StovesCwith Revisions through November 1999	917.1, 922.1

 900C94			Air Filter Units - with revisions through October 1999	605.2

 959C01			Medium Heat Appliance Factory-Built Chimneys		805.5

1046-00 79		Grease Filters for Exhaust Ducts				507.11.1

 1240C94		Electric Commercial Clothes Drying EquipmentCwith 
			Revisions through May, 2000 October 1999			913.1

 1261C01 96		Electric Water Heaters for Pools and Tubs - with 
			revisions through November 25, 1998			916.1

 1453C95		Electronic Booster and Commercial Storage Tank 
			Water Heaters - with Revisions Through September 1998	1002.1

 1482C96 98		Solid-Fuel Type Room HeatersCwith Revisions 
			through January 2000					905.1, 930.1

 1777C96 98		Chimney LinersCwith Revisions through August, July 1998	801.18.4

 1820C97		Fire Test of Pneumatic Tubing for Flame and Smoke
			Characteristics - with Revisions through March 1999		602.2.1.3

 1887C96		Fire Tests of Plastic Sprinkler Pipe for Visible Flame and
			Smoke CharacteristicsC with Revisions through June 1999	602.2.1.2

 1995C95 98		Heating and Cooling Equipment - with Revisions		911.1, 918.1, 918.3
			through August 1999					927.1, 1101.2

 2043C96		Fire Test for Heat and Visible Smoke Release for 
			Discrete Products and their Accessories Installed in Air-
			Handling Spaces-With Revisions through June, 2001
			February 1998						602.2.1.4

 2158C97		Standard for Safety for Outline of Investigation Electric 
			Clothes DryerCwith Revisions through February 1999	913.1

 2162C94		Outline of Investigation for Commercial Wood-Fired 
			Baking OvensCRefractory Type				917.1