SECTION 301 
REFERENCED STANDARDS

301.0 General

The Standards (Std), and portions thereof, which are referred to in various parts of this Code shall be part of Chapter 13 of the Florida Energy Efficiency Code for Building Code Construction and are hereby declared to be a part of this Code.

ABBREVIATION		TITLE AND SOURCE 

AABC, 1989			Associated Air Balance Council National Standards 1989.		

AAMA/NWWDA 101/		Voluntary Specifications for Aluminum, Vinyl (PVC) and Wood 
I.S. 2-97				Windows and Glass Doors

ACCA Manual D-1995		Residential Duct Systems Duct Design for Residential Winter and Summer 
Air Conditioner and Equipment Section, Eighth Edition, 1995.

ACCA Manual J-2003		Residential Load Calculation for Residential Winter and Summer 
		Air Conditioning, Eighth Edition, 1995.

ACCA Manual N-1988		Commercial Load Calculation, Fourth Edition, 1988.			

ADC 1996			Flexible Duct Performance & Installation Standards, Third Edition.	

AMCA 500-1989 		Test Methods for Louvers, Dampers, and Shutters				

ANSI A112.18.1M-199989   	Finished and Rough Brass Plumbing Fixture Fittings. 

ANSI C82.2-95			Method of Measurement for Fluorescent Lamp Ballasts.	

ANSI Z21.10.3-2001		Gas Water Heater, Volume 3, Storage, with Input Ratings above 75,000 Btu/h,	
Circulating and Instantaneous Water Heaters
ANSI Z21.10.3-93		American National Standard for Gas Water Heaters, Volume III, -
		Circulating Tank, Instantaneous and Large Automatic Storage - Type Water Heaters

ANSI Z21.13a-199391		American National Standard for Gas-Fired Low-Pressure Steam and
				Hot Water Boilers

ANSI Z21.40.4-961994		American National Standard for Performance Testing and
(with Addenda 1)			Rating of Gas-Fired, Air-Conditioning and Heat Pumping Appliances.

ANSI Z21.47a-2001-		Gas-Fired Central Furnaces (Except Direct Vent and
CAN/CGA 2.3-1993		Separated Combustion System Furnaces).
Addenda Z21.47A-95

ANSI Z21.56-200194		American National Standard for Gas-Fired Pool Heaters.

ANSI Z21.66-1994 		Automatic Vent Damper Devices for Use with Gas-Fired Appliances

ANSI Z83.8/ -0296		Gas Unit Heaters and Gas-Fired Duct Furnaces.
CGA 2.6

ANSI/NWWDA, I.S. 2-93 	Industry Standard for Wood Window Units.

ANSI/AHAM RAC1-200392   	American National Standard for Room Air Conditioners.	

ANSI/ASME PTC4.1-91		American National Standard for Steam Generating Units

ARDM-1988    			Residential Heat Recovery Installation Guide, First Edition, 1988.

ARI Std. 210/240-1994		Unitary Air-Conditioningers and Air-Source Heat Pump Equipment.  

ARI Std. 310/380-1993		Packaged Terminal Air-Conditioners and Heat Pumps.		

ARI Std. 320-199893		Water-Source Heat Pumps.

ARI Std. 325-199893		Ground Water-Source Heat Pumps.

ARI Std. 330-199893  		Ground Source Closed-Loop Heat Pumps

ARI Std. 340/360-200093  	Commercial and Industrial Unitary Air-Conditioning and Heat Pump Equipment.

ARI Std. 365-1994		Commercial and Industrial Unitary Air-Conditioning Condensing Units.  

ARI Std. 460-2000		Remote Mechanical Draft Air Cooled Refrigerant Condensers

ARI Std. 520-199790		Positive Displacement Refrigerant Compressors, Compressor units
		and Condensing Units.

ARI Std. 550/590-199892  	Centrifugal or Rotary Screw Water Chilling Packages Using	
(with Addenda)			the Vapor Compression Cycle.

ARI 560-2000 			Absorption Water Chilling and Water Heating Packages		

ARI Std. 590-92 			Reciprocating Water-Chilling Packages.

ASHRAE Handbook		HVAC Applications, 1999 95.					

ASHRAE Handbook		Fundamentals, 2001 1997.					

ASHRAE Handbook		HVAC Systems & Equipment, 2000 1996.
.
ASHRAE Handbook		Refrigeration, 20021994

ASHRAE, 19982			Cooling and Heating Load Calculation Principles Manual,
				Second Edition, McQuiston and Spitler  Curtis O. Pedersen, 
				Daniel E. Fisher, Jeffrey D. Spitler, Richard J. Liesen

ASHRAE, 1976			Energy Calculations I: Procedures for Determining Heating
				and Cooling Loads for Computerizing Energy Calculations

ANSI/ASHRAE Std.55-1992  	Thermal Environmental Conditions for Human Occupancy 55-92.

ANSI/ASHRAE Std. 62-200189	Ventilation for Acceptable Indoor Air Quality.		

ANSI/ASHRAE Std. 90.1-200189 Energy Efficient Design of New Buildings Except Low-Rise Residential Buildings.

ANSI/ASHRAE Std.93-1986	Methods of Testing to Determine the Thermal Performance
(RA91)				of Solar Collectors

ANSI/ASHRAE 124-1991	Methods of Testing for Rating Combination Space-Heating and Water-Heating Appliances 

ANSI/ASHRAE 137-1995		Methods of Testing for Efficiency of Space-Cconditioning/Water-Heating
(RA2001)  			Appliances That Include a Desuperheater Water Heater.
Std. 93-1986 AE
ANSI/ASHRAE 146-1998		Method of Testing for Rating Pool Heaters				

ANSI/DASMA 105-1992		Test Method for Thermal Transmittance and Air Infiltration of Garage Doors
(R 1998)	

ANSI/NEMA MG 1-1993 		Motors and Generators

ASME PTC 4.1-1964 		Steam Generating Units

ASTM C90-96 			Standard Specification for Loadbearing Concrete Masonry Units	

ASTM C 177-97 			Test Method for Steady-State Heat Flux Measurements and Thermal 
				Transmission Properties by Means of the Guarded-Hot-Plate Apparatus

ASTM C 236-89			Test Method For Steady-State Thermal Performance of Building Assemblies 
				by Means of a Guarded Hot Box.

ASTM C272-91 			Test Method for Water Absorption of Core Materials for Structural Sandwich 
Constructions

ASTM C 335-9589		Test Method for Steady-State Heat Transfer Properties of Horizontal 
				Pipe Insulations.

ASTM C 516-0280 (1990) 	Vermiculite Loose Fill Thermal Insulation

ASTM C 518-0291		Test Mmethod for Steady-State Heat Flux Measurements and Thermal
			Transmission Properties by Means of the Heat Flow Meter Apparatus.

ASTM C 549-0281 (1995)		Perlite Loose Fill Insulation

ASTM C 578-0195		Rigid, Cellular Polystyrene Thermal Insulation

ASTM C 665-01el95		Mineral-Fiber Blanket Thermal Insulation for Light Frame
Construction and Manufactured Housing

ASTM C 727-0190		Standard Practice for Installation Use and Use Installation of Reflective
Insulation in Building Constructions.

ASTM C 739-2000el95		Cellulosic Fiber (Wood-Base) Loose-Fill Thermal Insulation

ASTM C 764-200294		Mineral Fiber Loose-Fill Thermal Insulation

ASTM C835-95 (1999) 		Standard Test Method for Total Hemispherical Emittance of Surfaces 
From 20ºC to 1400ºC

ASTM C 976-90 		Test Method for Thermal Performance of Building Assemblies
by Means of a Calibrated Hot Box.

ASTM C 1015-0284		Standard Practice for Installation of Cellulosic and Mineral
(1995)				Fiber Loose-Fill Thermal Insulation

ASTM C 1049-85		Standard Practice for Installation of Granular Loose Fill 
(1995)				Thermal Insulation

ASTM C 1158-0197		Standard Practice for Use and Installation of Radiant
Barrier Systems (RBS) in Building Construction

ASTM C 1224-0193	Reflective Insulation for Building Applications

ASTM C 1289-0295	Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board

ASTM C 1313-0095		Sheet Radiant Barriers for Building Construction Applications

ASTM C 1320-9995		Standard Practice for Installation of Mineral Fiber Batt and
			Blanket Thermal Insulation for Light Frame Construction

ASTM C 1321-1996		Standard Practice for Installation and Use of Interior Radiation Control
				Coating Systems (IRCC) in Building Construction
ASTM C 1321-96

ASTM C 1371-199897		Test  Method for Determination of Emittance of Materials Near Room
				Temperature Using Portable Emissometers.

ASTM D 4099-95		Poly Vinyl Chloride (PVC) Prime Windows.

ASTM E84-0198			Test Method for Surface Burning Characteristics of Building Materials	

ASTM E96-95 			Test Methods for Water Vapor Transmission of Materials

ASTM E 283-91	(1999)		Standard Test Method of Tests for Determining the Rate of Air Leakage   
	Through Exterior Windows, Curtain Walls and Doors Under Specified 	
	Pressure Differences Across the Specimen..

ASTM E408-71 (1996) 		Test Methods for Total Normal Emittance of Surfaces Using Inspection-
Meter Techniques

ASTM E903-96 			Test Method for Solar Absorptance, Reflectance, and Transmittance of 
Materials Using Integrating Spheres

ASTM E1175-87 (1996) 		Standard Test Method for Determining Solar or Photopic Reflectance,Transmittance, 
and Absorptance of Materials Using a Large Diameter Integrating Sphere

ASTM E1918-97 		Standard Test Method for Measuring Solar Reflectance of Horizontal 
or Low-Sloped Surfaces in the Field

ASTM E 408-71			Test Methods for Total Normal Emittance of Surfaces
(2002 1990)			Using Inspection-Meter Techniques

CTI ATC-105(97) 		Acceptance Test Code for Water Cooling Towers

CTI Std. 201-96 91	Certification Standard for Commercial Water Cooling Towers.
	Thermal Performance

DOE, 10 CFR, Part 430		Uniform Test Method for Measuring the Energy Consumption 	
Subpart B, App. E-1998		of Water Heaters.

DOE, 10 CFR Part 430		Uniform Test Method for Measuring the Energy Consumption 
Subpart B, App. M		of Central Air Conditioners

10 CFR, Part 430, 		Uniform Test Method for Measuring the Energy Consumption of Furnaces
Subpart B, App N -1998	 

DOE, 10 CFR, Part 430		Uniform Test for Measuring the Energy Consumption of Furnaces and Vented Home
Subpart B, Appendices N & O	Heating Equipment
-1998

EPACT, 92			Energy Policy Act of 1992.
42 USC 6831, et seq	
Public Law 102-486
			
FL-1				Florida Standard for Desuperheater/Water Heaters 
(See Appendix E of this Code).

FTC Rule, 16 CFR,		FTC Labeling and Advertising of Home Insulation.
Part 460, Amended 	
Effective 4/29/96			

GA-216				Recommended Specifications for the Application and Finishing of
		Gypsum Board.

GAMA				Consumers’ Directory of Certified Efficiency Ratings for Water Heating Equipment

H.I., HBS 86-1989		Testing and Rating Standard for Heating Boilers.			

HUD, 24 CFR 3282-3283	Manufactured Home Procedural and Enforcement Regulations

HUD, 42 CFR 70, s. 5401		Manufactured Home Construction and Safety Standards
(24 CFR 3280)

HUD, 42 USC 77, s. 6295	Energy Conservation Standards

IESNA, 90.1-2001 1987	Energy Standard for Buildings Except Low-Rise Residential Buildings
	Illuminating Engineering Society Lighting Handbook, 1984 Edition.

ISO 9806 (1994, 1995)	Test Methods for Solar Collectors
Part 1: Thermal Performance of glazed liquid heating collectors including pressure drop", December 1, 1994.
Part 2: Qualification test procedures", August 15, 1995.
Part 3: Thermal performance of unglazed liquid heating collectors (sensible heat transfer only) including pressure drop", December 15, 1995.

ISO 13256-1 (1998) 		Water-Source Heat Pumps—Testing and Rating for Performance—Part 1
Water-to-Air and Brine-to-Air Heat Pumps

NAECA, 1987			National Appliance Energy Conservation Act of 1987.  

NAIMA 1993			Fibrous Glass Duct Construction Standards. Second Edition, 1993.

NAIMA 1994			Fibrous Glass Duct Liner Standard

NEBB, 1998 91			National Environmental Balancing Bureau, Procedural Standards For	
Testing and Balancing Environmental Systems

NEMA 	National Electric Manufacturers Association's Standard.

NEMA MG 1-1998 87		Motors and Generators, Revision No.2, May and November
1989, September and November 1990, January and March,1991.

NEMA MG 10-199483		Energy Management Guide for Selection and Use of
(RA 1999)			Polyphase Motors.

NEMA MG 11-1977		Energy Management Guide for Selection and Use of Single-
(Revised 82, 87, 97)		Phase Motors.

NFPA 54/ANSI Z223.1		National Fuel Gas Code.

NFPA 90B-2002			Standard for the Installation of Warm Air Heating and Air-
Conditioning Systems.

NFPA 96-2001	Ventilation Control and Fire Protection of Commercial Vapor 
	Removal From Cooking Operations Equipment, 1994 Edition.	

NFRC 100-01			Procedure for Determining Fenestration Product U-factors Thermal Properties.

NFRC 200-01			Procedure for Determining Fenestration Product Solar Heat
				Gain Coefficients and Visible Transmitttance at Normal Incidence. 

NFRC 300-01	Standard Test Method for Determining the Solar Optical Properties of
	Glazing Materials and Systems.

NFRC 301-93 			Standard Test Method for Emittance of Specular Surfaces Using Spectrometric
Measurements

NFRC 400-95 			Procedure for Determining Fenestration Product Air Leakage

SBCCI	Standard Building Code, 1997 Edition.

SBCCI				Standard Mechanical Code, 1997 Edition.

SMACNA, 1st Ed.-1985		HVAC Air Duct Leakage Test Manual.

SRCC TM-1			Solar Domestic Hot Water System and Component Test Protocol, December 6, 2002.

UL 181-96			Standard for Factory-Made Air Ducts and Air Connectors, 9th Edition, 1996.
with revisions through December 1998.

UL 181A-94			Closure Systems for Use With Rigid Air Ducts and Air Connectors,
				Second Edition 1994 with revisions through December 1998.

UL 181B-95			Closure Systems for Use With Flexible Air Ducts and Air Connectors	
with revisions through May 2000.

UL 723				Standard for Test for Surface Burning Characteristics of Building Materials.

UL 726-95 	Standard for Oil-Fired Boiler Assemblies, with revisions through 
	January 2001.

UL 727-94	Standard for Oil-Fired Central Furnaces, with revisions through January 1999..

UL 731-95	Standard for Oil-Fired Unit Heaters, with revisions through January 1999...

UL 737-96	Standard for Fireplace Stoves, with revisions through January 2000.

UL 795-9994			Standard for Commercial-Industrial Gas-Heating Equipment.

UL 1482-96	Standard for Solid-Fuel Type Room Heaters, Solid Fuel Type,.
with revisions through January 2000.

SECTION 302
ORGANIZATIONS
302.1 General 

This section contains a list by name and address of those agencies, associations, institutions and others that are referred to in this code by name, initials or symbols.

AAMA	American Architectural Manufacturers Association, 1827 Walden Office Square, Suite 1041, Schaumburg, IL 60173-4268.

AABC		Associated Air Balance Council, 1518 K Street, Suite 503, 
Washington, DC 20005.

ACCA	Air Conditioning Contractors of America, 2800 Shirlington Road, Suite 300, Arlington, VA 22206 1712 New Hampshire Avenue, N.W., Washington, D.C., 20009.

ADC	Air Diffusion Council, 11 South LaSalle Street, Suite 1400, Chicago, IL 60603.

AGA	American Gas Association, 1515 Wilson Boulevard, Arlington, VA 22209.

AHAM	Association of Home Appliance Manufacturers, 20 North Wacker Dr., Chicago, Il. 60606

AMCAI	Air Movement and Control Association International, 30 West University Drive, Arlington Heights, IL 60004-1806

ANSI	American National Standards Institute, Inc., 25 West 43rd Street, Fourth Floor, 11 West 42nd Street, New York, N.Y.,N.Y.10036.

ARDM	Association of Refrigerant Desuperheater Manufacturers, Inc., 190 Scarlet
Boulevard, Oldsmar, FL 34677.

ARI	Air-Conditioning and Refrigeration Institute, 4100 4301 North Fairfax Dr., Suite 200 425, Arlington , VA 22203.

ASHRAE	American Society of Heating, Refrigerating and Air-Conditioning Engineers,Inc., 1791 Tullie Circle, N.E., Atlanta, GA 30329-2305.

ASME	American Society of Mechanical Engineers, Three Park Avenue, New York, NY 10017

ASTM	American Society for Testing and Materials, 100 Barr Harbor Dr, 
West Conshohocken, PA 19428-2959 

CTI	Cooling Technology Tower Institute, 2611 FM 1960 West, Suite H-200 PO Office Box 73383, Houston, TX 77068-3730 77273.

CABO	Council of American Building Officials, 5203 Leesburg Pike, Suite 708,
Falls Church, VA 22041.

DOE	United States Department of Energy, c/o Superintendent of Documents, U.S. Government Printing Office, 
	1000 Independence Ave. S.W., Washington, DC 20402-9325 20585.

FTC	Federal Trade Commission, Sixth Street and Pennsylvania Avenue, N.W., Washington, DC 20580.

GA	Gypsum Assoc., 810 First Street N.E., Suite 510, Washington, DC 20002.

GAMA	Gas Appliance Manufacturers Assoc, PO Box 9245, Arlington, VA 22209.

H.I.	Hydronics Institute, P.O. Box 218, Berkeley Heights, N.J. 07922.

HUD		U.S. Dept. Housing and Urban Development, 451 7th Street S.W., Washington, DC 20410.

ICC	International Code Council, Inc. 5203 Leesburg Pike, Suite 600, Falls Church, VA 22041-3401

IESNA	Illuminating Engineering Society of North America, 120 Wall Street, 17th Floor, New York N.Y., N.Y. 
	10005-4001.

ISO, 		1, rue de Varembe, Case postale 56, CH-1211 Geneve 20, Switzerland

NAIMA	North American Insulation Manufacturers Association, 44 Canal Center Plaza, Suite 310, Alexandria, VA 22314.

NAGDM	National Association of Garage Door Manufacturers, 1300 Sumner Avenue, Cleveland, OH 44115-2851

NCSBCS	National Conference of States on Building Codes and Standards, Inc., 505 Huntmar Park Dr., Suite 210, Herndon, VA 22070.

NEBB	National Environmental Balancing Bureau, 8575 Grovemont Circle, Gaithersburg, MD 20877-4121.

NEMA	National Electrical Manufacturers Association, 1300 N 17th Street, Suite 1847, Rosslyn, VA 22209 
	 2101 LStreet N.W., Suite 300, Washington, DC 20037-1526. 

NFPA	National Fire Prevention Assoc., Batterymarch Park, Quincy, MA 02269.	

NFRC	National Fenestration Rating Council, Inc., 8484 Georgia Avenue, Suite 320 1300 Spring Street, Suite 150,	Silver Spring, MD 20910.

RIMA	Reflective Insulation Manufacturers Assoc, PO Box 90955, Washington, 	DC 29909.

SBCCI	Southern Building Code Congress International, Inc., 900 Montclair Road, Birmingham, AL 35213-1206.

SMACNA	Sheet Metal and Air-Conditioning Contractors’ National Association, Inc., 
4201 Lafayette Center Dr., Chantilly, VA 20151-1209 22021.

SRCC	Solar Rating and Certification Corporation, c/o Florida Solar Energy Center, 1679 Clearlake Road, Cocoa, FL 32922-5703.

UL	Underwriters Laboratory, Inc., 333 Pfingsten Rd., Northbrook, Il. 60062-2096.

NWWDMA	National Wood Window and Door Manufacturers Association, 1400 East Touhy Ave, 
		Suite 470 Suite G-54, Des Plaines, IL 60018.