Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 12
6/25/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Building
424.2.17.1.9
 3936 
This proposal makes changes to the pool alarm requirements in order to provide for consistency with the UL 2017 General‑Purpose Signaling Devices and Systems standard that an exit alarm must comply with per the code.
Jennifer Hatfield
4
Comment

Proponent
Summary
Mod #
Section
Chapter
APSP
 4311 
Clarifies that NSPI is the former name of the APSP.  Updates the ANSI/NSPI‑5 standard for residential inground pools to reflect the 2010 revision. Deletes one of two portable spa standard references (ANSI‑6), which is referenced twice, deletes the '92 reference.
Jennifer Hatfield
35
Comment

Proponent
Summary
Mod #
Section
Chapter
UL
 3939 
Updates the UL 2017 Standard for General‑Purpose Signaling Devices and Systems to the 2008 second edition.
Jennifer Hatfield
35
Comment

Proponent
Summary
Mod #
Section
Chapter
New appendix
 4391 
Add a new Appendix “XX” (Designation to be assigned)
Doug Harvey
2711
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 12
6/25/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Existing Building
New 302.5
 4337 
Add language to address residential swimming pools
Duren Gary
3
Comment

Proponent
Summary
Mod #
Section
Chapter
New 510.1
 4338 
Add language to address residential swimming pool and spa issues
Duren Gary
5
Comment

Proponent
Summary
Mod #
Section
Chapter
New 613 and 613.1
 4339 
Add language to address residential swimming pool and spa issues
Duren Gary
6
Comment

Proponent
Summary
Mod #
Section
Chapter
SubCode:
Fuel Gas
All
 4381 
Replace the Florida Building Code‑Fuel Gas with the 2009 International Fuel Gas Code in its entirety.
Doug Harvey
1
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 12
6/25/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Fuel Gas
301.1.1
 4400 
Clarify the elevation above which appliances, equipment and installations are required to be elevated is the elevation specified in 1612.4.
Christopher Jones
3
Comment

Proponent
Summary
Mod #
Section
Chapter
301.3
 3479 
This section refers to 105, however 105 exists only in the ICC code. Unless this is corrected there is no way to allow provisions for &quot;alternative&quot; methods in the Fuel Gas  Code. I suggest either using the ICC wording in 105 or referring the reader to section 101.1.
Jose Guanch
3
Comment

Proponent
Summary
Mod #
Section
Chapter
305.4
 4079 
To make Section 305.4 of the Florida Fuel Gas Code the same as the 2009 International Fuel Gas Code.
Robert Trumbower
3
Comment

Proponent
Summary
Mod #
Section
Chapter
404.15.3
 3745 
Retain base code (IFGC) language as it provides better direction
J Glenn‑BASF
4
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 4 of 12
6/25/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Fuel Gas
406.7.4
 3748 
Retain base code (IFGC) language as it provides better direction
J Glenn‑BASF
4
Comment

Proponent
Summary
Mod #
Section
Chapter
SubCode:
Plumbing
All
 4380 
Replace the Florida Building Code‑Plumbing with the 2009 International Plumbing Code in its entirety.
Doug Harvey
1
Comment

Proponent
Summary
Mod #
Section
Chapter
305.6
 3740 
Retain base code language
J Glenn‑BASF
3
Comment

Proponent
Summary
Mod #
Section
Chapter
309.2
 4402 
Clarify the elevation above which plumbing systems, equipment and fixtures are required to be elevated is the elevation specified in 1612.4.
Christopher Jones
3
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 5 of 12
6/25/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Plumbing
403.7
 3741 
Sections 403.5 and 403.6 do not exist in the IPC Renumber 403.7 to 403.5 and remove the &quot;reserved&quot;
J Glenn‑BASF
4
Comment

Proponent
Summary
Mod #
Section
Chapter
504.6
 3603 
Add exception to this section of code for a solar system that can have multiple PRV's. Discharging a 1/2&quot; relief device in the solar loop into the T&amp;P tank discharge should be acceptable.
Ben Bentley
5
Comment

Proponent
Summary
Mod #
Section
Chapter
604.1
 3742 
Retain the based code (IPC) language
J Glenn‑BASF
6
Comment

Proponent
Summary
Mod #
Section
Chapter
606.1 (5)
 3426 
Adds text &quot;supplying three or more branch intervals&quot;. This clarifies the intent of this code section to apply only to multistory buildings.
James Bickford
6
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 6 of 12
6/25/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Plumbing
611.2
 3744 
Retain the based code (IPC) language
J Glenn‑BASF
6
Comment

Proponent
Summary
Mod #
Section
Chapter
702.1
 4160 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
7
Comment

Proponent
Summary
Mod #
Section
Chapter
702.2
 4255 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
7
Comment

Proponent
Summary
Mod #
Section
Chapter
702.3
 4315 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
7
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 7 of 12
6/25/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Plumbing
1003.3.4
 4432 
Provides a level of environmental protection from decomposition of these devices from both the interior and exterior environments that these devices are subject to.
Paul Bohres
10
Comment

Proponent
Summary
Mod #
Section
Chapter
1102.1
 4316 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
11
Comment

Proponent
Summary
Mod #
Section
Chapter
1102.2
 4318 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
11
Comment

Proponent
Summary
Mod #
Section
Chapter
1102.3
 4319 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
11
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 8 of 12
6/25/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Plumbing
1102.4
 4321 
Modify the current building materials list to include Cure‑In Place (CIPP) Thermosetting Resin Conduit Liner that meets ASTM F‑1743, ASTM F‑1216, ASTM D790, ASTM D638 and ASTM D543. in sections 702.1,702.2, 702.3, 1102.1, 1102.2, 1102.3 and 1102.4 for building drains and building sewer pipes.
Allen Johnson
11
Comment

Proponent
Summary
Mod #
Section
Chapter
1107
 4371 
1107.1 (Add) Secondary drain inlet shall be not less than 2 inches (51 mm) nor more than 4 inches (102 mm) above the finish roof covering and shall be located as close as practical to the required vertical leaders or downspouts.
scott waltz
11
Comment

Proponent
Summary
Mod #
Section
Chapter
SubCode:
Residential
14‑23
 4387 
Replace the Florida Building Code, Residential Section 14‑23 Plumbing with Section 14‑23 Plumbing of the 2009 International Residential Code in its entirety.
Doug Harvey
14
Comment

Proponent
Summary
Mod #
Section
Chapter
24
 4388 
Replace the Florida Building Code, Residential Section 24‑Fuel Gas with Section 24 Fuel Gas of the 2009 International Residential Code in its entirety.
Doug Harvey
24
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 9 of 12
6/25/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Residential
2415.14.3
 4023 
Retain base code (IRC) language.
J Glenn‑BASF
24
Comment

Proponent
Summary
Mod #
Section
Chapter
2417.7.4
 4024 
Retain base code (IRC) language
J Glenn‑BASF
24
Comment

Proponent
Summary
Mod #
Section
Chapter
G2408.2 (305.3)
 4081 
To make Section G2408.2 (305.3) of the Florida Residential Code the same as the Section 305.3 of the Florida Fuel Gas Code.
Robert Trumbower
24
Comment

Proponent
Summary
Mod #
Section
Chapter
2603.6
 4022 
Retain base code language
J Glenn‑BASF
26
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 10 of 12
6/25/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Residential
P2603.2
 4212 
This modification is a correlation with the modification that deletes the prescriptive construction requirements in the code that do not apply to the design of buildings in Florida.
T Stafford
26
Comment

Proponent
Summary
Mod #
Section
Chapter
P2803.6.1.2
 3648 
Add exception to this section of code for a solar system that can have multiple PRV's. Discharging a 1/2&quot; relief device from the solar loop into the T&amp;P tank discharge should be acceptable.
Ben Bentley
28
Comment

Proponent
Summary
Mod #
Section
Chapter
P2803.6.2.1
 3647 
An exception needs to be added to the code to clarify proper discharge of open loop potable water systems where the relief device is located on the roof near the solar collector(s).
Ben Bentley
28
Comment

Proponent
Summary
Mod #
Section
Chapter
R4101.17.1.9
 3934 
This proposal makes changes to the pool alarm requirements in order to provide for consistency with the UL 2017 General‑Purpose Signaling Devices and Systems standard that an exit alarm must comply with per the code.
Jennifer Hatfield
41
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 11 of 12
6/25/2010
Total Mods for this TAC:
Plumbing
TAC:
 43 
SubCode:
Residential
R4101.4.2
 3899 
Move provisions for pools in flood hazard areas that are found in Appendix G of the IRC into the body of the code.  This modification refers back to R322 to determine whether specific requirements apply.
Rebecca Quinn
41
Comment

Proponent
Summary
Mod #
Section
Chapter
APSP
 4328 
Clarifies that NSPI is the former name of the APSP.  Updates the ANSI/NSPI‑5 standard for residential inground pools to reflect the 2010 revision.
Jennifer Hatfield
43
Comment

Proponent
Summary
Mod #
Section
Chapter
UL
 3937 
Updates the UL 2017 Standard for General‑Purpose Signaling Devices and Systems to the 2008 second edition with revisions.
Jennifer Hatfield
43
Comment

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 12 of 12
6/25/2010
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations