Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 4
6/25/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Electrical
TAC:
 11 
SubCode:
Building
202
 3854 
revise definition
Steven Bassett
2
Comment
Second. Aye 0 Nay 10. NAR. Not needed.
Proponent
Summary
Mod #
Section
Chapter
R315
 3844 
The intent of the proposal is to align the Florida building code supplement with nationally recognized consensus standards for carbon monoxide detection.
marilyn williams
3
Comment
Second. Aye 0 Nay 10.  NAR Confusing, need further explanation of intent & effect.

Proponent
Summary
Mod #
Section
Chapter
202 and 916
 3840 
The intent of the proposal is to align the Florida building code supplement with nationally recognized consensus standards for carbon monoxide detection.
marilyn williams
9
Comment
Second. Aye 0 Nay 10.  NAR Confusing, need further explanation of intent & effect.

Proponent
Summary
Mod #
Section
Chapter
916
 3853 
Changes to Carbon Monoxide Protection
Steven Bassett
9
Comment
Baker move use Alternate 1 to 3853. Baker move amend mod to say “or” instead of “and” in 916.1.2. Second, Aye 10, Nay 0.
Amend to put definition in new section 916.1.3, “Addition shall mean…[insert law def]”, Amend to change (2) to reference Section 916.1.3 instead of “this code”. 
Baker, Fisher second, Aye 10, Nay 0.  VanWyke, move adopt mod with amendments. Second. Aye 10, Nay 0. AM Law changed, Definition applies only to this section.
Reconcile original action/same action as 4190.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 4
6/25/2010
Total Mods for this TAC:
Electrical
TAC:
 11 
SubCode:
Building
1405.11.4
 4005 
Retain base code (IBC) language as it provides the same direction as the FBC section.
J Glenn‑BASF
14
Comment
 Second. Aye 10 Nay 0  AS
Proponent
Summary
Mod #
Section
Chapter
2705
 3450 
Delete the section in total.
Bryan Holland
27
Comment
Second Wilkes. Aye  10 Nay  0 AS
Proponent
Summary
Mod #
Section
Chapter
2706
 3453 
New Section for Lightning Protection
Bryan Holland
27
Comment
Second. Aye 0  Nay 10   NAR  FS exempts lightning protection. Not FL specific.
Proponent
Summary
Mod #
Section
Chapter
Section 35
 3451 
Update reference NFPA 780.
Bryan Holland
35
Comment
VanWyke second. Aye 0  Nay  10  NAR Not FL specific.

No standard received.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 4
6/25/2010
Total Mods for this TAC:
Electrical
TAC:
 11 
SubCode:
Building
New appendix
 4391 
Add a new Appendix “XX” (Designation to be assigned)
Doug Harvey
2711
Comment
Wilkes second. Aye 0  Nay  10 NAR     Not Fl Specific, guidelines not ready, no current code.

No standard received 
Proponent
Summary
Mod #
Section
Chapter
SubCode:
Residential
315.1
 4190 
Retain base code (IRC) language
J Glenn‑BASF
3
Comment
Wilkes second. Move to alternate A1, amend A1 as was done in mod 3853. Aye  10  Nay 0  AM   Original mod Aye  0 Nay 10 NAR    Not FL specific per FL law.
Proponent
Summary
Mod #
Section
Chapter
New section ‑E3901.1
 4268 
Adds new section regarding electrical installation of of photovoltaic modules/shingles as roof covering materials.
Lorraine Ross
39
Comment
 Tibbs second. Aye  4  Nay  5  NAR    Covered in 690.4(D) of NEC 2008.  Redundant requirement by NEC.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 4 of 4
6/25/2010
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations