Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 20
6/25/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
105, 304, 423, 428
 3641 
Change all references of “community college” to “Florida college,” add definition of a Florida college.
Jon Hamrick
4
Comment
AM - Change STATE to Florida 423.3.1
Reason, for language to be consistent with remainder of text.
VOTE 10-0
Proponent
Summary
Mod #
Section
Chapter
419, 420, 423, 424
 3880 
Florida‑specific mods to Chpt 2, related to consistency with flood provisions of the NFIP.  Mods coordinated with applicable State agencies:  419 &amp; 420 (Agency for Health Care Admin); 423 (Office of Educational Facilities).  Specified elevations are consistent with ASCE 24, referenced in 1612.
Rebecca Quinn
4
Comment
AM
Delete sec 419 and 420 in favor of alternative modifications impacting sec 4292 and 4294 and the TAC found that there is fiscal impact to cost for owner.
9-2 passes as amended.
Proponent
Summary
Mod #
Section
Chapter
419.1
 4172 
Revises the Scope section of 419.
James Gregory
4
Comment
AS

Vote 10-0
Proponent
Summary
Mod #
Section
Chapter
419.1.1
 4075 
Clarifying language.
James Gregory
4
Comment
Withdrawn.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
419.2
 4076 
Adds clarifying language.
James Gregory
4
Comment
Withdrawn.
Proponent
Summary
Mod #
Section
Chapter
419.2
 4174 
Revises this section for clarity.
James Gregory
4
Comment
AM with A1
Vote 10-0
Reason:  Standing on proponent rationale.
Proponent
Summary
Mod #
Section
Chapter
419.3
 4182 
Clarifies what facilties need to meet sectin 419 requirements.
James Gregory
4
Comment
AM with A1
Standing on proponent rationale.
10-0
Proponent
Summary
Mod #
Section
Chapter
419.3
 4186 
Revises sections to comply with updated references.
James Gregory
4
Comment
Amendments are additions to proposed language.
5-6 fails
NAR
Rationale – amendment is not clearly understood by the TAC.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
419.3.12.1
 4440 
Clarifies this seciton.
James Gregory
4
Comment
AS
10-0
Proponent
Summary
Mod #
Section
Chapter
419.3.15.2
 4424 
Adds clarifying language to the section.
James Gregory
4
Comment
NAR
2-9 fails
Proposed change adds more confusion than clarity.  Choice of verbiage added at end of section “open to” …, “but may ….the egress of corridor”, should be wordsmithed.
Proponent
Summary
Mod #
Section
Chapter
419.3.15.7.2
 4287 
Revises and clarifies the requirements for receptacles in the critical care areas.
James Gregory
4
Comment
NAR
0-11 fails
Language may or may not be intended to be stricken and causes some confusion and appears to alter the original intent of the code.  Intent is unclear to TAC.
Proponent
Summary
Mod #
Section
Chapter
419.3.17
 4289 
Revises nurse call requirements to coordinate with the 2010 Guidelines.
James Gregory
4
Comment
AM with A!
11-0
Standing on proponent rationale.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 4 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
419.4.2.2
 4292 
Clarifies this section of the code.
James Gregory
4
Comment
A3- is alternate language.
11-0 
Approved as modified with A3 using proponents rationale.
Proponent
Summary
Mod #
Section
Chapter
419.4.2.5
 4358 
Clarifies and coordinates this section with the code.
James Gregory
4
Comment
AS
11-0 passes
Proponent
Summary
Mod #
Section
Chapter
419.4.2.6.1
 4277 
Revises this section for clarity and to bring it into conformity with the rest of the section.
James Gregory
4
Comment
AM
419.4.2.6.1.3 correct TSA to state “TAS”.
11-0 passes
AM
11-0 passes
Proponent
Summary
Mod #
Section
Chapter
419.4.2.6.3
 4421 
Adds clarifying language to the section.
James Gregory
4
Comment
Withdrawn.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 5 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
419.4.2.6.4
 4423 
Adds clarifying language to the section.
James Gregory
4
Comment
AS
11-0 passes
Proponent
Summary
Mod #
Section
Chapter
419.4.2.9.1.5
 4427 
Adds hurricane requirement for this section.
James Gregory
4
Comment
AS
11-0 passes
Proponent
Summary
Mod #
Section
Chapter
420
 4156 
Revises the design criteria for nursing homes by allowing an option for household models.
James Gregory
4
Comment
AM, with A3 & A4, Tabled 10-0. 11-0 untabled. Proposal as amended by written comment submitted today (see handout) which 420.3.14 to state, “and Table 4.1-1 Ventilation Requirements for Areas Affecting Resident Care in Nursing Homes”. 11-0 to approve amendment.  Editorial correction to Sec. 420.3.5.4 adding the missing”10” in front of ‘feet’ to original text of proposal.  11-0 to approve amendment.  Edit correct. Sec. 420.3.22.2, second sentence should read ‘area’ not ‘are’.  

11-0 passed as modified.

Proponent
Summary
Mod #
Section
Chapter
420.3.16.1
 4441 
Clarifies this seciton.
James Gregory
4
Comment
NAR
Needs to be coordinated with 4156. Amend numbering to correlate to the correct Section references.
0-11 fails

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 6 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
420.3.20.4
 4425 
Adds clarifying language to the section.
James Gregory
4
Comment
NAR
2-9 fails
Needs correcting based on similar language in 4424.
Proponent
Summary
Mod #
Section
Chapter
420.4.
 4357 
Revises these sections to coordinate with the requirements of the code.
James Gregory
4
Comment
AM
Correct 420.4.2.5.6 should read 420.4.2.5.2.
Correct 420.4.2.5.7 should read 420.4.2.5.3
11-0 passes
11-0  as amended to correct references.
Proponent
Summary
Mod #
Section
Chapter
420.4.2.2
 4294 
Revises section for clarity.
James Gregory
4
Comment
AM with A1
A1 is an addition to proposal.
11-0 passes as amended.
Proponent
Summary
Mod #
Section
Chapter
420.4.2.6.1
 4281 
clarity and to bring it into conformity with the rest of the section.
James Gregory
4
Comment
AS
11-0

Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 7 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
420.4.2.6.4
 4422 
Adds clarifying language to the section.
James Gregory
4
Comment
AS
11-0 passed as submitted.
Proponent
Summary
Mod #
Section
Chapter
420.4.2.9.1.5
 4428 
Adds hurricane requirement for this section.
James Gregory
4
Comment
AS
11-0 passed as submitted.
Proponent
Summary
Mod #
Section
Chapter
421
 4375 
This modification makes general revisions to all of Section 421 to clarify, and update this section for new references.
James Gregory
4
Comment
NAR– 421.3.2 misspelling word ‘referenc’ to ‘reference’. 11-0.  421.3.2.2 correction from ‘this’ to ‘these’. 11-0.  Renumbering corrections – to address appropriate sequence.   
0-11 failed due to corrections.
Proponent
Summary
Mod #
Section
Chapter
421.3.10.10
 4436 
Clarifies this seciton.
James Gregory
4
Comment
NAR
Correction – 421.3.10.10 should be 421.2.10.12.  Correction – ‘open to’ should be added and underlined.
0-11 failed due to corrections.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 8 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
421.3.12
 4435 
Clarifies this seciton.
James Gregory
4
Comment
AM  - 421.3.12.1 ‘ASC’ to be spelled out to read Ambulatory Surgical Center. 
11-0 passed as amended.
Proponent
Summary
Mod #
Section
Chapter
421.3.6.1
 4431 
Clarifies location of HVAC equipment.
James Gregory
4
Comment
AS
11-0
Proponent
Summary
Mod #
Section
Chapter
421.3.7.1
 4439 
Clarifies this section.
James Gregory
4
Comment
AS
11-0 passed as submitted.
Proponent
Summary
Mod #
Section
Chapter
423.10
 3635 
Requires water irrigation systems on public school district properties and Florida college properties to be equipped with soil moisture sensors. This is a requirement of Section 373.62, Florida Statutes. Renumbers building code sections that follow new language.
Jon Hamrick
4
Comment
AS
11-0 passed as submitted.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 9 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
423.10.2.8
 4394 
Deletes 423.10.2.8.
Anthony Apfelbeck
4
Comment
NAR
0-11 failed
DOE parking standards need to be incorporated into the code for public educational facilities.
Proponent
Summary
Mod #
Section
Chapter
423.10.5
 4401 
Deletes section 423.10.5.
Anthony Apfelbeck
4
Comment
NAR
1-10 fails
This provision is needed to provide a safe playground for students.
Proponent
Summary
Mod #
Section
Chapter
423.18
 3636 
Deletes duplicate occupancy capacity requirements found in Chapter 10, Florida Building Code, Building, from Section 423.18.1 of the same volume. Renumbers section.
Jon Hamrick
4
Comment
AS
11-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
423.25
 4238 
Correct impact and cyclic loading and missle criteria reference.
Jon Hamrick
4
Comment

Amendment as written submitted today (see handout). Remove ‘and’. 10-0 to approve amendments to retain SSTD12.
AM
10-0 passes as amended correcting the references.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 10 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
423.26.8
 4373 
Requires buildings with time‑out rooms to be protected by a fire sprinkler system.
Anthony Apfelbeck
4
Comment
NAR
Correction: add the word “seclusion’ time out room consistent with NFPA.  10-0 to approve amendment.  Add ‘Approved’ in front of ‘…fire sprinkler system’.  10-0 to approve amendment. 
1-9 failed.
Adds an unreasonable cost and requirements while compromising the safety of students.
Proponent
Summary
Mod #
Section
Chapter
423.3
 3637 
Raises the threshold for performing day‑labor projects and for when a licensed contractor is required to bid on capital improvement projects from $200,000 to $300,000. This change reflects current Florida Statute requirements.
Jon Hamrick
4
Comment
AS
10-0 as submitted.
Proponent
Summary
Mod #
Section
Chapter
423.4.5
 4385 
Deletes the provisions of 423.4.5
Anthony Apfelbeck
4
Comment
NAR
0-10 failed
Same rationale as 4401.
Proponent
Summary
Mod #
Section
Chapter
423.8.4
 3690 
Add exemption for installing a fire sprinkler system in an existing educational occupany. This exemption is proposed by Modification 3507 to be removed from Section 903.2.3
Jon Hamrick
4
Comment
AS
8-2 passed as submitted.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 11 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
423.8.8
 4389 
Deletes section 423.8.8.
Anthony Apfelbeck
4
Comment
NAR -  
0-10
Protects the safety of students and code as written is enforceable.
Proponent
Summary
Mod #
Section
Chapter
424.1.6.1
 4266 
To prevent adding unnecessary fixtures to a building that only serves a swimming pool. And it is intended to prevent adding the building fixture count to the pool fixture count to determine the number of fixtures required. The cumulative practice has led to nonsensical fixture counts.
jim manning
4
Comment
NAR
4-6 fails
Possibility of two separate groups using facility and facilities should accommodate both groups.
Proponent
Summary
Mod #
Section
Chapter
428
 3944 
This modification contains edits to Section 428 that maintains consistency with Rule 9B‑1, Florida Administrative Code.
Ila Jones
4
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
428.3.2.1
 3924 
Clarifying that during plant inspections of manufactured buildings, all subsytems (plumbing, electrical, etc.) requires inspection.
Ila Jones
4
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 12 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
428.4.1
 3935 
Clarifies the expiration date of approved manufactured building plans upon effective date of new code.
Ila Jones
4
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
428.5
 3932 
Deletes language that has been adopted in Rule 9B‑1, Florida Administrative Code, regarding recertification of previously approved manufactured buildings.  Also, deletes language that is not supported by Section 553.375, Recertification of Manufactured Buildings
Ila Jones
4
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
428.5
 3933 
Removes language from the code that has been adopted in Rule 9B‑1, Florida Administrative Code regarding factory‑built schools.  Clarifies that code inspections for factory‑built schools can be performed by a DCA approved agency.
Ila Jones
4
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
428.7
 3941 
Deletes requirement that factory‑built schools designated as existing buildings must comply with Section 423.  Clarifies that a DCA approved agency can perform inspections on factory‑built schools.
Ila Jones
4
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 13 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
437.2.8.1
 4376 
Corrects the generator requirement.
James Gregory
4
Comment
Withdrawn by proponent.
Proponent
Summary
Mod #
Section
Chapter
437.2.8.1
 4418 
Corrects the type of essential electrical system for use in a Hospice.
James Gregory
4
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
Table 436.5
 4275 
Table 436.5 has &quot;YES&quot; and &quot;NO&quot; in the &quot;1 story above LED1&quot; row. This should state &quot;YES&quot;.
Jose Guanch
4
Comment
NAR
0-10 fails 
This language would diminish safety for children in a daycare environment.
Proponent
Summary
Mod #
Section
Chapter
3001
 3468 
Revise section 3001.1 Scope: clarify administrative Note:; revise section 3001.2 consistent with references in section 3001.1 Scope; revise ASME national standard title; revise sections 3001.3 and 3001.5; and revise definitions in Section 3001.6.
DOUG MELVIN
30
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 14 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
3002
 3441 
ADD Florida Supplement sections 3002.1 through 3002.3 and 3002.5 through 3002.8.
DELETE Florida Supplement section 3002.4 and REVISE to read same as IBC 2009 Section 3002.4  with underlined text; and ADD Florida Supplement Section 3002.9.
DOUG MELVIN
30
Comment
NAR
2-8 fails 
This is not needed as base code already addresses the issue.
Proponent
Summary
Mod #
Section
Chapter
3004
 3463 
REVISE section 3004.3.1 to replace International Code reference with Florida Building Code reference.
DOUG MELVIN
30
Comment
AS
9-1 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
3005
 3466 
REVISE section 3005.4 to remove reference to seismic restraint and to change sentence structure, and remove type of (a major) alteration.
DOUG MELVIN
30
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
3008
 3471 
REVISE section 3008.2 to read as follows.
DOUG MELVIN
30
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 15 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
3008
 4377 
Renumber to meet FBC numbering system.
Deletes rules adopted elsewhere
Revises incorrect code reference
Lee Rigby
30
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
3009
 3472 
REVISE Section 3009 to reformat for outline numbering form
DOUG MELVIN
30
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
3010
 3473 
REVISE Section 3010 to renumber in outline format, adds data plate requirement, and removes items 3010.1.3(c), 3010.1.3(d), and 3010.1.3(e) from the section.
DOUG MELVIN
30
Comment
AM
Table pending 3477. 10-0 to table.  Un-tabled 10-0.
TAC proposal to accept A1 language to be consistent with language in HB 663 and reject original proposal. 
10-0 passes wit amendment.
Proponent
Summary
Mod #
Section
Chapter
3011
 3476 
REVISE Section 3011 to renumber in outline format and ADD 3011.1.5 additional electrolysis protection and 3011.1.6 inspection for underground hydraulic piping
DOUG MELVIN
30
Comment
NAR
1-9 fails
Has not been justified by the proponent due to the additional costs and inspection required.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 16 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
3012
 3477 
REVISE and renumber in outline numbering format for Section 3012
DOUG MELVIN
30
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
3013
 3861 
REVISE Section 3013 to replace an obsolete chart with text for clarity, remove ambiguity of purpose, and advise that an elevator construction permit is required when certain work is performed.
DOUG MELVIN
30
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
3109
 4416 
Change language in the Code in relation to working within the CCCL.
James Battaglia
31
Comment
NAR
0-10 fails 
Degrades the effectiveness of the code.
Proponent
Summary
Mod #
Section
Chapter
3109
 4434 
Clarifies language regarding exceptions to 100 year storm event design standards.
George Merlin
31
Comment
NAR
0-10 
Expands the exception of the code and degrades the effectiveness of the code.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 17 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
3109.1.1
 4203 
Modification corrects a formatting error in the 2007 Florida Building Code relating to construction of structures seaward of the coastal construction control line (CCCL).
Jack Glenn
31
Comment
AS
8-2 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
3109.2
 4234 
Add statutory definition for &quot;Substantial improvement&quot; to the code.
Jack Glenn
31
Comment
AM 10-0 to accept amended proposal by written submission (see handout). 

10-0 passes as amended in favor of written amendment submitted by Rebecca Quinn defining substantial improvement by reference to sec 1612 FBC.
Proponent
Summary
Mod #
Section
Chapter
3500
 3519 
This modification updates the code references to the ASME A17.1 and A18.1 national standards.
DOUG MELVIN
35
Comment
NAR
5-5 fails. Fails due to limitation of new technology introduced into the industry.    
Proponent
Summary
Mod #
Section
Chapter
3500
 3593 
Updates referenced code.
James Gregory
35
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 18 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Building
3500
 4295 
Adding a new reference standard.
James Gregory
35
Comment
AS
10-0 passes submitted.
Proponent
Summary
Mod #
Section
Chapter
3500
 4297 
Adds and updates the UL standard for nurse call systems.
James Gregory
35
Comment
AS
10-0 passes as submitted.
Proponent
Summary
Mod #
Section
Chapter
SubCode:
Existing Building
1101.3
 3902 
The NFIP regs allow work on certain historic structures that would otherwise be substantial improvement to be performed without compliance, provided the building retains its historic designation. This mod specifies those “certain” structures that qualify.
Rebecca Quinn
11
Comment
NAR
2-8 fails.
Some locally designated buildings fall outside the exception.
Proponent
Summary
Mod #
Section
Chapter
1500
 3520 
This modification updates the code references to the ASME A17 and A18 national standards.
DOUG MELVIN
15
Comment
NAR
5-5 fails
Fails same 3519.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 19 of 20
6/25/2010
Total Mods for this TAC:
Special Occupancy
TAC:
 75 
SubCode:
Plumbing
All
 4380 
Replace the Florida Building Code‑Plumbing with the 2009 International Plumbing Code in its entirety.
Doug Harvey
1
Comment
No Action taken.
Proponent
Summary
Mod #
Section
Chapter
1003.3.4
 3530 
Clarifies intent to permit the use of grease traps that comply with Rule 64E‑6 and are sized 750 to 1250 gallons.
James Bickford
10
Comment
NAR
0-10
Failed, poorly written and is outside the scope.  Proposal does not address sizes outside the 750 or 1250.
Proponent
Summary
Mod #
Section
Chapter
SubCode:
Residential
306.3
 4021 
Retain base code (IRC) language.
J Glenn‑BASF
3
Comment
NAR
1-9
Reference to FAC should remain for the benefit of those not familiar with Florida specific codes.
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 20 of 20
6/25/2010
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations