Page 1 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Approved as Modified
TAC Recommendation
Total Mods for  Fire in  Approved as Modified
TAC: 
Fire
 1
SubCode:
Building
Ü
10‑Means of Egress
Mod #
 8224 
Proponent
Lynn Miller
1010.1.7
Section
10
Chapter
Approved as Modified
Brings back door threshold requirements in the 5th Edition of the FBC (2014) that were inadvertently left out of the 6th Edition (2017) version.
Summary

AS
AM
Handout 
Warren Husband
X

NAR

I

W
Commission Action

Approved as Submitted
TAC Recommendation
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
SubCode:
Building
Ü
2‑Definitions
Mod #
 7518 
Proponent
Ann Russo5
202
Section
2
Chapter
Approved as Submitted
The Code contains requirements regarding children&#39;s play structures. However, no definition exists and there have been discussions that there is some ambiguity about what is meant by the term, thus a definition should be included under Chapter 2.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7519 
Proponent
Ann Russo5
202
Section
2
Chapter
Approved as Submitted
Currently the definition for sleeping unit could be interpreted to be just a bedroom. When these bedrooms are combined into suites, they should be considered as one sleeping unit, so this definitions better identifies the variations.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 2 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7524 
Proponent
Ann Russo5
202
Section
2
Chapter
Approved as Submitted
Private garages can also be used by the owners of the building, so a definition will provide proper use and context.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7526 
Proponent
Ann Russo5
202
Section
2
Chapter
Approved as Submitted
To identify that &quot;soft‑contained play equipment structures&quot; are those that contain pliable materials and where the user is enclosed.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7689 
Proponent
George Wiggins (BOAF)
202
Section
2
Chapter
Approved as Submitted
Changes Definition of &quot;Change of Occupancy&quot; by clarification of meaning and in a bulleted text for clarity.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7769 
Proponent
Ann Russo5
202
Section
2
Chapter
Approved as Submitted
Defining open air assembly
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 3 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7770 
Proponent
Ann Russo5
202
Section
2
Chapter
Approved as Submitted
Defining open air assembly by eliminating conflict with other definition
Summary
X
AS
AM

NAR

I

W
Commission Action

3‑Use and Occupancy Classification
Mod #
 7133 
Proponent
Steve Thomas
302.1
Section
3
Chapter
Approved as Submitted
This change provides language outlining that occupied roofs shall be classified as an occupancy. The code cannot be used without knowing the occupancy of a space. Therefore, this change is a clarification to the current code requirements.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7372 
Proponent
Bryan Holland
307.1.1
Section
3
Chapter
Approved as Submitted
This proposed modification adds stationary fuel cell power systems, capacitor energy storage systems, and modifies stationary storage battery systems in the list of items that exempt hazardous classification of the occupancy.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7473 
Proponent
Richard Schauland
307
Section
3
Chapter
Approved as Submitted
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 4 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7474 
Proponent
Richard Schauland
311
Section
3
Chapter
Approved as Submitted
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7557 
Proponent
Ann Russo5
310.4
Section
3
Chapter
Approved as Submitted
Provides clarification on uses for R‑2 and R‑3 based on size (number of occupants).
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7559 
Proponent
Ann Russo5
310.5
Section
3
Chapter
Approved as Submitted
This proposal further refines the added language by inserting &quot;owner occupied&quot; which is a qualifier already in the Code; by clarifying that the lodging use is of a &quot;transient&quot; nature consistent with other Group R‑3 use language.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7560 
Proponent
Ann Russo5
310.5.2
Section
3
Chapter
Approved as Submitted
This proposal further refines the added language by inserting &quot;owner occupied&quot; which is a qualifier already in the Code; by clarifying that the lodging use is of a &quot;transient&quot; nature consistent with other Group R‑3 use language.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 5 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7561 
Proponent
Ann Russo5
311.1.1
Section
3
Chapter
Approved as Submitted
The subject of storage rooms has been discussed since the first edition of the Code. The original code considered storage rooms as incidental uses. This will better define that space&#39;s usage.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7564 
Proponent
Ann Russo5
312.1
Section
3
Chapter
Approved as Submitted
This addition identifies the placement of communication equipment structures less than 1,500 sq ft gross into Group U.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8173 
Proponent
Joseph Belcher for Bison
302.1
Section
3
Chapter
Approved as Submitted
Adds provisions for occupied roofs.
Summary
X
AS
AM

NAR

I

W
Commission Action

4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 7368 
Proponent
Bryan Holland
405.8
Section
4
Chapter
Approved as Submitted
This proposed modification changes fire pumps for underground buildings to an emergency power load from a standby power load.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 6 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7390 
Proponent
Ann Russo2
412.6.3
Section
4
Chapter
Approved as Submitted
Aligns the aircraft paint hangar spray equipment cleaning and storage provisions with the fundamental system of classifying hazardous areas in accordance with Section 307.1 and result in more consistent application of Florida Fire Prevention Code and Florida Building Code provisions.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7511 
Proponent
Tim Earl
406.8.3
Section
4
Chapter
Approved as Submitted
This change adds ASTM E648 as an option to NFPA 253, since they are equivalent tests.  This is the same thing we do for Steiner Tunnel testing, where the code (throughout) requires testing to ASTM E84 or UL 723.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7546 
Proponent
Tim Earl
424.2
Section
4
Chapter
Approved as Submitted
This change adds ASTM E648 as an option to NFPA 253, since they are equivalent tests.  This is the same thing we do for Steiner Tunnel testing, where the code (throughout) requires testing to ASTM E84 or UL 723.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7562 
Proponent
Ann Russo1
401.1
Section
4
Chapter
Approved as Submitted
The purpose of this code change is to simply formalize these terms and explain their relationship. This will assist code practitioners in properly establishing applicable code requirements and improve uniformity and continuity in the identification of appropriate provisions.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 7 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7565 
Proponent
Ann Russo5
402.8.6.1
Section
4
Chapter
Approved as Submitted
The purpose of this proposal is to point the user to all of the code requirements for exit passageways.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7826 
Proponent
Paul Coats
406.7.2
Section
4
Chapter
Approved as Submitted
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7992 
Proponent
Paul Coats
414.2.4
Section
4
Chapter
Approved as Submitted
Adds Type IV construction in requirements for fire resistance of floors serving control areas.
Summary
X
AS
AM

NAR

I

W
Commission Action

6‑Types of Construction
Mod #
 7522 
Proponent
Paul Coats
602.4
Section
6
Chapter
Approved as Submitted
This proposed modification takes the details for heavy timber construction out of Chapter 6 and consolidates them in Chapter 23.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 8 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8121 
Proponent
Ann Russo5
604
Section
6
Chapter
Approved as Submitted
his proposal is intended to require fuel lines supplying a generator set inside a building to be separated with fire‑resistance‑rated construction from areas of the building other than in the room in which the generator is located.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8265 
Proponent
Paul Coats
601
Section
6
Chapter
Approved as Submitted
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8267 
Proponent
Paul Coats
603
Section
6
Chapter
Approved as Submitted
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

7‑Fire and Smoke Protection Features
Mod #
 7495 
Proponent
Ann Russo3
705.2
Section
7
Chapter
Approved as Submitted
Restores language from the previous editions (2012 IBC) and eliminates an anomaly that was in the earlier editions.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 9 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7496 
Proponent
Paul Coats
721.1
Section
7
Chapter
Approved as Submitted
Corrects an assembly description error in Table 721.1(3)
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7497 
Proponent
Ann Russo3
716.1
Section
7
Chapter
Approved as Submitted
Cleans up the language to ensure NFPA 80 is the referenced document throughout the section and correlates to changes made in the base code
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7569 
Proponent
Ann Russo3
705.8.5
Section
7
Chapter
Approved as Submitted
Revises table 708.5 “Vertical section of openings” to allow temperature rise limitations to not apply to vertical separations as this is a different fire exposure condition than the flame barriers that project beyond the exterior wall.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7596 
Proponent
Ann Russo3
714.2
Section
7
Chapter
Approved as Submitted
This modification is meant to remove redundant wording, cover all listed penetration fire‑stop penetration systems, and require installation in accordance with the manufacturer&#39;s instructions.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 10 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7609 
Proponent
Ann Russo3
715.1
Section
7
Chapter
Approved as Submitted
This modification adds an exception for fire‑resistant joints. This exception clarifies that  a fire‑resistant joint at the intersection of exterior curtain wall assemblies and roof slabs or roof decks are not required.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7623 
Proponent
Ann Russo3
716.1
Section
7
Chapter
Approved as Submitted
This modification revises sections 716.1, 716.5, and 716.6 by removing redundant wording and clarifying the requirements of NFPA 80 for opening protectives within this code.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7624 
Proponent
Ann Russo3
716.3
Section
7
Chapter
Approved as Submitted
Revises table 716.3 “Marking Fire‑Rated Glazing Assemblies,” and revises section 2409.1 “Glass walkways” to maintain consistency in the code when dealing with fire‑rated glazing products, by adding the testing and marking requirements for glass installed as part of a floor/ceiling assembly.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7671 
Proponent
Ann Russo3
716.5
Section
7
Chapter
Approved as Submitted
Addition of footnote &quot;f&quot; to table 716.5 to provide an appropriate reference to the additional permitted markings for fire rated glazing door vision panels found in section 716.3.1 &amp; Table 716.3.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 11 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7682 
Proponent
Jon Roberts
714
Section
7
Chapter
Approved as Submitted
Revises language in section 714.3.1.1 and section 714.1.1
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7684 
Proponent
Jon Roberts
716
Section
7
Chapter
Approved as Submitted
Adds UL10B and UL10C as additional testing standards that can be used as alternatives to the current NFPA 252 requirements.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7702 
Proponent
Jon Roberts
717
Section
7
Chapter
Approved as Submitted
This intent of this proposal is simply to bring consistency in terminology within Section 717, which referenced &quot;approved&quot; dampers instead of &quot;listed&quot; dampers.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7887 
Proponent
Joseph Hetzel
716.5.9.4
Section
7
Chapter
Approved as Submitted
Clarify vertical sliding fire doors from rolling steel fire doors.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 12 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7890 
Proponent
Joseph Hetzel
716.5.2
Section
7
Chapter
Approved as Submitted
Revision to a list of assemblies, to have rolling steel fire doors represented.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7891 
Proponent
Joseph Hetzel
716.5.9.1
Section
7
Chapter
Approved as Submitted
Clarification involving side‑hinged swinging fire doors.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7919 
Proponent
Amanda Hickman
717.3.3.1
Section
7
Chapter
Approved as Submitted
This modification revises terminology used in section 717.3.3.1
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7928 
Proponent
Amanda Hickman
717.4
Section
7
Chapter
Approved as Submitted
This modification revises section 717.4
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 13 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8133 
Proponent
John Woestman
709.5
Section
7
Chapter
Approved as Submitted
1.	Update text of references to IBC 1010.1.4.3. Special purpose horizontal sliding, accordion, or folding doors as the name of this section and these products were revised for the 2017 FBC.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8140 
Proponent
Richard Logan
709.5
Section
7
Chapter
Approved as Submitted
Add a sentence to the end of 709.5 Exception number 1 that reads as follows: Factory applied or field applied protective plates are not required to be labeled.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8187 
Proponent
Richard Logan
712.1.10.1
Section
7
Chapter
Approved as Submitted
strike out the words &quot;open and enclosed&quot; in the middle of the sentence and the word &quot;respectively&quot; at the end of the sentence. The current language in the code is redundant and confusing.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8196 
Proponent
Richard Logan
713.8
Section
7
Chapter
Approved as Submitted
Membrane penetrations should be permitted on the outside of the shaft enclosure. This modification would add language at the end of the section to that effect.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 14 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8226 
Proponent
John Woestman
716.5.9.3
Section
7
Chapter
Approved as Submitted
The FBC is silent regarding delayed action closers. This proposal includes a definition and requirements for where delayed action closers may be installed.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8269 
Proponent
Paul Coats
705.2.3
Section
7
Chapter
Approved as Submitted
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8304 
Proponent
Richard Logan
713.13
Section
7
Chapter
Approved as Submitted
The code section as published is in error. Chapter 5 of NFPA 82 includes requirements for incinerators however Ch 6 includes requirement for waste and linen chutes.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8306 
Proponent
Richard Logan
713.13.1
Section
7
Chapter
Approved as Submitted
Insert wording that permits a recycling chute to be located in the same shaft with a waste chute. Hazard associated with a recycling chute is not any different than that of a waste chute.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 15 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8308 
Proponent
Richard Logan
716.5.8.1.2.1
Section
7
Chapter
Approved as Submitted
Modify this section to limit the area of the glazing to be 100 square inches in lieu of limiting any dimension to be 10 inches.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8324 
Proponent
Richard Logan
716.5.9.1
Section
7
Chapter
Approved as Submitted
Modify the section to clarify that single fire doors shall be side‑hinged swinging also.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8331 
Proponent
Richard Logan
716.5.9.3
Section
7
Chapter
Approved as Submitted
Delete items which are addressed in the items specific to smoke barriers, shaft enclosures, fire &amp; smoke barriers. Items are reworded &amp; renumbered to be correct. Fire barriers were added to the list for doors that protect openings in exit enclosures, vertical shafts, incidental uses, etc.
Summary
X
AS
AM

NAR

I

W
Commission Action

8‑Interior Finishes
Mod #
 7507 
Proponent
Paul Coats
803.3
Section
8
Chapter
Approved as Submitted
Removes heavy timber in interior exit elements from the exception to interior finish requirements.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 16 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7547 
Proponent
Tim Earl
804
Section
8
Chapter
Approved as Submitted
This change adds ASTM E648 as an option to NFPA 253, since they are equivalent tests.  This is the same thing we do for Steiner Tunnel testing, where the code (throughout) requires testing to ASTM E84 or UL 723.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8270 
Proponent
Paul Coats
803.3
Section
8
Chapter
Approved as Submitted
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

9‑Fire Protection Systems
Mod #
 7373 
Proponent
Bryan Holland
907.2
Section
9
Chapter
Approved as Submitted
This proposed modification adds a mandate for an automatic smoke detection system at battery rooms and for capacitor energy storage systems with a pointer to the FFPC.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7376 
Proponent
Bryan Holland
907.2.1
Section
9
Chapter
Approved as Submitted
This proposed modification adds more criteria for when a manual fire alarm system is required in a Group A occupancy.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 17 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7379 
Proponent
Bryan Holland
907.5.2.3
Section
9
Chapter
Approved as Submitted
This proposed modification is a mostly editorial revision of the visible alarm requirements in I‑1, R‑1 and R‑2 occupancy types.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8059 
Proponent
George Wiggins (BOAF)
901.6.1
Section
9
Chapter
Approved as Submitted
This proposal corrects an exception made in a previous code edition to prevent having a conflict between this section and Section 903.4 in order to be consistent.
Summary
X
AS
AM

NAR

I

W
Commission Action

10‑Means of Egress
Mod #
 7213 
Proponent
Scott McAdam
1015.8
Section
10
Chapter
Approved as Submitted
FBC, Building 1015.8 window fall protection 36 inch sill height change to 24 inches to match FBC, Residential R312.2. the safety issue should be the same and not related to occupancy, i.e. multi family or single family.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7333 
Proponent
Ann Russo3
1006.3
Section
10
Chapter
Approved as Submitted
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 18 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7334 
Proponent
Ann Russo3
1026.4
Section
10
Chapter
Approved as Submitted
The proposed language clarifies requirement for when the actual occupant load is less than the capacity of the exit. This reflects actual conditions.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7354 
Proponent
Ann Russo1
1010.3
Section
10
Chapter
Approved as Submitted
Manufacturers of turnstile devices have expanded into the security access control market and currently have products that have physical barrier leaves that restrict access into and out of buildings.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7360 
Proponent
Bryan Holland
1013.6.3
Section
10
Chapter
Approved as Submitted
This proposed modification simply moves a rule in the exception up to the main charging paragraph of the Section.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7471 
Proponent
Ann Russo1
1004.3
Section
10
Chapter
Approved as Submitted
Add verbiage to the current language of the code in order to help the Fire Marshal verify the posting of appropriate occupancy, occupant load and &quot;intended configuration&quot; of the assembly rooms or spaces.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 19 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7472 
Proponent
Ann Russo1
1004.5
Section
10
Chapter
Approved as Submitted
Occupied roof will also need to meet the means of egress requirements.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7512 
Proponent
Ann Russo1
1006.2.1
Section
10
Chapter
Approved as Submitted
This modification is to improve the consistency in the determination and application of fundamental FBC means of egress provisions.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7563 
Proponent
Ann Russo1
1006.2.2
Section
10
Chapter
Approved as Submitted
The intent of this proposal is to regulate exit and exit access doors.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7573 
Proponent
Ann Russo1
1004.1.2
Section
10
Chapter
Approved as Submitted
Code change proposal is to revise the current maximum floor area allowance per occupant in Table 1004.1.2 for business occupancies from 100 ft2/occupant (gross) to 150 ft2/occupant (gross) for determining the means of egress requirements in business areas.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 20 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7650 
Proponent
Ann Russo1
1006.3
Section
10
Chapter
Approved as Submitted
Expanding the provisions for the required egress from stories or occupied roofs.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7670 
Proponent
Ann Russo1
1008.2.2
Section
10
Chapter
Approved as Submitted
Provides specific means of egress illumination requirements for Group I‑2 and adding a code section of exit discharge illumination.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7672 
Proponent
Ann Russo1
1006.2.2.4
Section
10
Chapter
Approved as Submitted
The proposal will correlate the provisions for day care facilities to the proper occupancy Group I‑4.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7701 
Proponent
Ann Russo5
1019.3
Section
10
Chapter
Approved as Submitted
Correct possible misinterpretation of definition on egress stairway and access ramp
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 21 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7720 
Proponent
Ann Russo5
1020.4
Section
10
Chapter
Approved as Submitted
Remove reference to dead end corridor egress and update R‑4 exit allowances for single exit
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7722 
Proponent
Ann Russo5
1023.3.1
Section
10
Chapter
Approved as Submitted
Clarify pressurization in exit stairways
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7723 
Proponent
Ann Russo5
1023.5
Section
10
Chapter
Approved as Submitted
Improves penetration protection for security wiring applications
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7724 
Proponent
Ann Russo5
1024.6
Section
10
Chapter
Approved as Submitted
Improves definition of systems under reference
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 22 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7725 
Proponent
Ann Russo5
1023.11
Section
10
Chapter
Approved as Submitted
Improved coordination between sections on requirements
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7750 
Proponent
John Woestman
1010.1.1
Section
10
Chapter
Approved as Submitted
This proposal combines approved revisions to the 2018 IBC by proposals E47‑15 and E49‑15. which were approved “As Modified”. The intent of a large portion of this change is consistent use of the terminology (e.g., minimum clear opening width/height) throughout this section.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7753 
Proponent
Ann Russo5
1023.1
Section
10
Chapter
Approved as Submitted
Better coordination and references to standpipe requirements
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7754 
Proponent
Ann Russo5
1024.8
Section
10
Chapter
Approved as Submitted
Better coordination and references to standpipe requirements
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 23 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7755 
Proponent
Ann Russo5
1026.5
Section
10
Chapter
Approved as Submitted
Better coordination and references to standpipe requirements
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7759 
Proponent
Ann Russo5
1025.2.5
Section
10
Chapter
Approved as Submitted
Include exception to marking
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7761 
Proponent
Ann Russo5
1026.4.1
Section
10
Chapter
Approved as Submitted
Clarifies capacity requirement for horizontal egress refuge areas
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7762 
Proponent
John Woestman
1010.1.4.1.2
Section
10
Chapter
Approved as Submitted
The requirements for revolving doors were revised / updated for the 2015 IBC, including a definition of “breakout” and the use of that term which took the place of the term “collapsing”. I missed this revision during the code development cycle for the 2015 IBC. Hence this proposal.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 24 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7763 
Proponent
John Woestman
1010.1.4.2
Section
10
Chapter
Approved as Submitted
The Builders Hardware Manufacturers Association (BHMA), an ANSI accredited SDO, received ANSI approval of A156.38‑2014 Low Energy Power Operated Sliding and Folding Doors, with mandatory performance and safety requirements for low energy power operated sliding and folding doors.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7765 
Proponent
Ann Russo5
1027.5
Section
10
Chapter
Approved as Submitted
Addresses egress stair requirements for Group R‑3 requirements
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7766 
Proponent
Ann Russo5
1027.6
Section
10
Chapter
Approved as Submitted
Addresses egress stair requirements for Group R‑3 requirements
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7768 
Proponent
Ann Russo5
1028.4.1
Section
10
Chapter
Approved as Submitted
The proposal deletes an outdated and unused code requirement for egress courts.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 25 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7771 
Proponent
Ann Russo5
1005.3.1
Section
10
Chapter
Approved as Submitted
Coordinates section with application to open air assemblies
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7772 
Proponent
Ann Russo5
1005.3.2
Section
10
Chapter
Approved as Submitted
Coordinates section with application to open air assemblies
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7773 
Proponent
Ann Russo5
1009.3
Section
10
Chapter
Approved as Submitted
Coordinates section with application to open air assemblies
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7774 
Proponent
Ann Russo5
1019.3
Section
10
Chapter
Approved as Submitted
Coordinates section with application to open air assemblies
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 26 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7775 
Proponent
Ann Russo5
1029.6
Section
10
Chapter
Approved as Submitted
Coordinates section with application to open air assemblies
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7776 
Proponent
Ann Russo5
1029.6.3
Section
10
Chapter
Approved as Submitted
Coordinates section with application to open air assemblies
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7777 
Proponent
Ann Russo5
1029.7
Section
10
Chapter
Approved as Submitted
Coordinates section with application to open air assemblies
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7778 
Proponent
Ann Russo5
1029.8
Section
10
Chapter
Approved as Submitted
Coordinates section with application to open air assemblies
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 27 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7790 
Proponent
Ann Russo5
1029.8.1
Section
10
Chapter
Approved as Submitted
Coordinate definition for open‑air assembly related section
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7791 
Proponent
Ann Russo5
1029.9.5
Section
10
Chapter
Approved as Submitted
Coordinate definition for open‑air assembly related section
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7793 
Proponent
Ann Russo5
1029.12.2.1
Section
10
Chapter
Approved as Submitted
Coordinate definition for open‑air assembly related section
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7794 
Proponent
Ann Russo5
1029.12.2.2
Section
10
Chapter
Approved as Submitted
Coordinate definition for open‑air assembly related section
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 28 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7828 
Proponent
Lawrence Cohan
1010.1.9.5.1
Section
10
Chapter
Approved as Submitted
Delete without substitution.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7837 
Proponent
Miguel Botello
1023.4
Section
10
Chapter
Approved as Submitted
Revises section 1023.4 “Openings” to replace “necessary” with the word “require” for consistency within the code.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7848 
Proponent
Lawrence Cohan
1010.1.9.7
Section
10
Chapter
Approved as Submitted
Clarify areas and number of occupants in Group E occupancies that would allow the use of delayed egress locking systems.

Allow Group I‑1 and I‑4 occupancies to have up to 2 delayed egress locking systems in the egress path.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7853 
Proponent
Lawrence Cohan
1010.1.9.8
Section
10
Chapter
Approved as Submitted
Clarify and improve the consistency of the language in this code section.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 29 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7866 
Proponent
Miguel Botello
1026.4
Section
10
Chapter
Approved as Submitted
Revise section 1026.4 &quot;Refuge Area&quot; to clarify the requirements for when the actual occupant load is less than the capacity of the exit.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7868 
Proponent
Miguel Botello
1029.9.1
Section
10
Chapter
Approved as Submitted
Revise section 1029.9.1 &quot;Minimum aisle width&quot; coordination cleanup for minimum aisle width.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7889 
Proponent
Lawrence Cohan
1010.1.9.10
Section
10
Chapter
Approved as Submitted
Permit the use of locked doors for I‑1 Occupancies within correction facilities.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7897 
Proponent
Lawrence Cohan
1011.11
Section
10
Chapter
Approved as Submitted
clarify that handrails are required on &quot;flights of stairways&quot;, not &quot;stairways&quot;.   The definition of &quot;stairways&quot; includes landings.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 30 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7902 
Proponent
Lawrence Cohan
1014.1
Section
10
Chapter
Approved as Submitted
clarifies railing requirements for &quot;flights of stairways&quot;, verses &quot;stairways&quot;.  By definition, &quot;stairways&quot; include landings.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7909 
Proponent
Lawrence Cohan
1011.16
Section
10
Chapter
Approved as Submitted
clarifies the construction requirements for permanent ladders.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7961 
Proponent
Ann Russo5
1029.9.1
Section
10
Chapter
Approved as Submitted
The intent of this proposal is consistency in language and consistency in exceptions to other sections.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7962 
Proponent
Ann Russo5
1029.14.3
Section
10
Chapter
Approved as Submitted
New definitions to deal with vomitories specific needs
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 31 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7963 
Proponent
Ann Russo5
1029.14.1
Section
10
Chapter
Approved as Submitted
New definitions to deal with vomitories specific needs
Summary
x
AS
AM

NAR

I

W
Commission Action

Mod #
 7964 
Proponent
Ann Russo5
1029.14.2
Section
10
Chapter
Approved as Submitted
New definitions to deal with vomitories specific needs
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7965 
Proponent
Ann Russo5
1029.10.1
Section
10
Chapter
Approved as Submitted
The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7966 
Proponent
Ann Russo5
1029.10.2
Section
10
Chapter
Approved as Submitted
The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 32 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7968 
Proponent
Ann Russo5
1029.10.2.1
Section
10
Chapter
Approved as Submitted
The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7969 
Proponent
Ann Russo5
1029.10.2.2
Section
10
Chapter
Approved as Submitted
The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7971 
Proponent
Ann Russo5
1029.10.3
Section
10
Chapter
Approved as Submitted
The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7973 
Proponent
Lawrence Cohan
1013.2
Section
10
Chapter
Approved as Submitted
allow more flexibility in the height of low‑level exit signs
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 33 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7977 
Proponent
Lawrence Cohan
1013.4
Section
10
Chapter
Approved as Submitted
clarify code language to require tactile signage only for doors in areas of refuge that lead to the stairway (not to elevator lobbies).
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7986 
Proponent
Lawrence Cohan
1015.3
Section
10
Chapter
Approved as Submitted
eliminate height of rail requirement to be taken from top of seat in Group R‑3 not more than 3 story occupancies and individual dwellings in Group R‑2 not more than 3 stories above grade.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8005 
Proponent
Lawrence Cohan
202
Section
10
Chapter
Approved as Submitted
modifies definition of &quot;common path&quot;
Summary
x
AS
AM

NAR

I

W
Commission Action

Mod #
 8006 
Proponent
Lawrence Cohan
1017.3
Section
10
Chapter
Approved as Submitted
modifies definition of &quot;common path&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 34 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8046 
Proponent
Ann Russo4
1015.3
Section
10
Chapter
Approved as Submitted
In Group F occupancies the tip of the guard can be 34&quot; to 38&quot; and eliminates the 42&quot; guard if, the exit access stairways serve three stories or less, and such stairs are not open to the public, and the top of the guard also serves as handrail.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8101 
Proponent
Lawrence Cohan
1010.1.9.11
Section
10
Chapter
Approved as Submitted
Allow the 5th and 6th floors of non‑high rise buildings to use locking hardware on stairway means of egress doors ‑ the same as currently allowed on floors 1 thru 4.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8109 
Proponent
Lawrence Cohan
1010.1.10
Section
10
Chapter
Approved as Submitted
limits panic hardware to swinging doors.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8132 
Proponent
Ann Russo4
1010.1.9.7
Section
10
Chapter
Approved as Submitted
Permit the use of delayed egress system on door(s) other than the main entrance/exit door(s) from a courtroom.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 35 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8134 
Proponent
John Woestman
1010.1.4.4
Section
10
Chapter
Approved as Submitted
Propose requirements for locking of doors to classrooms, offices, and other occupied rooms in Group E and Group B educational occupancies.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8136 
Proponent
John Woestman
1010.1.9.3
Section
10
Chapter
Approved as Submitted
Add a section to FBC in the special locking arrangements area to address “monitored egress”. Monitored egress is where a device such as a card reader, keypad, iris scan, finger scan, etc., is used to monitor who is egressing.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8202 
Proponent
Ann Russo4
1023.4
Section
10
Chapter
Approved as Submitted
Replaces non‑mandatory language with mandatory language &quot;required&quot; instead of necessary
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8206 
Proponent
Ann Russo4
1023.11
Section
10
Chapter
Approved as Submitted
Adds Section 412.3.2 to smoke proof enclosures in correlation with air traffic control towers.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 36 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8219 
Proponent
John Woestman
1010.1.10
Section
10
Chapter
Approved as Submitted
FBC proposal incorporating revisions approved for the 2018 IBC by proposals E77‑15 and E78‑15.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8309 
Proponent
Ann Russo2
1010.1.1
Section
10
Chapter
Approved as Submitted
The intent of a large portion of this change is consistent use of the terminology (e.g., minimum clear opening width/height) throughout this section. There is also the intent of putting the modifier first within the specific requirements (Group I‑2, ambulatory care) and the exceptions.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8313 
Proponent
Ann Russo2
1010.1.9.3
Section
10
Chapter
Approved as Submitted
The intent of this proposal is to allow doors to roofs not intended to be occupied to be locked. In an effort to prevent locking out an authorized person who goes to the roof from inside the building, this proposal includes a requirement for the door to not automatically lock behind this person.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8314 
Proponent
Ann Russo2
1010.1.9.5.1
Section
10
Chapter
Approved as Submitted
Eliminates an inconsistent requirement.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 37 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8315 
Proponent
Ann Russo2
1010.1.9.7
Section
10
Chapter
Approved as Submitted
This proposal is in response to several requests to address the needs of small educational occupancies to help prevent wandering / elopement, especially for the very young, and for special needs students.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8317 
Proponent
Ann Russo2
1010.1.9.7
Section
10
Chapter
Approved as Submitted
Provides a design option that would allow two delayed egress locking systems in the means of egress.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8318 
Proponent
Ann Russo2
1010.1.9.8
Section
10
Chapter
Approved as Submitted
Update to improve clarity and consistency in the language. The language is proposed to eliminate redundancy in this section.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8323 
Proponent
Ann Russo2
1010.1.9.10
Section
10
Chapter
Approved as Submitted
Eliminates the list of Groups in the section due to inconsistencies with how correctional facilities are defined in the code.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 38 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8333 
Proponent
Ann Russo2
1011.10
Section
10
Chapter
Approved as Submitted
Modifies tread measurement for spiral stairs, as the method is outdated.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8337 
Proponent
Ann Russo2
1011.11
Section
10
Chapter
Approved as Submitted
Clarifies that handrails, other than extensions, are not required at the periphery of stair landings.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8339 
Proponent
Ann Russo2
1011.16
Section
10
Chapter
Approved as Submitted
Clarifies currently existing ladder construction requirements.
Summary
X
AS
AM

NAR

I

W
Commission Action

12‑Interior Environment
Mod #
 7531 
Proponent
Ann Russo1
1208.2
Section
12
Chapter
Approved as Submitted
Clarification and coordination of current requirements.
Summary
X
AS
AM

NAR

I

W
Commission Action

14‑Exterior Walls

Page 39 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7242 
Proponent
Andy Williams
1407
Section
14
Chapter
Approved as Submitted
Eliminate Alternate Conditions allowable for Metal Composite Materials (MCM)
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8271 
Proponent
Paul Coats
1406.3
Section
14
Chapter
Approved as Submitted
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

24‑Glass and Glazing
Mod #
 8201 
Proponent
Lynn Miller
2406.4.5
Section
24
Chapter
Approved as Submitted
This modification clarifies that the sacrificial outboard panes of laminated, insulated glass windows are not required to be safety glazed if they are not exposed to potential hazards.
Summary
X
AS
AM

NAR

I

W
Commission Action

26‑Plastic
Mod #
 7847 
Proponent
Marcelo Hirschler
2603.4
Section
26
Chapter
Approved as Submitted
This proposal adds a suitable thermal barrier material.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 40 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8236 
Proponent
John Woestman
2612
Section
26
Chapter
Approved as Submitted
This proposal is intended to be clarifications and simplification of the requirements for plastic composites identified in this section of the FBC.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8251 
Proponent
John Woestman
2603.7
Section
26
Chapter
Approved as Submitted
This proposal is intended to revise the requirements for foam plastic in plenums. There is a companion proposal for the Florida Mechanical Code. This code change is intended to not revise technical requirements, but clarifies the code&#39;s intent for the use of foam plastic in plenums.
Summary
X
AS
AM

NAR

I

W
Commission Action

31‑Special Construction
Mod #
 7534 
Proponent
Michael Fox
3104.5.2.2
Section
31
Chapter
Approved as Submitted
Clarifies type of glass required for pedestrian walkways
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8275 
Proponent
Paul Coats
3105.3
Section
31
Chapter
Approved as Submitted
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

33‑Safeguards During Construction

Page 41 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7607 
Proponent
Ann Russo5
3306.2
Section
33
Chapter
Approved as Submitted
The code provisions are based upon an assumption where the building or structure is completely contained within the construction site with no access by the general public. There are some perceptions that this code provision only applies to &quot;the public right of way&quot;.
Summary
X
AS
AM

NAR

I

W
Commission Action

35‑Referenced Standards
Mod #
 7548 
Proponent
Tim Earl
35
Section
35
Chapter
Approved as Submitted
This change adds ASTM E648 as a referenced standard, as a companion to 3 proposals which add it as an option to NFPA 253, since they are equivalent tests and many labs produce reports labeled ASTM E648 instead of NFPA 253.
Summary
X
AS
AM

NAR

I

W
Commission Action

2704‑Fire Districts
Mod #
 8276 
Proponent
Paul Coats
102.2.8
Section
2704
Chapter
Approved as Submitted
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Existing Building
Ü
4‑Prescriptive Compliance Method
Mod #
 8049 
Proponent
Joseph Belcher for FHBA
406.2
Section
4
Chapter
Approved as Submitted
Coordinates replacement window provisions of the FBC‑EB
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 42 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8235 
Proponent
Ann Russo4
401.2.4
Section
4
Chapter
Approved as Submitted
It add a new section 401.2.4 that allows alteration projects using the prescriptive method to use sprinkler systems as alternatives to other forms of protection as allowed in the Building Code and as allowed in the FEBC for the work area method.
Summary
X
AS
AM

NAR

I

W
Commission Action

8‑Alterations ‑ Level 2
Mod #
 7359 
Proponent
Kimberly Gilliam
805.3
Section
8
Chapter
Approved as Submitted
The intent of the proposal is coordination and an update to new terminology.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8048 
Proponent
Kimberly Gilliam
804.2.4
Section
8
Chapter
Approved as Submitted
The intent of this code change is to address that the municipal water supply must be available at the floor level where the work area is located without the installation of a fire pump. Move to new section 904.1.4, bring into Level 3 alterations.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8297 
Proponent
Harold Barrineau
804.4.1.7
Section
8
Chapter
Approved as Submitted
804.4.1.7 Group R‑4.
Summary
X
AS
AM

NAR

I

W
Commission Action

10‑Change of Occupancy

Page 43 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8369 
Proponent
Kimberly Gilliam
1012.4
Section
10
Chapter
Approved as Submitted
Clarification so that the table is consistent with the identification of different levels of hazards for the residents in a Group R‑4.
Summary
X
AS
AM

NAR

I

W
Commission Action

14‑Performance Compliance Methods
Mod #
 8376 
Proponent
Kimberly Gilliam
1401.6
Section
14
Chapter
Approved as Submitted
This proposal adds &quot;other codes&quot; because other codes besides the
FBC, Existing Building are referenced in Chapter 14.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8379 
Proponent
Kimberly Gilliam
1401.6.6
Section
14
Chapter
Approved as Submitted
This proposal clarifies the issue as to the proper application of this section by providing a footnote to VO and modifies the text in 1401.6.6 to ensure
that the maximum value of 2 applies to VO.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8382 
Proponent
Kimberly Gilliam
1401.6.8
Section
14
Chapter
Approved as Submitted
This proposal clarifies questions regarding the application of Table 1401.6.8.
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Residential
Ü
3‑Building Planning

Page 44 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7335 
Proponent
Bryan Holland
302.4.2
Section
3
Chapter
Approved as Submitted
This proposed modification adds a 4th exception for membrane penetrations made by luminaires.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7337 
Proponent
Bryan Holland
314.2.2
Section
3
Chapter
Approved as Submitted
This proposed modification simply removes redundant language in the exceptions to smoke alarm installation requirements in existing buildings.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #

Proponent
Bryan Holland
324
Section
3
Chapter
Approved as Submitted
This proposed modification updates the requirements for solar energy systems.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7539 
Proponent
Scott McAdam
302.1
Section
3
Chapter
Approved as Submitted
Current language could be misinterpreted to allow the placement of structures accessory to other dwelling units adjacent to another unit without regard to fire separation distances. Clarify wording.
Summary
x
AS
AM

NAR

I

W
Commission Action

Page 45 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7540 
Proponent
Scott McAdam
302.10.1
Section
3
Chapter
Approved as Submitted
Clarification and language cleanup Section 302.10 intended to apply to all insulating materials the sentence as is causes confusion because it refers to two types of insulation materials
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7685 
Proponent
Scott McAdam
310.3
Section
3
Chapter
Approved as Submitted
Bulkhead enclosures change wording to area wells, clarification for size, depth, access, drainage and door opening.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7687 
Proponent
Scott McAdam
311.7.1
Section
3
Chapter
Approved as Submitted
Handrail design and projection clarification
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7706 
Proponent
Scott McAdam
311.7.3
Section
3
Chapter
Approved as Submitted
change in stairway height
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 46 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7734 
Proponent
Scott McAdam
311.7.8
Section
3
Chapter
Approved as Submitted
The deleted phrase &quot;continuous run of treads&quot; predates the code definition of the term &quot;flight&quot;, and is redundant. Flight is defined as: A continuous run of rectangular treads or winders or combination thereof from one landing to another.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7735 
Proponent
Scott McAdam
312.1.1
Section
3
Chapter
Approved as Submitted
clarification on location of guards
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7813 
Proponent
Joseph Belcher for FHBA
308.4.2
Section
3
Chapter
Approved as Submitted
Simplifies requirements related to glazing adjacent to doors.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7814 
Proponent
Joseph Belcher for FHBA
308.4.7
Section
3
Chapter
Approved as Submitted
Expand and simplify Figure 308.4.7
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 47 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 7816 
Proponent
Joseph Belcher for FHBA
311.7.11
Section
3
Chapter
Approved as Submitted
Allows alternating tread devices in areas with low occupancy,
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7817 
Proponent
Joseph Belcher for FHBA
316.5.4
Section
3
Chapter
Approved as Submitted
Use of fiber‑cement panel, soffit, or backer board as a thermal barrier.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7957 
Proponent
Joseph Belcher for FHBA
302.1
Section
3
Chapter
Approved as Submitted
Adds alternate materials for protecting the underside of projections.
Summary
X
AS
AM

NAR

I

W
Commission Action

7‑Wall Covering
Mod #
 7711 
Proponent
Ann Russo1
703.14.3
Section
7
Chapter
Approved as Submitted
Add flame spread index provision for polypropylene siding.
Summary
X
AS
AM

NAR

I

W
Commission Action

10‑Chimneys and Fireplaces

Page 48 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 190
Mod #
 8042 
Proponent
Ann Russo8
1005.8
Section
10
Chapter
Approved as Submitted
ADDS A CODE SECTION TO REQUIRE INSULATION SHIELDS FOR FACTORY‑BUILT CHIMNEYS AS IS NOW REQUIRED IN THE CODE FOR VENTS.
Summary
X
AS
AM

NAR

I

W
Commission Action

3317‑Reserved
Mod #
 7942 
Proponent
Brad Schiffer
101.1
Section
3317
Chapter
Approved as Submitted
Provides regulations for this additional type of housing if adopted by local ordinance.
Summary
X
AS
AM

NAR

I

W
Commission Action

3319‑Strawbale Construction
Mod #
 7456 
Proponent
Richard Schauland
107.1.1
Section
3319
Chapter
Approved as Submitted
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7457 
Proponent
Richard Schauland
107.1.2
Section
3319
Chapter
Approved as Submitted
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary
X
AS
AM

NAR

I

W
Commission Action

No Affirmative Recommendation
TAC Recommendation
Total Mods for  Fire in  No Affirmative Recommendation
TAC: 
Fire
 7
SubCode:
Building
Ü

Page 49 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  No Affirmative Recommendation
TAC: 
Fire
 7
2‑Definitions
Mod #
 7850 
Proponent
Marcelo Hirschler
202
Section
2
Chapter
No Affirmative Recommendation
Adds definition for SOFT CONTAINED PLAY EQUIPMENT STRUCTURE, a term that is used for regulation.
Summary

AS
AM

X
NAR

I

W
Commission Action

4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 7618 
Proponent
Marcelo Hirschler
424.1
Section
4
Chapter
No Affirmative Recommendation
Clarifies that both height and area limitations apply
Summary

AS
AM

X
NAR

I

W
Commission Action

7‑Fire and Smoke Protection Features
Mod #
 7611 
Proponent
Marcelo Hirschler
720.1
Section
7
Chapter
No Affirmative Recommendation
This is clarification and cleanup. Section 720.1 is intended to apply to all insulating materials but the sentence causes confusion as is.
Summary

AS
AM

X
NAR

I

W
Commission Action

8‑Interior Finishes
Mod #
 7620 
Proponent
Marcelo Hirschler
803
Section
8
Chapter
No Affirmative Recommendation
This modifies section 803 to make it more logical and adds two new products.
Summary

AS
AM

X
NAR

I

W
Commission Action

35‑Referenced Standards

Page 50 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  No Affirmative Recommendation
TAC: 
Fire
 7
Mod #
 7938 
Proponent
Amanda Hickman
1
Section
35
Chapter
No Affirmative Recommendation
This modification updates the reference standards NFPA 80 and NFPA 105 to the most current editions.
Summary

AS
AM

X
NAR

I

W
Commission Action

SubCode:
Existing Building
Ü
8‑Alterations ‑ Level 2
Mod #
 8050 
Proponent
Joseph Belcher for FHBA
805.3
Section
8
Chapter
No Affirmative Recommendation
Brings FBC‑EB in line with FBC‑B for where single exit buildings are permitted. The FBC‑EB was becoming more stringent than for new construction due to changes in the FBC‑B.
Summary

AS
AM

X
NAR

I

W
Commission Action

SubCode:
Residential
Ü
3‑Building Planning
Mod #
 7122 
Proponent
Derek Wiechmann PG CBO
310.1.1
Section
3
Chapter
No Affirmative Recommendation
Under 
R310.1.1 Operational constraints ........
Exceptions: 
1. A casement window utilizing a cranking mechanism that does not delay the window to open to the minimum opening area per R310.2.1 can be utilized as an emergency escape and rescue opening.
Summary

AS
AM

X
NAR

I

W
Commission Action

Withdrawn
TAC Recommendation
Total Mods for  Fire in  Withdrawn
TAC: 
Fire
 7
SubCode:
Building
Ü
3‑Use and Occupancy Classification

Page 51 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Withdrawn
TAC: 
Fire
 7
Mod #
 7556 
Proponent
Ann Russo5
302.1
Section
3
Chapter
Withdrawn
As roof areas are being used for other activities and functions, addresses these uses and related issues
Summary

AS
AM

NAR

I
X
W
Commission Action

6‑Types of Construction
Mod #
 7553 
Proponent
Paul Coats
2304.11
Section
6
Chapter
Withdrawn
This proposed modification takes the details for heavy timber construction out of Chapter 6 and consolidates them in Chapter 23.
Summary

AS
AM

NAR

I
X
W
Commission Action

SubCode:
Residential
Ü
3‑Building Planning
Mod #
 7475 
Proponent
John Hall
324
Section
3
Chapter
Withdrawn
The modification provides for roof access pathways and location and spacing dimensions for rooftop mounted solar PV systems. First responder safety is paramount. This provides safe access and egress during fire fighting operations.
Summary

AS
AM

NAR

I
X
W
Commission Action

Mod #
 7660 
Proponent
Scott McAdam
308.4.2
Section
3
Chapter
Withdrawn
clarification of R308.4.2 glazing adjacent to a door, addresses glazing not in plane with the door
Summary

AS
AM

NAR

I
X
W
Commission Action

Page 52 of 52
5/31/2019
Fire
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  205
Total Mods for  Fire in  Withdrawn
TAC: 
Fire
 7
Mod #
 7811 
Proponent
Joseph Belcher for FHBA
302.4.2
Section
3
Chapter
Withdrawn
Adds provisions for listed methods of penetrating a ceiling membrane with luminaries.
Summary

AS
AM

NAR

I
X
W
Commission Action

Mod #
 7812 
Proponent
Joseph Belcher for FHBA
308.4.2
Section
3
Chapter
Withdrawn
Changes &quot;perpendicular&quot; to &quot;not in&quot; when referring to glazing adjacent to doors.
Summary

AS
AM

NAR

I
X
W
Commission Action

Mod #
 7815 
Proponent
Joseph Belcher for FHBA
311.7.3
Section
3
Chapter
Withdrawn
Increases allowable vertical rise of stairs to 151 inches.
Summary

AS
AM

NAR

I
X
W
Commission Action

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
F
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria