Florida Building Code, Plumbing

CHAPTER 15

REFERENCED STANDARDS

FBCP

CHAPTER 15

REFERENCED STANDARDS

## This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the standard, the standard identification, the effective date and title, and the section or sections of this document that reference the standard. The application of the referenced standards shall be as specified in Section 102.4 of the Florida Building Code, Building.

AHRI

Air-Conditioning, Heating, & Refrigeration Institute 4100 North Fairfax Drive, Suite 200

Arlington, VA 22203

Standard	Referenced

reference	in code

number	Title	section number

1010—02	Self-contained, Mechanically Refrigerated Drinking-Water Coolers	410.1

ANSI

American National Standards Institute 25 West 43rd Street, Fourth Floor New York, NY 10036

Standard	Referenced

reference	in code

number	Title	section number

A118.10—99	Specifications for Load Bearing, Bonded, Waterproof Membranes for Thin Set

Ceramic Tile and Dimension Stone Installation . . . . . . . . . . . . . . . . . . . . . . . . . 417.5.2.5, 417.5.2.6

Z4.3—95	Minimum Requirements for Nonsewered Waste-disposal Systems	311.1

Z21.22—99 (R2003)	Relief Valves for Hot Water Supply Systems with Addenda Z21.22a—

2000 (R2003) and Z21.22b—2001 (R2003) . . . . . . . . . . . . . . . . . . . . . . . . . . 504.2, 504.4, 504.4.1

CSA B45.5—11/

IAPMO Z124—11	Plastic Plumbing Fixtures . . . . . . . . . . . . . . . . . 407.1, 415.1, 416.1, 416.2, 417.1, 418.1, 419.1, 420.1

IAPMO Z1157---14	Ball Valves

(P123-15)

ANSI/NGWA-01-14	Water Well Construction Standard

(P98-15 Part I)

API

American Petroleum Institute 1220 L Street NW Washington, DC 20005-4070

Standard	Referenced

reference	in code

number	Title	section number

12D—2008	Specification for Field Welded Tanks for Storage of Production Liquids,

effective April 1, 2009	1302.7.2

12F—2008	Specification for Shop Welded Tanks for Storage of Production Liquids,

effective April 1 2009	1302.7.2

ASHRAE

ASHRAE, Inc.

1791 Tullie Circle NE Atlanta, GA 30329-2305

Standard	Referenced

reference	in code

number	Title	section number

ASHRAE 18-2008 (RA 2013) 		Methods of Testing for Rating Drinking-Water Coolers with Self Contained Mechanical Refrigeration

(P58-15)

ASME

American Society of Mechanical Engineers Three Park Avenue

New York, NY 10016-5990

Standard	Referenced

reference	in code

number	Title	section number

A112.1.2—2004 2012	Air Gaps in Plumbing Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . .406.1, 409.2, Table 608.1, 608.13.1

A112.1.3—2000 (R2011) (R2015)	Air Gap Fittings for Use with Plumbing Fixtures,

Appliances and Appurtenances . . . . . . . . . . . . . . . . . . . 406.1, 409.2, Table 608.1, 608.13.1, 1102.6

FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)	109

REFERENCED STANDARDS

### ASME—continued

A112.3.1—2007 (R2012)	Stainless Steel Drainage Systems for Sanitary, DWV, Storm and

Vacuum Applications Above and Below Ground . . . . . . . . . . . . . .412.1, Table 702.1, Table 702.2,

Table 702.3, Table 702.4, Table 1102.4,

Table 1102.5, 1102.6, Table 1102.7

ASME A112.3.4—2013/

CSA B45.9—2013	Macerating Toilet Systems and Related Components	712.4.1

A112.4.1—2009	Water Heater Relief Valve Drain Tubes	504.6

ASMEA112.4.2—20092015/CSA B45.16-15	Water Closet Personal Hygiene Devices	 	                                                                                                                                                    ….424.9

A112.4.3—1999 (R2010)	Plastic Fittings for Connecting Water Closets to the Sanitary Drainage System	405.4

A112.4.14—2004 (R2010) 2016	Manually Operated, Quarter-Turn Shutoff Valves for Use in Plumbing Systems . . . . . . . . Table 605.7 A112.14.6—2010	FOG (Fats, Oils and Greases) Disposal Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . .1003.3.4, 1003.3.6

A112.6.1M—1997 (R2008) (R2012)	Floor-affixed Supports for Off-the-floor Plumbing Fixtures for Public Use	405.4.3

A112.6.2—2000 (R2010) 2016	Framing-affixed Supports for Off-the-floor Water Closets with Concealed Tanks	405.4.3

A112.6.3—2001 (R2007) 2016	Floor and Trench Drains	412.1

A112.6.4—2003 (R2008) (R2012)	Roof, Deck, and Balcony Drains	1102.6

A112.6.7—2010 (R2015)	Enameled and Epoxy-coated Cast-iron and PVC Plastic Sanitary Floor Sinks	427.1

A112.6.9—2005 (R2010)2015	Siphonic Roof Drains	1107.1

A112.14.1—2003 (R2012)	Backwater Valves	715.2

A112.14.3—2000 2016	Grease Interceptors	1003.3.4

A112.14.4—2001

(Reaffirmed 2007) (R2012)	Grease Removal Devices	1003.3.4

A112.14.6-2010 (R2015)		   FOG (Fats, Oils, and Greases) Disposal Systems

A112.18.1—201127/

CSA B125.1—201 27	Plumbing Supply Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 424.1, 424.2, 424.3, 424.4,

424.6, 424.8, 605.7, 607.4, 608.2

ASME A112.18.2—2011/2015

CSA B125.2—20112015	Plumbing Waste Fittings	424.1.2

A112.18.3M—2002

(Reaffirmed 2008)R2012	Performance Requirements for Backflow Protection Devices

and Systems in Plumbing Fixture Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .424.2, 424.6

A112.18.6/

CSA B125.6—2009 (R2014)	Flexible Water Connectors	605.6

A112.18.9—2011	Protectors/Insulators for Exposed Waste and Supplies on Accessible Fixtures	404.3

A112.19.1/—2013

CSA B45.2—2013	Enameled Cast Iron and Enameled Steel Plumbing Fixtures . . . . . . . 407.1, 410.1, 415.1, 416.1, 418.1 A112.19.2—2013/

CSA B45.1—13	Ceramic Plumbing Fixtures . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 401.2, 405.9, 407.1, 408.1, 410.1,

415.1, 416.1, 417.1, 418.1, 419.1, 420.1

A112.19.3—2008/

CSA B45.4—08(R2013)	Stainless Steel Plumbing Fixtures. . . . . . . . . . . . . . . . . . . . . . .405.9, 407.1, 415.1, 416.1, 418.1, 420.1

A112.19.5/—20112017

CSA B45.15—20112017	Flush Valves and Spuds for Water-closets, Urinals, and Tanks	425.4

A112.19.7M—20127/

CSA B45.10—20127	Hydromassage Bathtub Systems. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .421.1, 421.4

A112.19.12—2006 2014	Wall Mounted and Pedestal Mounted, Adjustable, Elevating, Tilting and

Pivoting Lavatory, Sink and Shampoo Bowl Carrier Systems and Drain Waste Systems . . . . 			.416.4, 418.3

A112.19.14-2006(R2011) 2013	Six-Liter Water Closets Equipped with a Dual Flushing Device	420.1

A112.19.15—20052012	Bathtub/Whirlpool Bathtubs with Pressure Sealed Doors . . . . . . . . . . . . . . . . . . . . . . . . . .407.4, 421.6 A112.19.19—2006 (R2011)	Vitreous China Nonwater Urinals	419.1

A112.21.3-1985(R2007)	Hydrants for Utility and Maintenance Use . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 608.1, 608.13.6 A112.36.2M—1991

(R2008)(R2012)	Cleanouts	708.1.10.2

ASSE 1016/ ASME A112.1016/

CSA B125.16-2011	Performance Requirements for Individual Thermostatic, Pressure Balancing

and Combination Control Valves for Individual Fixture Fittings. . . . . . . . . . . . . 424.3, 424.4, 607.4

B1.20.1—1983(R2006)2013	Pipe Threads, General Purpose (inch) . . . . . . . . . . . . . . . . . . . . . . . . . . . 605.10.3, 605.11.3, 605.13.4,

605.15.3, 605.18.1, 605.22.4,

705.2.3, 705.3.3, 705.6.4, 705.19.1, 705.11.3

B 16.3—20112016	Malleable Iron Threaded Fittings Classes 150 and 300 . . . . . . . . . . . . . . . . .Table 702.4, Table 1102.7 B 16.4—20112016	Gray Iron Threaded Fittings Classes 125 and 250 . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7

B 16.9—20072012	Factory-made Wrought Steel Buttwelding Fittings . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7 B 16.11—20112016	Forged Fittings, Socket-welding and Threaded . . . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7 B 16.12—2009(R2014)	Cast-iron Threaded Drainage Fittings. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 702.4, Table 1102.7

B 16.15—20112013	Cast BronzeAlloy Threaded Fittings Classes 125 and 250 . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5, Table 702.4, Table 										1102.7

B 16.18—2012	Cast Copper Alloy Solder Joint Pressure Fittings. . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7 B 16.22—2001(R2010)2013	Wrought Copper and Copper Alloy Solder Joint

Pressure Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7

110	FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)

REFERENCED STANDARDS

### ASME—continued

B 16.23—20112016	Cast Copper Alloy Solder Joint Drainage Fittings DWV . . . . . . . . . . . . . . . Table 702.4, Table 1102.7 B 16.26—20112016	Cast Copper Alloy Fittings for Flared Copper Tubes . . . . . . . Table 605.5, Table 702.4, Table 1102.7 B 16.28—1994	Wrought Steel Buttwelding Short Radius Elbows and Returns. . . . . . . . . . . . . . . . . . . . . . Table 605.5,

Table 702.4, Table 1102.7

B 16.29—2012	Wrought Copper and Wrought Copper Alloy Solder

Joint Drainage Fittings (DWV). . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.4, Table 1102.7

B16.34—20092015	Valves Flanged, Threaded and Welding End. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.7

B16.51—20112013	Copper and Copper Alloy Press-Connect Pressure Fittings . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

B31.5 – 2016		Refrigeration Piping and Heat Transfer Components

ASPE

American Society of Plumbing Engineers 8614 Catalpa Avenue, Suite 1007

Chicago, IL 60656-1116

Standard	Referenced

reference	in code

number	Title	section number

45—2013	Siphonic Roof Drainage Systems	1107.1

ASSE

American Society of Sanitary Engineering 901 Canterbury Road, Suite A

Westlake, OH 44145

Standard	Referenced

reference	in code

number	Title	section number

1001—082016	Performance Requirements for Atmospheric Type Vacuum Breakers . . . . . . . . . . .425.2, Table 608.1, 608.13.6, 608.16.4.1

1002—08	Performance Requirements for Antisiphon Fill Valves (Ballcocks) for Gravity Water Closet Flush 						Tanks . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .425.3.1, Table 608.1

ASSE 1002-2015/ASME A112 1002-2015/CSA B125. 12-15         Antisiphon Fill Valves

1003—09	Performance Requirements for Water Pressure Reducing Valves	604.8

ASSE1004—082016	Performance Requirements for Backflow Prevention Requirements

for Commercial Dishwashing Machines	409.1

1005—99	Performance Requirements for Water Heater Drain Valves	501.3

1008—06	Performance Requirements for Plumbing Aspects of Food Waste Disposer Units	413.1

1010—04	Performance Requirements for Water Hammer Arresters	604.9

1011—042016	Performance Requirements for Hose Connection Vacuum Breakers . . . . . . . . . .Table 608.1, 608.13.6

1012—09	Performance Requirements for Backflow Preventers

with Intermediate Atmospheric Vent. . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.3, 608.16.2

1013—09 2017	Performance Requirements for Reduced Pressure Principle Backflow Preventers and Reduced Pressure Principle Fire

Protection Backflow Preventers. . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.2, 608.16.2

1015—092017	Performance Requirements for Double Check Backflow Prevention Assemblies and Double Check Fire

Protection Backflow Prevention Assemblies. . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.7

ASSE 1016/ ASME A112.1016/

CSA B125.16—2011	Performance Requirements for Individual Thermostatic, Pressure Balancing

and Combination Control Valves for Individual Fixture Fittings . . . . . . . . . . . . .424.3, 424.4, 607.4

1017—2010	Performance Requirements for Temperature Actuated Mixing

Valves for Hot Water Distribution Systems. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 501.2, 613.1

1018—20102017	Performance Requirements for Trap Seal Primer Valves; Potable Water Supplied	1002.4.1.2

1019—20102016	Performance Requirements for Vacuum Breaker Wall Hydrants,

Freeze Resistant, Automatic Draining Type . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.6, 608.13.10

1020—04	Performance Requirements for Pressure Vacuum Breaker Assembly. . . . . . . . . .Table 608.1, 608.13.5

1022—032016	Performance Requirements for Backflow Preventer

for Beverage Dispensing Equipment . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.16.1, 608.16.10

1024—042016	Performance Requirements for Dual Check Valve Type Backflow Preventers

(for Residential Supply Service or Individual Outlets) . . . . . . . . . . .605.3.1, Table 608.1, 608.13.10

1035—08	Performance Requirements for Laboratory Faucet Backflow Preventers . . . . . . .Table 608.1, 608.13.6

ASSE1037—90 2015/ASME A112 1037-2015/CSA B125.37-15

Performance Requirements for Pressurized Flushing Devices

for Plumbing Fixtures	425.2

1044—2010	Performance Requirements for Trap Seal Primer Devices

Drainage Types and Electronic Design Types	1002.4.1.3

FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)	111

REFERENCED STANDARDS

### ASSE—continued

1047—20092017	Performance Requirements for Reduced Pressure Detector

Fire Protection Backflow Prevention Assemblies . . . . . . . . . . . . . . . . . . . . . . Table 608.1, 608.13.2

1048—20092017	Performance Requirements for Double Check Detector

Fire Protection Backflow Prevention Assemblies . . . . . . . . . . . . . . . . . . . . . . Table 608.1, 608.13.7

1049—2009	Performance Requirements for Individual and Branch Type

Air Admittance Valves for Chemical Waste Systems . . . . . . . . . . . . . . . . . . . . . . . . . . .901.3, 918.8

1050—2009	Performance Requirements for Stack Air Admittance Valves

for Sanitary Drainage Systems	918.1

1051—2009	Performance Requirements for Individual and Branch Type Air Admittance

Valves for Sanitary Drainage Systems-fixture and Branch Devices	918.1

1052—042016	Performance Requirements for Hose Connection Backflow Preventers . . . . . . . Table 608.1, 608.13.6 1055—20092016	Performance Requirements for Chemical Dispensing Systems	608.13.9

1056—20102013	Performance Requirements for Spill Resistant Vacuum Breaker. . . . . . . . . . . . . . . . . . . . .Table 608.1,

608.13.5, 608.13.8

1060—20062016	Performance Requirements for Outdoor Enclosures for Fluid

Conveying Components	608.14.1

1061—2010 20112015	Performance Requirements for Removable and Nonremovable Push Fit Fittings . . . . . . . . Table 605.5

(P119-15)

1062—20062016	Performance Requirements for Temperature Actuated, Flow Reduction

Valves to Individual Supply Fittings	424.7

1066—20092017	Performance Requirements for Individual Pressure Balancing In-line

Valves for Individual Fixture Fittings	604.11

1069—05	Performance Requirements for Automatic Temperature Control Mixing Valves	424.

ASSE 1070—04 2015/ASME A112 1070 2015/ CSA B125.70-15

Performance Requirements for Water-temperature Limiting Devices . . . . . . . . . . . . . . . . 408.3, 416.5, 423.3, 424.5, 607.1.2

2060-2016	Performance Requirements for Outdoor Enclosures for Fluid Conveying Components

1071 --- 2012 Performance Requirements for Temperature Actuated Mixing Valves for Plumbed Emergency Equipment

(P63-15)

1072—07	Performance Requirements for Barrier Type Floor Drain Tap

Seal Protection Devices	1002.4.14

1079—2005	Performance Requirements for Dielectric Pipe Unions . . . . . . . . . . . . . . . . . . . . . . .605.24.1, 605.24.3 5013—20092015	Performance Requirements for Testing Reduced Pressure Principle

Backflow Prevention Assembly (RPA) and Reduced Pressure

Fire Protection Backflow Preventers (RFP)	312.10.2

5015—20092015	Performance Requirements for Testing Double Check Valve Backflow Prevention Assemblies (DC) and Double Check Fire Protection

Backflow Prevention Assemblies (DCF)	312.10.2

5020—20092015	Performance Requirements for Testing Pressure Vacuum Breaker

Assemblies (PVBA)	312.10.2

5047—982015	Performance Requirements for Testing Reduced Pressure Detector

Fire Protection Backflow Prevention Assemblies (RPDA)	312.10.2

5048—20092015	Performance Requirements for Testing Double Check Valve Detector

Assembly (DCDA)	312.10.2

5052—98	Performance Requirements for Testing Hose Connection Backflow Preventers	312.10.2

5056—982015	Performance Requirements for Testing Spill Resistant Vacuum Breaker (SRVB)	312.10.2

ASTM

ASTM International 100 Barr Harbor Drive

West Conshohocken, PA 19428-2959

Standard	Referenced

reference	in code

number	Title	section number

A53/A53M—12	Specification for Pipe, Steel, Black and Hot-dipped, Zinc-coated

Welded and Seamless . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 702.1

A74—13A15	Specification for Cast-iron Soil Pipe and Fittings . . . . . . . . . . .Table 702.1, Table 702.2, Table 702.3, Table 702.4, 708.2, 708.7, Table 1102.4,

Table 1102.5, Table 1102.7

A312/A312M—13a15A	Specification for Seamless, Welded, And Heavily Cold

Worked Austenitic Stainless Steel Pipes . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4,

Table 605.5, 605.23.2

A733—2003(2009)e115	Specification for Welded and Seamless Carbon Steel and Austenitic

Stainless Steel Pipe Nipples . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.8

A778—01(2009)e1/A778M-15	Specification for Welded Unannealed Austenitic Stainless

Steel Tubular Products. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

A888—13A15	Specification for Hubless Cast-iron Soil Pipe and Fittings for Sanitary

and Storm Drain, Waste, and Vent Piping Application . . . . . . . . . . . . . . . . . . . . . . . . . .Table 702.1,

Table 702.2, Table 702.3, Table 702.4, 708.7,

Table 1102.4, Table 1102.5, Table 1102.7

112	FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)

REFERENCED STANDARDS

### ASTM—continued

B32—08(2014)	Specification for Solder Metal . . . . . . . . . . . . . . . . . . . . . . . . . . . 605.13.3, 605.14.6, 705.6.3, 705.17.3

B42—102015A	Specification for Seamless Copper Pipe, Standard Sizes. . . . . . Table 605.3, Table 605.4, Table 702.1

B43—0915	Specification for Seamless Red Brass Pipe, Standard Sizes . . .  Table 605.3, Table 605.4, Table 702.1

B75/B75M—11	Specification for Seamless Copper Tube . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 702.1, Table 702.2, Table 702.3, Table 1102.4

B88—0914	Specification for Seamless Copper Water Tube . . . . . . . . . . . . Table 605.3, Table 605.4, Table 702.1, Table 702.2, Table 702.3, Table 1102.4

B152/B152M—13	Specification for Copper Sheet, Strip Plate and Rolled Bar . . . . . . . . .402.3, 417.5.2.4, 425.3.3, 902.2 B251—10	Specification for General Requirements for Wrought Seamless

Copper and Copper-alloy Tube . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 702.1,

Table 702.2, Table 702.3, Table 1102.4

B302—12	Specification for Threadless Copper Pipe, Standard Sizes . . . . Table 605.3, Table 605.4, Table 702.1

B306—0913	Specification for Copper Drainage Tube (DWV) . . . . . . . . . . Table 702.1, Table 702.2, Table 1102.4

B447—12a	Specification for Welded Copper Tube . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4 B687—99(2011)	Specification for Brass, Copper and Chromium-plated Pipe Nipples . . . . . . . . . . . . . . . . . .Table 605.8 B813—10	Specification for Liquid and Paste Fluxes for Soldering of

Copper and Copper Alloy Tube . . . . . . . . . . . . . . . . . . . . . . . . . 605.13.3, 605.14.6, 705.6.3, 705.7.3

B828—02(2010)	Practice for Making Capillary Joints by Soldering of

Copper and Copper Alloy Tube and Fittings . . . . . . . . . . . . . . 605.13.3, 605.14.6, 705.6.3, 705.17.3

C4—04(2009)(14)	Specification for Clay Drain Tile and Perforated Clay Drain Tile . . . . . . . Table 702.3, Table 1102.4,

Table 1102.5

C14—1115a	Specification for Nonreinforced Concrete Sewer, Storm Drain and Culvert Pipe . . . . . . . Table 702.3, Table 1102.4

C76—13a15a	Specification for Reinforced Concrete Culvert, Storm

Drain and Sewer Pipe. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 1102.4

C296/C296M-00(2015)	Specification for Asbestos-Cement Pressure Pipe

C425—04(2009)(2013)	Specification for Compression Joints for Vitrified Clay Pipe and Fittings . . . . . . . . . . . 705.12, 705.16 C443—12	Specification for Joints for Concrete Pipe and Manholes, Using Rubber Gaskets . . . . . . 705.5, 705.16

C564—1214	Specification for Rubber Gaskets for Cast-iron Soil Pipe and Fittings . . . . . . .705.4.2, 705.4.3, 705.16

C700—13	Specification for Vitrified Clay Pipe, Extra Strength, Standard

Strength, and Perforated. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 702.4,

Table 1102.4, Table 1102.5

C508-00/C508M-00(2015)	Specification for Asbestos-Cement Underdrain Pipe

C1053—00(2010)	Specification for Borosilicate Glass Pipe and Fittings for

Drain, Waste, and Vent (DWV) Applications . . . . . . . . . . . . . . . . . . . . . . . Table 702.1, Table 702.4

C1173—10e1(2014)	Specification for Flexible Transition Couplings for

Underground Piping System . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .705.2.1, 705.5, 705.11.1, 705.12,

705.13.2, 705.16

C1277—1215	Specification for Shielded Coupling Joining Hubless Cast-iron Soil Pipe and Fittings	705.4.3

C1440—08(2013)	Specification for Thermoplastic Elastomeric (TPE) Gasket Materials for Drain,

Waste, and Vent (DWV), Sewer, Sanitary and Storm Plumbing Systems	705.16

C1460—082012	Specification for Shielded Transition Couplings for Use with Dissimilar DWV

Pipe and Fittings Above Ground	705.16

C1461—08(2013)	Specification for Mechanical Couplings Using Thermoplastic Elastomeric (TPE) Gaskets for Joining Drain, Waste and Vent (DWV) Sewer, Sanitary and

Storm Plumbing Systems for Above and Below Ground Use	705.19

C1540—1115	Specification for Heavy Duty Shielded Couplings Joining Hubless

Cast-iron Soil Pipe and Fittings	705.4.3

C1563—2008(2013	Standard Test Method for Gaskets for Use in Connection with Hub

and Spigot Cast Iron Soil Pipe and Fittings for Sanitary Drain, Waste,

Vent and Storm Piping Applications	705.4.2

D1253—0814	Standard Test Method For Residual Chlorine in Water. . . . . . . . . . . . . . . . . . . . . . . . .1301.2.1, 1303.9 D1527—99(2005)	Specification for Acrylonitrile-Butadiene-Styrene (ABS) Plastic Pipe,

Schedules 40 and 80. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3

D1785—1215	Specification for Poly (Vinyl Chloride) (PVC) Plastic Pipe,

Schedules 40, 80 and 120. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3

D1869-15		Specification for Rubber Rings for Fiber-Reinforced Cement Pipe

D2235—04(2011)	Specification for Solvent Cement for Acrylonitrile-Butadiene-

Styrene (ABS) Plastic Pipe and Fittings . . . . . . . . . . . . . . . . . . . 605.10.2, 705.2.2, 705.2.2, 705.7.2

D2239—12a	Specification for Polyethylene (PE) Plastic Pipe (SIDR-PR)

Based on Controlled Inside Diameter . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3

D2241—0915	Specification for Poly (Vinyl Chloride) (PVC) Pressure-rated Pipe (SDR-Series). . . . . . . .Table 605.3 D2282—99(2005)	Specification for Acrylonitrile-Butadiene-Styrene (ABS) Plastic Pipe (SDR-PR) . . . . . . . .Table 605.3 D2464—0615	Specification for Threaded Poly (Vinyl Chloride) (PVC) Plastic Pipe Fittings,

Schedule 80 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

D2466—0615	Specification for Poly (Vinyl Chloride) (PVC) Plastic Pipe Fittings, Schedule 40. . . . . . . .Table 605.5 D2467—0615	Specification for Poly (Vinyl Chloride) (PVC) Plastic Pipe Fittings, Schedule 80. . . . . . . .Table 605.5

FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)	113

REFERENCED STANDARDS

### ASTM—continued

D2468—96a	Specification for Acrylonitrile-Butadiene-Styrene (ABS)

Plastic Pipe Fittings, Schedule 40 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5

D2564—12	Specification for Solvent Cements for Poly (Vinyl Chloride) (PVC)

Plastic Piping Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .605.22.3, 705.11.2, 705.14.2

D2609—02(2008)15	Specification for Plastic Insert Fittings for Polyethylene (PE) Plastic Pipe . . . . . . . . . . . . . Table 605.5 D2657—07	Practice for Heat Fusion-joining of Polyolefin Pipe and Fitting Waste,

and Vent Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .605.19.2, 705.13.1

D2661—1114	Specification for Acrylonitrile-Butadiene-Styrene (ABS) Schedule 40

Plastic Drain, Waste, and Vent Pipe and Fittings . . . . . . . . . . . . . . . . . . . . Table 702.1, Table 702.2,

Table 702.3, Table 702.4, 705.2.2,

705.7.2, Table 1102.4, Table 1102.7

D2665—1214	Specification for Poly (Vinyl Chloride) (PVC) Plastic Drain,

Waste, and Vent Pipe and Fittings . . . . . . . . . . . . . . . . . . . . .Table 702.1, Table 702.2, Table 702.3,

Table 702.4, Table 1102.4, Table 1102.7

D2672—96a(2009)14	Specification for Joints for IPS PVC Pipe Using Solvent Cement. . . . . . . . . . . . . . . . . . . . Table 605.3 D2683—10e114	Standard Specification for Socket-type Polyethylene fittings for

Outside Diameter-controlled Polyethylene Pipe and Tubing . . . . . . . . . . . . . . . . .Table 605.5, 717.5

D2683—14			Specification for Socket- Type Polyethylene Fittings for Outside Diameter-Controlled

Polyethylene Pipe and Tubing

D2729—11	Specification for Poly (Vinyl Chloride) (PVC) Sewer Pipe and Fittings . . . . Table 1102.5, Table 1403.2 D2737—2012a	Specification for Polyethylene (PE) Plastic Tubing . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3 D2751—05	Specification for Acrylonitrile-Butadiene-Styrene (ABS)

Sewer Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 702.4,

Table 1102.4, Table 1102.7

D2846/D2846M—09be114	Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)

Plastic Hot and Cold Water Distribution Systems . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4,

Table 605.5, 605.15.2, 605.16.2

D2855—96(2010)	Standard Practice for Making Solvent-cemented Joints with

Poly (Vinyl Chloride) (PVC) Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . .605.22.3, 705.11.2

D2949—10	Specification for 3.25-in Outside Diameter Poly (Vinyl Chloride) (PVC)

Plastic Drain, Waste, and Vent Pipe and Fittings . . . . . . . . . . . . . . . . . . . . Table 702.1, Table 702.2,

Table 702.3, Table 702.4, Table 1102.7

D3034—0814a	Specification for Type PSM Poly (Vinyl Chloride) (PVC)

Sewer Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 702.4,

Table 1102.4, Table 1102.5, Table 1102.7

D3035—2012e115	Standard Specification for Polyethylene (PE) Plastic Pipe (DR-PR) Based on

Controlled Outside Diameter . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3

D3138-04(2011)	Standard Specification for Solvent Cements for Transition Joints Between Acrylonitrile-Butadiene-Styrene (ABS) and Poly(Vinyl Chloride) (PVC) Non-Pressure Piping Component.

(P184-15 Part I)

D3139—98(2011)	Specification for Joints for Plastic Pressure Pipes Using Flexible

Elastomeric Seals . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .605.10.1, 605.22.1

D3212—07(2013)	Specification for Joints for Drain and Sewer Plastic Pipes Using

Flexible Elastomeric Seals . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .705.2.1, 705.11.1, 705.13.2

D3261—12E1	Specification for Butt Heat Fusion Polyethylene (PE) Plastic fittings

for Polyethylene (PE) Plastic Pipe and Tubing. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5

D3311—11	Specification for Drain, Waste and Vent (DWV) Plastic Fittings Patterns . . . . . . . . . . . . Table 1102.7 D4068—0915	Specification for Chlorinated Polyethlene (CPE) Sheeting for

Concealed Water-containment Membrane	417.5.2.2

D4551—12	Specification for Poly (Vinyl Chloride) (PVC) Plastic Flexible

Concealed Water-containment Membrane	417.5.2.1

E2635—08	Standard Practice for Water Conservation in Buildings Through

In-Situ Water Reclamation	1304.3

E2727—10E1	Standard Practice for the Assessment of Rainwater Quality	1302.8.1

F405—05	Specification for Corrugated Polyethylene (PE) Pipe and Fittings . . . . . . .Table 1102.5, Table 1403.2

F409—12	Specification for Thermoplastic Accessible and Replaceable

Plastic Tube and Tubular Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 424.1.2, Table 1102.7

F437—0915	Specification for Threaded Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe Fittings, Schedule 80. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5

F438—0915	Specification for Socket-type Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe Fittings, Schedule 40. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5

F439—1213	Standard Specification for Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe Fittings, Schedule 80. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5

F441/F441M—1315	Specification for Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe, Schedules 40 and 80. . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3, Table 605.4

F442/F442M—13E1	Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)

Plastic Pipe (SDR-PR) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3, Table 605.4

F477—1014	Specification for Elastomeric Seals (Gaskets) for Joining Plastic Pipe . . . . . . . . . . . . . . 605.24,705.16

F493—1014	Specification for Solvent Cements for Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .605.15.2, 605.16.2

114	FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)

REFERENCED STANDARDS

### ASTM—continued

F628—0812E1	Specification for Acrylonitrile-Butadiene-Styrene (ABS) Schedule 40 Plastic

Drain, Waste, and Vent Pipe with a Cellular Core . . . . . . . . Table 702.1, Table 702.2, Table 702.3,

Table 702.4, 705.2.2, Table 1102.4, Table 1102.7

F656—1015	Specification for Primers for Use in Solvent Cement Joints of

Poly (Vinyl Chloride) (PVC) Plastic Pipe and Fittings . . . . . . . . . . . . . 605.22.3, 705.11.2, 705.14.2

F667 ---12			           "Standard Specification for 3 through 24 in. Corrugated Polyethylene Pipe and Fittings"

(P237-15)/(P241-15)

F714—2013	Specification for Polyethylene (PE) Plastic Pipe (SDR-PR)

Based on Outside Diameter . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, 717.4

F876—201315A	Specification for Cross-linked Polyethylene (PEX) Tubing . . . . . . . . . . . . . . Table 605.3, Table 605.4 F877—2011a	Specification for Cross-linked Polyethylene (PEX) Plastic

Hot - and Cold-Water Distribution Systems. . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

F891—10	Specification for Coextruded Poly (Vinyl Chloride)

(PVC) Plastic Pipe with a Cellular Core . . . . . . . . . . . . . . . . Table 702.1 Table 702.2, Table 702.3,

Table 1102.4, Table 1102.5, Table 1102.7

F1055—13	Standard Specification for Electrofusion Type Polyethylene Fittings for Outside Diameter Controlled Polyethylene and

Crosslinked Polyethylene Pipe and Tubing . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

F1281—11	Specification for Cross-linked Polyethylene/Aluminum/

Cross-linked Polyethylene (PEX-AL-PEX) Pressure Pipe . . . . . . . . . . . . Table 605.3, Table 605.4,

Table 605.5, 605.21.1

F1282—10	Specification for Polyethylene/Aluminum/Polyethylene

(PE-AL-PE) Composite Pressure Pipe. . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4,

Table 605.5, 605.21.1

F1412—09	Specification for Polyolefin Pipe and Fittings for

Corrosive Waste Drainage . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.1, Table 702.2,

Table 702.4, 705.14.1, 901.3

F1476—07(2013)	Standard Specification for Performance of Gasketed

Mechanical Couplings for Use in Piping Applications . . . . . . . . . . . . . . . . . . Table 605.5, 605.14.3,

605.18.3, 605.22.2, 605.23.3

F1488—09e114	Specification for Coextruded Composite Pipe . . . . . . . . . . . . . . Table 702.1, Table 702.2, Table 702.3,

Table 1403.2

F1504 – 2014			            Standard Specification for Folded Poly(Vinyl Chloride) (PVC) Pipe for Existing Sewer and Conduit Rehabilitation

(P205-15 Part II AM)

F1548—01(2006)(2012)	Standard Specification for the Performance of Fittings for Use with

Gasketed Mechanical Couplings Used in Piping Applications . . . . . . . . . . . . . . . . . . . . .Table 605.5

F1673—10	Polyvinylidene Fluoride (PVDF) Corrosive Waste Drainage Systems . . . . . Table 702.1, Table 702.2, Table 702.3, Table 702.4, 705.15.1

F1807—1315	Specification for Metal Insert Fittings Utilizing a Copper Crimp

Ring for SDR9 Cross-linked Polyethylene (PEX) Tubing and SDR9

Polyethylene of Raised Temperature (PE-RT) Tubing . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

F1866—0713	Specification for Poly (Vinyl Chloride) (PVC) Plastic Schedule 40

Drainage and DWV Fabricated Fittings. . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.4, Table 1102.7

F1871 – 2011			           Standard Specification for Folded/Formed Poly (Vinyl Chloride) Pipe Type A for Existing Sewer and Conduit Rehabilitation

(P205-15 Part II AM)

F1960—1215	Specification for Cold Expansion Fittings with PEX Reinforcing

Rings for use with Cross-linked Polyethylene (PEX) Tubing . . . . . . . . . . . . . . . . . . . . . .Table 605.5

F1970—12E1	Special Engineered Fittings, Appurtenances or Valves for use in Poly

(Vinyl Chloride) (PVC) or Chlorinated Poly (Vinyl Chloride) (CPVC) Systems. . . . . . .Table 605.7

F1974—09(2015)	Specification for Metal Insert Fittings for Polyethylene/Aluminum/ Polyethylene and Cross-linked Polyethylene/Aluminum/Cross-linked

Polyethylene Composite Pressure Pipe . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5, 605.21.1

F1986—01(2011)	Specification for Multilayer Pipe, Type 2, Compression Fittings and

Compression Joints for Hot and Cold Drinking Water Systems . . . . . . . . . . . . . . . . . . . Table 605.3,

Table 605.4, Table 605.5

F2080—1215	Specifications for Cold-expansion Fittings with Metal Compression-

sleeves for Cross-linked Polyethylene (PEX) Pipe . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

F2098—08	Standard specification for Stainless Steel Clamps for Securing SDR9

Cross-linked Polyethylene (PEX) Tubing to Metal Insert and Plastic Insert Fittings . . . . . . . . .Table 605.5

F2159—1114	Specification for Plastic Insert Fittings Utilizing a Copper Crimp Ring for SDR9 Cross-linked Polyethylene (PEX) Tubing and

SDR9 Polyethylene of Raised Temperature (PE-RT) Tubing . . . . . . . . . . . . . . . . . . . . . .Table 605.5

F2262—09	Specification for Cross-linked Polyethylene/Aluminum/

Cross-linked Polyethylene Tubing OD Controlled SDR9 . . . . . . . . . . . . . . Table 605.3, Table 605.4

F2306/F2306M—1314E1	12'' to 60'' Annular Corrugated Profile-wall Polyethylene (PE)

Pipe and Fittings for Gravity Flow Storm Sewer and Subsurface

Drainage Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1102.4, Table 1102.7

F2389—1015	Specification for Pressure-rated Polypropylene (PP) Piping Systems . . . . . . Table 605.3, Table 605.4, Table 605.5, Table 605.7, 605.20.1

F2434—0914	Standard Specification for Plastic Insert Fittings Utilizing a Copper Crimp Ring for SDR9 Cross-linked Polyethylene (PEX) Tubing and SDR9 Cross-linked Polyethylene/Aluminum/

Cross-linked Polyethylene (PEX AL-PEX) Tubing . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)	115

REFERENCED STANDARDS

### ASTM—continued

F2648/F2648M-13	Standard Specification for 2 to 60 inch [50 to 1500 mm] Annular Corrugated Profile Wall Polyethylene (PE) Pipe and Fittings for Land Drainage Applications

(P238-15)

F2735—09	Standard Specification for Plastic Insert Fittings for SDR9 Cross-linked

Polyethylene (PEX) and Polyethylene of Raised Temperature (PE-RT) Tubing. . . . . . . Table 605.5

F2736-13e1			    Standard Specification for 6 to 30 in (152 to 762 mm) Polypropylene (PP) Corrugated Single Wall Pipe And Double Wall Pipe

(P171-15)

F2764/F2764M-11ae2		    Standard Specification for 30 to 60 in (750 to 1500 mm) Polypropylene (PP) Triple Wall Pipe and Fittings for Non-Pressure Sanitary Sewer Applications

(P171-15)

F2769—1014	Polyethylene or Raised Temperature (PE-RT) Plastic Hot and

Cold Water Tubing and Distribution Systems . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

F2831—1112	Standard Practice for Internal Non Structural Epoxy Barrier Coating

Material Used in Rehabilitation of Metallic Pressurized Piping Systems	601.5

F2855—11	Specification Poly (Vinyl Chloride)/Aluminum/Poly (Vinyl Chloride)

(CPVC/AL/CPVC) Composite Pressure Tubing . . . . . . . . . . . . . . . . . . . . .Table 605.3, Table 605.4

F2881-11				   "Standard Specification for 12 to 60 in. [300 to 1500 mm] Polypropylene (PP) Dual Wall Pipe and Fittings for Non-Pressure Storm Sewer Applications"

(P239-15)

AWS

American Welding Society 8669 NW 36 Street, #130

Doral, FL 33166

Standard	Referenced

reference	in code

number	Title	section number

A5.8M/A5.8—2011	Specifications for Filler Metals for Brazing and Braze Welding . . . . . . . . . . . . . . . 605.11.1, 605.13.1,

605.14.1, 705.3.1, 705.6.1, 705.7.1

AWWA

American Water Works Association 6666 West Quincy Avenue

Denver, CO 80235

Standard	Referenced

reference	in code

number	Title	section number

C104/A21.4-0813	Cement-mortar Lining for Ductile-iron Pipe and Fittings for Water . . . . . . . . . . . . . . . . . .605.3, 605.5 C110/A21.10—12	Ductile-iron and Gray-iron Fittings . . . . . . . . . . . . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7 C111/A21.11-12	Rubber-gasket Joints for Ductile-iron Pressure Pipe and Fittings	605.12

C115/A21.15—11	Flanged Ductile-iron Pipe with Ductile-iron or Gray-iron

Threaded Flanges . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3, Table 605.4

C151/A21.51—09	Ductile-iron Pipe, Centrifugally Cast for Water. . . . . . . . . . . . . . . . . . . . . . . .Table 605.3, Table 605.4

C153—00/A21.53—11	Ductile-iron Compact Fittings for Water Service. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5 C500—09	Standard for Metal-Seated Gate Valves for Water Supply Service . . . . . . . . . . . . . . . . . . . Table 605.7

C504—10	Standard for Rubber-Seated Butterfly Valves . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.7

C507—1115	Standard for Ball Valves, 6 In. Through 60 In(150mm Through 1500mm)

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.7

C510—07	Double Check Valve Backflow Prevention Assembly . . . . . . . . . . . . . . . . . . . . . Table 608.1, 608.13.7

C511—07	Reduced-pressure Principle Backflow Prevention Assembly. . . . . . . . Table 608.1, 608.13.2, 608.16.2

C651—0514	Disinfecting Water Mains	610.1

C652—11	Disinfection of Water-storage Facilities	610.1

C901—0816	Polyethylene (PE) Pressure Pipe and Tubing 1/23/4 inch (1319 mm)

Through 3 inch (76 mm) for Water Service . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3

C904—0816	Cross-linked Polyethylene (PEX) Pressure Pipe Tubing 1/2 inch (1213 mm)

Through 3 inch (76 mm) for Water Service . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3

D100—0511	Standard for Welded Carbon Steel Tanks for Water Storage	1302.7.2

D115—0616	Standard for Tendon Prestressed-Concrete Water Tanks	1302.7.2

CISPI

D120—09	Standard for Thermosetting Fiberglass-Reinforced Plastic Tanks	1302.7.2

Cast Iron Soil Pipe Institute

5959 Shallowford Road, Suite 419

Chattanooga, TN 37421

Standard	Referenced

reference	in code

number	Title	section number

301—04a12	Specification for Hubless Cast-iron Soil Pipe and Fittings for Sanitary

and Storm Drain, Waste and Vent Piping Applications . . . . . . . . . . . . . . . . Table 702.1, Table 702.2,

Table 702.3, Table 702.4, 708.7,

Table 1102.4, Table 1102.5, Table 1102.7

310—0412	Specification for Coupling for Use in Connection with Hubless Cast-iron Soil Pipe and Fittings for Sanitary and Storm Drain,

Waste and Vent Piping Applications	705.4.3

116	FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)

REFERENCED STANDARDS

CSA

CSA Group

8501 East Pleasant Valley Cleveland, OH 44131-5516

Standard	Referenced

reference	in code

number	Title	section number

A257.1M—200914	Non-reinforced Circular Concrete Culvert, Storm Drain, Sewer Pipe and Fittings . . . . . . . . Table 702.3, Table 1102.4

A257.2M—200914	Reinforced Circular Concrete Culvert, Storm Drain,

Sewer Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 1102.4

A257.3M—2009	Joints for Circular Concrete Sewer and Culvert Pipe, Manhole

Sections and Fittings Using Rubber Gaskets . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 705.5, 705.16

ASME A112.18.1—20122017/

CSA B125.1—201217	Plumbing Supply Fittings. . . . . . . . . . . . .424.1, 424.2, 424.3, 424.4, 424.6, 424.8, 605.7, 607.4, 608.2

ASME A112.18.2—20112015/

CSA B125.2—20112015	Plumbing Waste Fittings	424.1.2

ASME A112.19.2—2013/

B45.1—2013	Ceramic Plumbing Fixtures . . . . . . . . . . . . . . . .401.2, 405.9, 407.1, 408.1, 410.1, 415.1, 416.1, 417.1,

418.1, 419.1, 420.1

ASME A112.19.1—2013/

CSA B45.2—2013	Enameled Cast-iron and Enameled Steel Plumbing Fixtures . . . . . . .407.1, 410.1, 415.1, 416.1, 418.1

ASME A112.19.3—2008/

CSA B45.4—08(R2013)	Stainless-steel Plumbing Fixtures . . . . . . . . . . . . . . . . . . . . . . 405.9, 407.1, 415.1, 416.1, 418.1, 420.1

ASME A112.19.5—20112017/

CSA B45.15—201117	Flush Valves and Spuds for Water Closets, Urinals and Tanks	425.4

ASME A112.19.7—20122017/

CSA B45.10—201217	Hydromassage Bathtub Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 421.1, 421.4 CSA B45.5—11 17/

IAPMO Z124-201117	Plastic Plumbing Fixtures . . . . . . . . . . . . . . . . . . . . . . .407.1, 415.1, 416.1, 416.2, 417.1, 419.1, 420.1

ASME A112.3.4—2013/

CSA B45.9—2013	Macerating Systems and Related Components	712.4.1

ASSE 1016/ ASME A112.1016/

CSA B125.16—2011	Performance Requirements for Individual Thermostatic, Pressure Balancing

and Combination Control Valves for Individual Fixture Fittings . . . . . . . . . . . . .424.3, 424.4, 607.4

B64.1.1—1116	Vacuum Breakers, Atmospheric Type (AVB). . . . . . . . . . . . .425.2, Table 608.1, 608.13.6, 608.16.4.1 B64.1.2—1116	Pressure Vacuum Breakers, (PVB) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.5

B64.1.3—1116	Spill Resistant Pressure Vacuum Breakers (SRPVB)	608.13.8

CSA B64.2—1116	Vacuum Breakers, Hose Connection Type (HCVB) . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.6 B64.2.1—1116	Vacuum Breakers, Hose Connection (HCVB) with Manual Draining Feature. . . . .Table 608.1, 608.13.6 CSA B64.2.1.1—1116	Hose Connection Dual Check Vacuum Breakers, (HCDVB) . . . . . . . . . . . . . . . .Table 608.1, 608.13.6 CSA B64.2.2—1116	Vacuum Breakers, Hose Connection Type (HCVB) with

Automatic Draining Feature. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.6

CSA B64.3—1116	Backflow Preventers, Dual Check Valve Type with

Atmospheric Port (DCAP) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.3, 608.16.2

CSAB64.4—1116	Backflow Preventers, Reduced Pressure Principle Type (RP). . . . . . . .Table 608.1, 608.13.2, 608.16.2 CSAB64.4.1—1116	Reduced Pressure Principle for Fire Sprinklers (RPF) . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.2

CSAB64.5—1116	Double Check Backflow Preventers (DCVA) . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.7 CSA B64.5.1—1116	Double Check Valve Backflow Preventer for Fire Systems (DCVAF). . . . . . . . . Table 608.1 608.13.7 B64.6—1116	Dual Check Backflow PreventersValve (DuC) . . . . . . . . . . . . . . . . . . .605.3.1, Table 608.1, 608.13.10

CSA B64.7—1116	Laboratory Faucet Vacuum Breakers (LFVB). . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.6 B64.10—11	Manual for the Selection and Installation of Backflow Prevention Devices	312.10.2

B64.10.1—11	Maintenance and Field Testing of Backflow Preventers	312.10.2

B79—08(R2013)	Commercial and Residential Drains, and Cleanouts	412.1

B125.3—2012	Plumbing Fittings. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 408.3, 416.5, 423.3, 424.4, 424.5,

425.2, 425.3.1, Table 605.7, Table 608.1

B137.1—1316	Polyethylene (PE) Pipe, Tubing and Fittings for Cold Water

Pressure Services . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.5

B137.2—1316	Polyvinylchloride PVC Injection-moulded Gasketed

Fittings for Pressure Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

B137.3—1316	Rigid Poly (Vinyl Chloride) (PVC) Pipe for Pressure

Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3 Table 605.5, 605.22.3,

705.11.2, 705.14.2

CSA B137.5—1316	Cross-linked Polyethylene (PEX) Tubing Systems for

Pressure Applications. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

CSA B137.6—1316	CPVC Pipe, Tubing and Fittings for Hot and

Cold Water Distribution Systems . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

B137.9—13	Polyethylene/Aluminum/

Polyethylene Composite Pressure Pipe Systems . . . . . . . . . . . . . Table 605.3, Table 605.5, 605.21.1

FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)	117

REFERENCED STANDARDS

### CSA—continued

B137.10—1316	Cross-linked Polyethylene/Aluminum/Polyethylene

Composite Pressure Pipe Systems . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5, 605.21.1

B137.11—1316	Polypropylene (PP-R) Pipe and Fittings for

Pressure Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

B137.18--13 	Polyethylene of raised temperature resistance (PE-RT) tubing systems for pressure applications.

(P112-15)/(P120-15)

B181.1—1115	Acrylonitrile-butadiene-styrene ABS Drain,

Waste and Vent Pipe and Pipe Fittings. . . . . . . Table 702.1, Table 702.2, Table 702.3, Table 702.4,

705.2.2, 715.2, Table 1102.4, Table 1102.7

B181.0-11	Definitions, general requirements, and methods of testing for thermoplastic non-pressure piping

(P171-15)

B 181.2—1115	Polyvinylchloride PVC and chlorinated polyvinylchloride

(CPVC) Drain, Waste, and Vent Pipe and Pipe Fittings. . . . . . . . . . . . . . . .Table 702.1 Table 702.2,

705.11.2, 705.14.2, 715.2

B 181.3—1115	Polyolefin and Polyvinylidene Fluoride (PVDF) Laboratory

Drainage Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.1, Table 702.2,

Table 702.3, Table 702.4, 705.14.1

B182.1—11	Plastic Drain and Sewer Pipe and Pipe Fittings . . . . . .705.11.2, 705.14.2, Table 1102.4, Table 1102.5 B182.2—11	PSM Type Polyvinylchloride PVC Sewer

Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 1102.4, Table 1102.5

B182.4—1115	Profile Polyvinylchloride PVC Sewer Pipe and Fittings . . . . Table 702.3, Table 1102.4, Table 1102.5 B182.6—1115	Profile Polyethylene (PE) Sewer Pipe and Fittings for Leak-proof

Sewer Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1102.5

B182.8—1115	Profile Polyethylene (PE) Storm Sewer and Drainage Pipe and Fittings . . . . . . . . . . . . . . Table 1102.5

B182.13-11	Profile polypropylene (PP) sewer pipe and fittings for leak-proof sewer applications

(P171-15)

B356—10	Water Pressure Reducing Valves for Domestic Water Systems	604.8

B481.1—12	Testing and Rating of Grease interceptors Using Lard	1003.3.4

B481.3—12	Sizing, Selection, Location and Installation of Grease Interceptors	1003.3.4

B602—1015	Mechanical Couplings for Drain, Waste and Vent Pipe and

Sewer Pipe . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 705.2.1, 705.4.3, 705.5, 705.11.1,

705.12, 705.13.2, 705.16

Florida Codes

Florida Building Commission

c/o Florida Department of Business and Professional Regulation Building Codes and Standards 2601 Blair Stone Road

Tallahassee, Florida 32399

| Standard reference number | Title | Referenced in code section number |
| --- | --- | --- |
| Florida Administrative Code Ch. 62-610 | Florida Administrative Code-Reuse of Reclaimed Water |  |

and Land Application	602.4

Ch. 64E-6	Florida Administrative Code-Standards for Onsite Sewage

and Disposal Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .202, 701.2, 1003.3.4, 1003.5

FBC-A—Seventh Edition (2020)	Florida Building Code, Accessibility. . . . . . . . . . . . . . . . . . . . . . . . . .403.4, 403.1.2, 403.3.1, 404.1

FBC-B— Seventh Edition (2020) 	Florida Building Code, Building . . . . . . . . . . . . . . . . . . . . 101.1, 201.3, 307.1, 307.2, 307.3, 308.2,

309.1, 309.2, 310.1, 310.3, 315.1, 316.1.6,

317.1, 403.1, Table 403.1, 403.6, 407.3,

417.6, 502.4, 606.5.2, 614.4, 919.1, 1106.5,

1301.9.4, 1302.7.2, 1303.6, 1401.4, 1402

FBC-EC— Seventh Edition (2020)	Florida Building Code, Energy Conservation . . . . . . . . . . . . . . . . . . . . . . . . . .313.1, 607.2.1, 607.5

FBC-FG— Seventh Edition (2020)	Florida Building Code, Fuel Gas . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .201.3, 502.1

FBC-M— Seventh Edition (2020)	Florida Building Code, Mechanical. . . . . . . . . . . . 201.3, 307.6, 310.1, 422.9, 502.1, 612.1, 1202.1 FFPC— Seventh Edition (2020)	Florida Fire Prevention Code. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .201.3, 1201.1

Florida Statutes

Ch. 373	Florida Statute, Water Resources	602.3

Ch. 381	Florida Statute, Food Products	317.1

Ch. 471	Florida Statute, Engineering	202

Ch. 481	Florida Statute, Architecture, Interior Design, and Landscape-Architecture	202

Ch. 500	Florida Statute, Lodging and Food Service Establishments	317.1

Ch. 509	Florida Statute, Public Lodging and Food Service Establishments. . . . . . . . . . . . . . . 317.1, 403.1.3

Ch. 553.86	Florida Statutes, Public Restrooms	403.1.3

118	FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)

REFERENCED STANDARDS

IAPMO

IAPMO Group

4755 E. Philadelphia

Ontario, CA 91761

Standard	Referenced

reference	in code

number	Title	section number

Z1001-20072014	Prefabricated Gravity Grease Interceptors	1003.3.6

CSA B45.5—11/

IAPMO Z124-2011	Plastic Plumbing Fixtures . . . . . . . . . . . . . . . . . . . . . . .407.1, 415.1, 416.1, 416.2, 417.1, 419.1, 420.1

ISEA

International Safety Equipment Association 1901 N. Moore Street, Suite 808

Arlington, VA 22209

Standard	Referenced

reference	in code

number	Title	section number

ANSI/ISEA Z358.1—20092014	Emergency Eyewash and Shower Equipment	411.1

MSS

Manufacturers Standardization Society Of the Valve and Fittings Industry, Inc. 127 Park St. NE

Vienna, VA 22180-4602

Standard	Referenced

reference	in code

number	Title	section number

SP-42—2013	Corrosion Resistant Gate, Globe, Angle and Check Valves with Flanged and Butt Weld Ends (Classes 150, 	300 & 600)

SP-67—2011	Butterfly Valves . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.7

SP-70—20112013	Gray Iron Gate Valves, Flanged and Threaded Ends. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.7

SP-71—20112013	Gray Iron Swing Check Valves, Flanged and Threaded Ends. . . . . . . . . . . . . . . . . . . . . . . .Table 605.7 SP-72—2010a	Ball Valves with Flanged or Butt-Welding Ends for General Service . . . . . . . . . . . . . . . . .Table 605.7 SP-78—20112013	Cast Iron Plug Valves, Flanged and Threaded Ends . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.7

SP-80—20082013	Bronze Gate, Globe, Angle and Check Valves . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.7 SP-110—2010a	Ball Valves, Threaded, Socket Weldeding, Solder Joint, Grooved and Flared Ends . . . . . . . . .Table 	605.7

SP-122-2012 			         Plastic Industrial Ball Valves

(P124-14 Part I)

SP-139-2014 			        Copper Alloy Gate, Globe, Angle, and Check Valves for Low Pressure/Low Temperature Plumbing Applications

(P124-14 Part I)

NFPA

National Fire Protection Association 1 Batterymarch Park

Quincy, MA 02169-7471

Standard	Referenced

reference	in code

number	Title	section number

51—1318	Design and Installation of Oxygen-fuel Gas Systems

for Welding, Cutting and Allied Processes	1203.1

55—13	Compressed Gases and Cryogenic Fluids Code	1203.1

70—14	National Electric Code . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 502.1, 504.3, 1113.1.3

99—1518	Health Care Facilities Code	1202.1

NSF

NSF International 789 Dixboro Road Ann Arbor, MI 48105

Standard	Referenced

reference	in code

number	Title	section number

3—201012	Commercial Warewashing Equipment	409.1

14—20112015	Plastic Piping System Components and Related Materials	303.3

18—2012	Manual Food and Beverage Dispensing Equipment	426.1

42—20112015	Drinking Water Treatment Units-Aesthetic Effects	611.1

50—20122015	Equipment for Swimming Pools, Spas, Hot Tubs and other Recreational Facilities	1302.8.1

NSF 184-2014                                             Residential Dishwashers

(P56-15)

FLORIDA BUILDING CODE — PLUMBING, 7th EDITION (2020)	119

REFERENCED STANDARDS

### NSF—continued

53—2011a15	Drinking Water Treatment Units—Health Effects	611.1

58—20122015	Reverse Osmosis Drinking Water Treatment Systems. . . . . . . . . . . . . . . . . . . . . . . . . . . . .611.2, 611.3

61—20122015	Drinking Water System Components—Health Effects . . . . . . . . . . . . . . . . 410.1, 424.1, 605.3, 605.4, 605.5, 605.7

350—20112014	Onsite Residential and Commercial Water Reuse Treatment Systems	1302.6.1

359—2011	Valves for Crosslinked Polyethylene (PEX) Water Distribution Tubing Systems. . . . . . . . Table 605.7

372—20102011	Drinking Water Systems Components—Lead Content	605.2.1

PDI

Plumbing and Drainage Institute 800 Turnpike Street, Suite 300 North Andover, MA 01845

Standard	Referenced

reference	in code

number	Title	section number

PDI G101 (2012)	Testing and Rating Procedure for Grease Interceptors with

Appendix of Sizing and Installation Data	1003.3.4

PDI G102 (2009)	Testing and Certification for Grease Interceptors with Fog Sensing and Alarm Devices	1003.3.4

PSAI

Standard	Referenced

reference	in code

number	Title	section number

Z4.3- 15	Minimum Requirements for Nonsewered Waste-Disposal Systems

SRCC

Solar Rating & Certification Corporation

400 High Point Drive, Suite 400

Cocoa, FL 32926

Standard	Referenced

reference	in code

number	Title	section number

SRCC 300—2013		Minimum Standard for Solar Thermal Water Heating Systems, January 3, 2013, Solar Rating and Certification Corporation.

(P89-15)

UL

UL LLC

333 Pfingsten Road

Northbrook, IL 60062-2096

Standard	Referenced

reference	in code

number	Title	section number

58—1996	Steel Underground Tanks for Flammable and Combustible Liquids—

with revisions through July 27, 1998	1302.7.2

142—2006	Steel Aboveground Tanks for Flammable and Combustible Liquids—

with revisions through February 12, 2010August 2014	1302.7.2

399—2008	Drinking-Water Coolers—with revisions through January 14, 2011October 2013	410.1

430—2009	Waste Disposers—with revisions through March 23, 2011September 2015	413.1

508—99	Industrial Control Equipment—with revisions through March 2013October 2013	314.2.3

1316—1994	Glass-Fiber Reinforced Plastic Underground Storage Tanks for Petroleum Products, Alcohols and Alcohol Gasoline Mixtures—

with revisions through May 12, 2006	1302.7.2

1746—2007	External Corrosion Protection Systems for Steel Underground Storage Tanks-with revisions through 	December 2014	1302.7.2

1795—2009	Hydromassage Bathtubs including revisions through August 23, 2011January 2015	421.1

WQA

Water Quality Association 4151 Naperville Road

Lisle, IL 60532-3696

Standard	Referenced

reference	in code

number	Title	section number

S-200	Household and Commercial Water Filters (In-Line)	611.1

S-300	Point-of-Use Low Pressure Reverse Osmosis Drinking Water Systems	611.2

120