Page 1 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Pending Review
TAC Recommendation
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
SubCode:
Building
Ü
1-Scope and Administration
Section
110.3.5
 9088 
Chapter
Mod #
Adds new section &quot;110.3.5 Type IV-A, IV-B, and IV-C connection protection inspection.&quot;
1
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
ADM35-19
Staff Classication
Correlates Directly
2-Definitions
Section
202
 8719 
Chapter
Mod #
This proposal is an outgrowth of work done by the NFPA 855 Committee specific to one- and two-family dwellings and townhouses as well as new language added to the IFC for the 2021 edition addressing R-3 and R-4 Group Occupancies.
2
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB154-19
Staff Classication
Correlates Directly
Mod #
 9244 
Proponent
202
Section
2
Chapter
Pending Review
Eliminated &quot;Children&quot; from play structure definition
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CCC IBC2-20
CC #
Staff Classication

Page 2 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9344 
Proponent
202
Section
2
Chapter
Pending Review
This is one of a series of 11 proposals to coordinate the Emergency Escape and Rescue Openings (EERO) technical criteria in the IBC and IRC.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G4-18
CC #
Staff Classication
Mod #
 9348 
Proponent
202
Section
2
Chapter
Pending Review
The intent of this proposal is the coordinate the definitions for emergency escape and rescue openings (EERO) between IBC, IRC, IEBC, IPMC, IFC.  Adds new definition &quot;EMERGENCY ESCAPE AND RESCUE OPENING&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G5-18 Part I
CC #
Staff Classication
Mod #
 9349 
Proponent
202
Section
2
Chapter
Pending Review
Adds new definition &quot;EMERGENCY ESCAPE AND RESCUE OPENING&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G5-18 Part II
CC #
Staff Classication

Page 3 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9351 
Proponent
202
Section
2
Chapter
Pending Review
Deletes definition &quot;Plastic, Approved&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G10-18
CC #
Staff Classication
Mod #
 9383 
Proponent
202
Section
2
Chapter
Pending Review
Proposal concerning Puzzle rooms, as such a design is contrary to the foundations of code specified exiting provisions.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G48-18
CC #
Staff Classication
Section
202
 9774 
Chapter
Mod #
The intent of this code change proposal is to define the term “life safety system”.
2
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
F4-18 Part II
Staff Classication
Correlates Directly
3-Use and Occupancy Classification

Page 4 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9355 
Proponent
303.1
Section
3
Chapter
Pending Review
Proposes to add a series of pointers from the appropriate occupancy groups in Chapter 3 to the relevant provisions in Chapter 4. To highlight for architects, engineers and building officials when detailed provisions in Chapter 4 apply to a building, or other
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G13-18
CC #
Staff Classication
Section
306.2
 9358 
Chapter
Mod #
This proposal is a correlation issue with the FCAC IFC Section 1206 ESS rewrite. Section 306.2 &quot;Moderate-hazard factory industrial, Group F-1&quot;.  Adding text &quot;Energy storage systems (ESS) in dedicated use buildings&quot;
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G17-18
Staff Classication
Correlates Directly
Mod #
 9359 
Proponent
306.2
Section
3
Chapter
Pending Review
Proposing that Water/Sewer Treatment Facilities be added to the Group F-2 Occupancy list.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G18-18
CC #
Staff Classication

Page 5 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9360 
Proponent
310.4.2
Section
3
Chapter
Pending Review
Correlation with the format of Section 310.5.1 and IRC Section 101.2 Exception 2.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G22-18
CC #
Staff Classication
Mod #
 9361 
Proponent
312.1
Section
3
Chapter
Pending Review
Modifies text of Section 312.1 &quot;General&quot;, changing Fences  height to 7 feet
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G25-18
CC #
Staff Classication
Section
307.1.1
 9828 
Chapter
Mod #
This proposal adopts UL 1389 as the standard used to list extraction equipment, and reformats section 3904 to clarify that the technical report and registered design professional site inspection are only required for extraction systems that are not listed.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
F276-18
Staff Classication
Correlates Directly
4-Special Detailed Requirements Based on Use and Occupancy

Page 6 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9362 
Proponent
402.7.2
Section
4
Chapter
Pending Review
This proposal simply makes a more direct reference to the need for a smoke control system instead of sending the reader to Section 404.5 and through the exception.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G26-18
CC #
Staff Classication
Section
403.3.2
 9364 
Chapter
Mod #
Modification of Section 403.3.2 &quot;Water supply to required fire pumps&quot;.  Adding text concerning Type IVA and IVB construction.
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G28-18
Staff Classication
Correlates Directly
Mod #
 9365 
Proponent
403.5.6
Section
4
Chapter
Pending Review
EERO not required for high-rises in Section 1030.1, so the exception not needed in the high-rise provisions in Section 403. Please see the proposal for the definition of Emergency Escape and Rescue Openings for additional information.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G29-18
CC #
Staff Classication

Page 7 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9366 
Proponent
404.1
Section
4
Chapter
Pending Review
Adds an exception to Section 404.1 &quot;General&quot;.   Concerning vertical openings that comply with Sections 712.1.1 - 712.1.3, 712.1.9 - 712.1.14.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G30-18
CC #
Staff Classication
Mod #
 9367 
Proponent
404.1
Section
4
Chapter
Pending Review
The purpose of this proposal is to relocate portions of the Section 404 atrium requirements to other appropriate portions of the IBC.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G31-18
CC #
Staff Classication
Mod #
 9368 
Proponent
404.5
Section
4
Chapter
Pending Review
This proposed change seeks to exempt atriums that connect more than 2 stories from having to have a smoke control system, give 3 conditions.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G32-18
CC #
Staff Classication

Page 8 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9369 
Proponent
404.6
Section
4
Chapter
Pending Review
Modifies text of Section 404.6 &quot;Enclosure of atriums&quot;.  Adds two exceptions for escalators and exit access stairways and ramps.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G33-18
CC #
Staff Classication
Mod #
 9373 
Proponent
404.6
Section
4
Chapter
Pending Review
This proposal allows the use of a 20-minute fire protective curtain assembly as an alternative to a non-rated glass wall when protected with sprinklers for the enclosure of an atrium.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G34-18
CC #
Staff Classication
Mod #
 9374 
Proponent
404.10
Section
4
Chapter
Pending Review
New provisions for the conditions for use of an atrium for an exit stair , adds four specific criteria for their use as an exit.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G35-18
CC #
Staff Classication

Page 9 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9375 
Proponent
406.2.4
Section
4
Chapter
Pending Review
Deletes exception 2 of Section 406.2.4 &quot;Floor surfaces&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G36-18
CC #
Staff Classication
Mod #
 9376 
Proponent
406.6.4
Section
4
Chapter
Pending Review
Enclosed mechanical-access parking garages are being constructed, yet there is no prescriptive code requirements for these occupancies. Where these systems have been installed, there is not a consistent fire protection methodology to protecting these structures from a fire.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G39-18
CC #
Staff Classication
Mod #
 9377 
Proponent
407.2.6
Section
4
Chapter
Pending Review
The intent of this proposal is for no technical change, but is to separate the requirements for domestic cooking appliances and exhaust from the allowance for that area to be open to the corridor in a nursing home.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G40-18
CC #
Staff Classication

Page 10 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9378 
Proponent
407.2.6
Section
4
Chapter
Pending Review
The proposal to split the Section 407.2.6, the exceptions would be applicable to the new section dealing with the cooktops and ranges.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G41-18
CC #
Staff Classication
Mod #
 9379 
Proponent
407.3.1.1
Section
4
Chapter
Pending Review
Adds new Section 407.3.1.1 &quot;Door construction&quot;, The additional language provides clarity and guidance on how these various types of doors are configured. Mods Section 710.5.2.1.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G42-18
CC #
Staff Classication
Mod #
 9380 
Proponent
407.4.4
Section
4
Chapter
Pending Review
Section 407.4.4, was heavily edited in the 2012 version of the code, the federal rules have changed.  This change reflects those changes and provides additional clarity relating to the exit access options out of a suite.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G43-18
CC #
Staff Classication

Page 11 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9381 
Proponent
407.4.4.3
Section
4
Chapter
Pending Review
Section 407.4.4.3 &quot;Access to corridor&quot;, deletes the exception for this section.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G44-18
CC #
Staff Classication
Mod #
 9382 
Proponent
407.6.1
Section
4
Chapter
Pending Review
Adds Section 407.6.1, this addition of this language is required in order to conform with Federal Standards and Centers for Medicaid and Medicare Services enforcement rules.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G46-18
CC #
Staff Classication
Mod #
 9384 
Proponent
415.6
Section
4
Chapter
Pending Review
The intent of this code change proposal is to limit the size of rooms with flammable or combustible liquid use in closed systems, when the rooms do not have 25 percent of their perimeter on an exterior wall.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G49-18
CC #
Staff Classication

Page 12 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9387 
Proponent
415.11.3.5
Section
4
Chapter
Pending Review
This proposal simply pulls the emergency alarm requirements for semi-conductors out of the section on Service corridors.  This is simply an editorial change as the emergency alarm system requirements should stand on their own.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G52-18
CC #
Staff Classication
Mod #
 9388 
Proponent
420.8
Section
4
Chapter
Pending Review
The intent of this proposal is for no technical change, but is to separate the requirements for domestic cooking appliances and exhaust from the allowance for that area to be open to the corridor in an assisted living facility.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G55-18
CC #
Staff Classication
Mod #
 9390 
Proponent
420.8
Section
4
Chapter
Pending Review
Modifies text of Section 420.8 &quot;Group I-1 cooking facilities&quot;. Adding exceptions to that Section.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G56-18
CC #
Staff Classication

Page 13 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9391 
Proponent
422.1
Section
4
Chapter
Pending Review
If a domestic cooking facility is set up in an ambulatory care facility for physical therapy or training, it should be treated the same as in Group I-1 and I-2 for similar areas.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G58-18
CC #
Staff Classication
Mod #
 9395 
Proponent
423.4.1
Section
4
Chapter
Pending Review
The original language could me misinterpreted to indicate that item 2 of 423.4.1 refers to the occupant load of the sum of any indoor assembly spaces.  Modification to Section 423.4.1 adding &quot;largest&quot; to the text.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G65-18
CC #
Staff Classication
Mod #
 9396 
Proponent
402.6.3
Section
4
Chapter
Pending Review
A growing number of “I” Occupancy structures are now adding adult playgrounds. There are often unique structural stability and anchorage requirements, plus many potential fire safety issues dealing with concealed spaces and flame spread requirements.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G66-18
CC #
Staff Classication

Page 14 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9397 
Proponent
424.5
Section
4
Chapter
Pending Review
The requirements contained in sections 424.2 are sufficiently adequate for fire safety that it is unnecessary to limit the area to which they apply simply to the range of 150 square feet up to 300 square feet.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G68-18
CC #
Staff Classication
Mod #
 9399 
Proponent
426.1
Section
4
Chapter
Pending Review
Modifies text of Section 426.1 &quot;General&quot; adding language &quot;the applicable provisions of the International Fire Code. Where required by the fire code official&quot;. Language revised to allow for the fire code official to require this analysis for more complicated uses and facilities
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G69-18
CC #
Staff Classication
Mod #
 9775 
Proponent
428.3.9
Section
4
Chapter
Pending Review
Across the I codes there are varying ways to describe an automatic sprinkler system. This proposal correlates several of the I codes to use the defined term of automatic sprinkler system.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F14-18 Part I
CC #
Staff Classication

Page 15 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9785 
Proponent
402.7.5
Section
4
Chapter
Pending Review
The term suppression is used in several ways throughout the IFC. Suppression is not a defined term.  Proposal renaming instances of &quot;suppressions&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F112-18
CC #
Staff Classication
Mod #
 9816 
Proponent
414.5.1
Section
4
Chapter
Pending Review
Adds a footnote, which is intended for areas where combustible dust is generated or manufactured where actual explosion potential could exist, such as H-2 Occupancies.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F170-18
CC #
Staff Classication
Mod #
 9819 
Proponent
403.3.3
Section
4
Chapter
Pending Review
Modifies the text of Section 403.3.3 and 914.3.2 &quot;Secondary water supply&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F175-18
CC #
Staff Classication

Page 16 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9823 
Proponent
415.11.1.1.1
Section
4
Chapter
Pending Review
This proposal is to revise the total quantity of Class 3 water reactive solids allowed in a single H5 fabrication area from 1 lb. (aggregate) to 0.01 lb/sq.ft. while also limiting the maximum quantity of Class 3 water reactive solids on-board a single tool to 1 pound.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F232-18
CC #
Staff Classication
Mod #
 9830 
Proponent
415.6.2
Section
4
Chapter
Pending Review
This code change proposal to the IFC Table 5003.8.2 (IBC Table 415.6.2) removes the detached building requirement for pyrophoric gases, under certain conditions.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F287-18
CC #
Staff Classication
Mod #
 9831 
Proponent
414.2.3
Section
4
Chapter
Pending Review
This proposal states the for control area purposed, fire walls will continue to be assumed to create separate building and will allow that application of the control area requirements to continue.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F288-18
CC #
Staff Classication

Page 17 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9832 
Proponent
414.2.5
Section
4
Chapter
Pending Review
Maximum allowable quantity of consumer products shall be increased where individual packages are in the original sealed containers from the manufacturer and the toxic classification is exclusively based on the LC50threshold and no other hazardous materials classifications apply.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F289-18
CC #
Staff Classication
Mod #
 9834 
Proponent
427.2.2
Section
4
Chapter
Pending Review
These revisions are editorial in nature and do not alter the application of the code requirements. Section 427.2.2 &quot;One-hour interior room&quot;.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F296-18
CC #
Staff Classication
5-General Building Heights and Areas
Mod #
 9248 
Proponent
506.2.2
Section
5
Chapter
Pending Review
Deletes section 506.2.4.1 to remove redundant language
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CCC IBC3-20
CC #
Staff Classication

Page 18 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9400 
Proponent
503.1.4
Section
5
Chapter
Pending Review
This code change is needed to clarify exactly what is required for exception #1 of Section 503.1.4 in terms of providing occupant notification in the area of the occupied roof.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G73-18
CC #
Staff Classication
Section
504.3
 9401 
Chapter
Mod #
Modified text of Table 504.3 &quot;ALLOWABLE BUILDING HEIGHT IN FEET ABOVE GRADE PLANEa&quot; modifying the values of Type IV construction.
5
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G75-18
Staff Classication
Overlap
Mod #
 9402 
Proponent
504.4
Section
5
Chapter
Pending Review
This very simple change matches the language of Section 504.4 to the language of Table 504.4.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G77-18
CC #
Staff Classication

Page 19 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
504.4
 9403 
Chapter
Mod #
This code change proposal returns the maximum number of stories of sprinklered S-1 buildings to the 2006 IBC value of 4 stories.
5
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G78-18
Staff Classication
Overlap
Section
504.4
 9404 
Chapter
Mod #
Modifies text of Table 504.4.  Adding Type IV construction to table.
5
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G80-18
Staff Classication
Overlap
Section
504.4
 9405 
Chapter
Mod #
This proposed change corrects two tabular value errors that went undetected in the original code change until after the completion of the 2012 cycle: the tabular story height numbers for Type IV Group S-2, and the allowable area factor for Type II-A Group I-3.
5
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G81-18
Staff Classication
Overlap

Page 20 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9407 
Proponent
505.2.3
Section
5
Chapter
Pending Review
Modifies the Text of 505.2.3 &quot;Openness&quot;.  Removes Exception number 5.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G83-18
CC #
Staff Classication
Section
506.2
 9409 
Chapter
Mod #
Modifies text of Section Table 506.2, adding Type IV construction to Table.
5
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G84-18
Staff Classication
Overlap
Mod #
 9413 
Proponent
506.2.1
Section
5
Chapter
Pending Review
This change attempts so follow up changes to consolidate the increases for area and height into tables removing the requirement to do the actual calculations for those adjustments.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G85-18
CC #
Staff Classication

Page 21 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9414 
Proponent
506.3
Section
5
Chapter
Pending Review
Calculating the frontage increase is a confusing process for little benefit. This proposal simplifies the process by creating a table outlining the increase based on the percentage of open space around the building and the distance of that open space.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G86-18
CC #
Staff Classication
Section
508.4
 9415 
Chapter
Mod #
Modifies the Table 508.4 &quot;Required Separation of Occupancies&quot;. Filling in the balance of Table 508.4
5
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G88-18
Staff Classication
Overlap
Section
508.4.4.1
 9416 
Chapter
Mod #
The intent of this proposal is to have the thermal barrier delay or prevent the ignition of the mass timber, thus delaying or preventing the mass timber’s contribution to the fuel load.  Adds new Section 590.4.1.1. Type IV-B and Type IV-C construction.
5
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G89-18
Staff Classication
Correlates Directly

Page 22 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9417 
Proponent
508.1
Section
5
Chapter
Pending Review
Relocating Section 419 on Live/Work Units to Section 508 Mixed Occupancies provides a clearer description under Mixed Use Occupancies since the unit is not only residential nor business use.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G90-18
CC #
Staff Classication
Section
509
 9418 
Chapter
Mod #
This proposal eliminates stationary storage battery systems as incidental use from Table 509.
5
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G92-18
Staff Classication
Correlates Directly
Section
510.2
 9419 
Chapter
Mod #
Modifies text of Section 510.2 adding a 4th item, permitting combustible materials where both of the following requirements are met. Adds an exception to Section 1011.7.
5
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G95-18
Staff Classication
Overlap

Page 23 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9420 
Proponent
510.3
Section
5
Chapter
Pending Review
The use of the term incidental can be confused with Section 509 and the list in Table 509.  Office, waiting room and toilet rooms are not &quot;incidental&quot; per Section 509.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G96-18
CC #
Staff Classication
Mod #
 9422 
Proponent
510.8
Section
5
Chapter
Pending Review
This section requires discharge from the parking garage directly to a street or public way which seems overly restrictive.  This will allow an unobstructed path to be used to get access to the street or public way
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G99-18
CC #
Staff Classication
Mod #
 9444 
Proponent
503.1.4
Section
5
Chapter
Pending Review
To clarify that occupied roofs are not considered stories and are permitted to be used to provide egress in accordance with all applicable sections of the IBC and IFC purposes in a manner “as if they were a story” without applying other “story” requirements.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G136-18
CC #
Staff Classication

Page 24 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9664 
Proponent
503.16
Section
5
Chapter
Pending Review
The purpose of this proposal is to provide coordination between the prescriptive method and the work area method for smoke compartments.  This is also consistent with the IFC and is required for hospital licensure.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB59-19
CC #
Staff Classication
Mod #
 9665 
Proponent
503.16
Section
5
Chapter
Pending Review
The purpose is to make refuge area capacity requirements consistent across the codes.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB60-19
CC #
Staff Classication
Mod #
 9666 
Proponent
503.17
Section
5
Chapter
Pending Review
This proposal is intended to correlate with provisions found with the IBC and IFC and provide the necessary tools so that additional security can be provided for lockdowns without compromising the safety of occupants by delaying egress and rescue by first responders.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB62-19
CC #
Staff Classication

Page 25 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9667 
Proponent
505.2
Section
5
Chapter
Pending Review
The intent of this proposal is coordination with the requirements in existing buildings for replacement windows, and bars and grills over area wells
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
Eb63-19 Part I
CC #
Staff Classication
Mod #
 9670 
Proponent
505.2
Section
5
Chapter
Pending Review
Revision to make clear that the window fall prevention requirements apply in both applications which is consistent with how the code treats these replacements for energy efficiency.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB65-19
CC #
Staff Classication
Mod #
 9836 
Proponent
510.5
Section
5
Chapter
Pending Review
This proposal clarifies what the increases are in Section 510.5 and creates consistency with the height and story increases that were previously specified in Section 504.2 of the 2012 IBC.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G98-18
CC #
Staff Classication
6-Types of Construction

Page 26 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
602.4.2.2.2
 9261 
Chapter
Mod #
Reformats Exceptions 1-3 to clarify the relationship of the first three footnotes
6
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
CCC IBC5-20
Staff Classication
Correlates Directly
Mod #
 9423 
Proponent
601
Section
6
Chapter
Pending Review
This proposal modifies Table 601 to require heavy timber bearing walls supporting more than two floors or a floor and a roof to be of 1-hour fire resistance rating or greater which is appropriate for vertical elements in mid-rise multi-story buildings.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G101-18
CC #
Staff Classication
Section
601
 9424 
Chapter
Mod #
Proposal believes that correct interpretation of footnote B on Table 601,  allow it to apply to all roof construction, including structural members that are part of the primary structural frame.
6
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G102-18
Staff Classication
Overlap

Page 27 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9425 
Proponent
601
Section
6
Chapter
Pending Review
The proposal focuses on modifying the “bracing members” subcategories where over time with modifications the current language has become difficult to distinguish between the two
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G103-18
CC #
Staff Classication
Section
602
 9426 
Chapter
Mod #
Multiple code change proposals with respect to the concept of tall buildings of mass timber. Modification of Section 601, Section 602, and Table 601 and 602.
6
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G108-18
Staff Classication
Overlap
Section
602.4
 9427 
Chapter
Mod #
Modifications to Section 602, concerning the need to protect concealed spaces in Type IV buildings.
6
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G109-18
Staff Classication
Correlates Directly

Page 28 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
602.4.1
 9428 
Chapter
Mod #
This code change corrects a correlation issue that was the result of two conflicting code changes that were both approved in the last cycle.
6
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G110-18
Staff Classication
Correlates Directly
Section
602.4.2
 9429 
Chapter
Mod #
Heavy timber structural members appurtenant to the CLT exterior wall shall meet the requirements of Table 2304.11 and be fire-resistance rated as required for the exterior wall.
6
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G111-18
Staff Classication
Correlates Directly
Mod #
 9430 
Proponent
603.1
Section
6
Chapter
Pending Review
New language is required in order to conform with Federal Standards and CMS enforcement rules (K163).  Fire-retardant (FRT) wood has previously not been considered equivalent to a non-combustible material, however codes have recently changed to permit FRT in certain locations
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G112-18
CC #
Staff Classication

Page 29 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9431 
Proponent
603.1
Section
6
Chapter
Pending Review
This proposal creates conformance with more restrictive federal certification requirements (K162).  The goal here is to create a complete two hour assembly below the lowest combustible member.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G113-18
CC #
Staff Classication
Mod #
 9432 
Proponent
603.1
Section
6
Chapter
Pending Review
Wood nailers used for roof parapets and cants are necessary for properly fastening roof materials and does not provide a significant amount of combustible material to the construction type.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
G114-18
CC #
Staff Classication
7-Fire and Smoke Protection Features
Mod #
 9149 
Proponent
715
Section
7
Chapter
Pending Review
This proposal revises the title of the section
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CCC-FS5-18
CC #
Staff Classication

Page 30 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
703.2
 9233 
Chapter
Mod #
In this proposal, the technical restrictions in 703.4 have been relocated to Section 703.2, since this is where compliance with E119 is established in the IBC
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS1-18
Staff Classication
Correlates Directly
Mod #
 9234 
Proponent
703.5
Section
7
Chapter
Pending Review
The intent of the section title of Section 703.5.1 is to describe materials which are not layered and have a uniform structure throughout.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS2-18
CC #
Staff Classication
Section
703.5.1
 9235 
Chapter
Mod #
Intent is to require the same pass/fail criteria as currently exists in ASTM E136, using all for the thermocouples required by ASTM E136, but using the ASTM E2652 apparatus.
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS3-18
Staff Classication
Correlates Directly

Page 31 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
703.8
 9236 
Chapter
Mod #
This proposal constitutes the performance path for determining the contribution of noncombustible protection for mass timber elements. The proposal outlines a protocol to accomplish this.
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS5-18
Staff Classication
Correlates Directly
Section
703.9
 9237 
Chapter
Mod #
Adds new Section 703.9 &quot;Sealing of adjacent mass timber elements&quot;.
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS6-18
Staff Classication
Correlates Directly
Mod #
 9238 
Proponent
704.6.1
Section
7
Chapter
Pending Review
Adds new Section 704.6.1 &quot;Secondary (non-structural) attachments to structural members. The connection of non-structural tubes to primary structural members has potentially adverse thermal effects on the required fire resistance rating of the primary steel frame members.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS8-18
CC #
Staff Classication

Page 32 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
705.2
 9239 
Chapter
Mod #
Proposed revision to change the step function for determining distance from line used to determine FSD.
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS14-18
Staff Classication
Correlates Directly
Mod #
 9240 
Proponent
705.2.3
Section
7
Chapter
Pending Review
There is no language in the code that tells the user what to do if they are using noncombustible materials in a Type I or II building. Also added noncombustible materials to the items permitted to go into the 5 foot limitation
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS16-18
CC #
Staff Classication
Mod #
 9241 
Proponent
705.5
Section
7
Chapter
Pending Review
Proposing to move Table 602 back to the appropriate Section 705 where it belongs. There is no technical change in this proposal. It is just moving the table to the proper section of the code.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS18-18
CC #
Staff Classication

Page 33 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9242 
Proponent
706.11
Section
7
Chapter
Pending Review
This section mixes use of the terms fire wall and party wall, and both should be mentioned in Exception 2 to make it clear that walls constructed in accordance with Exception 2 are allowed to have penetrations in accordance with the restrictions stated in the exception.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
FS22-18
CC #
Staff Classication
Mod #
 9243 
Proponent
722.7.2.1
Section
7
Chapter
Pending Review
Replaces ASTM C645 with a reference to AISI S220 to correlate with actions taken on S299-16 (related portion shown below).
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CCC IBC1-20
CC #
Staff Classication
Section
706.6.1
 9245 
Chapter
Mod #
The intent of this section is to maintain adequate separation between the two portions of the same building so that one side will not be damaged for the time required by Section 706.4.
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS24-18
Staff Classication
Overlap

Page 34 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9246 
Proponent
707.4
Section
7
Chapter
Pending Review
Proposal to provide requirements for Battery storage systems, now referred to as Energy Storage Systems.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS26-18
CC #
Staff Classication
Section
707.5
 9247 
Chapter
Mod #
Exception 2 currently allows interior exit stairway and ramp enclosures to terminate at a top enclosure meeting the requirements for a top enclosure of a shaft. This proposed change extends this same allowance to exit passageways
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS27-18
Staff Classication
Correlates Directly
Mod #
 9249 
Proponent
708.1
Section
7
Chapter
Pending Review
Section 708.1 provides a list of the locations where fire partitions are required in the IBC.  Missing from the list is the requirement found in Section 422.2 to separate ambulatory care facilities from adjacent spaces.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS32-18
CC #
Staff Classication

Page 35 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9250 
Proponent
708.1
Section
7
Chapter
Pending Review
Section 708.1 describes the application of fire partitions as required by other sections of the code. This list has become outdated over time. This proposal updates this list by adding the additional sections which require walls to be constructed as fire partitions.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS33-18
CC #
Staff Classication
Mod #
 9251 
Proponent
708.4.1
Section
7
Chapter
Pending Review
When the CTC Working Group on ambulatory care put together what is now Section 422, the correlative changes appropriate for fire partitions were not made.  This code change brings in those changes.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
FS37-18
CC #
Staff Classication
Mod #
 9252 
Proponent
709.4.1
Section
7
Chapter
Pending Review
Modification of the definition &quot;Smoke Compartment&quot;, and modifies text of Section 709.4.1
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS38-18
CC #
Staff Classication

Page 36 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9253 
Proponent
710.5
Section
7
Chapter
Pending Review
Adds new Section 710.5.3 &quot;Pass through openings in Group I-2 Condition 2&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS39-18
CC #
Staff Classication
Mod #
 9254 
Proponent
713.12
Section
7
Chapter
Pending Review
This proposed change to the &quot;Enclosure at top&quot; section aims to provide the same level of detail and organization as the Enclosure at bottom section
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS41-18
CC #
Staff Classication
Mod #
 9255 
Proponent
713.12
Section
7
Chapter
Pending Review
The code includes provisions for termination of a shaft at the bottom and a shaft that terminates short of the roof assembly, but provides no guidance for a shaft that penetrates a roof structure.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS42-18
CC #
Staff Classication

Page 37 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9256 
Proponent
712.1.7
Section
7
Chapter
Pending Review
Revises the section to resolve correlation issues
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CCC IBC4-20
CC #
Staff Classication
Mod #
 9257 
Proponent
713.13
Section
7
Chapter
Pending Review
This proposal is somewhat editorial in nature as it only seeks to add consistency between the section on chute design in 713.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
FS44-18
CC #
Staff Classication
Mod #
 9258 
Proponent
714.5.2
Section
7
Chapter
Pending Review
This proposal clarifies the exception for Section 714.5.2 , but does not change the intent of the original IBC requirement.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS50-18
CC #
Staff Classication

Page 38 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9259 
Proponent
715.1
Section
7
Chapter
Pending Review
Adds new Section 715.1 &quot;General&quot;. This proposal, developed by the FCAC Chapter 7 work group, clarifies the requirements without making any substantive changes.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS51-18
CC #
Staff Classication
Mod #
 9260 
Proponent
715.6
Section
7
Chapter
Pending Review
This proposal clarifies the installation requirements for all types of protection for joints and voids. Section 715.2 of the 2018 IBC covering installation is incomplete as written. It currently covers only fire-resistant joint systems.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS52-18
CC #
Staff Classication
Mod #
 9262 
Proponent
715.4
Section
7
Chapter
Pending Review
The primary intent of this proposal is to introduce the phrase “Perimeter Fire Containment System” to describe the method of protecting the void at the intersection of an exterior curtain wall assembly and a fire-resistance-rated floor or floor/ceiling assembly.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
FS53-18
CC #
Staff Classication

Page 39 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9263 
Proponent
715.4
Section
7
Chapter
Pending Review
Proposal cleans up inconsistent references to the curtain wall spandrels between the title and the body of Section 715.5.  It clarifies that this requirement applies to both the void at the intersection of a fire-resistance-rated floor and the curtain wall
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS54-18
CC #
Staff Classication
Mod #
 9264 
Proponent
715.6
Section
7
Chapter
Pending Review
This proposal expands on Section 715.6, to incorporate both types of joints and voids covered by the Section. In addition, the proposal clarifies that it is the system protecting the joints and voids, not the joint or void itself which is being tested for an L rating
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS55-18
CC #
Staff Classication
Mod #
 9266 
Proponent
716.1
Section
7
Chapter
Pending Review
This code change proposal adds a footnote to Table 716.1(2) to indicate that both doors must be rated when installed on opposite sides of the same opening
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS56-18
CC #
Staff Classication

Page 40 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9267 
Proponent
716.1
Section
7
Chapter
Pending Review
This code change is intended to provide requirements for opening protection in individual walls which are part of a double fire wall constructed in accordance with NFPA 221.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS59-18
CC #
Staff Classication
Mod #
 9268 
Proponent
716.2.2.1.1
Section
7
Chapter
Pending Review
Adds Definition &quot;Terminated Stops&quot;, Modifies text of 716.2.2.1.1 to address Terminated Stops.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
FS60-18
CC #
Staff Classication
Mod #
 9269 
Proponent
717.2.3
Section
7
Chapter
Pending Review
Modifies definition &quot;Ceiling Radiation Damper&quot;.  Adds new Section 717.2.3 &quot;Static dampers&quot;, adding requirements concerning such. Modifies text of 717.2
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS62-18
CC #
Staff Classication

Page 41 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9270 
Proponent
717.3.1
Section
7
Chapter
Pending Review
The purpose behind this code change is to provide some direction on the use of dynamic versus static ceiling radiation dampers (CRD’s).
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
FS64-18
CC #
Staff Classication
Mod #
 9271 
Proponent
717.3.3.1
Section
7
Chapter
Pending Review
&quot;Primary heat responsive device&quot; is the terminology used in UL 555 and as such, should be the phrase used in the IBC.  The change in the title is consistent with the title used for smoke damper actuation.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS65-18
CC #
Staff Classication
Mod #
 9273 
Proponent
717.4
Section
7
Chapter
Pending Review
For the design professional to be aware of the inspection and testing requirements. NFPA 80. The proposal also provides design professionals with an alternative of remote testing (as permitted by NFPA 80 and NFPA 105) where adequate access for inspection and testing cannot be provided
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
FS66-18
CC #
Staff Classication

Page 42 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9277 
Proponent
717.5.2
Section
7
Chapter
Pending Review
As currently written, the code implies that any flex duct (or equipment flexible connections) negates the use of the exception for fire dampers in 1 hour walls in fully ducted, fully sprinklered building. Proposal to address this.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS67-18
CC #
Staff Classication
Mod #
 9278 
Proponent
717.5.3
Section
7
Chapter
Pending Review
This proposal resolves an issue by stating that fire and smoke dampers shall not be installed where such installation would result in a loss of this airflow path
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS70-18
CC #
Staff Classication
Mod #
 9279 
Proponent
718.2.1
Section
7
Chapter
Pending Review
This proposal harmonizes section 718.2.1 of the IBC with R302.11.1 of the IRC.  In the 2018 cycle, this proposed language was added to the IRC, but not to the IBC.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS72-18
CC #
Staff Classication

Page 43 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
718.2.1
 9280 
Chapter
Mod #
The purpose of this code change proposal is to recognize that mass timber as a suitable fireblocking material.
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS73-18
Staff Classication
Correlates Directly
Mod #
 9281 
Proponent
721.1
Section
7
Chapter
Pending Review
This is a typo.  3/8” type X boards are not readily commercially available.  Generic 5/8” type X boards are readily available in the market.  This change simply fixes this.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS76-18
CC #
Staff Classication
Section
722.1
 9282 
Chapter
Mod #
This proposed code change adds PCI 124-18 to the list of acceptable calculation procedures in Section 722.1 for all precast and precast, prestressed concrete, not just slabs.
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS77-18
Staff Classication
Correlates Directly

Page 44 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
722.2.2.1.4
 9283 
Chapter
Mod #
Adds new Section 722.2.2.1.4. The proposed subsection is to include prescriptive fire-resistance rating for flat plate concrete slabs with uniformly spaced hollow voids based on equivalent thickness
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS79-18
Staff Classication
Correlates Directly
Section
722.7
 9284 
Chapter
Mod #
This proposal outlines a method to calculate the fire resistance rating of a protected wood element by adding the fire resistance rating of the unprotected wood member together with the protection time provided by the noncombustible protection applied to the exposed wood.
7
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FS81-18
Staff Classication
Correlates Directly
Mod #
 9286 
Proponent
806.9
Section
7
Chapter
Pending Review
The requirements in section &quot;Combustible Lockers&quot; are contained in the IFC Section 808.4, but they should equally be contained in the IBC.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS86-18
CC #
Staff Classication

Page 45 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9342 
Proponent
712.1.7
Section
7
Chapter
Pending Review
The terms &quot;interior exit stairways or ramps&quot; and &quot;exit access stairway or ramps&quot;, were not referenced in the Atrium definition. Proposal to address this.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G1-18
CC #
Staff Classication
Mod #
 9673 
Proponent
704.2
Section
7
Chapter
Pending Review
Modifies text of 105.3 &quot;Work exempt pfrom permit&quot;.  Modifies text of Section 603.1 to add an exception.  Adds new Section 704.2 &quot;Casework&quot; and 801.3 &quot;System installations&quot;.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
EB71-19
CC #
Staff Classication
Mod #
 9676 
Proponent
704.1.1
Section
7
Chapter
Pending Review
The purpose of this proposal is to address required corridor width in Group I-2.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB74-19
CC #
Staff Classication
8-Interior Finishes

Page 46 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9285 
Proponent
803.10
Section
8
Chapter
Pending Review
This is clarification because interpretation is unclear but these systems were always intended to meet Class A in ASTM E84.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS84-18
CC #
Staff Classication
Mod #
 9781 
Proponent
801
Section
8
Chapter
Pending Review
In the event that plastics in the decorative combustible vegetation ignites it can spread fire to surrounding buildings and this potential was very visible when artificial palm trees on the pool deck at the Las Vegas Cosmopolitan Hotel ignited in July of 2015
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F92-18 Part II
CC #
Staff Classication
9-Fire Protection Systems
Mod #
 9287 
Proponent
909.20
Section
9
Chapter
Pending Review
This amendment will allow the use of a pressurized stair along with a pressurized entrance vestibule as one of the options for smokeproof enclosures.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS90-18
CC #
Staff Classication

Page 47 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9777 
Proponent
911.1
Section
9
Chapter
Pending Review
Adding a fire control room buildings will allow the incident commander to see at a glance, in one protected location, where the fire is, the building layout, and any active fire protection.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F42-18
CC #
Staff Classication
Section
907.2.12.2
 9778 
Chapter
Mod #
Section 510 in the 2018 IFC uses several different terms to describe the communication system required. This proposal replaces all of these various terms with &quot;emergency communication coverage system&quot;.
9
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
F45-18
Staff Classication
Correlates Directly
Section
901
 9782 
Chapter
Mod #
The intent of this proposal is to address the need to acknowledge “life safety systems” (see Title of Chapter) with a defined term and to reference life safety systems when referencing “fire protection systems”.
9
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
F97-18
Staff Classication
Overlap

Page 48 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9783 
Proponent
903.2.7
Section
9
Chapter
Pending Review
Modifies the text of Section 903.2.7 Group M, 903.2.9 Group S-1.  Adds text &quot;where the area&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F106-18
CC #
Staff Classication
Mod #
 9784 
Proponent
903
Section
9
Chapter
Pending Review
Removing exemption for Open parking structures from Section 403.3.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F110-18
CC #
Staff Classication
Section
903.3.1.2
 9786 
Chapter
Mod #
Modifies the text of Section 903.3.1.2 &quot;NFPA 13R sprinkler systems&quot;.  Addressing recent fires in Group R occupancies.
9
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
F117-18
Staff Classication
Correlates Directly

Page 49 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9787 
Proponent
903.3.1.2.2
Section
9
Chapter
Pending Review
Concerning corridors in multifamily occupancies, proposal to address exemptions going beyond what is intended under the IBC.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F119-18
CC #
Staff Classication
Mod #
 9788 
Proponent
903.3.1.2.3
Section
9
Chapter
Pending Review
Concerning Section 903.3.1.2.3 &quot;Attics&quot;. There was some concern about the word &quot;required&quot; when it came to jurisdictions that do not have legal authority to enforce fire code requirements for fire apparatus access roads.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F120-18
CC #
Staff Classication
Section
903.1
 9792 
Chapter
Mod #
This proposal addresses a number of issues dealing with the suppression requirements for spaces containing upholstered furniture or mattresses.
9
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
F102-18
Staff Classication
Correlates Directly

Page 50 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9793 
Proponent
904.14
Section
9
Chapter
Pending Review
Section 904.14 for aerosol fire-extinguishing systems is relocated so that it is located with the other alternative fire-extinguishing systems. Then the requirements for Commercial Cooking Systems are moved to 904.13.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F124-18
CC #
Staff Classication
Mod #
 9794 
Proponent
905.11
Section
9
Chapter
Pending Review
Removing the word &quot;dry&quot; allows the Fire Department to require or allow the building owner to install locking caps on an as needed bases clarifying the intent of the existing code
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F125-18
CC #
Staff Classication
Mod #
 9795 
Proponent
905.3.1
Section
9
Chapter
Pending Review
The purpose of this change is to modify the two exceptions addressing standpipe system installed in open parking garages.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F126-18
CC #
Staff Classication

Page 51 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9796 
Proponent
905.9
Section
9
Chapter
Pending Review
Modifies the text 905.9 &quot;Valve supervisions&quot;.  Modifies text of Exception 1. Adds new exception.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F128-18
CC #
Staff Classication
Mod #
 9797 
Proponent
906.1
Section
9
Chapter
Pending Review
Modified text of Section 906.1 &quot;Where required&quot;. Adds a new exception, Item 3.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F131-18
CC #
Staff Classication
Mod #
 9798 
Proponent
906.1
Section
9
Chapter
Pending Review
Adds an exception to Section 906.1 &quot;Where required&quot;.  Portable fire extinguishers.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F132-18
CC #
Staff Classication

Page 52 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9799 
Proponent
907.2.2
Section
9
Chapter
Pending Review
All the other sections in 907.2 include similar phrasing that clearly states that an occupant notification system is a part of the design.  The language seeks to clarify the intent and provide consistency among the similar code sections.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F136-18
CC #
Staff Classication
Mod #
 9800 
Proponent
907.2.3
Section
9
Chapter
Pending Review
Modifies the text of Section 907.2.3 &quot;Group E&quot;, adds text &quot;manual activation is provided from a normally occupied location.&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F139-18
CC #
Staff Classication
Mod #
 9801 
Proponent
907.2.10
Section
9
Chapter
Pending Review
Adds a new Section 907.2.10 &quot;Group S&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F141-18
CC #
Staff Classication

Page 53 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9802 
Proponent
907.4
Section
9
Chapter
Pending Review
This Proposal seeks to enhance the waking effectiveness of high risk segments of the population in the International Fire Code (IFC) by requiring a consistent use of the 520 Hz low frequency audible fire alarm signal.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F144-18
CC #
Staff Classication
Mod #
 9803 
Proponent
907.4.2.4
Section
9
Chapter
Pending Review
This code change proposal is intended to clarify that one cannot simply install a sign to bypass the monitoring requirements of Section 907.6.6.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F146-18
CC #
Staff Classication
Mod #
 9804 
Proponent
903.3.2
Section
9
Chapter
Pending Review
: This change adds a requirement for quick response sprinkler heads within the smoke compartment where gas fireplace appliances and decorative gas appliances are installed in all Group I-2 facilities (K524).
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F122-18
CC #
Staff Classication

Page 54 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9805 
Proponent
907.5.2.1.2
Section
9
Chapter
Pending Review
This Proposal seeks to align the sound pressure level requirements for audible fire alarm notification appliances in the 2018 edition of the International Fire Code (IFC) with the 2016 edition of the NFPA 72 &#174;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F148-18
CC #
Staff Classication
Section
907.5.2.3.3
 9807 
Chapter
Mod #
In the last cycle the question of a reasonable percentage for excess capacity of wired equipment was left unresolved. Proposal to address this.
9
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
F152-18
Staff Classication
Correlates Directly
Mod #
 9808 
Proponent
907.6.6.1
Section
9
Chapter
Pending Review
Modifies the text of Section 907.6.6.1. Changing the Section to &quot;Transmission of alarm signals&quot; and the text of that Section.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F154-18
CC #
Staff Classication

Page 55 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9809 
Proponent
907.6.6.2
Section
9
Chapter
Pending Review
This language will allow the technologies to advance and send information to the devices that a human can interface with, and they can make the determination to call 911. MIY Monitoring.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F155-18
CC #
Staff Classication
Mod #
 9810 
Proponent
908.3
Section
9
Chapter
Pending Review
The code is silent about how to interface an emergency alarm system with a fire alarm system. Proposal to address this.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F159-18
CC #
Staff Classication
Mod #
 9811 
Proponent
909.17
Section
9
Chapter
Pending Review
The code does not presently specify a time frame in which the smoke control system is required to configure and be fully operational. Proposal to address this.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F161-18
CC #
Staff Classication

Page 56 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9813 
Proponent
910.3.4
Section
9
Chapter
Pending Review
Adds new Section 910.3.4 &quot;Vent Operation&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F165-18
CC #
Staff Classication
Mod #
 9814 
Proponent
910.3.4
Section
9
Chapter
Pending Review
Adds new Section 910.3.4 &quot;Fusible link temperature rating&quot;. There have been studies that show that draft curtains and smoke and heat vents can have negative consequence on fire sprinkler performance in storage buildings.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F166-18
CC #
Staff Classication
Mod #
 9815 
Proponent
911.1
Section
9
Chapter
Pending Review
This proposal provides correlation with a rewrite of Section 1206 ESS requirements. Concerning the combustibility of lithium ion batteries, etc.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F168-18
CC #
Staff Classication

Page 57 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9817 
Proponent
913.1
Section
9
Chapter
Pending Review
Pumps used in NFPA 13D systems are not required to be listed for fire protection. Since “fire pumps” are not defined, it could be interpreted to follow NFPA 20 for NFPA 13D systems. Proposal to address.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F172-18
CC #
Staff Classication
Mod #
 9818 
Proponent
913.2.2
Section
9
Chapter
Pending Review
Modifies the text of 913.2.2. The exception is added to clarify that where the cables are located within the fire pump room are not required to be protected, and cables located with the generator room are not required to be protected.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F174-18
CC #
Staff Classication
Mod #
 9820 
Proponent
906.1
Section
9
Chapter
Pending Review
The use of portable generators is unregulated in the IFC, except for Section 313 storage, use and repair requirements and some Chapter 31 setback requirements. Proposal to address.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F193-18
CC #
Staff Classication

Page 58 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9822 
Proponent
907.2.22
Section
9
Chapter
Pending Review
The addition of energy storage system requirements as written made it difficult to apply appropriate safety requirements for different installations, each with their own risks and exposures. Proposal to address.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F203-18
CC #
Staff Classication
Mod #
 9833 
Proponent
907.2.15
Section
9
Chapter
Pending Review
The purpose of this proposal is to allow Plastic Aerosol 3 products, when protected in accordance with the controls that are being added to chapter 51 Aerosols, and the automatic fire sprinkler protection requirements being added to NFPA 30B Code.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F293-18
CC #
Staff Classication
10-Means of Egress
Mod #
 9120 
Proponent
1004.5
Section
10
Chapter
Pending Review
Exterior doors typically occur with some change of elevation at the door. The amount of the elevation change is sometimes dependent on the occupancy. This proposal coordinates and clarifies code language for this condition.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E4-18
CC #
Staff Classication

Page 59 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9122 
Proponent
1006.2.1
Section
10
Chapter
Pending Review
This code change reduces the effective length of the common path for specific areas rarely used and when it is used the occupant load is minimal.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E11-18
CC #
Staff Classication
Mod #
 9123 
Proponent
1006.2.2
Section
10
Chapter
Pending Review
The subsections of 1006.2.2 includes not only the number of exits and exit access doorways, but also requirements regarding the exit and exit access doors, types of exit access, and their locations.  Provides clarity
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E13-18
CC #
Staff Classication
Mod #
 9127 
Proponent
1006.2.1
Section
10
Chapter
Pending Review
Section 1006.2.2.4 is redundant with Table 1006.2.1 and should be deleted.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E16-18
CC #
Staff Classication

Page 60 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
1006.2.2.4
 9128 
Chapter
Mod #
The requirements for egress for electrical rooms are not currently addressed in this code, except for where panic or fire exit hardware is used in Section 1010.1.10. Proposal to address.
10
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
E17-18
Staff Classication
Correlates Directly
Mod #
 9129 
Proponent
1006
Section
10
Chapter
Pending Review
This change will clarify the application of the provisions to an occupied roof and another story.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E18-18
CC #
Staff Classication
Mod #
 9130 
Proponent
1006.3.3
Section
10
Chapter
Pending Review
: There is a conflict in terminology used for single exit criteria for stories/buildings in the IBC Section/Tables 1006.3.3 and IEBC Section/Tables 805.3.1.1. The intent of this proposal is a clarification, without technical revisions.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E24-18
CC #
Staff Classication

Page 61 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9131 
Proponent
1008.2.1
Section
10
Chapter
Pending Review
The intent of this provision is to provide the minimum recommended lighting on stairways so that the walking surface is visible.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E27-18
CC #
Staff Classication
Mod #
 9132 
Proponent
1008.3.1
Section
10
Chapter
Pending Review
Emergency electrical system means of egress illumination should be required when two or more exits or access to exits is required.  This proposal should be regarded as editorial.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E28-18
CC #
Staff Classication
Mod #
 9138 
Proponent
1010
Section
10
Chapter
Pending Review
This is a reorganization of the door section to group like items together.  There is not intended to be any technical changes.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E37-18
CC #
Staff Classication

Page 62 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9139 
Proponent
1020.1
Section
10
Chapter
Pending Review
This is a series of editorial revisions intended to formalize the charging language of several sections within Chapter 10.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E38-18
CC #
Staff Classication
Mod #
 9140 
Proponent
1010.1.1
Section
10
Chapter
Pending Review
This proposal deletes the 48” maximum width requirements for swinging doors.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E39-18
CC #
Staff Classication
Mod #
 9142 
Proponent
1010.1.1.1
Section
10
Chapter
Pending Review
Modifies text of Section 1010.1.1.1, Clarifying the “door stops” in the exception are overhead door stops
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E41-18
CC #
Staff Classication

Page 63 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9143 
Proponent
1010.1.2
Section
10
Chapter
Pending Review
Updating 1010.1.2 to add balanced doors to the other common types of swinging doors allowed and used in the means of egress.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E42-18
CC #
Staff Classication
Mod #
 9144 
Proponent
1010.1.3
Section
10
Chapter
Pending Review
Updating and clarifying the maximum forces allowed to unlatch and open doors and correlating requirements with A117.1.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E44-18
CC #
Staff Classication
Mod #
 9145 
Proponent
1029.16.1
Section
10
Chapter
Pending Review
This code change just clarifies the section
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CCC-E5-18
CC #
Staff Classication

Page 64 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9146 
Proponent
1010.1.3.2
Section
10
Chapter
Pending Review
In the event that horizontal doors are installed under certain conditions the proposed language clarifies performance when a door is forcefully closed.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E45-18
CC #
Staff Classication
Mod #
 9147 
Proponent
1010.1.4.1
Section
10
Chapter
Pending Review
Revise vertical range requirements for mounting of the emergency stop switch to be consistent with accessibility requirements for reach ranges and to be consistent with the latest edition of ANSI/BHMA A156.27.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E46-18
CC #
Staff Classication
Mod #
 9148 
Proponent
1010.1.4.3
Section
10
Chapter
Pending Review
Modified text of Section 1010.1.4.3, revising language to state &quot;or effort from the egress side or sides&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E47-18
CC #
Staff Classication

Page 65 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9151 
Proponent
1010.1.4.4
Section
10
Chapter
Pending Review
This proposal attempts to correlate the codes so requirements are consistent throughout.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E48-18
CC #
Staff Classication
Mod #
 9152 
Proponent
1010.1.9.4
Section
10
Chapter
Pending Review
This manual locking provision recognizes what is currently permitted under the Federal Standards and Centers for Medicaid and Medicare Services enforcement rules where the restraint of patients is allowed
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E52-18
CC #
Staff Classication
Mod #
 9154 
Proponent
1010.1.9.4
Section
10
Chapter
Pending Review
IBC Section 1004.7 requires an unobstructed path of egress from outdoor areas where single or multiple paths of egress travel are required to pass back through the building.  Egress doors serving outdoor areas are not permitted to have locks.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E53-18
CC #
Staff Classication

Page 66 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9155 
Proponent
1010.1.9.6
Section
10
Chapter
Pending Review
Code officials, specifiers, building owners, and security have been asking questions regarding what is required and what is permitted by the current language of 1010.1.9.6. This proposal is an attempt to address these question
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E54-18
CC #
Staff Classication
Mod #
 9157 
Proponent
1010.1.9.7
Section
10
Chapter
Pending Review
: This clarification of language is required in order to conform with Federal Standards and Centers for Medicaid and Medicare Services enforcement rules (K221)
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E55-18
CC #
Staff Classication
Mod #
 9158 
Proponent
1010.1.9.7
Section
10
Chapter
Pending Review
The addition of ‘cognitive’ to exception for 1010.1.9.7. Alzheimer and dementia wards where there are clinical needs.  This locking arrangement is only for areas where the staff controls the locking arrangements.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E57-18
CC #
Staff Classication

Page 67 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9159 
Proponent
1010.1.9.8
Section
10
Chapter
Pending Review
Modification to text of Section 1010.1.9.8 and 1010.1.10, adding language due to Courthouse/Courtrooms.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E58-18
CC #
Staff Classication
Mod #
 9160 
Proponent
1010.1.9.8.1
Section
10
Chapter
Pending Review
Group I-1 Condition 2 is already required to be protected with an NFPA13 automatic fire suppression system, so it should be grouped with Group I-2 and I-3.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E59-18
CC #
Staff Classication
Mod #
 9162 
Proponent
1010.1.9.9
Section
10
Chapter
Pending Review
The requirement for egress side emergency lighting provides all occupants with minimum egress illumination levels at the door for operation and to read the sign.   This proposed requirement is aligned with current delayed egress and controlled egress locking conditions.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E61-18
CC #
Staff Classication

Page 68 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9172 
Proponent
1010.1.10
Section
10
Chapter
Pending Review
The current requirements in the International Building Code are not in alignment with the requirements in NFPA 70, the National Electrical Code. Proposal to address panic and fire exit hardware
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E64-18
CC #
Staff Classication
Mod #
 9173 
Proponent
1011.5
Section
10
Chapter
Pending Review
Proposed revision to clarify that a riser is between adjacent treads as well as treads and landings.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E66-18
CC #
Staff Classication
Mod #
 9174 
Proponent
1011.6
Section
10
Chapter
Pending Review
The purpose of this proposed change is to clarify that the limitation on the door projection is into the REQUIRED width, not the provided width.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E68-18
CC #
Staff Classication

Page 69 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9175 
Proponent
1011.6
Section
10
Chapter
Pending Review
Modification to Section 1011.6, Exceptions, this new exception provides needed specification of where to regulate the landing depth.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E69-18
CC #
Staff Classication
Mod #
 9176 
Proponent
1011.6
Section
10
Chapter
Pending Review
This proposal simply reiterates the interpretation found in the IBC commentary for more than a decade that has aptly provided guidance to the fact that landings of stairways need not be rectilinear in shape.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E70-18
CC #
Staff Classication
Mod #
 9177 
Proponent
1011.11
Section
10
Chapter
Pending Review
The primary intent of this new exception is to provide a safe alternative for a limited situation at platform lifts used to access small raised areas.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E71-18
CC #
Staff Classication

Page 70 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9178 
Proponent
1023
Section
10
Chapter
Pending Review
Adds new Section 1023.11 &quot;Tactile floor-level signs&quot;.  Modifies text of Section 1013.4, 1023.9.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E72-18
CC #
Staff Classication
Mod #
 9179 
Proponent
1013.4
Section
10
Chapter
Pending Review
A greatly enlarged area of refuge is essentially a horizontal exit.  Tactile signage should be placed at all such locations where passage through the opening results in a greater level of safety.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E73-18
CC #
Staff Classication
Mod #
 9180 
Proponent
1015.2
Section
10
Chapter
Pending Review
This proposal adds an exception that is commonly recognized in the train stations; the absence of a guard on train station platforms where passenger loading occurs
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E77-18
CC #
Staff Classication

Page 71 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9181 
Proponent
1015.8
Section
10
Chapter
Pending Review
This proposal will change the language on how to measure above the floor for when you need to provide child fall protection.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E80-18
CC #
Staff Classication
Section
1015.7
 9184 
Chapter
Mod #
Modifies the section 304.11 &quot;Guards&quot;.  The guards needs to be extended beyond the ends of the hatch that is parallel to the roof edge in order to eliminate the tripping hazard that is common when using the hatch.
10
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
E86-18
Staff Classication
Overlap
Mod #
 9185 
Proponent
1016.2
Section
10
Chapter
Pending Review
This proposal is clarifying that when access to two or more exits are required, one access can go through elevator lobby.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E85-18
CC #
Staff Classication

Page 72 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9186 
Proponent
1017.3
Section
10
Chapter
Pending Review
The text of this section is too subtle where it is stated that travel distance is measured to “an” exit.  The added language makes clear the intent of the requirement.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E86-18
CC #
Staff Classication
Mod #
 9187 
Proponent
1019.3
Section
10
Chapter
Pending Review
Section 1019.3, The eight items listed are essentially exceptions to the requirement for the stair or ramp to be in an enclosed shaft. Modification to clarify
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E88-18
CC #
Staff Classication
Mod #
 9188 
Proponent
1019.3
Section
10
Chapter
Pending Review
This change would require that the stories be adjacent to each other in order for the stairway to be open.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E89-18
CC #
Staff Classication

Page 73 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9189 
Proponent
1020.4
Section
10
Chapter
Pending Review
Modification of Section 1020.4 &quot;Dead ends&quot;.  , the length of dead end corridors that do not serve patient rooms or patient treatment spaces shall not exceed 30 feet.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E91-18
CC #
Staff Classication
Mod #
 9190 
Proponent
1020.5
Section
10
Chapter
Pending Review
This is a clarification for when the corridor can be used for air movement.  ASHREA 170 was added in IMC which clarifies which rooms are pressurized
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E92-18
CC #
Staff Classication
Mod #
 9191 
Proponent
1023.2
Section
10
Chapter
Pending Review
This change is editorial in nature. We are only trying to make the last sentence consistent with the first sentence. The enclosure is what is required to be fire-resistant rated, not the stairway itself.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E94-18
CC #
Staff Classication

Page 74 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9192 
Proponent
1023.5
Section
10
Chapter
Pending Review
The proposed language to be inserted in Section 1023.5 is needed for interior exit stairways and ramps and is verbatim to that found in Section 713.8 for shaft enclosures.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E98-18
CC #
Staff Classication
Mod #
 9193 
Proponent
1024.6
Section
10
Chapter
Pending Review
Modifies text of Section 1024.6 &quot;Penetrations&quot;, adding text &quot;ventilation or&quot; to item 1.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E101-18
CC #
Staff Classication
Mod #
 9201 
Proponent
1024.8
Section
10
Chapter
Pending Review
The code currently has specific requirements for exterior walls of interior exit stairways and ramps, but has no specific requirements for exit passageways. Proposal to include language this issue.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E102-18
CC #
Staff Classication

Page 75 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9202 
Proponent
1017.3
Section
10
Chapter
Pending Review
This proposal split smoke protected seating and open air seating with the following definitions.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E104-18
CC #
Staff Classication
Mod #
 9203 
Proponent
1029.13.2.1
Section
10
Chapter
Pending Review
Modification of text of Table 1029.13.2.1, This proposal is editorial and only for clarification.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E105-18
CC #
Staff Classication
Mod #
 9204 
Proponent
1029.16
Section
10
Chapter
Pending Review
Modifies text of Section 1029.16 &quot;Handrails&quot;, concerning a social stairway, a new style being used in common areas of schools and multi-assembly buildings.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E106-18
CC #
Staff Classication

Page 76 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9205 
Proponent
1030
Section
10
Chapter
Pending Review
This is one of a series of 11 proposals to coordinate the Emergency Escape and Rescue Openings (EERO) technical criteria in the IBC and IRC
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E107-18
CC #
Staff Classication
Mod #
 9206 
Proponent
1030.3
Section
10
Chapter
Pending Review
Add new section 1030.3 &quot;Emergency escape and rescue doors&quot;. This is one of a series of 11 proposals to coordinate the Emergency Escape and Rescue Openings (EERO) technical criteria in the IBC and IRC.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E110-18
CC #
Staff Classication
Mod #
 9207 
Proponent
1030.4
Section
10
Chapter
Pending Review
This is one of a series of 11 proposals to coordinate the Emergency Escape and Rescue Openings (EERO) technical criteria in the IBC and IRC. Modifies text of Section 1030.4, Adds new section 1030.4.2.1, 1030.4.3.  Modifies text of Section 1030.4.4
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
E111-18
CC #
Staff Classication

Page 77 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9208 
Proponent
1030.4.2.2
Section
10
Chapter
Pending Review
This is one of a series of 11 proposals to coordinate the Emergency Escape and Rescue Openings (EERO) technical criteria in the IBC and IRC. Modifies text of Section 1030.4.2.2.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E112-18
CC #
Staff Classication
Mod #
 9345 
Proponent
1006.2.2.2
Section
10
Chapter
Pending Review
Modifies text of Section 1006.2.2.2 &quot;Refrigeration machinery rooms&quot;, adding requirement for panic hardware.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E15-18 Part I
CC #
Staff Classication
12-Interior Environment
Mod #
 9438 
Proponent
1207.4
Section
12
Chapter
Pending Review
Since there is no code path that calculates an occupant load exceeding two occupants unless the gross square footage of the efficiency dwelling unit exceeds 400 square feet, this language is not needed or enforceable.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G128-18
CC #
Staff Classication

Page 78 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9439 
Proponent
1207.4
Section
12
Chapter
Pending Review
This proposal changes the living room/habitable space requirement of an efficiency dwelling unit to 190 square feet of floor area, so it is aligned and consistent with the requirements of a dwelling unit’s net floor area per IBC Section 1207.3.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G129-18
CC #
Staff Classication
Mod #
 9441 
Proponent
1207.4
Section
12
Chapter
Pending Review
Efficiency dwelling units are regulated in IBC Section 1207.4.  Currently there is no definition of efficiency dwelling unit found in the code which may create inconsistency in the enforcement of these provisions.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G131-18
CC #
Staff Classication
14-Exterior Walls
Mod #
 9290 
Proponent
1402.5
Section
14
Chapter
Pending Review
This exception simplifies other exceptions in the Water-resistive barriers section, while still meeting the stringency and intent of non-combustibility. Section 1402.5
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS105-18
CC #
Staff Classication

Page 79 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9313 
Proponent
1406.8
Section
14
Chapter
Pending Review
Modifies text of Section 1406.8 &quot;Fire-resistance rating&quot;, adds language MCM systems &quot;which are part of an exterior wall envelope&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS137-18
CC #
Staff Classication
Mod #
 9315 
Proponent
1406.10
Section
14
Chapter
Pending Review
Modifies the text of Section 1406.10 &quot;Type I, II, III, and IV construction&quot;.  Deletes Section 1406.11 &quot;Alternate conditions&quot; in entirety.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS139-18
CC #
Staff Classication
Mod #
 9316 
Proponent
1406.10
Section
14
Chapter
Pending Review
The testing for flame spread of the MCM when installed in buildings of Type I, II, III and IV construction needs to be of the MCM itself (i.e. the sandwich panel alone) and not of the system, which includes a series of other components. Deletes 1406.10.3.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
FS141-18
CC #
Staff Classication

Page 80 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9317 
Proponent
1406.11.3
Section
14
Chapter
Pending Review
This code change proposal removes the height exception for sprinklered buildings
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
FS145-18
CC #
Staff Classication
Mod #
 9318 
Proponent
1406.13
Section
14
Chapter
Pending Review
This code change proposal clarifies when foam plastic insulation is permitted.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS146-18
CC #
Staff Classication
Mod #
 9319 
Proponent
1408.10.3
Section
14
Chapter
Pending Review
This code change proposal makes a revision regarding the reference to testing in accordance with UL 1040 and UL 1715
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS147-18
CC #
Staff Classication

Page 81 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9320 
Proponent
1408.11
Section
14
Chapter
Pending Review
This proposal makes one change, consistent with the intent of ensuring that all combustible materials on the exterior walls are tested to NFPA 285 and for consistency with other sections of the code.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS150-18
CC #
Staff Classication
Mod #
 9421 
Proponent
1402.5
Section
14
Chapter
Pending Review
This proposal is clarification of the language in the code because the scope of ASTM E2404 was expanded since the approval of the language in the 2018 code.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS98-18
CC #
Staff Classication
15-Roof Assemblies and Rooftop Structures
Mod #
 9489 
Proponent
1505.9
Section
15
Chapter
Pending Review
Modifies text of Section 1505.9 &quot;Rooftop mounted photovoltaic panel systems&quot;. Adds text &quot;Listed systems shall include roof-mounting hardware&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
S4-18
CC #
Staff Classication

Page 82 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
1510.2.4
 9492 
Chapter
Mod #
Section 1510.2.4 Type of Construction, the addition of  text &quot;Building element&quot;.
15
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
S11-18
Staff Classication
Correlates Directly
16-Structural Design
Mod #
 9498 
Proponent
1705.17
Section
16
Chapter
Pending Review
Fire resistance rated compartmentation is a critical fire protection feature in many buildings with Group R occupancies.  When through penetration firestop systems and fire resistant joint systems are not properly installed, the integrity of the compartmentation is compromised.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
S21-18
CC #
Staff Classication
23-Wood
Mod #
 9607 
Proponent
2303.2
Section
23
Chapter
Pending Review
Modifies text of Section 2303.2 &quot;Fire-retardant-treated wood&quot;. Adding the text &quot;Additionally, the ASTM E84 or UL 723 test shall be continue for an additional 20-minute period&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
S166-19
CC #
Staff Classication

Page 83 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9608 
Proponent
2303.2.3
Section
23
Chapter
Pending Review
Modifies text of 2303.2.3 &quot;Testing&quot; to include &quot;fire retardant treated wood products the front and back&quot;.  Adds new sub section Section 2303.2.3.1 &quot;Fire testing of wood structural panels&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
S167-19
CC #
Staff Classication
Section
2304.10.1
 9611 
Chapter
Mod #
This proposed change provides two options for demonstrating compliance with this requirement for connections in Types IV-A, IV-B and IV-C construction: a testing option and a calculation option.
23
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
S170-19
Staff Classication
Correlates Directly
26-Plastic
Mod #
 9324 
Proponent
2603.1.1
Section
26
Chapter
Pending Review
The purpose of this proposal is to introduce a performance standard for spray-applied foam plastic insulation.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS155-18
CC #
Staff Classication

Page 84 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9325 
Proponent
2606.7.4
Section
26
Chapter
Pending Review
This proposal is intended to provide the option of using a science based method for approving a drop-out light diffusing ceiling system listed and labeled for use beneath sprinkler systems.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS158-18
CC #
Staff Classication
Mod #
 9326 
Proponent
2607.3
Section
26
Chapter
Pending Review
This proposal eliminates the permission for light transmitting wall panels to be installed in unlimited heights when the building is protected by sprinklers.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FS159-18
CC #
Staff Classication
27-Electrical
Mod #
 9806 
Proponent
907.5.2.2.5
Section
27
Chapter
Pending Review
This code change is to provide clarification that the standby power for the EVACs system is to be designed to comply with NFPA 72.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F149-18
CC #
Staff Classication

Page 85 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9821 
Proponent
2702.1.1
Section
27
Chapter
Pending Review
This proposal is intended to provide a third option for protecting fuel lines supplying a generator set inside a high-rise building.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F196-18
CC #
Staff Classication
30-Elevators and Conveying Systems
Mod #
 9446 
Proponent
3007.1
Section
30
Chapter
Pending Review
Proposal to align 3007.1 with Section 403.6.1 which addresses occupied floors.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G142-18
CC #
Staff Classication
31-Special Construction
Section
3102.3
 9449 
Chapter
Mod #
Adding an HT category, that was created to differentiate the three (3) new categories of “mass timber”, where HT represents the long established heavy timber category that has been in the ICC family of codes.
31
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G146-18
Staff Classication
Correlates Directly

Page 86 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9450 
Proponent
3103.1
Section
31
Chapter
Pending Review
Adds new definition &quot;Special Events Structure&quot;, changes references to &quot;tents&quot; to &quot;Special Events Structure&quot; in Section 3103.1.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G147-18
CC #
Staff Classication
Mod #
 9454 
Proponent
3114
Section
31
Chapter
Pending Review
This code change purpose is to introduce intermodal shipping containers into the International Building Code based on requests by code officials in the U.S.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G151-18
CC #
Staff Classication
33-Safeguards During Construction
Mod #
 9824 
Proponent
3313.1
Section
33
Chapter
Pending Review
This proposal attempts to provide requirements for providing minimum water supply for fire flow and for standpipe supply during construction.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F268-18
CC #
Staff Classication

Page 87 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9826 
Proponent
3313.1
Section
33
Chapter
Pending Review
This proposal attempts to provide requirements for providing minimum water supply for fire flow and for standpipe supply during construction.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F275-18
CC #
Staff Classication
35-Referenced Standards
Section
101
 9124 
Chapter
Mod #
Updates Referenced standards
35
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
ADM47-16
Staff Classication
Correlates Directly
2704-Fire Districts
Section
102.2.5
 9455 
Chapter
Mod #
The HT category was created to differentiate the three (3) new categories of “mass timber”, where HT represents the long established heavy timber category that has been in the ICC family of codes.
2704
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G152-18
Staff Classication
Correlates Directly
2708-Signs

Page 88 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9166 
Proponent
106.1.1
Section
2708
Chapter
Pending Review
Simply an editorial change
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CCC-IBC3-19
CC #
Staff Classication
SubCode:
Existing Building
Ü
3-Provisions for All Compliance Methods
Mod #
 8527 
Proponent
301.1.1
Section
3
Chapter
Pending Review
Adds reference to ICC 300.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB10-19
CC #
Staff Classication
Mod #
 9194 
Proponent
307.1
Section
3
Chapter
Pending Review
Revises the section to avoid confusion
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
CCC EB1-20
CC #
Staff Classication

Page 89 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
306
 9213 
Chapter
Mod #
Regarding the requirement for Smoke and Carbon Monoxide Alarms in Group I-1, I-2, I-4, and R occupancies. Smoke alarms and carbon monoxide alarms are required for all the different options in the IEBC.  Therefore, this proposal places the requirement in Ch 3.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
EB40-19
Staff Classication
Overlap
4-Repairs
Mod #
 9759 
Proponent
406.1.4
Section
4
Chapter
Pending Review
The purpose of this proposal is to coordinate the terminology for healthcare in the IBC and IFC with the IEBC
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
EB47-19
CC #
Staff Classication
5-Prescriptive Compliance Method
Mod #
 9689 
Proponent
503.17
Section
5
Chapter
Pending Review
The addition of Sections 503.7 and 905.4 would allow for a person who could not use the stairways for evacuation to at least have a way to contact emergency responders.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB94-19
CC #
Staff Classication

Page 90 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9760 
Proponent
501.3
Section
5
Chapter
Pending Review
This change will align the electrical and medical gas systems installation requirements for Outpatient Clinics, Group B Ambulatory Care and Group I-2 facilities. Adds new Sections 501.3, 706.1, 807.3, 809.2. &quot;Healthcare facilities&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB49-19
CC #
Staff Classication
7-Alterations - Level 1
Mod #
 9675 
Proponent
702.4
Section
7
Chapter
Pending Review
Proposal so that the window fall prevention requirements apply in both applications which is consistent with how the code treats these replacements for energy efficiency.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB73-19
CC #
Staff Classication
8-Alterations - Level 2
Mod #
 9195 
Proponent
803.2.2
Section
8
Chapter
Pending Review
Renumbers the section for clarity
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
CCC EB2-20
CC #
Staff Classication

Page 91 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9678 
Proponent
802.4
Section
8
Chapter
Pending Review
It is important to clarify that, if fire retardant coatings are to be used to achieve improved fire performance, they must have been tested on the actual product (substrate) to which they will be applied.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB78-19
CC #
Staff Classication
Mod #
 9679 
Proponent
802.4
Section
8
Chapter
Pending Review
The exception for 802.4 is not really a proper exception: the interior finish still must meet the IBC requirements, but that can be achieved by using a fire-retardant coating.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB79-19
CC #
Staff Classication
Mod #
 9680 
Proponent
803.2.2
Section
8
Chapter
Pending Review
This change provides a method for determining where sprinklers are required for group I-2 facilities undergoing at least a level 2 alteration.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB81-19
CC #
Staff Classication

Page 92 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9681 
Proponent
803.2.4
Section
8
Chapter
Pending Review
This proposal backfills Section 803.2.4 to Chapter 8 to fill the void that was unintentially created in the 2018 cycle (Proposal EB61). Without this change, other areas that require fire protection in the IBC will be missed in Level 2 Alterations.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB83-19
CC #
Staff Classication
Mod #
 9682 
Proponent
803.4.1.2
Section
8
Chapter
Pending Review
This is coordination with the requirements in the International Fire Code for existing buildings. The term &#39;residential care/assisted living&quot; is no longer used in the code.  Leaving it in this section is confusing.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB86-19
CC #
Staff Classication
Mod #
 9684 
Proponent
805.4.1.2
Section
8
Chapter
Pending Review
It is important to define the limit of a suite requiring two exits beyond the sleeping rooms, because hospitals also utilize suites that do not sleep patients, but are used for treatment
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB88-19
CC #
Staff Classication

Page 93 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9685 
Proponent
805.4.4
Section
8
Chapter
Pending Review
Fire exit hardware should be included as an approved option in these requirements for those installations where the hardware is used on a fire door
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB89-19
CC #
Staff Classication
Mod #
 9686 
Proponent
805.5.3
Section
8
Chapter
Pending Review
Section 805.5.3 &quot;Other corridor openings&quot;. As currently written, the provision states that any other corridor opening shall be sealed.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB90-19
CC #
Staff Classication
Mod #
 9687 
Proponent
805.6
Section
8
Chapter
Pending Review
For I-2 occupancies, a 30 foot corridor is required by the federal standard.  If the subject corridor is within the work area of Level 2 construction, it is appropriate for work to be done to modify it to conform with that standard
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB91-19
CC #
Staff Classication

Page 94 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9791 
Proponent
903.4
Section
8
Chapter
Pending Review
This change correlates the underground gate valves of fire protection systems in the IBC, IFC, and IEBC.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F123-18
CC #
Staff Classication
10-Change of Occupancy
Mod #
 9196 
Proponent
1002.1
Section
10
Chapter
Pending Review
Revises and renumbers the sections for clarity
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CCC EB4-20
CC #
Staff Classication
Mod #
 9690 
Proponent
1002.1
Section
10
Chapter
Pending Review
Modifies the text of Section 1002.1 &quot;Compliance with the building code&quot;.  Modifies the text of Section 1002.2 &quot;Underground buildings&quot;, renamed to &quot;Incidental uses&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB96-19
CC #
Staff Classication

Page 95 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9691 
Proponent
1002.1
Section
10
Chapter
Pending Review
The most obvious effect of this proposal is to move the discussion regarding Group I-2 occupancies to its own section.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB97-19
CC #
Staff Classication
Mod #
 9692 
Proponent
1002.2
Section
10
Chapter
Pending Review
Adds new Section 1002.2 &quot;Storage&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB98-19
CC #
Staff Classication
Mod #
 9695 
Proponent
1011.4.1
Section
10
Chapter
Pending Review
The intent of this proposal is to allow for some existing or replacement windows to be used for emergency escape and rescue openings (EEROs) while still maintaining the level of safety for occupants and emergency responders.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB101-19 Part I
CC #
Staff Classication

Page 96 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9697 
Proponent
1011.1
Section
10
Chapter
Pending Review
The current language could be read to require the entire fire area or building to be sprinklered, even where only a single tenant is undergoing a change of occupancy. Proposal to address.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB102-19
CC #
Staff Classication
11-Additions
Mod #
 9698 
Proponent
1104.1
Section
11
Chapter
Pending Review
The reference to the IRC for requirements in the existing building, where there is no work (addition) occurring is incorrect and not applicable as there are no IRC requirements for an area that is not undergoing repair, alteration or addition.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
EB106-19
CC #
Staff Classication
Mod #
 9700 
Proponent
1106.1.1
Section
11
Chapter
Pending Review
Adds Section 1106.1.3 &quot;Occupancy classification&quot;.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
EB107-19
CC #
Staff Classication

Page 97 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9701 
Proponent
1106
Section
11
Chapter
Pending Review
Modifies text of 1106.1.1. &quot;Required occupant capacity&quot;, removes item 2 &quot;2.	The occupant load of any indoor assembly space that is associated with the Group E occupancy&quot;.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
EB108-19
CC #
Staff Classication
Mod #
 9702 
Proponent
1106.1.2
Section
11
Chapter
Pending Review
Deletes Section 1106.1.2 &quot;Location&quot;. While 1,000 feet maximum travel may be appropriate for new schools, this can be an undue hardship for existing buildings.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
EB109-19
CC #
Staff Classication
14-Performance Compliance Methods
Mod #
 9683 
Proponent
805.3.1.1
Section
14
Chapter
Pending Review
An &quot;unsprinklered&quot; building is not defined. Changes swap the term &quot;sprinklers&quot; with the defined terms of &quot;approved&quot; and &quot;automatic sprinkler system&quot; to correlate to the other ICC codes.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB87-19
CC #
Staff Classication

Page 98 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9707 
Proponent
1301.2
Section
14
Chapter
Pending Review
This proposal simply clarifies the proper use of this method for Group U buildings.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB114-19
CC #
Staff Classication
Mod #
 9708 
Proponent
1301.1
Section
14
Chapter
Pending Review
Section 1301.1 &quot;Scope&quot;. This compliance method should not require compliance with both the prescriptive and work area methods.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB115-19
CC #
Staff Classication
Mod #
 9711 
Proponent
1301.2.2
Section
14
Chapter
Pending Review
Adds text to Section 1301.2.2. &quot;Partial change in occupancy&quot;, adds text &quot;Only the portion separated shall be required to be evaluated for compliance.&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB117-19
CC #
Staff Classication

Page 99 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9712 
Proponent
1301.6.2
Section
14
Chapter
Pending Review
This section as written is confusing and does not differentiate well between single occupancy buildings and multiple occupancy buildings.  This proposal creates two equations to address this.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB119-19
CC #
Staff Classication
Mod #
 9713 
Proponent
1301.6.3
Section
14
Chapter
Pending Review
Section 1301.6. This proposal makes two revisions, 1. 	Moves the criteria out of the table header 2. 	Corrects the gap in compartment sizes.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB120-19
CC #
Staff Classication
Mod #
 9714 
Proponent
1301.6.3
Section
14
Chapter
Pending Review
I-2 occupancy should be included on this table to remain consistent with the rest of the Performance Compliance Methods sections
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB122-19
CC #
Staff Classication

Page 100 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9715 
Proponent
1301.6.4
Section
14
Chapter
Pending Review
Adds text to Section 1301.6.4. The current code text gives no direction on what the appropriate scoring category is for non-residential, single tenant buildings.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB124-19
CC #
Staff Classication
Mod #
 9716 
Proponent
1301.6.5.1
Section
14
Chapter
Pending Review
As written, the current code text makes no sense, and nowhere in Section 1020 IBC does it say where corridors are permitted. Further, the current text does not say what to do when a corridor does not hav. to have a rating,
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB125-19
CC #
Staff Classication
Mod #
 9720 
Proponent
1301.9.1
Section
14
Chapter
Pending Review
This added text is make it clear that while the portions altered or changed can have multiple separated occupancies, this does not have any bearing for the separated areas outside the work areas being addressed by the performance method.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB130-19
CC #
Staff Classication

Page 101 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9721 
Proponent
1301.6.20
Section
14
Chapter
Pending Review
Table 1301.6.20 &quot;Smoke Compartment Values&quot;. I-2 occupancies that fall under category ‘b’ should not create an automatic fail (NP), but rather should be assigned a certain negative value
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB131-19
CC #
Staff Classication
Mod #
 9722 
Proponent
1301.6.21.1
Section
14
Chapter
Pending Review
The point values for categories ‘a’ and ‘c’ in these three tables were incorrectly arranged during the original code change process and are not providing the higher score for what is the better situation and should be reversed in each of the three tables.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB132-19
CC #
Staff Classication
15-Construction Safeguards
Mod #
 9827 
Proponent
1509.1
Section
15
Chapter
Pending Review
This proposal attempts to provide requirements for providing minimum water supply for fire flow and for standpipe supply during construction.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F275-18
CC #
Staff Classication
SubCode:
Fuel Gas
Ü
3-General Regulations

Page 102 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9790 
Proponent
303.3.1
Section
3
Chapter
Pending Review
This change adds a requirement for quick response sprinkler heads within the smoke compartment where gas fireplace appliances and decorative gas appliances are installed in all Group I-2 facilities (K524).
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F122-18 Part II
CC #
Staff Classication
SubCode:
Residential
Ü
2-Definitions
Mod #
 8466 
Proponent
202
Section
2
Chapter
Pending Review
This is a series of proposal to coordinate the requirements for emergency escape and rescue openings in the IBC and IRC.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB8-19 Part I
CC #
Staff Classication
Mod #
 8468 
Proponent
202
Section
2
Chapter
Pending Review
This is a series of proposal to coordinate the requirements for emergency escape and rescue openings in the IBC and IRC.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB8-19 Part II
CC #
Staff Classication

Page 103 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 8469 
Proponent
202
Section
2
Chapter
Pending Review
The sub definitions of &quot;other means during manufacture&quot; and &quot;pressure process&quot; are being slightly revised for two reasons: to clarify that impregnation with a fire retardant formulation is the essential issue and to make them parallel to each other.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB9-19
CC #
Staff Classication
Mod #
 8470 
Proponent
202
Section
2
Chapter
Pending Review
The rationale for the code change stems from the inconsistent interpretation of the word “sill” in the industry, and also to give a clearer more uniform benchmark for where the height requirements in Sections R310 and R312 are measured to
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB13-19
CC #
Staff Classication
Mod #
 8474 
Proponent
202
Section
2
Chapter
Pending Review
This is one of a series of proposal to coordinate the requirements for emergency escape and rescue openings in the IBC and IRC.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB14-19
CC #
Staff Classication

Page 104 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 8482 
Proponent
202
Section
2
Chapter
Pending Review
. A lot or parcel must be measured, have fixed boundaries, and be tied to the title of the property.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB17-19
CC #
Staff Classication
Section
202
 8483 
Chapter
Mod #
The current definition is incorrect in two ways
2
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB19-19
Staff Classication
Correlates Directly
Section
202
 8720 
Chapter
Mod #
This proposal is strictly editorial and only changes the term “stationary storage battery systems” to “energy storage systems”.
2
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB158-19
Staff Classication
Correlates Directly
3-Building Planning

Page 105 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 8556 
Proponent
301
Section
3
Chapter
Pending Review
The purpose of this code change is to finally address a long-standing conflict and point of confusion in the IRC story height provisions and restore the original intent of the IRC.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
RB43-19
CC #
Staff Classication
Section
302
 8585 
Chapter
Mod #
Typical wood studs have a char rate of approximately 1.5&quot; per hour, so this provides the required fire-resistance rating of the common wall.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB56-19
Staff Classication
Overlap
Section
302
 8586 
Chapter
Mod #
The IBC now allows townhouses to be built without structural independence provided that height and area limits for the overall townhouse building are not exceeded.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB60-19
Staff Classication
Overlap

Page 106 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
302
 8587 
Chapter
Mod #
The current exception will never be used because the cost of installing a full NFPA 13 system (typically associated with commercial structures) in a duplex will far outweigh savings associated with reducing the separation wall rating from one-hour to 30 minutes.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB64-19
Staff Classication
Overlap
Section
302
 8591 
Chapter
Mod #
The intent of this proposal is to clarify the separation between the dwelling units in a two-family dwelling. A proposal (RB52-16) was submitted last cycle that required two 1-hour walls between the units if a lot line existed and a single wall if a lot line was not present.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB66-19
Staff Classication
Overlap
Section
302
 8593 
Chapter
Mod #
The allowance for sprinkler piping to penetrate townhouse separation walls will reduce the infrastructure required to install a fire sprinkler system in some cases by allowing a shared feed for multiple units.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB67-19
Staff Classication
Correlates Directly
Section
302
 8595 
Chapter
Mod #
The language of this proposal would prevent the installation of a push/pull knob without latching.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB69-19
Staff Classication
Overlap

Page 107 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 8598 
Proponent
302
Section
3
Chapter
Pending Review
It is important to clarify that foam plastics shall not be used as interior finish materials unless they meet the requirements of section R316.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB70-19
CC #
Staff Classication
Mod #
 8601 
Proponent
302
Section
3
Chapter
Pending Review
This proposal brings in a key fire safety requirement from the IBC and the IFC.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB71-19
CC #
Staff Classication
Mod #
 8603 
Proponent
305
Section
3
Chapter
Pending Review
we should allow 78 inches (1981 mm) for any transitional opening between rooms. By defining this, we can minimize the confusion of what is allowable height on a beam on any floor other than basements.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB80-19
CC #
Staff Classication

Page 108 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 8604 
Proponent
308
Section
3
Chapter
Pending Review
This code change proposal provides clarification on where safety glazing is required when adjacent to wet surfaces.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB82-19
CC #
Staff Classication
Mod #
 8606 
Proponent
308
Section
3
Chapter
Pending Review
The current language that states when screens are required below unit skylights glazing has frequently been difficult to interpret by jurisdictions, causing consumers and others concern when they are incorrectly told they need to install a glass retention screen below conforming laminated glass.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB83-19
CC #
Staff Classication
Mod #
 8608 
Proponent
308
Section
3
Chapter
Pending Review
The current requirement for yards and courts to “open directly into a public way” or “opens to a public way” does not specify a minimum width.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
RB86-19
CC #
Staff Classication

Page 109 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
310
 8610 
Chapter
Mod #
The purpose of this code change is to allow an EERO to discharge into a fenced yard that does not directly open onto a public way if a minimum 36” wide path can be provided from the fenced yard to the public way.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB87-19
Staff Classication
Overlap
Section
310
 8617 
Chapter
Mod #
Unlike the dimensions for clear area, sill height, and minimum openings, a height has never been determined for the location of window contols for emergency and escape openings.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB90-19
Staff Classication
Overlap
Section
310
 8618 
Chapter
Mod #
This revision makes the operational and opening control devices provisions in the IRC consistent with the same provisions in the IBC.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB91-19
Staff Classication
Overlap
Section
310
 8619 
Chapter
Mod #
This proposal removes the term “special knowledge” to be consistent with the same operational constraint provision in the IBC.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB92-19
Staff Classication
Overlap

Page 110 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
310
 8621 
Chapter
Mod #
The term &quot;special knowledge&quot; was removed from IBC because the phrase “special knowledge’ is too open for interpretations.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB93-19
Staff Classication
Overlap
Section
310
 8623 
Chapter
Mod #
The intent of this proposal is to clarify minimum size, dimensions and height for emergency escape and rescue openings.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB94-19
Staff Classication
Correlates Directly
Section
310
 8624 
Chapter
Mod #
As with decks and porches, the potential also exists for cantilevers to be located directly over EERO’s.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB98-19
Staff Classication
Overlap

Page 111 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 8626 
Proponent
310
Section
3
Chapter
Pending Review
The intent of this proposal to clarify and coordinate the requirements for area wells at emergency escape and rescue openings (EERO) that are below grade (current R310.2.3 and R310.3.2).
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
RB100-19
CC #
Staff Classication
Mod #
 8628 
Proponent
310
Section
3
Chapter
Pending Review
The overall plan is to have area wells address in a comprehensive manner.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB101-19
CC #
Staff Classication
Section
311
 8631 
Chapter
Mod #
This proposal takes the scoping language out of the IRC de?nition so that the de?nition now matches the IBC de?nition and has added the scoping into the stairway and ramp sections so that the intent of the de?nition is actually realized in code language.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB107-19
Staff Classication
Correlates Directly

Page 112 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
311
 8648 
Chapter
Mod #
The notation in the code change uses feet and inches to describe the vertical rise of a flight of stairs rather than just inches. This change aligns the format of this section of code with other portions of the code (see section 305 requirements) and is easier for readers to apply.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB110-19
Staff Classication
Correlates Directly
Section
311
 8649 
Chapter
Mod #
It is necessary to insert the word height in the second sentence to more clearly state what is being measured. In most cases the riser or more accurately the face of the riser terminates under the tread above and is not the subject of the measurement described.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB111-19
Staff Classication
Correlates Directly
Section
311
 8651 
Chapter
Mod #
Landings have been required in more places since the 2009 IRC defined a single riser as a “stair.” This causes difficulties where the MAXIMUM landing slope requirements of R311.7.7 conflict with the MINIMUM drainage slope requirements in the exception of R401.3 (reprinted below).
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB113-19
Staff Classication
Correlates Directly
Section
311
 8652 
Chapter
Mod #
The term safety terminal is for commercial handrails that need to comply with the projecting elements requirements for the means of egress and accessibility.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB115-19
Staff Classication
Overlap

Page 113 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
311
 8653 
Chapter
Mod #
The first sentence of the IRC, section R312.1.1, is revised by deleting the phrase “walking surfaces, including” and replacing it with the word “floors.”
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB118-19
Staff Classication
Overlap
Mod #
 8654 
Proponent
311
Section
3
Chapter
Pending Review
This proposal is to change the language on how to measure when you need to protect for child fall protection.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB121-19
CC #
Staff Classication
Mod #
 8655 
Proponent
312
Section
3
Chapter
Pending Review
This proposal is submitted by the ICC Building Code Action Committee (BCAC). BCAC was established by the ICC Board of Directors in July 2011 to pursue opportunities to improve and enhance assigned International Codes or portions thereof.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB123-19
CC #
Staff Classication

Page 114 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
314
 8659 
Chapter
Mod #
The proposed added language existing on one of the legacy codes and did not make it into the IRC or the IBC.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB127-19
Staff Classication
Correlates Directly
Mod #
 8661 
Proponent
314
Section
3
Chapter
Pending Review
This proposal recognizes that smoke alarms listed to the new edition of UL 217 (with an effective date of May 29, 2020) are required to pass tests designed to reduce nuisance alarms caused by residential cooking.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB129-19
CC #
Staff Classication
Section
315
 8662 
Chapter
Mod #
Mechanical systems, including forced air units, dryers, water heaters, stoves, etc., are often fuel burning and therefore subject to leakage, should not be exempt from the requirement for carbon monoxide alarms.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB130-19
Staff Classication
Overlap

Page 115 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 8687 
Proponent
316
Section
3
Chapter
Pending Review
Proposed Section R316.3.2 is currently written as an exception. This exception allows foam plastic insulation intended to be installed in thickness greater than 4” to be tested in the Steiner Tunnel (ASTM E84) at a 4” thickness.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB132-19
CC #
Staff Classication
Section
316
 8689 
Chapter
Mod #
Multiple successful NFPA 286 tests with a variety of spray foam plastic insulations with a 25 or less Flame Spread and thicknesses far exceeding 4 inches have demonstrated that any thickness will pass when covered with a prescriptive thermal barrier.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB133-19
Staff Classication
Correlates Directly
Mod #
 8691 
Proponent
316
Section
3
Chapter
Pending Review
The current code contains an error by specifying a maximum thickness for wood structural panel used to cover foam plastic insulation in floor systems. The code should establish a minimum thickness for protection.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB135-19
CC #
Staff Classication

Page 116 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
317
 8693 
Chapter
Mod #
The proposed change does several things:
First, the existing section R317.1.3 (Geographical areas) seems to require wood members exposed to the weather to be treated or naturally durable only if a need is demonstrated.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB136-19
Staff Classication
Correlates Directly
Section
317
 8695 
Chapter
Mod #
Current Section R317.1.4 on wood column protection is unnecessarily confusing and contains errors in syntax, making it difficult to apply.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB137-19
Staff Classication
Correlates Directly
Mod #
 8708 
Proponent
324
Section
3
Chapter
Pending Review
Section R905.17 was added to the IRC in the last code cycle for BIPV roof panels, but a specific pointer to that section was not included in Section R324.  This proposal provides that pointer and this is similar to what is being done for photovoltaic shingles in Section 324.5.1.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB149-19
CC #
Staff Classication

Page 117 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 8710 
Proponent
324
Section
3
Chapter
Pending Review
This proposal is intended to provide recognition of those safety levels by adding exceptions to the access and pathways portion of the IFC PV requirements.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB151-19
CC #
Staff Classication
Section
325
 8711 
Chapter
Mod #
The current allowance for a “habitable attic” in the IRC creates an inconsistency within the I-Codes.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB152-19
Staff Classication
Overlap
Section
327
 8718 
Chapter
Mod #
The code change replaces the term Stationary Battery Storage System with Energy Storage Systems (ESS) throughout the document and the adds Section R327.6 for commissioning requirements as part of the installation of ESS.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB153-19
Staff Classication
Correlates Directly

Page 118 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
328
 8722 
Chapter
Mod #
Stationary generators are becoming a more common standby source of electrical power for one and two family dwellings.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB159-19
Staff Classication
Correlates Directly
Section
202
 8723 
Chapter
Mod #
This proposal is intended to delete the existing limited language at M1903 and to provide needed guidance in this code for the installation of fuel cells that to correlate the updated language on ESS in the IRC with the IFC.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB160-19
Staff Classication
Correlates Directly
Section
328
 8724 
Chapter
Mod #
This proposed code change is editorial in nature and cross reference the IEBC in similar fashion to the way the IEBC provides the IRC as an option for compliance in the exception to Section 101.2.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB163-19
Staff Classication
Correlates Directly
Section
310.6
 9668 
Chapter
Mod #
The intent of this proposal is coordination with the requirements in existing buildings for replacement windows, and bars and grills over area wells.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
EB63-19 Part II
Staff Classication
Correlates Directly

Page 119 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
310
 9696 
Chapter
Mod #
The intent of this proposal is to allow for some existing or replacement windows to be used for emergency escape and rescue openings (EEROs) while still maintaining the level of safety for occupants and emergency responders.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
EB101-19 Part II
Staff Classication
Correlates Directly
Section
202
 9761 
Chapter
Mod #
This code change purpose is to introduce intermodal shipping containers into the International Residential Code based on requests by code officials in the U.S. Prior to this proposal.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB30-19
Staff Classication
Correlates Directly
Section
302.2
 9764 
Chapter
Mod #
Sections 302.2.3 through 302.2.5 also apply to townhouse wall construction.  It is appropriate for these sections to be referenced by the introductory section on townhouses, which is focused on townhouse walls.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB57-19
Staff Classication
Overlap

Page 120 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Mod #
 9765 
Proponent
312.1.4
Section
3
Chapter
Pending Review
Code change to include direction for constructing exterior guards on decks where the code is currently silent.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB185-19
CC #
Staff Classication
Section
313
 9773 
Chapter
Mod #
Across the I codes there are varying ways to describe an automatic sprinkler system. This proposal correlates several of the I codes to use the defined term of automatic sprinkler system.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
F14-18 Part II
Staff Classication
Overlap
8-Roof-Ceiling Construction
Mod #
 8893 
Proponent
R802.1.5
Section
8
Chapter
Pending Review
This proposal addresses the incorrect double requirement for testing to both flame front progress and no significant progressive combustion in the extended ASTM E84 test.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB255-19
CC #
Staff Classication

Page 121 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 367
Section
802
 8895 
Chapter
Mod #
This proposal thus eliminates the requirement to test a particular type of fire retardant treated wood on &quot;all sides&quot;
8
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB258-19
Staff Classication
Correlates Directly
3310-Existing Buildings and Structures
Mod #
 8953 
Proponent
102
Section
3310
Chapter
Pending Review
The intent of this proposal is to ensure window fall prevention requirements are met as intended by the code.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB290-19
CC #
Staff Classication
3317-
Mod #
 8956 
Proponent
104
Section
3317
Chapter
Pending Review
The proposed changes clarify dimensional requirements and language.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RB293-19
CC #
Staff Classication
Search Criteria

Page 122 of 122
8/4/2021
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  367
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived: