Page 1 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Pending Review
TAC Recommendation
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
SubCode:
Ü
SubCode:
Building
1‑Scope and Administration
Seijas Vince
Comment
Summary
Proponent
105.14
The following code modification is presented to provide clarification regarding jurisdiction over the enforcement of the flood provisions of the Florida Building Code and a community’s Floodplain management ordinance.
Mod #
 9986
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

X

Motion:   (Related to 9987 and 10348)    Whitehead to Deny – 2nd Flowers

Vote: 8 Yes – 0 No
Seijas Vince
Comment
Summary
Proponent
107.6
The following code modification is presented to provide clarification regarding jurisdiction over the enforcement of the flood provisions of the Florida Building Code and a community’s Floodplain management ordinance.
Mod #
 9987
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

X

Motion: (related to 9986 and 10348)  Whitehead to Deny – 2nd Flowers

Vote: 8 Yes – 0 No
Conn Cole FDEM SFMO
Comment
Summary
Proponent
110.3
Clarify the requirement to submit documentation of the elevation to which nonresidential buildings in flood hazard areas may be dry floodproofed.
Mod #
 10265
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

X

Motion: Waltz to Approve As Submitted 2nd Cole

Vote: 8 Yes – 0 No

Conn Cole FDEM SFMO
Comment
Summary
Proponent
107.6
Clarify that local building officials must review for compliance with flood when affidavits are provided by private providers in accordance with sec. 553.791, FS, to satisfy FEMA expectation.
Mod #
 10348
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

X

Motion: Waltz to Deny 2nd Whitehead

Vote: 8 Yes – 0 No

Page 2 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

469
Clarifies the application code references for surgery suites.
TAC Action
 9928
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Aarons to Approve as Submitted  2nd Waltz

Vote: 8 yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Updates a code reference.
TAC Action
 10102
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

X
Motion: WITHDRAWN by Proponent

Vote: 

Mod #
Proponent
Doug Bell
Section
Chapter
Summary
Comment
XX
AS
AS/IC

458.3.1
To allow virtual inspections within DBPR's manufactured buildings program.
TAC Action
 10177
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Flowers to Approve as Submitted  2nd Waltz

Vote: 8 yes – 0 No

Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment
X
AS
AS/IC

453
This modification will clarify the exterior envelope requirements.
TAC Action
 10197
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Waltz Approve as Submitted  2nd Phillips

Vote: 8 Yes – 0 No

Page 3 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment
X
AS
AS/IC

468
This modification adds an alternative to the hose bibb requirement.
TAC Action
 10207
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Waltz Approve as Submitted 2nd Flowers

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Revises requirements for Class 1 mobile/transportable medical units.
TAC Action
 10329
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

X
Motion: WITHDRAWN by Proponent 

Vote: 

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Provides alternative method for hand washing for a Class 1 mobile/transportable unit.
TAC Action
 10330
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

X
Motion: WITHDRAWN by Proponent 

Vote: 

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
XX
AS
AS/IC

449
Clarifies where sliding doors may be used in a hospital.
TAC Action
 10332
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Waltz Approve as Submitted  2nd Whitehead

Vote: 8 yes – 0 No

Page 4 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Clarifies where the private operating mode is required in hospitals.
TAC Action
 10333
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Waltz Approve As Submitted   2nd Whitehead

Vote: 8 yes – 0 No

James Gregory
Comment
Summary
Proponent
449
Clarifies the intent and application of the disaster preparedness construction standards for hospitals.
Mod #
 10335
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X
Motion:  Waltz  Approve as Amended with Alternate A1  2nd Whitehead

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Deletes unnecessary and misunderstood requirement.
TAC Action
 10336
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

X
Motion: WITHDRAWN by proponent

Vote: 

James Gregory
Comment
Summary
Proponent
449
Revises the hurricane surge requirements for the location of a new hospital.
Mod #
 10338
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion:   Waltz to Deny  2nd Cole

Vote: 8 Yes – 0 No

Page 5 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Greg Johnson
Comment
Summary
Proponent
453.8.3.3
Type IV heavy timber, which is not permitted concealed spaces, is differentiated from Type IV‑A, Type IV‑B, and Type IV‑C which are permitted concealed (but protected) spaces.
Mod #
 10339
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion:  Whitehead  to Deny  2nd Flowers

Vote: 8 Yes – 0 No

Greg Johnson
Comment
Summary
Proponent
453.8.3.4
Fully sprinklered educational facility buildings are permitted to be of Type V‑A construction
Mod #
 10340
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Whitehead to Deny  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Revises language for clarification on consistency.
TAC Action
 10342
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion:  Flowers to Approve as Submitted  2nd Waltz

Vote:  8 Yes – 0 No
Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Corrects chapter reference.
TAC Action
 10343
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion:  Flowers to Approve as Submitted  2nd Waltz	

Vote: 8 yes – 0 No

Page 6 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Clarifies how to separate resident sleeping areas.
TAC Action
 10344
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Flowers to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Revises section to coordinate with the FGI interim amendment.
TAC Action
 10345
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Flowers to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Deletes unnecessary and redundant language.
TAC Action
 10346
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Waltz to Approve as Submitted  2nd Whitehead

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Revises the use of sliding doors in a nursing home.
TAC Action
 10347
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion:  Waltz to Approve as Submitted  2nd Whithead

Vote: 8 Yes – 0 No

Page 7 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Modifies how other references are applied to nurse call requirements.
TAC Action
 10354
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Flowers to Approve as Submitted  2nd Waltz	

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Revises the emergency call system requirements.
TAC Action
 10355
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Lucas to Approve as Submitted   2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Corrects the word hospital to nursing home.
TAC Action
 10356
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Ables to Approve as Submitted  2nd Cole

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Revised to accurately designate the areas for testing of grounding systems.
TAC Action
 10359
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Flowers to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Page 8 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Corrects the reference to RP‑28 lighting for Older Adults.
TAC Action
 10360
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Flowers Motion to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Points to the correct section in the code for the installation of CO detectors.
TAC Action
 10361
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Waltz to Approve as Submitted  2nd Whitehead

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Revises the surge zone criteria for nursing homes.
TAC Action
 10362
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: relates to 10498     Flowers to Deny  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

451
Revises the size requirements for operating rooms in an ASC.
TAC Action
 10365
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Lucas to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Page 9 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

451
Revises the use of audible alarms in the OR.
TAC Action
 10366
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Lucas to Approve as Submitted  2nd  Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

X
451
Revises the PACU requirements in outpatient surgical centers.
TAC Action
 10367
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Waltz to Approve as Amended  2nd Cole
		staff to correct ‘pos’ to ‘post’ -- 

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

451
Revises the use of sliding pocket doors and an ASC.
TAC Action
 10368
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Waltz to Approve as Submitted  2nd Flowers

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

451
Adds section as an alternative method of compliance
TAC Action
 10369
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Phillips to Deny dies for lack of 2nd /  Motion to Approve as Submitted  dies for lack of 2nd / Phillips to Deny 2nd  Whitehead

Vote: 7 Yes – 1 No

Page 10 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

451
Revises the requirement for a piped gas system
TAC Action
 10395
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Phillips to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

James Gregory
Comment
Summary
Proponent
451
Creates a new section for WAGD networks.
Mod #
 10396
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X
Motion: Phillips to Approve as Amended with Alt 1  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

469
Revises the sizes and design of operating rooms.
TAC Action
 10411
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Aarons to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

464
Revises the section on generator uses and connections in new ALFs.
TAC Action
 10413
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Whitehead to Approve as Submitted  2nd Cole

Vote: 8 Yes – 0 No

Page 11 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Greg Johnson
Comment
Summary
Proponent
453.8.3.2
Changes the trigger for Type I construction to 5 stories rather than 3.
Mod #
 10418
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Whitehead to Deny  2nd Waltz

Vote: 8 Yes – 0 No

Greg Johnson
Comment
Summary
Proponent
453.8.3.1
This adds Type III‑A to permitted construction types for educational facilities. See uploaded rationale.
Mod #
 10462
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

XX

Motion: Whitehead to Deny  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
Scott Waltz
Section
Chapter
Summary
Comment

AS
AS/IC

449.4.2.2
The modification clarifies existing requirements and updates the flood resistance requirements for new hospital facilities and modifications to existing facilities. It also provides new exceptions for non‑patient related spaces.
TAC Action
 10478
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Lucas to Deny  2nd Waltz

Vote: 8 Yes – 0 No

Greg Johnson
Comment
Summary
Proponent
453.8.3
FL public colleges permitted same type of construction rules as private colleges.
Mod #
 10481
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Whitehead to Deny  2nd Waltz

Vote: 7 Yes – 1 No

Page 12 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Greg Johnson
Comment
Summary
Proponent
453.8.3
Provides regulation of publicly owned ancillary buildings consistent with privately owned buildings.
Mod #
 10485
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Whitehead to Deny  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Defines how the code references are to be applied.
TAC Action
 10488
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Ables to Deny 2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Details how the references will be applied.
TAC Action
 10489
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Waltz to Deny  2nd Lucas

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

451
Updates and clarifies how the code will be applied.
TAC Action
 10490
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Phillips to Deny  2nd Waltz

Vote: 8 Yes - 0 No

Page 13 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Modifies Mobile/Transportable section in relation to the Guidelines.
TAC Action
 10491
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Ables to Approve as Submitted – 2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Clarifies if there is a conflict with the Guidelines which code takes precedence.
TAC Action
 10494
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Ables to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Clarifies the use of the description.
TAC Action
 10497
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Waltz to Approve as Submitted  2nd Lucas

Vote: 8 Yes – 0 No

Mod #
Proponent
Scott Waltz
Section
Chapter
Summary
Comment

AS
AS/IC

450.2.2
Updates and clarifies flood resistance requirements for nursing homes.
TAC Action
 10498
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Lucas to Deny  2nd Waltz to revise

Vote: 8 Yes – 0 No

Page 14 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
Scott Waltz
Section
Chapter
Summary
Comment
X
AS
AS/IC

449.3.6.5
Strikes language preventing the use of VAV systems for certain areas in a hospital.
TAC Action
 10501
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Ables to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
Scott Waltz
Section
Chapter
Summary
Comment
X
AS
AS/IC

449.4.2.6.1
Requires replace of existing mechanical equipment to meet the same debris impact requirements as new construction.
TAC Action
 10505
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Aarons to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Mod #
Proponent
Scott Waltz
Section
Chapter
Summary
Comment
X
AS
AS/IC

449.4.2.10
Deletes reference to a rule which no longer exists.
TAC Action
 10507
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Ables to Approve as Submitted  2nd Lucas

Vote: 8 Yes – 0 No

7‑Fire and Smoke Protection Features
Mod #
Proponent
Amanda Hickman
Section
Chapter
Summary
Comment
X
AS
AS/IC

716.2.2.1.1
Smoke and draft control
TAC Action
 10379
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Motion: Phillips to Approve as Submitted  2nd Flowers

Vote: 8 Yes – 0 No

16‑Structural Design

Page 15 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
Conn Cole FDEM SFMO
Section
Chapter
Summary
Comment
X
AS
AS/IC

1612.5
Clarify that licensed professional surveyors and mappers survey and seal elevation data and add a definition for Professional Surveyor and Mapper.
TAC Action
 10349
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Motion: Cole to Approve as Submitted  2nd Waltz

Vote: 7 Yes – 1 No

18‑Soils and Foundations
Conn Cole FDEM SFMO
Comment
Summary
Proponent
1805.1.2.1
Replace reference to NFIP Technical Bulletin 11 with enforceable requirements.
Mod #
 10264
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 18
Chapter
X

Motion: WITHDRAWN by proponent

Vote: 

30‑Elevators and Conveying Systems
Mod #
Proponent
Gary Hutto
Section
Chapter
Summary
Comment

AS
AS/IC

3012
Replace the word "other" with "any" for clarification that all work requiring testing and witnessing requires a construction permit.
TAC Action
 9839
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 30
X

Motion: Phillips to Deny for purpose of revision 2nd Flowers

Vote: 8 Yes – 0 No

Mod #
Proponent
Amanda Hickman
Section
Chapter
Summary
Comment
X
AS
AS/IC

3006.3
hoistways
TAC Action
 10152
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 30

Motion: Phillips to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Page 16 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
Priscilla Magee
Section
Chapter
Summary
Comment

AS
AS/IC

3001.2
Elevator emergency communication systems
TAC Action
 10154
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 30
X

Motion: Phillips to Deny outside scope of the code  2nd Whitehead

Vote: 8 yes – 0 No

Mod #
Proponent
Tommy Demopoulos
Section
Chapter
Summary
Comment

AS
AS/IC

3002.4
Modify section to accommodate an ambulance stretcher 24 inches by 84 inches instead of 24 inches by 76 inches.
TAC Action
 10383
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 30
X

Motion: Phillips to deny conflicts with code  2nd Whitehead

Vote: 8 Yes – 0 No

Darrel Donatto
Comment
Summary
Proponent
3002.4
Proposed change to the minimum dimensions of “elevator cars designed to accommodate an ambulance stretcher” from 24 inch x 76 inch to the current national standards and the actual needed size of 24 inch x 84 inch.
Mod #
 10405
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 30
Chapter

X

Motion: Phillips to Deny  2nd Whitehead

Vote: 8 Yes – 0 No

35‑Referenced Standards
James Gregory
Comment
Summary
Proponent
35
Updates ASHARE 170 edition
Mod #
 9957
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 35
Chapter
X

Motion: WITHDRAWN by proponent

Vote: 

Page 17 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment

AS
AS/IC

35
Amends existing code reference
TAC Action
 10341
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

X
Motion: WITHDRAWN by proponent

Vote: 

Mod #
Proponent
James Gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

35
Updates the code references.
TAC Action
 10484
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Motion: Whitehead to Approve as Submitted 2nd Waltz

Vote: 8 yes – 0 No

SubCode:
Ü
SubCode:
Existing Building
5‑Prescriptive Compliance Method
Conn Cole FDEM SFMO
Comment
Summary
Proponent
502.3
Provide that non‑substantial additions in flood hazard areas do increase the nonconformity of buildings that do not conform to current flood requirements.
Mod #
 10266
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 5
Chapter

X

Motion: Aarons to Deny to revise language  2nd Whitehead

Vote: 8 yes – 0 No

Conn Cole FDEM SFMO
Comment
Summary
Proponent
502.3
New, raised, and extended foundations in flood hazard areas should comply with requirements for type and height required for new construction.
Mod #
 10267
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 5
Chapter

X
Motion: Aarons to Approve as Amended with Alt 1 and the original  2nd Cole

Vote: 8 Yes – 0 no

Page 18 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
SubCode:
Ü
SubCode:
Residential
3‑Building Planning
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.2.1
Specifics for accessory structures in flood hazard areas in accordance with FEMA policy issued 2020.
Mod #
 10256
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

X

Motion:   Cole to Approve as Submitted  2nd Waltz

Vote: 8 Yes – 0 No

Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.1.6
Exterior equipment in flood hazard areas that is flood damaged and replaced must be elevated.
Mod #
 10257
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

X

Motion: Cole to Approve as Amended with Alt 1 Dies for lack of 2nd / Whitehead to Deny to correlate with Existing Building 2nd Waltz 

Vote: 8 Yes – 0 No

Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.2.2
Clarify requirements that don’t apply to elevator shafts and utility chases in flood hazard areas.
Mod #
 10258
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

X

Motion: Cole to Approve as Submitted  2nd Lucas  

Vote: 8 Yes – 0 No

Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.3.2
Specify where the bottom of the lowest horizontal structural member is when stem wall foundations are permitted in Coastal A Zones (seaward of LiMWA when delineated on FIRM).
Mod #
 10259
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

X

Motion: Cole to Approve as Submitted  2nd Lucas

Vote: 8 yes – 0 No

Page 19 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Special Occupancy
TAC:
 75
Total Mods for  
Special Occupancy
in
Pending Review
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.3.3
Refer to ASCE 24, the standard of practice, for the design of pilings and columns.
Mod #
 10262
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

X

Motion: Aarons to Approve as Submitted  2nd Cole

Vote: 8 Yes – 0 No

Mod #
Proponent
Conn Cole FDEM SFMO
Section
Chapter
Summary
Comment

AS
AS/IC

322.1.10
Clarify that licensed professional surveyors and mappers survey and seal elevation data and add a definition for Professional Surveyor and Mapper.
TAC Action
 10351
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3
X

Motion: Whitehead to Deny 2nd Waltz

Vote: 7 Yes – 1 No

4‑Foundations
Conn Cole FDEM SFMO
Comment
Summary
Proponent
408.7
Replace reference to NFIP Technical Bulletin 11 with enforceable requirements.
Mod #
 10263
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter
X

Motion: WITHDRAWN by proponent

Vote: 

Search Criteria

Page 20 of 20
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  75
Special Occupancy
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
SP
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived: