Page 1 of 7
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  21
Energy
Mods With Comments
Approved as Modified
TAC Recommendation
Energy
TAC:
 1
Total Mods for  
Energy
in
Approved as Modified
SubCode:
Ü
SubCode:
Energy Conservation
10‑Appendix RD
Jeff Sonne for FSEC
Comment
Summary
Proponent
1
Update Form R402 and resolve inconsistencies.
Mod #
 10457
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Modified
W
Appendix RD
Chapter

X
Calleja motion for A2 + A3.  2nd Drew   Vote: 8 Yes – 0 No
Section
Approved as Submitted
TAC Recommendation
Energy
TAC:
 11
Total Mods for  
Energy
in
Approved as Submitted
SubCode:
Ü
SubCode:
Energy Conservation
1‑[CE] ‑ Scope and Administration
Douglas Baggett
Comment
Summary
Proponent
104.4
This proposed modification is to clarify and provide a consistent requirement for all inspecting parties to be independent and objective from the project.
Mod #
 10245
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 1
Chapter

 X

Cochell Motion to approve Comment G1  2nd Calleja   Vote:4 Yes – 4 No  Fails
Section

Page 2 of 7
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  21
Energy
Mods With Comments
Energy
TAC:
 11
Total Mods for  
Energy
in
Approved as Submitted
Douglas Baggett
Comment
Summary
Proponent
104.4.1
This proposed modification serves to define and set apart from all other testing agencies, what and who constitutes an authorized commissioning agent.
Mod #
 10251
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 1
Chapter

X

Calleja motion to deny A5  2nd Cochelle  Vote: 8 Yes - 0 No
Section
4‑[CE] ‑ Commercial Energy Efficiency
Amanda Hickman
Comment
Summary
Proponent
402.2.7
New Section: C402.2.7 Airspaces
Mod #
 9963
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 4
Chapter

X
Drew Motion to Approve as modified with A1.  2nd Calleja Vote 8Yes – 0 No
Section
Douglas Baggett
Comment
Summary
Proponent
408.2.1
This proposed modification will serve to keep requirements and verbiage consistent with proposed modifications 10245, 10251 and 10445
Mod #
 10123
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 4
Chapter

 X

Calleja  Motin to approve G1.  2nd Cochelle  Vote: 8 Yes – 0 No
Section
Bereket Nigusse
Comment
Summary
Proponent
403.2.3
Updates Table C403.2.3(1) Minimum Efficiency Requirements: Electrically Operated Unitary Air Conditioners and Condensing Units
Mod #
 10213
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 4
Chapter

X
Calleja motoin to approve A1  2nd Cochelle  Vote: 8 Yes – 0 No
Section

Page 3 of 7
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  21
Energy
Mods With Comments
Energy
TAC:
 11
Total Mods for  
Energy
in
Approved as Submitted
Dominique Flickinger
Comment
Summary
Proponent
408.2
Change wording on who should provide commissioning services to eliminate loopholes of firms providing commissioning on their own work and thereby circumventing the intent of this code.
Mod #
 10401
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 4
Chapter

X

 Calleja Motion to Approve Comment G1  2nd Cochelle  Vote: 8 Yes – 0 No
Section
Douglas Baggett
Comment
Summary
Proponent
408.2
This proposed modification will serve to keep requirements and verbiage consistent with Mod's 10245 and 10251, as well as, to clearly define the term 'evidence'
Mod #
 10445
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 4
Chapter

X

Calleja motion to approve comment G1  2nd John   Vote: 8 Yes – 0 No
Section
Douglas Baggett
Comment
Summary
Proponent
408.2.3
This modification proposes to clarify how functional performance testing should be completed and the roles of the contractor(s) and commissioning agent(s).
Mod #
 10446
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 4
Chapter

X
Calleja motion to approve original with A1  2nd Drew  Vote:  8 Yes – 0 No
Section
Douglas Baggett
Comment
Summary
Proponent
408.2.4
This proposed modification will serve to keep requirements and verbiage consistent regarding commissioning activities and requirements.
Mod #
 10448
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 4
Chapter

 X

Calleja motion to approve G1  2nd Cochelle  Vote: 8 Yes – 0 No
Section

Page 4 of 7
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  21
Energy
Mods With Comments
Energy
TAC:
 11
Total Mods for  
Energy
in
Approved as Submitted
Douglas Baggett
Comment
Summary
Proponent
408.3.1
This proposed modification is to provide a consistent requirement for all functional testing to be conducted by a certified third‑party commissioning agent.
Mod #
 10459
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 4
Chapter

X

Callaja motion to approve G2  2nd Cochelle  Vote: 8 yes – 0 No
Section
5‑[CE] ‑ Existing Building
Douglas Baggett
Comment
Summary
Proponent
502.1
This proposed modification will serve to keep commissioning requirements and verbiage consistent, as well as, to treat new construction as new construction ‑ even if it is an addition.
Mod #
 10463
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 5
Chapter

X

Calleja motion to approve G1  2nd Cochelle  Vote: 8 yes – 0 No
Section
Denied
TAC Recommendation
Energy
TAC:
 9
Total Mods for  
Energy
in
Denied
SubCode:
Ü
SubCode:
Energy Conservation
4‑[CE] ‑ Commercial Energy Efficiency
John Hall
Comment
Summary
Proponent
405.9
This modification creates new section C405.9 to require electric vehicle charging equipment (EVSE) in all new commercial construction. The number of EV Ready and EV Capable parking spaces required would be determined by the attached chart that is part of the modification.
Mod #
 9974
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

X

Smith to support A4  2nd Cochelle  Vote: 4 Yes – 4 No  Fails 
Section

Page 5 of 7
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  21
Energy
Mods With Comments
Energy
TAC:
 9
Total Mods for  
Energy
in
Denied
Eric Lacey
Comment
Summary
Proponent
402.4
This proposal adopts the SHGC requirements for commercial fenestration in both the 2021 IECC and ASHRAE 90.1‑2019, but applies climate zone 2 values statewide for simplicity. It also eliminates orientation‑specific SHGC requirements in favor of "fixed" and "operable" values.
Mod #
 10410
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

 X

Calleja motion to deny  2nd Cochelle  Vote: 8 Yes – 0 No
Section
Laura Baker
Comment
Summary
Proponent
402.5
This proposal implements air leakage testing requirements for residential buildings greater than 3 stories in height.
Mod #
 10470
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

 X

Calleja motion to deny  2nd Cochelle  Vote: 8 Yes – 0 No
Section
4‑[RE] ‑ Residential Energy Efficiency
Jeff Sonne for FSEC
Comment
Summary
Proponent
401.2.2
Additional energy efficiency requirements.
Mod #
 10230
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

X
Calleja motion to approve A2  2nd Cochelle  Vote: 8 yes -0 No
Section
David Calabrese
Comment
Summary
Proponent
403.1.3
The use of electric resistance heaters as backup heating devices can significantly increase winter energy consumption, and air source heat pumps can effectively provide heating without such devices in Florida. This proposed modification minimizes the increase of such winter energy consumption.
Mod #
 10252
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

 
 X

John motion to approve as submitted  2nd Calleja  Vote:8 Yes – 0 No
Section

Page 6 of 7
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  21
Energy
Mods With Comments
Energy
TAC:
 9
Total Mods for  
Energy
in
Denied
David Calabrese
Comment
Summary
Proponent
407
Daikin requests that the 2023 version of Florida IECC incorporates Section R408 of 2021 IECC, with modifications to Section R408.2.2, as Section R407 to continue effectively driving builders and users to optimize the energy performance of their homes.
Mod #
 10253
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

 X

Calleja motion to deny  2nd Cochelle  Vote: 8 Yes – 0 No
Section
Greg Johnson
Comment
Summary
Proponent
402.2.5
Adds mass timber to the list of mass wall of mass materials and assemblies.
Mod #
 10331
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

X
Calleja motion to deny  2nd Cochelle  Vote:3 Yes – 5 No  Fails  This action retains original action.

Calleja to approve A1  2nd Cochelle  Vote: 8 Yes – 0 No 
Section
Laura Baker
Comment
Summary
Proponent
402.5
This proposal updates the mandatory maximum fenestration Solar Heat Gain Coefficients (SHGC) permitted in the performance path consistent with improvements in prescriptive fenestration values.
Mod #
 10358
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

 X

Cochelle motion to deny G3 2nd Calleja  Vote: 8 Yes – 0 No
Section
John Hall
Comment
Summary
Proponent
404
The proposed modification provides for infrastructure to accomodate future electric vehicle charging equipment in one‑ and two‑family dwellings and townhouses with garages.
Mod #
 10370
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

 X

Calleja motion to deny  2nd John  Vote: 4 Yes – 4 No  Fails  
Section
Search Criteria

Page 7 of 7
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  21
Energy
Mods With Comments
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
EN
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived: