Page 1 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Approved as Modified
TAC Recommendation
Structural
TAC:
 1
Total Mods for  
Structural
in
Approved as Modified
SubCode:
Ü
SubCode:
Residential
2712‑Reference Standards
T Stafford
Comment
Summary
Proponent
46
This proposal updates ASCE 7 from the 2016 edition to the 2022 edition (ASCE 7‑22)
Mod #
 9958
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Modified
W
Chapter 46
Chapter

X
 Gascon Motion to approve A2 with original  2nd  Bourre    Vote: 11 Yes – 0 No
Section
Approved as Submitted
TAC Recommendation
Structural
TAC:
 11
Total Mods for  
Structural
in
Approved as Submitted
SubCode:
Ü
SubCode:
Building
2‑Definitions
Robert Koning
Comment
Summary
Proponent
202
Add: Decorative Cementitious Finish. A skim coat, as defined in ASTM C926, of Portland cement‑based plaster applied to concrete or masonry surfaces intended for cosmetic purposes.
Mod #
 10164
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 2
Chapter

 
X

 Gascon motion to deny comment 2nd Geurasio  Vote: 11 Yes – 0 No
Section
10‑Means of Egress

Page 2 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 11
Total Mods for  
Structural
in
Approved as Submitted
Jennifer Hatfield
Comment
Summary
Proponent
1010.1.7
Modifies Exception 2 in Section 1010.1.7 to clarify that a higher door threshold height may be allowed in order to meet the water testing requirements of Section 1709.5.
Mod #
 10427
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 10
Chapter

X

Comment WITHDRAWN
Section
35‑Referenced Standards
Jennifer Hatfield
Comment
Summary
Proponent
35
Updates AAMA (FGIA) and ASTM Standards with appropriate names and editions.
Mod #
 10435
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 35
Chapter

X
Ruark motion to approve A2     2nd  Gascon    Vote: 11 Yes – 0 No
Section
SubCode:
Ü
SubCode:
Residential
3‑Building Planning
T Stafford
Comment
Summary
Proponent
301.2
This proposal updates the simplified component cladding loads in the Florida Building Code, Residential for correlation with the proposed update to ASCE 7‑22.
Mod #
 9971
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 3
Chapter

X
 Gascon motion to approve A1 with original  2nd  Geurasio  Vote: 11 Yes – 0 No
Section

Page 3 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 11
Total Mods for  
Structural
in
Approved as Submitted
Greg Johnson
Comment
Summary
Proponent
317
This proposal incorporates wood columns in the general “location” items of R317.1 to eliminate the separate confusing columns section.
Mod #
 10116
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 3
Chapter

X
 Gascon Motion to approve A1   2nd Lavrich  Vote: 11 Yes – 0 No
Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.2.1
Specifics for accessory structures in flood hazard areas in accordance with FEMA policy issued 2020.
Mod #
 10256
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 3
Chapter

 X

 No action needed.
Section
7‑Wall Covering
Fernando Pages
Comment
Summary
Proponent
703.3.4
Adds required clearance between grade and siding.
Mod #
 9848
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 7
Chapter

X
Gascon motion to approve A2     2nd Geurasio    Vote: 11 Yes – 0 No
Section
2712‑Reference Standards
Jennifer Hatfield
Comment
Summary
Proponent
46
Updates AAMA (FGIA) and ASTM Standards with appropriate names and editions.
Mod #
 10434
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
Chapter 46
Chapter

X
Ruark motin to approve A1  2nd Gascon  Vote: 11 yes – 0 No
Section

Page 4 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 11
Total Mods for  
Structural
in
Approved as Submitted
SubCode:
Ü
SubCode:
Test Protocols
TAS1‑103
Michael Silvers (FRSA)
Comment
Summary
Proponent
103
Changes the test methods used to establish resistance to uplift pressure for tile underlayments to methods described in the code. The underlayment is part of the load path for most tile roof systems and product approval should demonstrate an expected resistance to negative pressure.
Mod #
 10175
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
TAS
Chapter

 X

Gascon motion to deny original modification.  2nd Kim  Vote: 11 Yes – 0 No
Gascon motion to deny A1.  2nd Geurasio  Vote: 11 Yes – 0 No

Section
TAS1‑110
Gaspar Rodriguez
Comment
Summary
Proponent
15
On Table 15, replace FM 4471 with TAS 114, as an alternate test standard.
Mod #
 10273
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
TAS
Chapter

 X

Gascon Motion to deny original modification  2nd Geurasio  Vote: 11 Yes – 0 No
Section
TAS1‑124
Aaron Phillips
Comment
Summary
Proponent
6
Uplift tests clarifications.
Mod #
 9922
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Approved as Submitted
W
TAS
Chapter

X
 Gascon Motion to approve A1 alone  2nd Geurasio    Vote: 11 Yes – 0 No
Section

Page 5 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Denied
TAC Recommendation
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
SubCode:
Ü
SubCode:
Building
2‑Definitions
Robert Koning
Comment
Summary
Proponent
202
Add: Definition of Exterior Wall Covering Assembly System Methods
Mod #
 10172
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 2
Chapter

 X

 Macomber Motion to deny   2nd Gascon    Vote: 11 Yes – 0 No
Section
Robert Koning
Comment
Summary
Proponent
202
Add Definition Of Veranda and synonyms of same so professionals can differentiate between a roofing deck for slope, covering and other roofing system requirements.
Mod #
 10272
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 2
Chapter

 X

Macomber motion to deny  2nd Bourre    Vote: 11 Yes – 0 No
Section
Joseph Belcher
Comment
Summary
Proponent
202
Adds definitions for accessory structures and sun control structures to correlate with new provisions proposed for the design of sun control structures.
Mod #
 10388
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 2
Chapter

X
 Bourre motion to approve A22nd Gascon  Vote: 11 Yes – 0 No
(with comments to follow from Mr. Belcher prior to Nov 22, 2022.    
Section
14‑Exterior Walls

Page 6 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
Fernando Pages
Comment
Summary
Proponent
1404.14
This change compliments FS134 which was been adopted through the consent agenda, with the introduction of ASTM D7793, and insulated vinyl siding into the Florida Building Code.
Mod #
 9881
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 14
Chapter

 X

Gascon motion to Deny A2   2nd Macomber  Vote: 11 Yes – 0 No
Section
Fernando Pages
Comment
Summary
Proponent
1405.18
This addition brings in critical installation elements for polypropylene siding.
Mod #
 9900
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 14
Chapter

X
Gascon motion to approve A2   2nd Macomber  Vote: 11 Yes – 0 No
Section
T Stafford
Comment
Summary
Proponent
1410
A new stand‑alone section is proposed for soffits with new language addressing common soffit materials, a prescriptive option for wood structural soffits, and fascia installation.
Mod #
 10090
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 14
Chapter

X
Gascon motion to approve A1  2nd Bourre  Vote: 11 Yes – 0 No
(Milad to bring additional reference to ASTM on 1410.3, 1410.4, 1410.5 prior to 11/22/22)
Section
Robert Koning
Comment
Summary
Proponent
1405.2
Adds text to convey the existing limitations of Table 1405.2
Mod #
 10280
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 14
Chapter

X
Gascon motion to approve A1  2nd Macomber  Vote:11 Yes – 0 No
Section
16‑Structural Design

Page 7 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
T Stafford
Comment
Summary
Proponent
1609
This proposal updates the code for correlation with the new tornado design requirements in ASCE 7‑16
Mod #
 10065
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 16
Chapter

X
Gascon motion to approve A1  2nd Macomber  Vote: 11 Yes – 0 No
Section
17‑Structural Tests and Special Inspections
Joseph Belcher
Comment
Summary
Proponent
1703.6.2
The modification will require tests of materials to be submitted to the material supplier to the registered design professional of record and the material supplier.
Mod #
 10120
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 17
Chapter

X
Gascon motion to approve A1    2nd Lavrich    Vote: 11 Yes – 0 No
Section
18‑Soils and Foundations
Jeanne Clarke
Comment
Summary
Proponent
1809.4
This modification is intended to clarify the point at which the depth of the footing is to be measured.
Mod #
 10139
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 18
Chapter

X

Kim motion to deny  2nd Macomber  Vote: 8 Yes – 3 No  Passes 
Section
20‑Aluminum

Page 8 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
Joseph Belcher
Comment
Summary
Proponent
2002
The proposed modification adds design criteria for sun control structures.
Mod #
 10390
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 20
Chapter

X
Gascon motion to approve A1  2nd Geurasio  Vote:  11 Yes – 0 No
Section
Joseph Belcher
Comment
Summary
Proponent
2003
The proposal adds design criteria for sun control structures.
Mod #
 10393
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 20
Chapter

X
Gascon motion to approve A1  2nd Geurasio  Vote:  11 Yes – 0 No
Section
22‑Steel
Bonnie Manley
Comment
Summary
Proponent
2201.1
This clarifies the relationship between the main body of Chapter 22 and the HVHZ provisions of Chapter 22.
Mod #
 10128
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 22
Chapter

 X

Gascon motion to deny A1  2nd Geurasio  Vote: 11 Yes – 0 No
Section
23‑Wood
Greg Johnson
Comment
Summary
Proponent
2304.10
This modification provides two options for demonstrating compliance with thee requirement for the protection of connections in Types IV‑A, IV‑B and IV‑C construction.
Mod #
 10248
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 23
Chapter

X

Kim motion to approve as submitted  2nd Macomber  Vote: 8 Yes – 3 No  Passes 
Reverses previous decision.
Section

Page 9 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
25‑Gypsum Board,Gypsum Panel Products and Plaster
Robert Koning
Comment
Summary
Proponent
2502.1
Add definitions of Exterior Wall Covering Assembly Methods and Decorative Cement Finish
Mod #
 10278
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 25
Chapter

 X

Gascon motion to deny G1 and G2  Vote 11 Yes – 0 No
Section
Robert Koning
Comment
Summary
Proponent
2510.6.2
New Section 2510.6.2 This adds the needed exceptions to this newly created provision in order to perform in Florida's high wind region and provides needed exceptions for other wall covering systems.
Mod #
 10281
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 25
Chapter

 X

Gascon motion to deny G3  2nd Macomber  Vote:  11 Yes – 0 No
Section
Robert Koning
Comment
Summary
Proponent
2510.3
Text exceptions state the already existing requirement for wind loading requirements in high wind regions and state the exceptions for Florida's time tested Face Sealed Systems
Mod #
 10282
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 25
Chapter

 X

Gascon motion to deny A1 and uphold previous action to deny  2nd Macomber  Vote:11 Yes – 0 No
Section
Robert Koning
Comment
Summary
Proponent
2510.3.1
Adds new paragraph for laboratory tested and code approved attachment tables available without charge to the public
Mod #
 10283
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 25
Chapter

 X

Gascon motion to deny A1 and uphold previous action to deny  2nd Macomber  Vote: 11 Yes – 0 No
Section

Page 10 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
Robert Koning
Comment
Summary
Proponent
2510.3.2
Adds new paragraph for laboratory tested and code approved application manual available to the public free of charge
Mod #
 10284
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 25
Chapter

 X

Kim motion to deny A1 and uphold previous action to deny  2nd Ruark  Vote: 11 Yes – 0 No
Section
Robert Koning
Comment
Summary
Proponent
2512.1
Adds needed exception for other code allowed installations and systems
Mod #
 10285
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 25
Chapter

 X

Gascon to deny A1 and uphold previous action to deny   2nd Geurasio  Vote: 
needs correct ASTM designation and language clarification  
Section
Robert Koning
Comment
Summary
Proponent
2510.6.2
Add Exceptions
Mod #
 10301
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 25
Chapter

 X

Gascon to deny G2 and uphold previous action to deny  2nd Geurasio   Vote:  11 Yes – 0 No
Does not integrate correctly with code language.
Section
35‑Referenced Standards
Robert Koning
Comment
Summary
Proponent
35
Adds Referenced Publication
Mod #
 10286
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 35
Chapter
 X

WITHDRAWN
Section

Page 11 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
Greg Johnson
Comment
Summary
Proponent
35
Identifies referenced standards related to new Type IV construction classifications
Mod #
 10353
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 35
Chapter

 X

Kim motion to approve  2nd Macomber  Vote: 8 Yes – 3 No  Passes 
Section
SubCode:
Ü
SubCode:
Existing Building
5‑Prescriptive Compliance Method
Conn Cole FDEM SFMO
Comment
Summary
Proponent
502.3
Provide that non‑substantial additions in flood hazard areas do increase the nonconformity of buildings that do not conform to current flood requirements.
Mod #
 10266
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 5
Chapter

X
Gascon motion to approve A2   2nd Monsoar   Vote: 11 Yes – 0 No
Section
SubCode:
Ü
SubCode:
Residential
2‑Definitions
Robert Koning
Comment
Summary
Proponent
202
Add: Definition of Exterior Wall Covering Assembly System Methods
Mod #
 10270
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 2
Chapter
 X

WITHDRAWN by proponent.
Section

Page 12 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
Robert Koning
Comment
Summary
Proponent
202
Add Definition Of Veranda and synonyms of same so professionals can differentiate between a roofing deck for slope, covering and other roofing system requirements.
Mod #
 10274
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 2
Chapter
 X

WITHDRAWN by proponent
Section
Joseph Belcher
Comment
Summary
Proponent
202
The modification provides a definition for sun control structures.
Mod #
 10384
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 2
Chapter

X
Gascon motion to approve A2  2nd Ruark  Vote: 11 Yes – 0 No
(with comments to follow from Mr. Belcher prior to Nov 22, 2022
Section
3‑Building Planning
T Stafford
Comment
Summary
Proponent
301.1...324.4.1.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in the State of Florida.
Mod #
 10017
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 3
Chapter

X
Monsoar motion to approve A1  2nd Bourre  Vote:  11 Yes – 0 No
Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.1.6
Exterior equipment in flood hazard areas that is flood damaged and replaced must be elevated.
Mod #
 10257
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 3
Chapter

X
Kim motion to approve A2 plus original  2nd  Gascon  Vote: 11 Yes – 0 No
(Correct reference from 612 to 1612)
Section

Page 13 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.1.10
Clarify that licensed professional surveyors and mappers survey and seal elevation data and add a definition for Professional Surveyor and Mapper.
Mod #
 10351
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 3
Chapter

X
Gascon motion to approve A1  2nd  Geurasio  Vote:11 Yes – 0 No
Section
Joseph Belcher
Comment
Summary
Proponent
301
Provides design criteria for sun control structures.
Mod #
 10386
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 3
Chapter

X
Gascon motion to approve A1  2nd Bourre  Vote:  11 Yes – 0 No
Section
4‑Foundations
T Stafford
Comment
Summary
Proponent
401.1...407.3
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in the State of Florida.
Mod #
 10018
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

X
Monsoar motion to approve A1  2nd Gascon   Vote: 11 Yes – 0 No
Section
7‑Wall Covering
Fernando Pages
Comment
Summary
Proponent
703.11.1
Clean up, fastener size, insulated vinyl siding.
Mod #
 9847
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter

X
Gascon motion to approve A2,  2nd Geurasio  Vote:  11 Yes – 0 No
Section

Page 14 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
Fernando Pages
Comment
Summary
Proponent
703.14.1.1
Clarifies installation of polypropylene siding.
Mod #
 9849
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter

X

Gascon motion to deny A2 and uphold previous action to deny  2nd  Geurasio  Vote:  10 Yes – 1 No

Section
Fernando Pages
Comment
Summary
Proponent
703.14
Correction of Polypropelene Testing Requirement
Mod #
 9850
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter
 X

WITHDRAWN by proponent
Section
Fernando Pages
Comment
Summary
Proponent
703
Addresses prescriptive installation for fascia.
Mod #
 9851
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter

X
Gascon motion to approve A3  2nd Bourre  Vote: 11 Yes – 0 No
Section
Fernando Pages
Comment
Summary
Proponent
704.2.1
This code change proposal adds aluminum soffit requirements to the existing vinyl soffit subsection.
Mod #
 9878
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter

X
Gascon mortion to approve A1  2nd Geurasio  Vote:  11 Yes – 0 No
Section

Page 15 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
Robert Koning
Comment
Summary
Proponent
701.1
Adds required wind limitation per R302.1.1
Mod #
 10288
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter

 X

Kim motion to deny   2nd Macomber  Vote:  11 Yes – 0 No
Section
Robert Koning
Comment
Summary
Proponent
703.7
Adds required exceptions for wind limitations regarding prescriptive provisions in referenced standards and publications and allows for other approved application processes
Mod #
 10289
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter

 X

Gascon motion to deny G1 and uphold previous action to deny  2nd Macomber  Vote: 11 yes – 0 No
Section
Robert Koning
Comment
Summary
Proponent
703.7.1
Adds required exceptions for wind limitations regarding prescriptive provisions in referenced standards and publications and allows other approved application processes
Mod #
 10290
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter

 X

Gascon motion to deny G1 and uphold previous action to deny  2nd Geurasio  Vote:  11 Yes – 0 No
Section
Robert Koning
Comment
Summary
Proponent
703.7.1.1
Adds new provision for approved application publication. Free to public
Mod #
 10291
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter
 X

WITHDRAWN by proponent.
Section

Page 16 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
Robert Koning
Comment
Summary
Proponent
703.4
Needed provisions for flashing locations
Mod #
 10292
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter

 X

Gascon motion to deny G1 in support of previous action to deny  2nd Geurasio  Vote: 11 Yes – 0 No
Section
Robert Koning
Comment
Summary
Proponent
703.7.3
Adds required exception
Mod #
 10298
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter

 X

Gascon motion to deny G2 and G3 and uphold previous action to deny  2nd Geurasio  Vote:  11 Yes – 0 No
Section
Robert Koning
Comment
Summary
Proponent
703.1.2.2
Adds new paragraph
Mod #
 10299
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 7
Chapter

 X

Gascon motion to deny G1 and uphold previous TAC action  2nd Geurasio  Vote: 11 Yes – 0 No
Section
3310‑Existing Buildings and Structures
Fernando Pages
Comment
Summary
Proponent
401.5
A short provision is added on the importance of a nailable substrate.
Mod #
 9879
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Appendix J
Chapter

X
Gascon motion to approve A3  2nd Bourre  Vote:
‘nailable’ is correct and hyphen should be removed in all sections.
Section

Page 17 of 17
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  58
Structural
Mods With Comments
Structural
TAC:
 46
Total Mods for  
Structural
in
Denied
SubCode:
Ü
SubCode:
Test Protocols
TAS1‑103
Gaspar Rodriguez
Comment
Summary
Proponent
7
Revises test procedure for self‑adhered underlayment used on roof tile installations.
Mod #
 10093
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
TAS
Chapter

X
Gascon motion to approve A1  2nd Geurasio   Vote: 10 Yes – 1 No 
Section
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
S
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria