## WeeklyCommisionReport (38)
| FL# | Revision # | Category | Subcategory | Manufacturer | Application Type | DBPR | POC | FBC | Comments
Certification Mark or Listing
1 | 2646 | 11 | EXTDOORS | Sliding Exterior Door Assemblies | Pella Corporation | REV | a
2 | 3557 | 12 | STRUCT | Wood Connectors | Quick Tie Products, Inc. | REV | a
3 | 5167 | 30 | WINDOWS | Double Hung | Simonton/Ply Gem Windows | REV | a
4 | 5179 | 26 | WINDOWS | Horizontal Slider | Simonton/Ply Gem Windows | REV | a
5 | 8500 | 15 | WINDOWS | Fixed | Simonton/Ply Gem Windows | REV | a
6 | 9684 | 10 | WINDOWS | Casement | Marvin | REV | a
7 | 10181 | 10 | EXTDOORS | Sliding Exterior Door Assemblies | Nan Ya Plastics Corporation USA | REV | a
8 | 11244 | 9 | EXTDOORS | Swinging Exterior Door Assemblies | ProVia Door, Inc. | REV | a
9 | 11271 | 7 | EXTDOORS | Sliding Exterior Door Assemblies | Vi Win Tech | REV | a
10 | 11726 | 21 | WINDOWS | Fixed | JELD-WEN | REV | a
11 | 12313 | 10 | EXTDOORS | Sliding Exterior Door Assemblies | JELD-WEN | REV | a
12 | 13488 | 6 | SKY_LITE | Skylight | Sun-Tek Mfg | EDIT_CHG | a
13 | 13792 | 6 | ROOFING | Roofing Insulation | Blue Ridge Fiberboard, Inc. | REV | a
14 | 14104 | 18 | WINDOWS | Single Hung | JELD-WEN | REV | a
15 | 14604 | 8 | WINDOWS | Single Hung | Eastern Architectural Systems | EDIT_CHG | a
16 | 14610 | 6 | WINDOWS | Horizontal Slider | Eastern Architectural Systems | REV | a
17 | 14752 | 8 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | REV | a
18 | 14925 | 4 | WINDOWS | Single Hung | Ply Gem Windows | REV | a
19 | 15256 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
20 | 15576 | 8 | WINDOWS | Single Hung | Viwinco Inc. | REV | a
21 | 15590 | 8 | EXTDOORS | Sliding Exterior Door Assemblies | Viwinco Inc. | REV | a
22 | 15749 | 6 | WINDOWS | Single Hung | Window Craftsmen Inc. | EDIT_CHG | a
23 | 15809 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Clayton Supply Haleyville 2 | REV | a
24 | 15986 | 1 | SHUTTERS | Storm Panels | Armor Building Solutions | REV | a
25 | 16146 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Bildau & Bussmann GmbH | REV | a
26 | 16152 | 3 | WINDOWS | Casement | Bildau & Bussmann GmbH | REV | a
27 | 16254 | 6 | WINDOWS | Fixed | Window Mart | REV | a
28 | 16674 | 13 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
29 | 16841 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Plyco Corporation | REV | a
30 | 16902 | 9 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
31 | 16904 | 9 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
32 | 17379 | 5 | EXTDOORS | Swinging Exterior Door Assemblies | Eastern Architectural Systems | EDIT_CHG | a
33 | 17472 | 4 | WINDOWS | Mullions | Eastern Architectural Systems | REV | a
34 | 17498 | 6 | WINDOWS | Fixed | JELD-WEN | REV | a
35 | 17676 | 10 | WINDOWS | Single Hung | MI Windows and Doors | REV | a
36 | 17676 | 11 | WINDOWS | Single Hung | MI Windows and Doors | REV | a
37 | 19134 | 1 | PANEL | Wall Louver | All-Lite | REV | a
38 | 19137 | 1 | PANEL | Wall Louver | Pottorff | REV | a
39 | 20056 | 4 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | REV | a
40 | 20146 | 1 | EXTDOORS | Sliding Exterior Door Assemblies | Pella Corporation | REV | a
41 | 21648 | 2 | WINDOWS | Mullions | Eastern Architectural Systems | REV | a
42 | 21706 | 2 | EXTDOORS | Sliding Exterior Door Assemblies | JELD-WEN | REV | a
43 | 21837 | 5 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
44 | 21837 | 6 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
45 | 22609 | 1 | ROOFING | Roof Tile Adhesives | DAP Foam, Inc. (formerly Convenience Products) | REV | a
46 | 23998 | 5 | WINDOWS | Fixed | Quaker Window Products Co. Inc. | REV | a
47 | 24397 | 4 | ROOFING | Metal Roofing | 1st Coast Metal Roofing Supply | REV | a
48 | 25886 | 4 | WINDOWS | Double Hung | Kolbe & Kolbe Millwork Co., Inc. | REV | a
49 | 28093 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | REV | a
50 | 28095 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | REV | a
51 | 28130 | 1 | PANEL | Storefronts | US Aluminum Inc. - Division of CR Laurence(FL) | EDIT_CHG | a
52 | 28281 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | US Aluminum Inc. - Division of CR Laurence(FL) | EDIT_CHG | a
53 | 29234 | 0 | WINDOWS | Horizontal Slider | SIW SOLUTIONS, LLC | NEW | a
54 | 29261 | 0 | WINDOWS | Fixed | SIW SOLUTIONS, LLC | NEW | a
55 | 29262 | 0 | WINDOWS | Casement | SIW SOLUTIONS, LLC | NEW | a
56 | 29263 | 0 | WINDOWS | Projected | SIW SOLUTIONS, LLC | NEW | a
57 | 29670 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | WinDoor Inc. | REV | a
58 | 29672 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | Window Craftsmen Inc. | NEW | a
59 | 29714 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | REV | a
60 | 30050 | 0 | PANEL | Products Introduced as a Result of New Technology | Gulf Concrete Technology | NEW | a
61 | 30438 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Masonite International | NEW | a
62 | 30441 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | NEW | a
63 | 30442 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Republic Doors and Frames | NEW | a
64 | 30443 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | NEW | a
65 | 30444 | 0 | ROOFING | Metal Roofing | AllSouth Pre-Engineered Components, LLC (APEC) | NEW | a
66
67 | 30480 | 0 | ROOFING | Metal Roofing | Matador Metal Buildings | NEW | a
68 | 30496 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | Quaker Window Products Co. Inc. | NEW | a
69 | 30497 | 0 | WINDOWS | Fixed | JELD-WEN | NEW | a
70 | 30497 | 1 | WINDOWS | Fixed | JELD-WEN | REV | a
71 | 30498 | 0 | WINDOWS | Fixed | JELD-WEN | NEW | a
72 | 30498 | 1 | WINDOWS | Fixed | JELD-WEN | REV | a
73 | 30505 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | Shwinco Architectural Products, LLC | NEW | a
74 | 30517 | 0 | WINDOWS | Awning | Crystal Window & Door Systems, Ltd | NEW | a
Evaluation Report from a Product Evaluation Entity
74 | 6484 | 6 | STRUCT | Structural Wall | PFB America Corporation | REV | a
75 | 12098 | 8 | PANEL | Siding | Nichiha USA, Inc. | REV | a
76 | 12917 | 4 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Greenheck Fan Corporation | REV | a
77 | 14829 | 4 | STRUCT | Roof Deck | PFB America Corporation | REV | a
78 | 17232 | 6 | STRUCT | Wood Connectors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
79 | 17236 | 5 | STRUCT | Wood Connectors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
80 | 17239 | 4 | STRUCT | Wood Connectors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
81 | 17240 | 2 | STRUCT | Wood Connectors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
82 | 17241 | 4 | STRUCT | Wood Connectors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
83 | 17243 | 3 | STRUCT | Wood Connectors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
84 | 17244 | 3 | STRUCT | Wood Connectors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
85 | 17249 | 6 | STRUCT | Anchors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
86 | 22980 | 1 | PANEL | Siding | Chelsea Building Products | REV | a
87 | 28896 | 1 | STRUCT | Anchors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
88 | 29779 | 1 | STRUCT | Anchors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
89 | 29970 | 0 | PANEL | Siding | DecoNat, Inc. | NEW | a
90 | 30049 | 0 | ROOFING | Roofing Tiles | Claymex Brick & Tile, Inc. | NEW | a
91 | 30436 | 0 | ROOFING | Products Introduced as a Result of New Technology | FWave LLC | NEW | a
92 | 30477 | 0 | STRUCT | Anchors | Tecnicas Expansivas S.L. | NEW | a
93 | 30478 | 0 | STRUCT | Anchors | Tecnicas Expansivas S.L. | NEW | a
Certification and Evaluation Entity Method
94 | 12769 | 10 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
| H.Makar's comment (Miami Dade) |  | NI-specify hurricane protection
NO response received.
| Staff analysis |  | Staff recommends No further action is needed.
95 | 14090 | 10 | WINDOWS | Horizontal Slider | JELD-WEN | REV | a
| H.Makar's comment (Miami Dade) |  | Remove proprietary note
| J.Goossen's response |  | The disclaimer is in place to protect JELD-WEN’s product confidentiality. This drawing is authorized by JELD-WEN for use on the FBC website, which is stated in the last line of the disclaimer. We wish to leave the note as is with no changes.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
96 | 14605 | 8 | EXTDOORS | Sliding Exterior Door Assemblies | Eastern Architectural Systems | REV | a
| H.Makar's comment (Miami Dade) |  | Installation limitation to below 30 ft is not in dwg
| R.Lomas's response |  | We have reviewed the application and the items that are to be limited for small missile impact are items .8 and .10. For these items the application has a notation for limiting the usage of glazing B and glazing C, respectively, not to be used 30ft above ground level when used in the HVHZ.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
97 | 14608 | 9 | WINDOWS | Fixed | Eastern Architectural Systems | REV | a
| H.Makar's comment (Miami Dade) |  | Installation limitation to below 30 ft is not in dwg
| R.Lomas's response |  | We have reviewed the application and the items that are to be limited for small missile impact are items .4 and .5. For these items the application has a notation for limiting the usage of glazing B and glazing C, respectively, not to be used 30ft above ground level when used in the HVHZ.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
98 | 30452 | 0 | WINDOWS | Casement | Weather Shield Mfg., Inc. | NEW | a
| H.Makar's comment (Miami Dade) |  | Remove proprietary note. Not signed & sealed by PE
| V.Bach's response |  | Weather Shield has removed the proprietary comments from the installation instructions. The installation instructions reflect the tested method of install only; therefore, there is no need for these instructions to be signed and sealed by a P.E. We will later be submitting P.E. analysis for installation into alternative substrates and at that time those installation instructions will be signed and sealed by a P.E.
| Staff analysis |  | As per the applicant’s response the application is being revised to remove proprietary note to address the public comment. No further action is needed.
99 | 10667 | 5 | STRUCT | Wood Connectors | Simpson Strong-Tie Co. | REV | a
| H.Makar's comment (Miami Dade) |  | ESR-2615 does not state compliance with the 2017 FBC
| K.Cullum's response |  | ICC-ES ESR-2615, the underlying evaluation report for FL10667-R5, indicates compliance with the 2015 edition of the IBC and IRC, upon which the 2017 (6th Ed.) FBC – Building and Residential are based. The standards applicable to the products listed are identical in the I-Codes and FBC. Therefore, the evaluation report indicates that the products comply “with the appropriate section or standard of the Code,” per FL Rule 61G20-3.005, Item (4)(b).
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
100 | 10856 | 5 | STRUCT | Wood Connectors | Simpson Strong-Tie Co. | REV | a
| H.Makar's comment (Miami Dade) |  | ESR-2553 does not state compliance with the 2017 FBC
| K.Cullum's response |  | ICC-ES ESR-2553, the underlying evaluation report for FL10856-R5, indicates compliance with the 2015 edition of the IBC and IRC, upon which the 2017 (6th Ed.) FBC – Building and Residential are based. The standards applicable to the products listed are identical in the I-Codes and FBC. Therefore, the evaluation report indicates that the products comply “with the appropriate section or standard of the Code,” per FL Rule 61G20-3.005, Item (4)(b).
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
101 | 15730 | 3 | STRUCT | Anchors | Simpson Strong-Tie Co. | REV | a
| H.Makar's comment (Miami Dade) |  | ESR-2811 does not state compliance with the 2017 FBC
| K.Cullum's response |  | ICC-ES ESR-2811, one of the underlying evaluation reports for FL15730-R3, indicates compliance with the 2015 edition of the IBC and IRC, upon which the 2017 (6th Ed.) FBC – Building and Residential are based. The standards applicable to the products listed are identical in the I-Codes and FBC. Therefore, the evaluation report indicates that the products comply “with the appropriate section or standard of the Code,” per FL Rule 61G20-3.005, Item (4)(b).
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
102 | 16230 | 6 | STRUCT | Anchors | Simpson Strong-Tie Co. | REV | a
| H.Makar's comment (Miami Dade) |  | ER-263 does not state compliance with the 2017 FBC
| K.Cullum's response |  | IAPMO UES ER-263, one of the underlying evaluation reports for FL16230-R6, indicates compliance with the 2015 edition of the IBC and IRC, upon which the 2017 (6th Ed.) FBC – Building and Residential are based. The standards applicable to the products listed are identical in the I-Codes and FBC. Therefore, the evaluation report indicates that the products comply “with the appropriate section or standard of the Code,” per FL Rule 61G20-3.005, Item (4)(b).
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.