FIRE TAC
WITH COMMENTS

Page 1 of 3
12/20/2012

Approved as Submitted
TAC Recommendation
Ü
Total Mods for reports:  8
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 5
SubCode
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Section
403.4.7 Smoke removal
amador barzaga
 5170 
Chapter
Mod #
Comment
Maintaining smoke control requirements for High‑Rise Buildings
4
Proponent

X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

X
G1 – 5-5 Do Not Support Comment

General Comment G1
Summary

AS
AM

NAR

I
Approved as Submitted

W

9‑Fire Protection Systems
Section
916
Joe Bigelow
 5113 
Chapter
Mod #
Comment
To carry forward carbon monixide provisions of the 2010 FBC, to be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
9
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
Alternate Language A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1 – 10-0 Support Comment

Summary

AS
AM

NAR

I
Approved as Submitted

W

10‑Means of Egress
Section
1008.1.7
Jim Heise
 5719 
Chapter
Mod #
Comment
to maintain exceptions under 1008.1.7 Thresholds
10
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
Alternate Language A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1 – 10-0 Support Comment

Summary

AS
AM

NAR

I
Approved as Submitted

W

SubCode
Mechanical
Ü
5‑Exhaust Systems

Fire TAC
WITH COMMENTS

Page 2 of 3
12/20/2012

Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 5
Section
513 Smoke Control Systems
amador barzaga
 5173 
Chapter
Mod #
Comment
Maintaining smoke control requirements for High‑Rise Buildings
5
Proponent

X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
3. No comment is needed.
4. Straw Poll.
Commission Action

X
G2 - 5-5 Do Not Support Comment

General Comment G2

Summary

AS
AM

NAR

I
Approved as Submitted

W

SubCode
Residential
Ü
3‑Building Planning
Section
R302.2
Joseph Belcher
 6011 
Chapter
Mod #
Comment
Retains single two‑hour fire rated wall exception for townhouses.
3
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action
X

No comment is needed for G1

General Comment G1

Summary

AS
AM

NAR

I
Approved as Submitted

W

No Affirmative Recommendation with a Second
TAC Recommendation
Ü
Total Mods for reports:  8
Total Mods for  Fire in  No Affirmative Recommendation with a Second
TAC: 
Fire
 3
SubCode
Building
Ü
10‑Means of Egress
Section
1015
Ken Cureton
 5985 
Chapter
Mod #
Comment
Modify SECTIONS 1015.1 and 1015.2.1
10
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
Alternate Language A2
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A2 – 10-0 Support Comment

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

SubCode
Residential
Ü
3‑Building Planning

Fire TAC
WITH COMMENTS

Page 3 of 3
12/20/2012

Total Mods for  Fire in  No Affirmative Recommendation with a Second
TAC: 
Fire
 3
Section
303.4
Alfonso Fernandez‑Fraga
 5994 
Chapter
Mod #
Comment
We need to eliminate the requirement to require outside air to be introduced into single family homes and townhouses
3
Proponent

X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

X
A4 – 10-0 Do Not Support Comment

Alternate Language A4
Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

Section
R315
Ken Cureton
 5438 
Chapter
Mod #
Comment
Modify SECTIONS R315.1 through R315.3
3
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
Alternate Language A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1 – 10-0 Support Comment

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
F
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria