PLUMBING TAC
WITH COMMENTS

Page 1 of 4
12/20/2012

Approved as Submitted
TAC Recommendation
Ü
Total Mods for reports:  12
Total Mods for  Plumbing in  Approved as Submitted
TAC: 
Plumbing
 2
SubCode
Fuel Gas
Ü
4‑Gas Piping Installations
Section
•	401.10  Third Party Testing &amp; Certification
Joseph Eysie
 5249 
Chapter
Mod #
Comment
Remove the language from the 2012 IFGC which requires  that piping, tubing and fittings shall either be tested by an approved third party agency or certified by an approved third party certification agency
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W

Section
401.09 Identification
Joseph Eysie
 5248 
Chapter
Mod #
Comment
Provide alternative language to Section 401.9 of the IFGC
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W

No Affirmative Recommendation with a Second
TAC Recommendation
Ü
Total Mods for reports:  12
Total Mods for  Plumbing in  No Affirmative Recommendation with a Second
TAC: 
Plumbing
 10
SubCode
Fuel Gas
Ü
3‑General Regulations
Section
310.1
Robert Torbin
 4924 
Chapter
Mod #
Comment
Delete current 310.1 and 310.1.1 and replace with:
All metal gas piping and tubing shall be bonded to the grounding electrode system of the premises. The bonding conductor shall not be smaller than 6 AWG copper wire or equivalent.
3
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

3003‑Exit Terminals of Mechanical Draft and Direct‑Vent Venting Systems (Reserved)

See Multiple Mod Tracking Chart  

PLUMBING TAC
WITH COMMENTS

Page 2 of 4
12/20/2012

Total Mods for  Plumbing in  No Affirmative Recommendation with a Second
TAC: 
Plumbing
 10
Section
EXIT TERMINALS OF MECHANICAL DRAFT AND DIRECT‑VENT
Suzanne Davis
 4953 
Chapter
Mod #
Comment
Update section Appendix C IFGC to implement FBC approved plan for 2013 Code.
3003
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

3004‑Recommended Procedure for Safety Inspection of an Existing Application Installation
Section
RECOMMENDED PROCEDURE FOR SAFETY INSPECTION OF AN
Suzanne Davis
 4954 
Chapter
Mod #
Comment
Update section Appendix D IFGC to implement FBC approved plan for 2013 Code.
3004
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

SubCode
Plumbing
Ü
1‑Scope And Administration
Section
101, 102
Suzanne Davis
 5038 
Chapter
Mod #
Comment
Update section 101‑110 Plumbing to implement FBC approved plan for 2013 code
1
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

6‑Water Supply and Distribution
Section
608.13.2 and 608.13.7
David Brown
 5572 
Chapter
Mod #
Comment
Sections 608.13.2 &amp; 608.13.7 of the Code require an additional sentence to bring them into compliance with a number of federal anti‑terrorism laws and the Florida Statutes.
6
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

PLUMBING TAC
WITH COMMENTS

Page 3 of 4
12/20/2012

Total Mods for  Plumbing in  No Affirmative Recommendation with a Second
TAC: 
Plumbing
 10
Section
610
Suzanne Davis
 5064 
Chapter
Mod #
Comment
Update section 610.1 Plumbing to implement FBC approved plan for 2013 code
6
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

13‑Gray Water Recycling Systems
Section
Referenced Standards
Suzanne Davis
 5070 
Chapter
Mod #
Comment
Update section Referenced Standards Plumbing to implement FBC approved plan for 2013 code
13
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

3201‑Plumbing Permit Fee Schedule
Section
Plumbing Fee Schedule
Suzanne Davis
 5074 
Chapter
Mod #
Comment
Update the Apendix A Plumbing to implement FBC approved plan for 2013 code
3201
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

3203‑Vacuum Drainage System
Section
Vacuum Drainage System
Suzanne Davis
 5075 
Chapter
Mod #
Comment
Update section Appendix C to implement FBC approved plan for 2013 code.
3203
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

3206‑Structural Safety

PLUMBING TAC
WITH COMMENTS

Page 4 of 4
12/20/2012

Total Mods for  Plumbing in  No Affirmative Recommendation with a Second
TAC: 
Plumbing
 10
Section
Appendix F
Suzanne Davis
 5076 
Chapter
Mod #
Comment
Update section Appendix F Plumbing to implement FBC approved plan for 2013 code
3206
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
P
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria