SPECIAL OCCUPANCY TAC
WITH COMMENTS

Page 1 of 3
12/20/2012

Approved as Modified
TAC Recommendation
Ü
Total Mods for reports:  9
Total Mods for  Special Occupancy in  Approved as Modified
TAC: 
Special Occupancy
 1
SubCode
Existing Building
Ü
4‑Prescriptive Compliance Method
Section
402.2, 403.2, 404.5, 408.2, 601.3, 606.2.4, 701.3,
Rebecca Quinn obo DEM
 5573 
Chapter
Mod #
Comment
For compliance with flood provisions, refer to the FBC, Building or FBC, Residential, as applicable.  Approved as Submitted (EB‑14) and FEMA will submit public comment to extend to rest of the EB as shown here.
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W

Approved as Submitted
TAC Recommendation
Ü
Total Mods for reports:  9
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 3
SubCode
Building
Ü
18‑Soils and Foundations
Section
1816.1.7
Steven Dwinell
 5801 
Chapter
Mod #
Comment
Modify language to state that contracts offered for termite protection compy with Chapter 482, F.S., the Florida Structural Pest Control Act.
18
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W

SubCode
Mechanical
Ü
3‑General Regulations
Section
M301.13
Rebecca Quinn obo DEM
 5682 
Chapter
Mod #
Comment
Achieves terminology consistency between the building code, the residential code and ASCE 24.  Approved as Submitted for the 2015 IBC (S103‑12).
3
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W

SubCode
Plumbing
Ü

SPECIAL OCCUPANCY TAC
WITH COMMENTS

Page 2 of 3
12/20/2012

Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 3
3‑General Regulations
Section
M309.3
Rebecca Quinn obo DEM
 5684 
Chapter
Mod #
Comment
Limits application of Coastal A Zone requirements only if the CAZ is delineated on a map or designated by the community.  Submitted as public comment at suggestion of IBC Structural Committee (S102‑12).
3
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W

No Affirmative Recommendation with a Second
TAC Recommendation
Ü
Total Mods for reports:  9
Total Mods for  Special Occupancy in  No Affirmative Recommendation with a Second
TAC: 
Special Occupancy
 5
SubCode
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Section
453
Paul Coats
 5326 
Chapter
Mod #
Comment
This modification eliminates the Florida‑specific construction type restrictions for public schools in Special Occupancy Section 453 in favor of using the construction type provisions for schools in Chapters 5 and 6 of the Florida Building Code, which are based on the IBC.
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

16‑Structural Design
Section
1612, 202, 1403.7, 1603.1.7, 1804.4
Rebecca Quinn obo DEM
 5271 
Chapter
Mod #
Comment
Limits application of Coastal A Zone requirements only if the CAZ is delineated on a map or designated by the community.  Submitted as public comment at suggestion of IBC Structural Committee (S102‑12).
16
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

38‑Elevators and Conveying Systems

SPECIAL OCCUPANCY TAC
WITH COMMENTS

Page 3 of 3
12/20/2012

Total Mods for  Special Occupancy in  No Affirmative Recommendation with a Second
TAC: 
Special Occupancy
 5
Section
3012
DOUG MELVIN
 5272 
Chapter
Mod #
Comment
ADD &amp; REVISE Sections 3012.1.3, 3012.1.4 and 3012.1.7 in the 2010 Florida Building Code with additional text, to ADD to the Florida Supplement and to 2013 FBC regarding Bulletin Boards.
38
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

35‑Referenced Standards
Section
3500
Rebecca Quinn obo DEM
 5138 
Chapter
Mod #
Comment
Update reference to ASCE 24, Flood Resistant Design and Construction, to the upcoming 2012 edition.  Approved as Submitted for 2015 IBC.
35
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

SubCode
Residential
Ü
45‑Referenced Standards
Section
4500
Rebecca Quinn obo DEM
 5289 
Chapter
Mod #
Comment
Update reference to ASCE 24, Flood Resistant Design and Construction, to the upcoming 2012 edition.  FEMA will propose for the 2015 IRC to be consistent with Approved as Submitted for the 2015 IBC.
45
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
SP
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria