ENERGY TAC
WITHOUT COMMENTS

Page 1 of 21
12/20/2012

Approved as Modified
TAC Recommendation
Ü
Total Mods for reports:  79
Total Mods for  Energy in  Approved as Modified
TAC: 
Energy
 10
SubCode
Energy Conservation
Ü
1‑[CE] ‑ Scope and Administration
Mod #
 5959 
Proponent
Amanda Hickman
C101.4.3
Section
1
Chapter
Approved as Modified
Adds exception to list for Additions, alterations, renovations or repairs to an existing building.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5065 
Proponent
Ann Stanton
C101.4.7
Section
1
Chapter
Approved as Modified
Add Buildiing systems language for replacement equipment to code from 2010 FBC.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5066 
Proponent
Ann Stanton
C101.4.8
Section
1
Chapter
Approved as Modified
Add Florida‑specific code exemptions to the 2013 code.
Summary
Commission Action
I

NAR

AM

W

AS

1‑[RE] ‑ Scope and Administration
Mod #
 5957 
Proponent
Amanda Hickman
R101.4.3
Section
1
Chapter
Approved as Modified
Adds exception to list for Additions, alterations, renovations or repairs to an existing building.
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 2 of 21
12/20/2012

Total Mods for  Energy in  Approved as Modified
TAC: 
Energy
 10
Mod #
 5031 
Proponent
Ann Stanton
R101.4.7
Section
1
Chapter
Approved as Modified
Include provisions for new Building systems installed in existing buildings per Ch. 553.903, FS.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5033 
Proponent
Ann Stanton
R103.1.1
Section
1
Chapter
Approved as Modified
Provides for Florida‑specific code compliance certification.
Summary
Commission Action
I

NAR

AM

W

AS

4‑[CE] ‑ Commercial Energy Efficiency
Mod #
 5740 
Proponent
Ann Stanton
C407.4
Section
4
Chapter
Approved as Modified
Make documentation of software Florida‑specific.
Summary
Commission Action
I

NAR

AM

W

AS

4‑[RE] ‑ Residential Energy Efficiency
Mod #
 4987 
Proponent
Michael Nau
R402.1.1 &amp; 402.1.3
Section
4
Chapter
Approved as Modified
This proposal establishes a U‑factor for Climate Zone 1 and makes allowances for impact product in Florida in the 2013 Code.
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 3 of 21
12/20/2012

Total Mods for  Energy in  Approved as Modified
TAC: 
Energy
 10
Mod #
 5697 
Proponent
Ann Stanton
R402.2.12
Section
4
Chapter
Approved as Modified
Add Florida‑specific criteria for installing air handlers in attics.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5053 
Proponent
Ann Stanton
R403.4.3
Section
4
Chapter
Approved as Modified
Add Florida‑specific water heater efficiencies to the 2013 FBC.
Summary
Commission Action
I

NAR

AM

W

AS

Approved as Submitted
TAC Recommendation
Ü
Total Mods for reports:  79
Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
SubCode
Energy Conservation
Ü
9‑Appendix C
Mod #
 6010 
Proponent
Ann Stanton
Form R400D
Section
9
Chapter
Approved as Submitted
Need to update energy code form for residential prescriptive code compliance.
Summary
Commission Action
I

NAR

AM

W

AS

1‑[CE] ‑ Scope and Administration

ENERGY TAC
WITHOUT COMMENTS

Page 4 of 21
12/20/2012

Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
Mod #
 5067 
Proponent
Ann Stanton
C101.4.10
Section
1
Chapter
Approved as Submitted
Add Florida‑specific Limited or special use buildings category to the code from the 2010 FBC.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5691 
Proponent
Ann Stanton
C101.4.9
Section
1
Chapter
Approved as Submitted
Add Florida‑specific criteria for shell buildings.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5071 
Proponent
Ann Stanton
C101.5.1
Section
1
Chapter
Approved as Submitted
Add Florida‑specific compliance maters requirements to the 2013 code.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5069 
Proponent
Ann Stanton
C103.1.1
Section
1
Chapter
Approved as Submitted
Add Florida‑specific commercial &amp; residential highrise building certification criteria to the 2013 FBC.
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 5 of 21
12/20/2012

Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
Mod #
 5695 
Proponent
Ann Stanton
C107‑109
Section
1
Chapter
Approved as Submitted
Reserve FL‑specific administrative provisions.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5073 
Proponent
Ann Stanton
C110
Section
1
Chapter
Approved as Submitted
Add reporting requirements from the 2010 energy code.
Summary
Commission Action
I

NAR

AM

W

AS

1‑[RE] ‑ Scope and Administration
Mod #
 5032 
Proponent
Ann Stanton
R101.4.8
Section
1
Chapter
Approved as Submitted
Provides Florida‑specific code exemptions per S. 553.905, FS, etc.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5693 
Proponent
Ann Stanton
R101.5.1
Section
1
Chapter
Approved as Submitted
Add Florida‑specific code compliance forms for residential buildings.
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 6 of 21
12/20/2012

Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
Mod #
 5696 
Proponent
Ann Stanton
R107‑109
Section
1
Chapter
Approved as Submitted
Reserve FL‑specific administrative provisions.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5058 
Proponent
Ann Stanton
R110
Section
1
Chapter
Approved as Submitted
Add energy code reporting forms from 2010 code.
Summary
Commission Action
I

NAR

AM

W

AS

3‑[CE] ‑ General Requirements
Mod #
 5077 
Proponent
Ann Stanton
C304
Section
3
Chapter
Approved as Submitted
Add Florida‑specific materials testing and thermal properties criteria from the 2010 FBC.
Summary
Commission Action
I

NAR

AM

W

AS

4‑[CE] ‑ Commercial Energy Efficiency
Mod #
 4938 
Proponent
Kenneth Cureton
C402.4.9 Building cavities
Section
4
Chapter
Approved as Submitted
Add section C402.4.9 Building cavities
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 7 of 21
12/20/2012

Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
Mod #
 4964 
Proponent
Ken Cureton
C403.2.1
Section
4
Chapter
Approved as Submitted
MODIFY section C403.2.1 as follows:
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 4968 
Proponent
Ken Cureton
C403.2.4.3.4
Section
4
Chapter
Approved as Submitted
Add Section C403.2.4.3.4 Humidistatic Control
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 4969 
Proponent
Ken Cureton
C403.2.7
Section
4
Chapter
Approved as Submitted
MODIFY section C403.2.7 Duct and plenum insulation and sealing as follows
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 4970 
Proponent
Ken Cureton
C403.4.8
Section
4
Chapter
Approved as Submitted
ADD section C403.4.8 ‑ Condensing coils installed in cool air stream of another air‑conditioning unit as follows
Summary
Commission Action
I

NAR

AM

W

AS

Page 8 of 21
12/20/2012

Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
Mod #
 5060 
Proponent
Ann Stanton
C404.7
Section
4
Chapter
Approved as Submitted
Add Florida‑specifc language that requires pool heaters to meet minimum efficiencies as in the 2010 FBC.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 4971 
Proponent
Ken Cureton
C404.8
Section
4
Chapter
Approved as Submitted
ADD section C404.8 Water flow rate controls as follows
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 4989 
Proponent
Ken Cureton
C405.7
Section
4
Chapter
Approved as Submitted
MODIFY section C405.7 Electrical power as follows
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5215 
Proponent
Ann Stanton
C407.2.1
Section
4
Chapter
Approved as Submitted
The performance method of the IECC has no code minimum for insulation in the roof. The Florida‑specific from the 2010 FBC‑Energy Conservation is proposed.
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

ENERGY TAC
WITHOUT COMMENTS

Page 9 of 21
12/20/2012

Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
Mod #
 5837 
Proponent
Muthusamy Swami
C407.3
Section
4
Chapter
Approved as Submitted
Modifies C407.3 Performance‑based compliance to make energy cost used in the calculation uniform.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5845 
Proponent
Muthusamy Swami
C407.5.1(1)
Section
4
Chapter
Approved as Submitted
TABLE C407.5.1(1)—continued
SPECIFICATIONS FOR THE STANDARD REFERENCE AND PROPOSED DESIGNS
to make calculation process uniform
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5849 
Proponent
Muthusamy Swami
C407.5.2.4
Section
4
Chapter
Approved as Submitted
Adds section C407.5.2.4 to deal with vegetative roofs and ERV creditd
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5860 
Proponent
Muthusamy Swami
C407.5.3.2
Section
4
Chapter
Approved as Submitted
Adds new Section C407.5.3 that modifies section 11.3.2 from the referenced standard ASHRAE 90.1
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 10 of 21
12/20/2012

Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
Mod #
 5853 
Proponent
Muthusamy Swami
C407.5.3
Section
4
Chapter
Approved as Submitted
Adds table Table C407.5.3.1 HVAC Systems to modify referenced ASHRAE standard 90.1
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5778 
Proponent
Ann Stanton
C407.6.1
Section
4
Chapter
Approved as Submitted
Make &quot;specific approvals&quot; Florida specific.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 4990 
Proponent
Ken Cureton
C408.2.2
Section
4
Chapter
Approved as Submitted
MODIFY section C408.2.2 Air distribution system testing, adjusting and balancing as follows
Summary
Commission Action
I

NAR

AM

W

AS

4‑[RE] ‑ Residential Energy Efficiency
Mod #
 5050 
Proponent
Ann Stanton
R401.3
Section
4
Chapter
Approved as Submitted
Replace IECC requirement for certificate with Florida requirement for EPL Disiplay Card as required by Florida law.
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 11 of 21
12/20/2012

Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
Mod #
 5605 
Proponent
Jeff Sonne / FSEC
R402.5 and R405.5.3
Section
4
Chapter
Approved as Submitted
THIS MODIFICATION APPLIES STRICTLY TO THE PERFORMANCE METHOD. This modification removes irrelevant climate‑zone U‑factor requirements from the performance method and moves performance compliance maximum fenestration SHGC requirement to Section R405.5.3 and provides overhang depth alternative.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5844 
Proponent
Cheryl Harris
R403.6.1.2 &amp; R403.6.1.3
Section
4
Chapter
Approved as Submitted
To maintain Florida Specific Code related to heating equipment capacity
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5057 
Proponent
Ann Stanton
R403.6.1
Section
4
Chapter
Approved as Submitted
Add Florida‑specific equipment sizing criteria from the 2010 code.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5046 
Proponent
Ann Stanton
R405.2.1
Section
4
Chapter
Approved as Submitted
Include Florida minimum ceiling R‑value of R‑19, space permitting, which has been in Florida law since 1980.
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 12 of 21
12/20/2012

Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
Mod #
 5699 
Proponent
Jeff Sonne / FSEC
R405.3, Appendix B B‑1
Section
4
Chapter
Approved as Submitted
Modify section R405.3 to mirror the compliance calculation method used in the 2010 FEC and add Appendix B from 2010 FEC to specify the calculation methods.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5445 
Proponent
Mark Nowak
R405.5.2(1)
Section
4
Chapter
Approved as Submitted
Reintroduces mechanical equipment efficiency as a variable in the simulated performance option.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5047 
Proponent
Ann Stanton
R405.5.3
Section
4
Chapter
Approved as Submitted
Adds Florida‑specific calculation procedures for glazing.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5943 
Proponent
Jeff Sonne / FSEC
R405.6.3
Section
4
Chapter
Approved as Submitted
Reduce Energy Factors of proposed home instantaneous water heaters for performance compliance calculations.
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 13 of 21
12/20/2012

Total Mods for  Energy in  Approved as Submitted
TAC: 
Energy
 40
Mod #
 5049 
Proponent
Ann Stanton
R405.7
Section
4
Chapter
Approved as Submitted
Add requirements for residential energy code credit options from 2010 code.
Summary
Commission Action
I

NAR

AM

W

AS

5‑[RE] ‑ Referenced Standards
Mod #
 5802 
Proponent
Jeff Sonne / FSEC
R‑RESNET
Section
5
Chapter
Approved as Submitted
Add RESNET 2006 Mortgage Industry National Home Energy Rating Systems Standards as duct airtightness testing reference.
Summary
Commission Action
I

NAR

AM

W

AS

SubCode
Existing Building
Ü
11‑Additions
Mod #
 5871 
Proponent
Ken Cureton
1106
Section
11
Chapter
Approved as Submitted
Modify SECTION 1106.1
Summary
Commission Action
I

NAR

AM

W

AS

No Affirmative Recommendation with a Second
TAC Recommendation
Ü
Total Mods for reports:  79
Total Mods for  Energy in  No Affirmative Recommendation with a Second
TAC: 
Energy
 11
SubCode
Energy Conservation
Ü
1‑[CE] ‑ Scope and Administration

ENERGY TAC
WITHOUT COMMENTS

Page 14 of 21
12/20/2012

Total Mods for  Energy in  No Affirmative Recommendation with a Second
TAC: 
Energy
 11
Mod #
 5059 
Proponent
Ann Stanton
C101.4.1
Section
1
Chapter
No Affirmative Recommendation with a Second
Add Florida‑specific table, Applicability, Existing Buildings, from 2010 code.
Summary
Commission Action
I

NAR

AM

W

AS

1‑[RE] ‑ Scope and Administration
Mod #
 5030 
Proponent
Ann Stanton
R101.4.1
Section
1
Chapter
No Affirmative Recommendation with a Second
Clarify Florida‑specific applicability of energy code criteria for existing buildings .
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5807 
Proponent
Cheryl Harris
R101.4.7.1.1
Section
1
Chapter
No Affirmative Recommendation with a Second
To modify Florida specific code related to duct sealing
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5809 
Proponent
Cheryl Harris
R101.4.7.1.2
Section
1
Chapter
No Affirmative Recommendation with a Second
To modify the Florida Specific Code related to replacement equipment sizing
Summary
Commission Action
I

NAR

AM

W

AS

4‑[RE] ‑ Residential Energy Efficiency

ENERGY TAC
WITHOUT COMMENTS

Page 15 of 21
12/20/2012

Total Mods for  Energy in  No Affirmative Recommendation with a Second
TAC: 
Energy
 11
Mod #
 5000 
Proponent
Michael Nau
R402.3.6
Section
4
Chapter
No Affirmative Recommendation with a Second
This proposal establishes the current 2010 code values for replacement fenestration in the 2013 Code
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 6022 
Proponent
Joseph Belcher
R402.3.6
Section
4
Chapter
No Affirmative Recommendation with a Second
Modification to replacement window provisions.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5624 
Proponent
Arlene Stewart
R402.4.1.2
Section
4
Chapter
No Affirmative Recommendation with a Second
Proposal cross references Florida statute on certified professionals as applicable to the IECC provision
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 6015 
Proponent
Jeff Sonne / FSEC
R403.2.1
Section
4
Chapter
No Affirmative Recommendation with a Second
Prescriptive compliance duct location and insulation.
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 16 of 21
12/20/2012

Total Mods for  Energy in  No Affirmative Recommendation with a Second
TAC: 
Energy
 11
Mod #
 5628 
Proponent
Arlene Stewart
R403.2.2
Section
4
Chapter
No Affirmative Recommendation with a Second
Proposal cross references Florida statute on certified professionals as applicable to the IECC provision
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5814 
Proponent
Representing FL Swimming Pool Assoc
R403.9
Section
4
Chapter
No Affirmative Recommendation with a Second
Moves swimming pool and spa criteria from 2010 code, with exception of APSP‑15 reference, forward into the 2013 code.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5741 
Proponent
Ann Stanton
R405.4
Section
4
Chapter
No Affirmative Recommendation with a Second
Make documentation of software Florida‑specific.
Summary
Commission Action
I

NAR

AM

W

AS

Withdrawn
TAC Recommendation
Ü
Total Mods for reports:  79
Total Mods for  Energy in  Withdrawn
TAC: 
Energy
 2
SubCode
Energy Conservation
Ü
4‑[CE] ‑ Commercial Energy Efficiency
Mod #
 5125 
Proponent
jerry paul
C403.2.3(7)
Section
4
Chapter
Withdrawn
In Table C403.2.3(7), combine the water cooled, electrically operated, positive displacement and centrifugal chiller categories into a single category, &quot;Water cooled electrically operated chillers&quot; with the higher energy efficiency requirements now achievable by all.
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 17 of 21
12/20/2012

Total Mods for  Energy in  Withdrawn
TAC: 
Energy
 2
4‑[RE] ‑ Residential Energy Efficiency
Mod #
 5698 
Proponent
Dwight Wilkes
R402.1.1
Section
4
Chapter
Withdrawn
To reinstate the current Florida footnote to Table R402.1.1 in the Base code [2012 IECC] for impact rated fenestration products with modification to U‑factor.
Summary
Commission Action
I

NAR

AM

W

AS

No Affirmative Recommendation without a Second
TAC Recommendation
Ü
Total Mods for reports:  79
Total Mods for  Energy in  No Affirmative Recommendation without a Second
TAC: 
Energy
 16
SubCode
Energy Conservation
Ü
1‑[CE] ‑ Scope and Administration
Mod #
 5876 
Proponent
Cheryl Harris
C103.2.1
Section
1
Chapter
No Affirmative Recommendation without a Second
To maintain Florida Specific Code related to Code Compliance forms for Energy Calculations
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5825 
Proponent
Cheryl Harris
C103.2.3
Section
1
Chapter
No Affirmative Recommendation without a Second
To maintain Florida Specific Code related to energy calculations
Summary
Commission Action
I

NAR

AM

W

AS

1‑[RE] ‑ Scope and Administration

ENERGY TAC
WITHOUT COMMENTS

Page 18 of 21
12/20/2012

Total Mods for  Energy in  No Affirmative Recommendation without a Second
TAC: 
Energy
 16
Mod #
 5811 
Proponent
Cheryl Harris
R101.4.7.1.2
Section
1
Chapter
No Affirmative Recommendation without a Second
To modify the Florida Specific Code related to replacement equipment sizing
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5820 
Proponent
Cheryl Harris
R101.4.7.1.3
Section
1
Chapter
No Affirmative Recommendation without a Second
To maintain the Florida Specific Code related to replacement equipment efficiencies.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5806 
Proponent
Cheryl Harris
R101.4.7
Section
1
Chapter
No Affirmative Recommendation without a Second
To maintain Florida Specific code related to Building Systems
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5824 
Proponent
Cheryl Harris
R103.2.1
Section
1
Chapter
No Affirmative Recommendation without a Second
To maintain Florida Specific Code related to Code Compliance forms for Energy Calculations
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 19 of 21
12/20/2012

Total Mods for  Energy in  No Affirmative Recommendation without a Second
TAC: 
Energy
 16
Mod #
 5829 
Proponent
Cheryl Harris
R103.2.3
Section
1
Chapter
No Affirmative Recommendation without a Second
To maintain Florida Specific Code related to energy calculations
Summary
Commission Action
I

NAR

AM

W

AS

3‑[CE] ‑ General Requirements
Mod #
 5833 
Proponent
Cheryl Harris
C303.2.3
Section
3
Chapter
No Affirmative Recommendation without a Second
To maintain Florida Specific Code related to recessed equipment and insulation requirements
Summary
Commission Action
I

NAR

AM

W

AS

3‑[RE] ‑ General Requirements
Mod #
 5832 
Proponent
Cheryl Harris
R303.2.3
Section
3
Chapter
No Affirmative Recommendation without a Second
To maintain Florida Specific Code related to recessed equipment and insulation requirements
Summary
Commission Action
I

NAR

AM

W

AS

4‑[CE] ‑ Commercial Energy Efficiency
Mod #
 5848 
Proponent
Cheryl Harris
C403.2.1
Section
4
Chapter
No Affirmative Recommendation without a Second
To maintain Florida specific code related to calculation of heating and cooling loads
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 20 of 21
12/20/2012

Total Mods for  Energy in  No Affirmative Recommendation without a Second
TAC: 
Energy
 16
Mod #
 5851 
Proponent
Cheryl Harris
C403.2.2
Section
4
Chapter
No Affirmative Recommendation without a Second
To maintain Florida Specific code relate to equipment sizing
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5877 
Proponent
Robert Volin
C403.2.4
Section
4
Chapter
No Affirmative Recommendation without a Second
Add sizing calculations as per current code
Summary
Commission Action
I

NAR

AM

W

AS

4‑[RE] ‑ Residential Energy Efficiency
Mod #
 5051 
Proponent
Cheryl Harris
R403.2.4
Section
4
Chapter
No Affirmative Recommendation without a Second
To maintain Florida Specific Code related to air handling units in attics
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5873 
Proponent
Robert Volin
R403.2.4
Section
4
Chapter
No Affirmative Recommendation without a Second
Add sizing calculations as per current code
Summary
Commission Action
I

NAR

AM

W

AS

ENERGY TAC
WITHOUT COMMENTS

Page 21 of 21
12/20/2012

Total Mods for  Energy in  No Affirmative Recommendation without a Second
TAC: 
Energy
 16
Mod #
 5843 
Proponent
Cheryl Harris
R403.6.1
Section
4
Chapter
No Affirmative Recommendation without a Second
To maintain Florida Specific Code related to equipment sizing
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5056 
Proponent
Ann Stanton
R403.6.2
Section
4
Chapter
No Affirmative Recommendation without a Second
Add Florida‑specific efficiencies for HVAC equipment fro 2010 code.
Summary
Commission Action
I

NAR

AM

W

AS

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
EN
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria