Page 1 of 6
12/20/2012

Approved as Submitted
TAC Recommendation
Ü
Total Mods for reports:  20
Total Mods for  Swimming Pool in  Approved as Submitted
TAC: 
Swimming Pool
 6
SubCode
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 5810 
Proponent
Alex Fletcher
454.1.2.2.3.1 Floor slope shall be uniform
Section
4
Chapter
Approved as Submitted
Reduce the minimum slope from one unit vertical in 40 units horizontal to one unit vertical in 60 units horizontal.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5846 
Proponent
Alex Fletcher
454.1.7.2 Depths
Section
4
Chapter
Approved as Submitted
Adds the word depth
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5856 
Proponent
Alex Fletcher
454.1.9.3.1
Section
4
Chapter
Approved as Submitted
Reduce unneccessary wording.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5863 
Proponent
Alex Fletcher
454.1.9.8.2
Section
4
Chapter
Approved as Submitted
Removes the requirement for an automatic skimmer in a collector tank for an Interactive Water Feature
Summary
Commission Action
I

NAR

AM

W

AS

SWIMMING POOL TAC
WITHOUT COMMENTS

Page 2 of 6
12/20/2012

Total Mods for  Swimming Pool in  Approved as Submitted
TAC: 
Swimming Pool
 6
Mod #
 5866 
Proponent
Alex Fletcher
454.1.9.8.3
Section
4
Chapter
Approved as Submitted
Returns the treated water to the pressure side of the reciculation system.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5867 
Proponent
Alex Fletcher
454.1.9.8.6.1
Section
4
Chapter
Approved as Submitted
Returns treated water to the collector tank for longer contact time.
Summary
Commission Action
I

NAR

AM

W

AS

No Affirmative Recommendation with a Second
TAC Recommendation
Ü
Total Mods for reports:  20
Total Mods for  Swimming Pool in  No Affirmative Recommendation with a Second
TAC: 
Swimming Pool
 10
SubCode
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 5821 
Proponent
Alex Fletcher
454.1.6.5.14 Heaters
Section
4
Chapter
No Affirmative Recommendation with a Second
Removes the ambiguity of having each different jurisdiction approve standards that are already nationally recognized.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5823 
Proponent
Alex Fletcher
454.1.6.5.16.2 Hypophalogenetion and electrolytic
Section
4
Chapter
No Affirmative Recommendation with a Second
States that supplemental use of Electrlytic Chlorine Generators shall not be considered modifications.
Summary
Commission Action
I

NAR

AM

W

AS

Page 3 of 6
12/20/2012

Total Mods for  Swimming Pool in  No Affirmative Recommendation with a Second
TAC: 
Swimming Pool
 10
Mod #
 5828 
Proponent
Alex Fletcher
454.1.6.5.16.6
Section
4
Chapter
No Affirmative Recommendation with a Second
Eliminates the need to supply a certificate of performance to each jurisdiction and allows for equipment to comply with later editons of the USEPA Ultraviolet Disinfection Guidence Manuel.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5818 
Proponent
Alex Fletcher
454.1.6.5.3.1 Perimeter overflow gutters
Section
4
Chapter
No Affirmative Recommendation with a Second
Reduce the abiguity of having each different jurisdiction approve the handhold design. It is too subjective.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5852 
Proponent
Alex Fletcher
454.1.9.2.1.3.1
Section
4
Chapter
No Affirmative Recommendation with a Second
Reduce the ambiguity of trying to justify to each jurisdiction that riders will be adequetley slowed before reaching the receiving pool.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5859 
Proponent
Alex Fletcher
454.1.9.5.4
Section
4
Chapter
No Affirmative Recommendation with a Second
Eliminate &quot;to the department&#39;s satisfaction&quot;
Summary
Commission Action
I

NAR

AM

W

AS

Page 4 of 6
12/20/2012

Total Mods for  Swimming Pool in  No Affirmative Recommendation with a Second
TAC: 
Swimming Pool
 10
Mod #
 5861 
Proponent
Alex Fletcher
454.1.9.8.1
Section
4
Chapter
No Affirmative Recommendation with a Second
Change the collector tank size from 2 to 3 minutes of retention of the combined flow to match 64E‑9
Summary
Commission Action
I

NAR

AM

W

AS

35‑Referenced Standards
Mod #
 5839 
Proponent
BOAF CDC
Reference Standard
Section
35
Chapter
No Affirmative Recommendation with a Second
Add reference standard in ch 35 FBCB International Swimming Pool and Spa Code (ISPSC)
Summary
Commission Action
I

NAR

AM

W

AS

SubCode
Residential
Ü
45‑Referenced Standards
Mod #
 5874 
Proponent
Jennifer Hatfield
APSP
Section
45
Chapter
No Affirmative Recommendation with a Second
Provides latest editions of pool and spa standards.
Summary
Commission Action
I

NAR

AM

W

AS

Mod #
 5842 
Proponent
BOAF CDC
Referenced Standards
Section
45
Chapter
No Affirmative Recommendation with a Second
The ICC codes are the base code for Florida, there is now an International Swimming Pool and Spa Code (ISPSC) and that should be the base code for Florida.
Summary
Commission Action
I

NAR

AM

W

AS

Withdrawn
TAC Recommendation
Ü
Total Mods for reports:  20

Page 5 of 6
12/20/2012

Total Mods for  Swimming Pool in  Withdrawn
TAC: 
Swimming Pool
 4
SubCode
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 5579 
Proponent
Thomas Allen
454 Swimming Pools and Bathing Places
Section
4
Chapter
Withdrawn
utilize the International Swimming Pool and Spa Code (ISPSC) for all swimming Pool and Spa construction.
Summary
Commission Action
I

NAR

AM

W

AS

35‑Referenced Standards
Mod #
 5580 
Proponent
Thomas Allen
ICC Referanced Standards
Section
35
Chapter
Withdrawn
utilize the International Swimming Pool and Spa Code (ISPSC) for all swimming Pool and Spa construction.
Summary
Commission Action
I

NAR

AM

W

AS

SubCode
Residential
Ü
42‑Swimming Pools
Mod #
 5581 
Proponent
Thomas Allen
4201 Scope
Section
42
Chapter
Withdrawn
utilize the International Swimming Pool and Spa Code (ISPSC) for all swimming Pool and Spa construction.
Summary
Commission Action
I

NAR

AM

W

AS

45‑Referenced Standards

Page 6 of 6
12/20/2012

Total Mods for  Swimming Pool in  Withdrawn
TAC: 
Swimming Pool
 4
Mod #
 5583 
Proponent
Thomas Allen
ICC Referanced Standards
Section
45
Chapter
Withdrawn
utilize the International Swimming Pool and Spa Code (ISPSC) for all swimming Pool and Spa construction.
Summary
Commission Action
I

NAR

AM

W

AS

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
SW
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria