Mechanical Technical Advisory Committee – Comment

6th Edition (2017) Florida Building Code, Mechanical

M – Comment#1

Mo Madani – staff

Chapter 15, NFPA 90B-15:  While Mod 7022 added NFPA 90A and NFPA 90B to Chapter 15, there is not a specific reference to in the code to NFPA 90B for that it should be removed.

Mod 7022

Insert the following standards in alphabetical order within the list:

Chapter 15

Referenced Standards

NFPA 90A

NFPA 90B

TAC Recommendation:  Mr. Calleja entered a motion to recommend the comment by staff.  Mr. Pittman seconded the motion.  The motion passed unanimously with a vote of 9 to 0.

Commission Action: