## Slide 1: Mandatory Requirements Categorized
No | Description | Comment
1 | ASHRAE Mandatory requirements Categorized based on stage of compliance | Clarifies when and where mandatory requirement are to be complied with
2 | FBC (IECC 2012) Mandatory requirements Categorized based on stage of compliance | Clarifies when and where mandatory requirement are to be complied with

## Slide 2: Categories

## Slide 3: AEPO for HVAC Corrected
No | Description | Comment
3 | Additional Efficiency Performance Options for HVAC were corrected. | Transposed columns caused incorrect values to display

## Slide 4: Bugs Fixed
No | Description | Comment
4 | Crash when no south window existed was corrected | 
5 | External lighting compliance discrepancy between details report and front page summary was corrected | 
6 | Feature added to reset workspace data if corrupted | 
7 | Removed reference to incorrect form numbers on reports | 
8 | Discrepancy between SEER and EER for systems less than 65000 Btu/h was fixed | 
9 | WWR and Skylight percentage now calculated on the entire building rather than zone by zone | Makes both FBC and ASHRAE Consistent
10 | Crash due to incorrect Skylight percent value for Multifamily building fixed |