## Results
2017 FLcode ERI Method Tests |  |  |  |  | Software Name:
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Test Case | ERI | Reference Home End Use Loads (REUL) |  |  | Reference Home End Use Energy Consumption (EC_r) |  |  | Rated Home End Use Energy Consumption (EC_x) |  |  |  | ERI Tests | Manufacturer's Equipment Performance Rating (MEPR)
|  | Winter | Summer | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | L&A |  | Heating |  | Cooling |  | Hot Water
|  | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) |  | Fuel | MEPR | Fuel | MEPR | Fuel | MEPR
L100AO-01 | [11 empty] | #DIV/0! | elec | 8.5 | elec | 16 | elec | 3.2
L100AO-02 | [11 empty] | #DIV/0! | gas | 82% | elec | 14 | gas | 0.63
L100AO-03* | [11 empty] | #DIV/0! | elec | 9.5 | elec | 18 | elec | 3.5
L100AO-04* | [11 empty] | #DIV/0! | elec | 9.5 | elec | 18 | elec | 3.5
* For Cases L100A-03 and L100A-04 photovoltaic (PV) generation is not to be included in Rated Home results

## Worksheet
Test Case | Coefficients | [5 empty] | DSE_r |  |  | EEC_x |  |  | EEC_r |  |  | nEC_x |  |  | nMEUL |  |  | Total Loads |  | HERS Score
| Heating |  | Cooling |  | Hot Water |  | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | TnML | TRL
| a | b | a | b | a | b
1 | 2.2561 | 0 | 3.809 | 0 | 0.92 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0.40153 | 0.21331 | 0.3125 | 0.44325 | 0.26254 | 1.087 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 21.2718 | #DIV/0!
2 | 1.0943 | 0.403 | 3.809 | 0 | 1.1877 | 1.013 | #DIV/0! | #DIV/0! | #DIV/0! | 1.2195 | 0.24379 | 1.5873 | 1.2821 | 0.26254 | 1.6949 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 21.2718 | #DIV/0!
3 | 2.2561 | 0 | 3.809 | 0 | 0.92 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0.35926 | 0.18961 | 0.28571 | 0.44325 | 0.26254 | 1.087 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 21.2718 | #DIV/0!
4 | 2.2561 | 0 | 3.809 | 0 | 0.92 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0.35926 | 0.18961 | 0.28571 | 0.44325 | 0.26254 | 1.087 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 21.2718 | #DIV/0!
Test Case | Home |  | Lighting & Appliance Energy Uses
| CFA | Nbr | resMELs | intLgt | extLgts | Fridg | TVs | R/O | cDryer | dWash | cWash | total
1 | 1539 | 3 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 1.529 | 3.314 | 0.58362 | 0.23208 | 21.2718
2 | 1539 | 3 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 1.529 | 3.314 | 0.58362 | 0.23208 | 21.2718
3 | 1539 | 3 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 1.529 | 3.314 | 0.58362 | 0.23208 | 21.2718
4 | 1539 | 3 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 1.529 | 3.314 | 0.58362 | 0.23208 | 21.2718