## Slide 1
FBC Energy Technical Advisory Committee Teleconference Meeting
March 3, 2017
Improved Hot Water Code Calculation
Interim Progress Report

## Slide 2: Research Purpose and Goal
Characterize hot water waste sources
Characterize implications of climatic differences on hot water use
Characterize energy impacts of hot water recirculation systems and controls with respect to energy consumption in Florida homes
Recommend Florida-specific methods to employ in the Florida Energy Code for residential hot water use and energy consumption calculations

## Slide 3: Hot Water Systems Research
Principal factors not adequately considered by standard building energy code hot water calculations:
  Variation in service water temperatures by climate location
  Hot water system design significantly impacts both the quantity of hot water used and energy consumption
  Hot water circulation pumps can reduce hot water use but also dramatically increase energy use

## Slide 4
Project report will include recommendations suitable for consideration by the FBC in determining the most appropriate Florida-specific methods, procedure and calculation for determining the energy use effectiveness of domestic hot water systems for the residential FEC.
Expected Outcome and Impact
on the Code

## Slide 5
Four project tasks:
  Task 1: A “hot water” and “energy” search terms literature review
  Task 2: Development of hot water energy use calculation procedures by month, climate, circulation design and hot water system type
Research Approach

## Slide 6
Four project tasks (cont.):
  Task 3: Compare hot water energy use for 2, 3, and 4-bedroom homes in Miami, Orlando and Jacksonville calculated with new procedures vs. use determined by current code calculation
  Task 4: Using EnergyGauge simulations, determine and document the difference in overall energy code performance scores for two sample homes (hot water e-Ratios and total e-Ratios)
Research Approach

## Slide 7
Task 1 literature review listing provided with interim report
Task 2 calculation procedures developed (draft interactive Excel sheet and draft code modification language provided with interim report)
Progress to Date

## Slide 8
Literature Review:
Searched on "hot water distribution" and "energy" terms in NREL, LBNL, ASHRAE and DOE BA databases + general search + other
40+ pertinent documents identified
Review to date shows:
  Anticipated levels of waste
  Anticipated use factors– including plumbing design, insulation, climate (time of year and location) and occupant demographics
Progress to Date

## Slide 9
Calculation Procedure Development:
Starting point was ANSI/RESNET 301-2014 Addendum A-2015
Florida-specific adaptations include:
  Calculation by month
  Florida climate adjustment (Tmains and Fmix)
  FL climate examples: Tallahassee, Jacksonville, Daytona Beach, Orlando, Tampa and Miami
Progress to Date

## Slide 10
Calculation Procedure Development:
Starting point was ANSI/RESNET 301-2014 Addendum A-2015
Florida-specific adaptations include:
  Calculation by month
  Florida climate adjustment (Tmains and Fmix)
  FL climate examples: Tallahassee, Jacksonville, Daytona Beach, Orlando, Tampa and Miami
Solar and HRUs addressed “upstream”
Progress to Date

## Slide 11
Interactive Hot Water System Calculator (Draft)
Progress to Date

## Slide 12
Proposed Code Change Language (Draft)
Progress to Date

## Slide 13
Task 3: Compare hot water energy use for 2, 3, and 4-bedroom homes in Miami, Orlando and Jacksonville calculated with new procedures vs. use determined by current code calculation
Task 4: Using EnergyGauge simulations, determine and document the difference in overall energy code performance scores for two sample homes
Next Steps

## Slide 14
Literature review summary
Document Task 3 and 4 results
Final report delivered by June 1st
Project Completion