## Sheet1
10 Days Report Comments - April 2015 Cycle - Approved by DBPR
12875 | 2 | Nichiha Corporation | PANEL | Siding | Approved | REVISION
|  | Comment by Jaime Gascon | Gascon - Evaluation report for product .2 intended for use in the HVHZ is not by an approved evaluation entity recognized for having approvals processed with the expedited 10-day process. The ICC evaluation report uploaded for product .2 clearly states on the last sheet that it has not been evaluated for use in the HVHZ. Through use of an attached engineer's evaluation report this application circumvented applying under the required Method 1 Option D, and obtained an 'approval' status before coming to the PA-POC and Commission. Further, the PE evaluation indicates use of siding over OSB, which has not been proven to be and HVHZ large missile impact resistant substrate. The design pressure matching the tested values must also be listed on the BCIS. Correct application to indicate not for use in the HVHZ.
|  | POC Recommendation | The POC voted unanimously, 5 - 0 in favor, to recommend the Commission not ratify the approval of FL #12875 submitted for DBPR approval, on the basis that the application needs to be revised to remove all references to OSB from the evaluation report (not substantiated by testing), and product .2 be removed from the application and submitted for approval using compliance Method 1 (d), an evaluation report from a Florida Registered Architect or a licensed Florida Professional Engineer.