Page 1 of 4
3/1/2016
Electrical
1st 45 Day Comment Period
1st 45 Day Comment Period: 
2017 Triennial Original Modification 7/1/2015 ‑ 1/3/2016
Total Mods for this TAC:
Electrical
TAC:
 12 
SubCode
Building
1‑Scope and Administration
Section
110.9
Mo Madani
 6498 
Chapter
Mod #
Comment
The proposed code change requires as part of the close out inspection ensuring that the existing swimming pool bonding system is complete and terminated properly.
1
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

4‑Special Detailed Requirements Based on Use and Occupancy
Section
454.1.4.2.3
Bryan Holland
 6452 
Chapter
Mod #
Comment
This modification restores the electrical requirements for underwater luminaires to the national standard by removing redundant and unnecessary language.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Section
454.10.4
Mo Madani
 6496 
Chapter
Mod #
Comment
The proposed code change requires GFCI protection be provided for replacement of pool pump motors, if not already in place.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Section
454
Bryan Holland
 6531 
Chapter
Mod #
Comment
This modification adds electrical safety requirements to new swimming pools in response to the Commission&#39;s &quot;Swimming Pool Electrical Safety Project&quot; approved recommendations.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

35‑Electrical
AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)

Page 2 of 4
3/1/2016
Electrical
1st 45 Day Comment Period
Total Mods for this TAC:
Electrical
TAC:
 12 
Section
1
Bryan Holland
 6460 
Chapter
Mod #
Comment
This modification expands the requirements for the installation of lightning protection systems to certain commercial occupancies and provides exceptions to the new rule.
35
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Section
1
Mo Madani
 6492 
Chapter
Mod #
Comment
The proposed code change provides for provisions necessary to prevent electrocution in swimming pools by requiring that all pool electrical circuits feeding equipment have GFCI protection.
35
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

SubCode
Existing Building
3‑Provisions for All Compliance Methods
Section
302.6
Bryan Holland
 6529 
Chapter
Mod #
Comment
This modification adds electrical safety requirements to existing swimming pools in response to the Commission&#39;s &quot;Swimming Pool Electrical Safety Project&quot; approved recommendations.
3
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

4‑Prescriptive Compliance Method
Section
413
Mo Madani
 6493 
Chapter
Mod #
Comment
The proposed code change requires GFCI protection be provided for replacement of pool pump motors, if not already in place.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

7‑Alterations ‑ Level 1
AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)

Page 3 of 4
3/1/2016
Electrical
1st 45 Day Comment Period
Total Mods for this TAC:
Electrical
TAC:
 12 
Section
709
Mo Madani
 6494 
Chapter
Mod #
Comment
The proposed code change requires GFCI protection be provided for replacement of pool pump motors, if not already in place.
7
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

SubCode
Residential
39‑Power and Lighting Distribution
Section
3902
Joseph Belcher
 7078 
Chapter
Mod #
Comment
Removes kitchen and laundry areas from code.
39
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

42‑Swimming Pool[Electrical Provisions]
Section
4203.1.3
Mo Madani
 6491 
Chapter
Mod #
Comment
The proposed code change provides for provisions necessary to prevent electrocution in swimming pools by requiring that all pool electrical circuits feeding equipment have GFCI protection.
42
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

45‑Private Swimming Pool
Section
4501.16
Bryan Holland
 6530 
Chapter
Mod #
Comment
This modification adds electrical safety requirements to new swimming pools in response to the Commission&#39;s &quot;Swimming Pool Electrical Safety Project&quot; approved recommendations.
45
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)

Page 4 of 4
3/1/2016
Electrical
1st 45 Day Comment Period
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
E
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)