## WeeklyCommisionReport (38)
| FL# | Revision # | Category | Subcategory | Manufacturer | Application Type | DBPR | POC | FBC | Comments
Certification Mark or Listing
1 | 253 | 19 | EXTDOORS | Swinging Exterior Door Assemblies | PGT Industries | REV | a
2 | 1026 | 6 | ROOFING | Cements-Adhesives-Coatings | Karnak Corporation | REV | a
3 | 1747 | 14 | STRUCT | Roof Deck | McElroy Metal, Inc. | EDIT_CHG | a
4 | 1832 | 13 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
5 | 2358 | 10 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
6 | 3557 | 10 | STRUCT | Wood Connectors | Quick Tie Products, Inc. | REV | a
7 | 5179 | 24 | WINDOWS | Horizontal Slider | Simonton/Ply Gem Windows | REV | a
8 | 5291 | 5 | SKY_LITE | Skylight | Birdview Skylights | REV | a
9 | 7699 | 4 | ROOFING | Single Ply Roof Systems | Cooley Incorporated | REV | a
10 | 7812 | 7 | WINDOWS | Fixed | Kolbe Windows and Doors | REV | a
11 | 8051 | 9 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
12 | 8617 | 7 | SKY_LITE | Skylight | Sun-Tek Mfg | EDIT_CHG | a
13 | 8885 | 9 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
14 | 10181 | 9 | EXTDOORS | Sliding Exterior Door Assemblies | Nan Ya Plastics Corporation USA | REV | a
15 | 10296 | 10 | WINDOWS | Casement | JELD-WEN | REV | a
16 | 10297 | 14 | WINDOWS | Fixed | JELD-WEN | REV | a
17 | 10298 | 10 | WINDOWS | Double Hung | JELD-WEN | REV | a
18 | 10401 | 9 | WINDOWS | Awning | JELD-WEN | REV | a
19 | 10680 | 11 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
20 | 10938 | 12 | WINDOWS | Awning | JELD-WEN | REV | a
21 | 12937 | 7 | WINDOWS | Casement | Pella Corporation | REV | a
22 | 12938 | 7 | WINDOWS | Awning | Pella Corporation | REV | a
23 | 12939 | 7 | WINDOWS | Fixed | Pella Corporation | REV | a
24 | 13558 | 7 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | EDIT_CHG | a
25 | 13630 | 5 | WINDOWS | Awning | Marvin Windows and Doors | REV | a
26 | 13647 | 8 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
27 | 14608 | 8 | WINDOWS | Fixed | Eastern Architectural Systems | REV | a
28 | 15317 | 7 | WINDOWS | Casement | Ply Gem Windows | REV | a
29 | 15351 | 6 | WINDOWS | Horizontal Slider | MI Windows and Doors | EDIT_CHG | a
30 | 15351 | 7 | WINDOWS | Horizontal Slider | MI Windows and Doors | REV | a
31 | 15379 | 4 | EXTDOORS | Sliding Exterior Door Assemblies | Comfort View Products LLC | REV | a
32 | 15446 | 5 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
33 | 15464 | 4 | EXTDOORS | Sliding Exterior Door Assemblies | JELD-WEN | REV | a
34 | 15868 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Republic Doors and Frames | EDIT_CHG | a
35 | 15870 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Republic Doors and Frames | EDIT_CHG | a
36 | 15871 | 4 | EXTDOORS | Swinging Exterior Door Assemblies | Republic Doors and Frames | EDIT_CHG | a
37 | 16066 | 5 | WINDOWS | Double Hung | Slocomb Windows and Doors Inc. | REV | a
38 | 16067 | 3 | WINDOWS | Horizontal Slider | Slocomb Windows and Doors Inc. | EDIT_CHG | a
39 | 16069 | 3 | WINDOWS | Fixed | Slocomb Windows and Doors Inc. | REV | a
40 | 16137 | 1 | EXTDOORS | Sectional Exterior Door Assemblies | Plycraft Garage Doors | REV | a
41 | 16606 | 7 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
42 | 16692 | 4 | WINDOWS | Awning | Kolbe Windows and Doors | REV | a
43 | 17384 | 2 | WINDOWS | Double Hung | Magnolia Windows and Doors | REV | a
44 | 17531 | 6 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
45 | 17550 | 6 | EXTDOORS | Sliding Exterior Door Assemblies | Viwinco Inc. | REV | a
46 | 17676 | 8 | WINDOWS | Single Hung | MI Windows and Doors | REV | a
47 | 17763 | 2 | PANEL | Exterior Insulation Finish System | United States Gypsum Corporation | REV | a
48 | 17794 | 2 | WINDOWS | Fixed | Custom Window Systems Inc. | REV | a
49 | 17820 | 3 | WINDOWS | Single Hung | WinDoor Inc. | REV | a
50 | 17876 | 1 | PANEL | Wall Louver | Pottorff | REV | a
51 | 17880 | 4 | EXTDOORS | Sliding Exterior Door Assemblies | MI Windows and Doors | REV | a
52 | 17882 | 2 | EXTDOORS | Roll-Up Exterior Door Assemblies | DAB Doors Company, Inc. | REV | a
53 | 17905 | 4 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
54 | 17929 | 0 | ROOFING | Underlayments | IKO Industries, Ltd | NEW | a
55 | 17973 | 1 | WINDOWS | Fixed | SIW Impact Windows, LLC. | REV | a
56 | 18461 | 2 | ROOFING | Roofing Slate | Vermont Slate Company LLC | REV | a
57 | 18583 | 2 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | EDIT_CHG | a
58 | 18584 | 2 | EXTDOORS | Sliding Exterior Door Assemblies | Nan Ya Plastics Corporation USA | EDIT_CHG | a
59 | 19279 | 2 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | EDIT_CHG | a
60 | 19692 | 3 | WINDOWS | Horizontal Slider | WinDoor Inc. | REV | a
61 | 20056 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | EDIT_CHG | a
62 | 20118 | 3 | WINDOWS | Double Hung | JELD-WEN | REV | a
63 | 20532 | 3 | WINDOWS | Awning | Pella Corporation | REV | a
64 | 20675 | 2 | WINDOWS | Casement | Pella Corporation | REV | a
65 | 20731 | 2 | WINDOWS | Horizontal Slider | Moss Supply Company | REV | a
66 | 20759 | 2 | WINDOWS | Horizontal Slider | MI Windows and Doors | REV | a
67 | 20813 | 2 | WINDOWS | Fixed | Moss Supply Company | REV | a
68 | 21472 | 1 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Captiveaire Systems | REV | a
69 | 21639 | 2 | WINDOWS | Fixed | MI Windows and Doors | REV | a
70 | 22001 | 3 | WINDOWS | Casement | Kolbe Windows and Doors | REV | a
71 | 22363 | 5 | EXTDOORS | Swinging Exterior Door Assemblies | Masonite International | REV | a
72 | 22378 | 6 | EXTDOORS | Swinging Exterior Door Assemblies | Masonite International | REV | a
73 | 22633 | 4 | EXTDOORS | Swinging Exterior Door Assemblies | Masonite International | REV | a
74 | 23998 | 3 | WINDOWS | Fixed | Quaker Window Products Co. Inc. | REV | a
75 | 25886 | 3 | WINDOWS | Double Hung | Kolbe Windows and Doors | REV | a
76 | 26483 | 0 | PANEL | Siding | QC Facades | NEW | a
77 | 26586 | 0 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Rupp Air Management Systems | NEW | a
78 | 27420 | 0 | WINDOWS | Fixed | Seal Craft | NEW | a
79 | 27616 | 1 | WINDOWS | Fixed | Sierra Pacific Windows | REV | a
80 | 27673 | 1 | WINDOWS | Casement | Quaker Window Products Co. Inc. | REV | a
81 | 27673 | 2 | WINDOWS | Casement | Quaker Window Products Co. Inc. | REV | a
82 | 27674 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Rogue Valley Door | NEW | a
83 | 27676 | 1 | WINDOWS | Awning | Quaker Window Products Co. Inc. | REV | a
84 | 27940 | 1 | ROOFING | Underlayments | International Insulation Products | REV | a
85 | 28085 | 1 | WINDOWS | Single Hung | Quaker Window Products Co. Inc. | REV | a
86 | 28095 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | NEW | a
87 | 28291 | 1 | EXTDOORS | Sliding Exterior Door Assemblies | MI Windows and Doors | REV | a
88 | 28480 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Ercole USA LLC dba FBS Fortified and Ballistic Security | NEW | a
89 | 28486 | 0 | WINDOWS | Double Hung | Regency Plus Incorporated | NEW | a
90 | 28498 | 0 | WINDOWS | Fixed | MI Windows and Doors | NEW | a
91 | 28790 | 0 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | OMG, Inc. | NEW | a
92 | 28797 | 0 | WINDOWS | Single Hung | Croft,LLC | NEW | a
93 | 28821 | 0 | WINDOWS | Fixed | Croft,LLC | NEW | a
94 | 28822 | 0 | WINDOWS | Horizontal Slider | Croft,LLC | NEW | a
95 | 28823 | 0 | ROOFING | Underlayments | APOC, Sub of Gardner Asphalt Corp. | NEW | a
96 | 28824 | 0 | SHUTTERS | Storm Panels | Polygal Inc. | NEW | a
97 | 28843 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Northeast Building Products Inc. | NEW | a
98 | 28846 | 0 | WINDOWS | Horizontal Slider | Winco Window Company | NEW | a
99 | 28862 | 0 | SHUTTERS | Bahama | CGS Sales, Inc., dba Bahama Screens | NEW | a
100 | 28905 | 0 | ROOFING | Cements-Adhesives-Coatings | APOC, Sub of Gardner Asphalt Corp. | NEW | a
101 | 29070 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | Pella Corporation | NEW | a
102 | 29105 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Loewen Windows | NEW | a
103 | 29106 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | Bonelli Windows and Doors | NEW | a
104 | 29112 | 0 | WINDOWS | Awning | Regency Plus Incorporated | NEW | a
105 | 29150 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Pella Corporation | NEW | a
Evaluation Report from a Product Evaluation Entity
106 | 2037 | 6 | ROOFING | Roofing Insulation | Celcore Incorporated | REV | a
107 | 8283 | 4 | STRUCT | Wood Connectors | Tamlyn | REV | a
108 | 12487 | 4 | PANEL | Exterior Insulation Finish System | PAREX USA, INC. | REV | a
109 | 15228 | 4 | STRUCT | Engineered Lumber | LP EWP | REV | a
110 | 17155 | 3 | ROOFING | Underlayments | Protecto Wrap Company | REV | a
111 | 17789 | 3 | PANEL | Siding | Derby Building Products LLC | REV | a
112 | 22200 | 1 | PANEL | Siding | EQUITONE | REV | a
113 | 26922 | 0 | ROOFING | Underlayments | Gulnar Plastics Pvt. Ltd | NEW | a
114 | 28487 | 0 | STRUCT | Structural Wall | RENCo USA, Inc. | NEW | a
115 | 29080 | 0 | STRUCT | Anchors | DEWALT | NEW | a
Certification and Evaluation Entity Method
116 | 10338 | 21 | WINDOWS | Fixed | JELD-WEN | REV | a
| H. Makar's comment (Miami-Dade) |  | Does not comply w/ 2411.1.11.
| D. Stokes's response (Jeld-Wen) |  | Products listed in this application as approved for use in HVHZ have Large missile impact-resistant PVB glazed assemblies. Certification documents indicate “Missile Level D” rating. As per Section 2411.1.11, large missile impact-resistant glazed assemblies are not required to have a safety glazed exterior lite. SECTION 2411 HIGH-VELOCITY HURRICANE ZONES— WINDOWS, DOORS, GLASS AND GLAZING 2411.1.11 Exterior lite of glass in an insulated glass unit shall be safety glazed. Exceptions: 1. Large missile impact-resistant glazed assemblies. 2. Non missile impact units protected with shutters.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
117 | 10860 | 4 | STRUCT | Wood Connectors | Simpson Strong-Tie Co. | REV | a
| H. Makar's comment (Miami-Dade) |  | ESR-1622, ESR-2604 and ESR-3050 do not show compliance with FBC 2017 Edition.
| K.Cullum's Response |  | ICC-ES ESR-1622, ESR-2604, and ESR-3050, the underlying evaluation reports for FL10860-R4, all indicate compliance with the 2015 edition of the IBC and IRC, upon which the 2017 (6th Ed.) FBC – Building and Residential are based. The standards applicable to the products listed are identical in the I-Codes and FBC. Therefore, the evaluation report indicates that the products comply “with the appropriate section or standard of the Code,” per FL Rule 61G20-3.005, Item (4)(b).
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
118 | 10861 | 5 | STRUCT | Wood Connectors | Simpson Strong-Tie Co. | REV | a
| H. Makar's comment (Miami-Dade) |  | ESR-2605 does not show compliance with FBC 2017 Edition.
| K.Cullum's Response |  | ICC-ES ESR-2605, the underlying evaluation report for FL10861-R5, indicates compliance with the 2015 edition of the IBC and IRC, upon which the 2017 (6th Ed.) FBC – Building and Residential are based. The standards applicable to the products listed are identical in the I-Codes and FBC. Therefore, the evaluation report indicates that the products comply “with the appropriate section or standard of the Code,” per FL Rule 61G20-3.005, Item (4)(b).
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
119 | 15699 | 4 | WINDOWS | Single Hung | Custom Window Systems Inc. | REV | a
| H. Makar's comment (Miami-Dade) |  | Does not comply w/ 2411.1.11
| L.Turner's Response |  | Please note that the Evaluation Report in Approval FL15699-R4 indicates in the Limitations of Use section that I.G. glass with annealed outboard lite may not be used above 30 ft from grade in HVHZ. This is a Large Missile rated product therefore falls under Exception 1 of 2411.1.11 so outboard lite may be annealed below 30 ft of grade where Large Missile rating is required. This approval is compliant with 2411.1.11.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
120 | 15843 | 2 | EXTDOORS | Swinging Exterior Door Assemblies | Habersham Metal Products Company | REV | a
| H. Makar's comment (Miami-Dade) |  | Dwg not sealed & signed by FLA PE.
| J.Stapleton's response |  | All of the drawings included in the FL15843-R2 are part of a testing report prepared reviewed and promulgated by Intertek Middleton WI USA, a reputable international testing laboratory that maintains a staff of Professional Engineers. The revision to FBC 2017 was validated by the same entity Intertek at another office location in British Columbia Canada. The application was then approved by the Florida Department of Community Affairs. It is our understanding that Habersham has met the requirements for product approval. Should you require any further documentation or information from us at this time, please let me know. If the drawings need to be stamped, then I’m sure Intertek will accommodate, but we will need to be given time to perform this task.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
121 | 17239 | 3 | STRUCT | Wood Connectors | MiTek USA, Inc. (formerly USP Structural Connectors) | REV | a
| H. Makar's comment (Miami-Dade) |  | ESR-3449 does not show compliance with FBC 2017 Edition.
| Erin Walden's Response |  | See Attached
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
122 | 17292 | 4 | WINDOWS | Horizontal Slider | Shwinco Architectural Products, LLC | REV | a
| H. Makar's comment (Miami-Dade) |  | Glass A & B do not comply w/2411.1.11
| R. Lomas's Response |  | We have reviewed the application and in the "other" section indicates the following: REFER TO INSTALLATION INSTRUCTIONS FOR DESIGN PRESSURE RATINGS. GLAZING A AND B ARE QUALIFIED FOR LARGE MISSILE IMPACT APPLICATIONS ONLY INSIDE THE HVHZ AND FOR SMALL AND LARGE MISSILE IMPACT APPLICATIONS FOR OUTSIDE THE HVHZ. GLAZING C AND D ARE QUALIFIED FOR LARGE AND SMALL MISSILE IMPACT APPLICATIONS INSIDE AND OUTSIDE THE HVHZ. GLASS INTERLAYER COMPLIES WITH THE REQUIREMENTS OF THE FLORIDA BUILDING CODE ACCORDING TO MIAMI-DADE FOR EASTMAN INTERLAYERS. In the highlighted text glass A and B are qualified only for LMI usage which complies with the exception of 2411.1.11
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.