## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 491 | 7 | Revision | CertainTeed Corporation-Roofing | Roofing | Roofing Insulation | Recommend Approval |  | a | a
2 | 2534 | 12 | Revision | IB Roof Systems | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
3 | 2569 | 15 | Revision | Soprema, Inc. (Canada) | Roofing | Underlayments | Recommend Approval |  | a | a
4 | 3155 | 4 | Revision | CENTRIA | Structural Components | Structural Wall | Recommend Approval |  | a | a
5 | 3443 | 28 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
6 | 3836 | 0 | New | Arriscraft International | Panel Walls | Siding | Recommend Approval |  | a | a
7 | 3915 | 27 | Revision | Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
8 | 5293 | 33 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
9 | 5680 | 24 | Revision | GAF | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
10 | 5968 | 10 | Revision | Hunter Panels | Roofing | Roofing Insulation | Recommend Approval |  | a | a
11 | 6067 | 9 | Revision | Silver Line Building Products Corp. | Windows | Mullions | Recommend Approval |  | a | a
12 | 6252 | 6 | Revision | Superior Metal Systems, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a | a
13 | 6785 | 8 | Revision | Carlisle Coatings & Waterproofing | Roofing | Underlayments | Recommend Approval |  | a | a
14 | 9274 | 16 | Revision | Sika Sarnafil, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
15 | 9909 | 14 | Revision | Associated Materials Inc. | Windows | Fixed | Recommend Approval |  | a | a
16 | 10124 | 21 | Revision | GAF | Roofing | Asphalt Shingles | Recommend Approval |  | a | a
17 | 10143 | 5 | Revision | Superior Metal Systems, Inc. | Structural Components | Roof Deck | Recommend Approval |  | a | a
18 | 10465 | 12 | Revision | Associated Materials Inc. | Windows | Single Hung | Recommend Approval |  | a | a
19 | 11141 | 19 | Revision | Associated Materials Inc. | Windows | Horizontal Slider | Recommend Approval |  | a | a
20 | 11720 | 17 | Revision | Associated Materials Inc. | Windows | Double Hung | Recommend Approval |  | a | a
21 | 11842 | 6 | Revision | MFM Building Products Corp. | Roofing | Underlayments | Recommend Approval |  | a | a
22 | 11850 | 5 | Revision | Associated Materials Inc. | Windows | Awning | Recommend Approval |  | a | a
23 | 11946 | 10 | Revision | GAF | Roofing | Built up Roofing | Recommend Approval |  | a | a
24 | 12323 | 6 | Revision | Associated Materials Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
25 | 12510 | 8 | Revision | PrimeSource Building Products, Inc. | Roofing | Underlayments | Recommend Approval |  | a | a
26 | 12512 | 6 | Revision | AlphaProTech Engineered Products, Inc. | Roofing | Underlayments | Recommend Approval |  | a | a
27 | 12807 | 4 | Revision | Georgia Pacific-Gypsum | Panel Walls | Exterior Insulation Finish System | Recommend Approval |  | a | a
28 | 14083 | 20 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
29 | 14207 | 20 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
30 | 14289 | 7 | Revision | Crawford Tracey Corporation | Panel Walls | Storefronts | Recommend Approval |  | a | a
31 | 14969 | 7 | Revision | Worldwide Door Components Inc. | Exterior Doors | Exterior Door Components | Recommend Approval |  | a | a
32 | 15001 | 3 | Revision | Signature Door Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
33 | 15337 | 2 | Revision | Altech Panel Systems, Inc. | Panel Walls | Siding | Recommend Approval |  | a | a
34 | 15705 | 4 | Revision | WinDoor Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
35 | 15819 | 10 | Revision | Wincore Window Company, LLC | Windows | Double Hung | Recommend Approval |  | a | a
36 | 15891 | 2 | Revision | Sun Metals Systems, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a | a
37 | 15922 | 8 | Revision | Andersen Corporation | Windows | Mullions | Recommend Approval |  | a | a
38 | 16039 | 15 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
39 | 16092 | 6 | Revision | Wincore Window Company, LLC | Windows | Horizontal Slider | Recommend Approval |  | a | a
40 | 16202 | 5 | Revision | dormakaba USA Inc. / Door Hardware | Exterior Doors | Exterior Door Components | Recommend Approval |  | a | a
41 | 16311 | 10 | Revision | GAF | Roofing | Roofing Insulation | Recommend Approval |  | a | a
42 | 16406 | 3 | Revision | Altech Panel Systems, Inc. | Panel Walls | Siding | Recommend Approval |  | a | a
43 | 16440 | 16 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
44 | 16443 | 16 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
45 | 16453 | 4 | Revision | Barricade Building Products | Roofing | Underlayments | Recommend Approval |  | a | a
46 | 16499 | 3 | Revision | EFCO Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
47 | 16546 | 11 | Revision | Clopay Building Products Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a | a
48 | 16645 | 2 | Revision | The Garland Company, Inc. | Panel Walls | Siding | Recommend Approval |  | a | a
49 | 16730 | 20 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
50 | 16732 | 13 | Revision | GAF | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
51 | 16733 | 6 | Revision | GAF | Roofing | Built up Roofing | Recommend Approval |  | a | a
52 | 16739 | 17 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
53 | 16758 | 12 | Revision | Johns Manville | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
54 | 17084 | 7 | Revision | RESISTO, a division of Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
55 | 17116 | 5 | Revision | Derbigum | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
56 | 17184 | 7 | Revision | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
57 | 17187 | 2 | Revision | AGI (Architectural Graphics, Inc.) | Panel Walls | Siding | Recommend Approval |  | a | a
58 | 17202 | 4 | Revision | Lomanco, Inc | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a | a
59 | 17222 | 3 | Revision | Signature Door Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
60 | 17355 | 4 | Revision | Custom Window Systems Inc. | Windows | Horizontal Slider | Recommend Approval |  | a | a
61 | 17478 | 2 | Revision | Novum Structures LLC | Sky Lights | Skylight | Recommend Approval |  | a | a
62 | 17589 | 1 | Revision | C.T. Windows, LLC. formerly C.T. Windows, Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
63 | 17896 | 3 | Revision | E.S. Windows, Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
64 | 17897 | 2 | Revision | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a | a
65 | 18413 | 3 | Revision | Trulite Glass & Aluminum Solutions | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
66 | 18571 | 1 | Revision | C.T. Windows, LLC. formerly C.T. Windows, Inc. | Windows | Projected | Recommend Approval |  | a | a
67 | 19007 | 3 | Revision | Doers Window Manufacturing, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
68 | 20096 | 2 | Revision | dormakaba USA Inc. / Door Hardware | Exterior Doors | Exterior Door Components | Recommend Approval |  | a | a
69 | 20396 | 3 | Revision | E.S. Windows, Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
70 | 20701 | 3 | Revision | Enviralum Industries Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
71 | 20742 | 4 | Revision | Plycem USA LLC | Panel Walls | Siding | Recommend Approval |  | a | a
72 | 20877 | 3 | Revision | Trulite Glass & Aluminum Solutions | Panel Walls | Storefronts | Recommend Approval |  | a | a
73 | 21043 | 2 | Revision | Tracy Cantley & Company, Inc. DBA Lake Area Metal Solutions | Roofing | Metal Roofing | Recommend Approval |  | a | a
74 | 21833 | 3 | Revision | Reilly Windows & Doors | Windows | Fixed | Recommend Approval |  | a | a
75 | 21868 | 2 | Revision | Reilly Windows & Doors | Windows | Casement | Recommend Approval |  | a | a
76 | 22251 | 2 | Revision | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
77 | 22527 | 4 | Revision | E.S. Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
78 | 22558 | 3 | Revision | American Shutter Systems Association, Inc. | Impact Protective Systems | Operable | Recommend Approval |  | a | a
79 | 23301 | 2 | Revision | Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
80 | 23359 | 3 | Revision | CGI Windows and Doors | Windows | Horizontal Slider | Recommend Approval |  | a | a
81 | 23802 | 2 | Revision | IB Roof Systems | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
82 | 24226 | 2 | Revision | Andersen Corporation | Windows | Casement | Recommend Approval |  | a | a
83 | 24227 | 2 | Revision | Andersen Corporation | Windows | Awning | Recommend Approval |  | a | a
84 | 24230 | 1 | Revision | Andersen Corporation | Windows | Fixed | Recommend Approval |  | a | a
85 | 25610 | 3 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval |  | a | a
86 | 26575 | 1 | Revision | US Aluminum Inc. - Division of CR Laurence | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
87 | 26962 | 1 | Revision | Trulite Glass & Aluminum Solutions | Panel Walls | Storefronts | Recommend Approval |  | a | a
88 | 27152 | 1 | Revision | RESISTO, a division of Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
89 | 27203 | 1 | Editorial Change | Goldin Metals, Inc. | Structural Components | Roof Deck | Recommend Approval |  | a | a
90 | 27204 | 1 | Editorial Change | Goldin Metals, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a | a
91 | 27460 | 2 | Revision | Omnimax International, Inc. | Panel Walls | Siding | Recommend Approval |  | a | a
92 | 27479 | 1 | Revision | WinDoor Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
93 | 27598 | 1 | Revision | Tecnoglass LLC. | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
94 | 27938 | 2 | Revision | Schuco USA L.L.L.P. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
95 | 28047 | 0 | New | Andersen Corporation | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
96 | 28328 | 1 | Revision | Boral Roofing LLC | Roofing | Roofing Tiles | Recommend Approval |  | a | a
97 | 28362 | 1 | Editorial Change | Goldin Metals, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a | a
98 | 28684 | 1 | Revision | WinDoor Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
99 | 28685 | 0 | New | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
100 | 28783 | 0 | New | The Size Surfaces S.L. | Structural Components | Structural Wall | Recommend Approval |  | a | a
101 | 28786 | 0 | New | CEI Materials | Panel Walls | Siding | Recommend Approval |  | a | a
102 | 28795 | 0 | New | CJI Group Ltd | Roofing | Underlayments | Recommend Approval |  | a | a
103 | 28831 | 0 | New | Doorscapes, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
104 | 28832 | 0 | New | Doorscapes, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
105 | 28833 | 0 | New | Doorscapes, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
106 | 28879 | 0 | New | Tecnoglass LLC. | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
107 | 28884 | 0 | New | Solar Innovations, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
108 | 28885 | 0 | New | Cornell Iron Works, Inc. | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval |  | a | a
109 | 28887 | 0 | New | Cookson Company, The | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval |  | a | a
110 | 28892 | 0 | New | PERMATHERM, INC. | Structural Components | Roof Deck | Recommend Approval |  | a | a
111 | 28893 | 0 | New | PERMATHERM, INC. | Structural Components | Structural Wall | Recommend Approval |  | a | a
112 | 28894 | 0 | New | RPS METAL ROOFING & SIDING, INC. | Roofing | Metal Roofing | Recommend Approval |  | a | a
113 | 28897 | 0 | New | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
114 | 28904 | 0 | New | EXPI-DOOR Systems Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
115 | 28906 | 0 | New | Kohler Company | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval |  | a | a
116 | 28910 | 0 | New | Arcadia Custom Window and Door Solutions | Windows | Fixed | Recommend Approval |  | a | a
117 | 28911 | 0 | New | Arcadia Custom Window and Door Solutions | Windows | Casement | Recommend Approval |  | a | a
118 | 29044 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a | a
119 | 29049 | 0 | New | Kingspan Insulated Panels, Inc. | Structural Components | Structural Wall | Recommend Approval |  | a | a
120 | 29068 | 0 | New | DEWALT | Structural Components | Anchors | Recommend Approval |  | a | a
121 | 29069 | 0 | New | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a | a
122 | 29078 | 0 | New | CGI Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
123 | 29081 | 0 | New | Trulite Glass & Aluminum Solutions | Panel Walls | Storefronts | Recommend Approval |  | a | a
124 | 29083 | 0 | New | CENTRIA | Structural Components | Structural Wall | Recommend Approval |  | a | a
125 | 29086 | 0 | New | Western Window Systems | Windows | Horizontal Slider | Recommend Approval |  | a | a
126 | 29092 | 0 | New | Shanghai Superhouse Building Material Co ltd | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
127 | 29104 | 0 | New | Panda Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
128 | 29107 | 0 | New | N.R. Architectural Products, Inc. | Windows | Fixed | Recommend Approval |  | a | a
129 | 29109 | 0 | New | Kawneer Company | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
130 | 29111 | 0 | New | N.R. Architectural Products, Inc. | Windows | Single Hung | Recommend Approval |  | a | a
131 | 29115 | 0 | New | CENTRIA | Structural Components | Roof Deck | Recommend Approval |  | a | a
Test Report
132 | 9178 | 0 | New | Conklin Company Inc | Roofing | Waterproofing | Recommend Approval |  | a | a
133 | 19327 | 1 | Revision | EFCO Corporation | Windows | Double Hung | Recommend Approval |  | a | a
134 | 28914 | 0 | New | Kawneer Company | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
Architect and Engineer Evaluation Method
135 | 16854 | 10 | Revision | Doers Window Manufacturing, LLC | Windows | Single Hung | Recommend Approval |  | a | a
|  |  | H. Makar's comment (Miami- Dade) | Ext lite does not comply with FBC Section 2411.1.11
|  |  | R.Wright's response | Re: FL 16854 Doers Window Manufacturing, LLC (Public Comment Response) Public comment: “Does not comply w/2411.1.11.” The products contained in 16854.5, 16854.6, 16854.11 and 16854.12 are “Large Missile Impact Rated”. See exception as listed in code section 2411.1.11.
R.Wright's response
|  |  | R.Wright's response | The products listed in these four subsections meet Large Missile Impact criteria as listed in Section 1626 of the 2017 FBC. See the General Notes section as listed on sheet one of the Installation Instructions. These same notes are prominently contained within the Evaluation document.
R.Wright's response
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
|  |  | POC Recommendation | POC agrees and recommends approval based on the applicant's clarification.
136 | 17097 | 6 | Revision | YKK AP America | Windows | Casement | Recommend Approval |  | a | a
|  |  | H. Makar's comment (Miami- Dade) | Glazing Detail 4 does not comply with FBC Section 2411.1.11
|  |  | S. Moore's response (Building Drops, Inc) | Glazing Detail 4 is specified for use in the drawing as a Large Missile Impact Option, and therefore meets Exception No. 1 of 2411.1.11. Please see the notes adjacent to the glazing details for further direction that all FBC Ch 24 safety glazing requirements be met. Please let us know if any further information is needed.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
|  |  | POC Recommendation | POC agrees and recommends approval based on the applicant's clarification.
137 | 17098 | 6 | Revision | YKK AP America | Windows | Projected | Recommend Approval |  | a | a
|  |  | H. Makar's comment (Miami- Dade) | Glazing Detail 4 does not comply with FBC Section 2411.1.11
|  |  | S. Moore's response (Building Drops, Inc) | Glazing Detail 4 is specified for use in the drawing as a Large Missile Impact Option, and therefore meets Exception No. 1 of 2411.1.11. Please see the notes adjacent to the glazing details for further direction that all FBC Ch 24 safety glazing requirements be met. Please let us know if any further information is needed
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
|  |  | POC Recommendation | POC agrees and recommends approval based on the applicant's clarification.
138 | 17168 | 2 | Revision | DuraFlex | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Deferral |  | d | d
|  |  | J. Scates's comment | As noted below, there was a mixup at DuraFlex/DuraPro concerning their QA program. They are in the process of getting it re-instated, but it may not happen in time for this Board Meeting. We are requesting: 1. Please reset FL 17168-R2 to “re-apply” if possible. We will re-validate once the issues with QA are resolved (next cycle). Please and withdraw this application. We will apply again next cycle.
|  |  | Staff analysis | Staff agrees with the applicant's request and recommends deferral to allow the applicant to withdraw the application and apply for next cycle.
|  |  | POC Recommendation | POC agrees with the applicant's request and recommends deferral to allow the applicant to withdraw the application and apply for next cycle.
139 | 19709 | 1 | Revision | Winco Window Company | Windows | Fixed | Recommend Approval |  | a | a
|  |  | H. Makar's comment (Miami- Dade) | No glass type specified
|  |  | K. Snader's response | According to the notification I received, the claim is that our application doesn’t specify the glass type. For either application 28846 or 19709, I would direct attention to the Eval report which indicates in the second paragraph under the product description the make-up of the IG.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
|  |  | POC Recommendation | POC agrees and recommends approval based on the applicant's clarification.
140 | 28851 | 0 | New | Republic Doors and Frames | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | J. Donlan's request | Please accept the following as the “official” comment/request. We would like to request a conditional approval to update the QA on FL28851, 28852, 28853, 28854, 28855 and 28856 from UL LLC to Intertek Testing Services NA, INC. -QA Entity. The application and evaluation reports will be updated to reflect the change.
|  |  | Staff analysis | Staff agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity. on FL28851 application and evaluation reports.
|  |  | POC Recommendation | POC agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity. on FL28851 application and evaluation reports.
141 | 28852 | 0 | New | Republic Doors and Frames | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | J. Donlan's request | Please accept the following as the “official” comment/request. We would like to request a conditional approval to update the QA on FL28851, 28852, 28853, 28854, 28855 and 28856 from UL LLC to Intertek Testing Services NA, INC. -QA Entity. The application and evaluation reports will be updated to reflect the change.
|  |  | Staff analysis | Staff agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity on FL28851 application and evaluation reports.
|  |  | POC Recommendation | POC agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity on FL28851 application and evaluation reports.
142 | 28853 | 0 | New | Republic Doors and Frames | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | J. Donlan's request | Please accept the following as the “official” comment/request. We would like to request a conditional approval to update the QA on FL28851, 28852, 28853, 28854, 28855 and 28856 from UL LLC to Intertek Testing Services NA, INC. -QA Entity. The application and evaluation reports will be updated to reflect the change.
|  |  | Staff analysis | Staff agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity on FL28851 application and evaluation reports.
|  |  | POC Recommendation | POC agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity on FL28851 application and evaluation reports.
143 | 28854 | 0 | New | Republic Doors and Frames | Panel Walls | Storefronts | Recommend Approval |  | c | c
|  |  | J. Donlan's request | Please accept the following as the “official” comment/request. We would like to request a conditional approval to update the QA on FL28851, 28852, 28853, 28854, 28855 and 28856 from UL LLC to Intertek Testing Services NA, INC. -QA Entity. The application and evaluation reports will be updated to reflect the change.
|  |  | Staff analysis | Staff agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity on FL28851 application and evaluation reports.
|  |  | POC Recommendation | POC agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity on FL28851 application and evaluation reports.
144 | 28855 | 0 | New | Republic Doors and Frames | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | J. Donlan's request | Please accept the following as the “official” comment/request. We would like to request a conditional approval to update the QA on FL28851, 28852, 28853, 28854, 28855 and 28856 from UL LLC to Intertek Testing Services NA, INC. -QA Entity. The application and evaluation reports will be updated to reflect the change.
|  |  | Staff analysis | Staff agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity on FL28851 application and evaluation reports.
|  |  | POC Recommendation | POC agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity on FL28851 application and evaluation reports.
145 | 28856 | 0 | New | Republic Doors and Frames | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | J. Donlan's request | Please accept the following as the “official” comment/request. We would like to request a conditional approval to update the QA on FL28851, 28852, 28853, 28854, 28855 and 28856 from UL LLC to Intertek Testing Services NA, INC. -QA Entity. The application and evaluation reports will be updated to reflect the change.
|  |  | Staff analysis | Staff agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity on FL28851 application and evaluation reports.
|  |  | POC Recommendation | POC agrees with the applicant's request and recommends conditional approval to allow the applicant to update the QA from UL LLC to Intertek Testing Services NA, INC. -QA Entity on FL28851 application and evaluation reports.