## Sheet1
ID | Manufacturer | Category | Subcategory | TBA | POC | FBC | Comments
Evaluation by Engineer/ Architect Method - POC Recommends Approval
984-R9 | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | Revision
1960-R4 | TAMKO Building Products, Inc. | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | Editorial Change
2144-R5 | Sealoflex, Inc. | Roofing | Liquid Applied Roof Systems | a | a |  | Recommend Approval | Revision
2324-R5 | The Garland Company, Inc. | Roofing | Built up Roofing | a | a |  | Recommend Approval | Editorial Change
2330-R4 | The Garland Company, Inc. | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | Editorial Change
2534-R6 | IB Roof Systems | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Editorial Change
3671-R4 | The Garland Company, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Editorial Change
3723-R4 | The Garland Company, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Editorial Change
3915-R9 | Soprema, Inc. | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | Revision
4133-R4 | CENTRIA | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
4666-R2 | YKK AP America | Panel Walls | Storefronts | a | a |  | Recommend Approval | Revision
4930-R5 | Seaman Corporation | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
5259-R18 | POLYGLASS USA | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
5305-R3 | U.S. Ply, Inc. | Roofing | Built up Roofing | a | a |  | Recommend Approval | Editorial Change
5851-R4 | YKK AP America | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
5968-R7 | Hunter Panels | Roofing | Roofing Insulation | a | a |  | Recommend Approval | Revision
6332-R4 | 3M Company | Roofing | Roof Tile Adhesives | a | a |  | Recommend Approval | Revision
6943-R4 | GenFlex Roofing Systems, LLC | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Editorial Change
7409-R1 | InSpire Roofing Products | Roofing | Roofing Tiles | a | a |  | Recommend Approval | Revision
8134-R9 | Alside Window Company | Windows | Double Hung | a | a |  | Recommend Approval | Revision
8637-R5 | StormWatch | Shutters | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
8831-R5 | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
9625-R7 | Gentek Building Products | Windows | Double Hung | a | a |  | Recommend Approval | Revision
9627-R7 | Revere Building Products | Windows | Double Hung | a | a |  | Recommend Approval | Revision
9779-R6 | Soprema, Inc. | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | Revision
10128-R5 | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Editorial Change
10284-R6 | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Editorial Change
10342-R1 | Siplast / Icopal | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | Revision
10991-R8 | Alside Window Company | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
11137-R8 | Gentek Building Products | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
11139-R8 | Revere Building Products | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
11141-R9 | Associated Materials Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
11720-R7 | Associated Materials Inc. | Windows | Double Hung | a | a |  | Recommend Approval | Revision
11727-R5 | Englert Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
12114-R2 | Drexel Metals, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Editorial Change
12144-R3 | The Garland Company, Inc. | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | Editorial Change
12145-R2 | RKW Finland LTD | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
12278-R5 | Solar Innovations, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12279-R4 | Solar Innovations, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12510-R3 | PrimeSource Building Products, Inc. | Roofing | Underlayments | a | a |  | Recommend Approval | Editorial Change
13385-R1 | CENTRIA | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
13407-R2 | Solar Innovations, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13555-R3 | Ingersoll-Rand | Exterior Doors | Exterior Door Components | a | a |  | Recommend Approval | Editorial Change
13629-R2 | Firestone Building Products Company, LLC. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Editorial Change
13655-R1 | Storage Structures, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
13671-R2 | Commercial Innovations, INC. | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
13727-R2 | AFCO Industries, Inc. | Exterior Doors | Exterior Door Components | a | a |  | Recommend Approval | Revision
13768-R2 | Agri-Metal Supply Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
13780-R2 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13806-R3 | Soprema, Inc. | Roofing | Liquid Applied Roof Systems | a | a |  | Recommend Approval | Revision
13838-R2 | Agri-Metal Supply Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
13856-R2 | Windoor Incorporated | Windows | Dual Action | a | a |  | Recommend Approval | Revision
13889-R2 | Tell Manufacturing, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14083-R4 | Carlisle SynTec Incorporated | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
14207-R4 | Versico Incorporated | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
14285-R2 | Andersen Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14294-R1 | All Metal Roofing and Siding, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
14317-R4 | Boral Roofing / MonierLifetile | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
14399-R2 | Solar Innovations, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14426-R3 | SR Products | Roofing | Built up Roofing | a | a |  | Recommend Approval | Revision
14907-R2 | Fleetwood Windows and Doors | Windows | Awning | a | a |  | Recommend Approval | Editorial Change
14918-R2 | Silverline Building Products Corp. | Windows | Fixed | a | a |  | Recommend Approval | Revision
14937-R2 | Silverline Building Products Corp. | Windows | Casement | a | a |  | Recommend Approval | Revision
14964-R1 | Silverline Building Products Corp. | Windows | Awning | a | a |  | Recommend Approval | Revision
15038-R1 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
15210-R3 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Editorial Change
15260-R1 | ODL/Western Reflections | Exterior Doors | Exterior Door Components | a | a |  | Recommend Approval | Revision
15710-R1 | YKK AP America | Windows | Mullions | a | a |  | Recommend Approval | Revision
15729-R1 | YKK AP America | Windows | Mullions | a | a |  | Recommend Approval | Revision
15734-R1 | ALUCOM, LLC | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
15816-R2 | Wincore Window Company, LLC | Windows | Fixed | a | a |  | Recommend Approval | Revision
15817-R1 | Wincore Window Company, LLC | Windows | Casement | a | a |  | Recommend Approval | Revision
15818-R1 | Wincore Window Company, LLC | Windows | Awning | a | a |  | Recommend Approval | Revision
15819-R1 | Wincore Window Company, LLC | Windows | Double Hung | a | a |  | Recommend Approval | Revision
15847-R1 | Ply Gem Siding Group | Panel Walls | Soffits | a | a |  | Recommend Approval | Revision
15861-R1 | JELD-WEN | Windows | Mullions | a | a |  | Recommend Approval | Revision
15892-R1 | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | Revision
16039-R2 | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
16092-R1 | Wincore Window Company, LLC | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
16105 | Tradewood Windows and Doors Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
16107-R2 | Clopay Building Products Company | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
16150 | Alucoil North America LLC | Panel Walls | Siding | a | a |  | Recommend Approval | New
16216-R1 | Wincore Window Company, LLC | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
16225-R1 | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
16241 | Tradewood Windows and Doors Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
16245 | Butler Manufacturing Company | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
16259 | Window Technology, Inc. | Windows | Single Hung | a | a |  | Recommend Approval | New
16265 | Comfort Line Inc. | Windows | Double Hung | a | a |  | Recommend Approval | New
16266 | UNION CORRUGATING COMPANY | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
16269 | InSpire Roofing Products | Roofing | Roofing Tiles | a | a |  | Recommend Approval | New
16272 | Loadmaster Systems, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
16281 | Tradewood Windows and Doors Inc. | Windows | Double Hung | a | a |  | Recommend Approval | New
16290 | Derbigum Americas, Inc. | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
16291 | The Folding Sliding Door Company | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
16294 | Nu-Vue Industries Inc. | Structural Components | Wood Connectors | a | a |  | Recommend Approval | New
16296 | Dixie Building Supply Co., Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
16297 | Dixie Building Supply Co., Inc. | Structural Components | Structural Wall | a | a |  | Recommend Approval | New
16298 | Dixie Building Supply Co., Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
16299 | KAYCAN LTD | Panel Walls | Siding | a | a |  | Recommend Approval | New
16305 | Atlas Roofing Corporation | Roofing | Asphalt Shingles | a | a |  | Recommend Approval | New
16307 | Dixie Building Supply Company, Inc | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
16310 | The Nassal Company | Windows | Fixed | a | a |  | Recommend Approval | New
16311 | GAF | Roofing | Roofing Insulation | a | a |  | Recommend Approval | New
16312 | YKK AP America | Windows | Casement | a | a |  | Recommend Approval | New
16313 | YKK AP America | Windows | Projected | a | a |  | Recommend Approval | New
16314 | YKK AP America | Windows | Fixed | a | a |  | Recommend Approval | New
16315 | YKK AP America | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
16316 | Johns Manville | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | New
16317 | Florida Metal Roofing Products, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
16318 | U.S. Ply, Inc. | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | New
16321 | C.T.WINDOWS INC | Windows | Fixed | a | a |  | Recommend Approval | New
16325 | Window Technology, Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
16326 | BORANO INC | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
16327 | Green Span Profiles | Structural Components | Structural Wall | a | a |  | Recommend Approval | New
16329 | C.T.WINDOWS INC | Windows | Projected | a | a |  | Recommend Approval | New
16331 | BORANO INC | Windows | Fixed | a | a |  | Recommend Approval | New
16334 | Geolam, Inc. | Panel Walls | Siding | a | a |  | Recommend Approval | New
16342 | Drexel Metals, Inc. | Roofing | Underlayments | a | a |  | Recommend Approval | New
16344 | Windoor Incorporated | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
16347 | BITEC, INC. | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
16352 | Tell Manufacturing, Inc. | Exterior Doors | Exterior Door Components | a | a |  | Recommend Approval | New
16354 | La Cantina Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
16357 | The Dow Chemical Company | Roofing | Roofing Insulation | a | a |  | Recommend Approval | New
Evaluation by Test Report - POC Recommends Approval
3664-R6 | TAMKO Building Products, Inc. | Roofing | Underlayments | a | a |  | Recommend Approval | Editorial Change
10960-R1 | Merchant & Evans, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
12087-R1 | Mitsubishi Plastics Composites America | Panel Walls | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
12328-R3 | TAMKO Building Products, Inc. | Roofing | Underlayments | a | a |  | Recommend Approval | Editorial Change
13525-R1 | Merchant & Evans, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
16176 | EFCO Corporation | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | New
16348 | Tubelite Inc. | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
Evaluation by Evaluation Entity - POC Recommends Approval
814-R3 | amvic inc. | Structural Components | Insulation Form Systems | a | a |  | Recommend Approval | Revision
1322-R6 | Siplast / Icopal | Roofing | Roofing Insulation | a | a |  | Recommend Approval | Revision
13466-R3 | Greenheck Fan Corporation | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
13816-R1 | Coating and Foam Solutions, LLC | Roofing | Liquid Applied Roof Systems | a | a |  | Recommend Approval | Revision
16244 | Siplast / Icopal | Roofing | Waterproofing | a | a |  | Recommend Approval | New
16282 | Siplast / Icopal | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
16284 | Siplast / Icopal | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
16285 | Siplast / Icopal | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
16286 | Siplast / Icopal | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
16287 | Siplast / Icopal | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
16288 | Siplast / Icopal | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
16289 | Siplast / Icopal | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
Entities - POC Recommends Approval
CER9626 | UL LLC | Product Certification Agency |  | a | a |  | Recommend Approval | Revision
QUA1990 | RADCO, INC. | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
QUA9625 | UL LLC | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
TST1867 | FM Approvals - Testing Lab | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST2613 | Element Wausau | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST4317 | Testing Evaluation Laboratories, Inc. | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST9610 | Element Des Moines | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST9628 | UL LLC | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST10037 | Benchmark Holdings, L.L.C. (test lab) | Product Testing Laboratory |  | a | a |  | Recommend Approval | New
VAL1786 | National Accreditation & Management Institute, | Product Validation Entity |  | a | a |  | Recommend Approval | Revision
VAL3120 | APA - The Engineered Wood Association | Product Validation Entity |  | a | a |  | Recommend Approval | Revision
VAL3920 | Quality Auditing Institute Ltd. | Product Validation Entity |  | a | a |  | Recommend Approval | Revision
VAL9627 | UL LLC | Product Validation Entity |  | a | a |  | Recommend Approval | Revision
Entities - POC Recommends Conditionl Approval
TST3619 | Applied Research Laboratories of South Florida, LLC | Product Testing Laboratory |  | a | c |  | Recommend Conditional Approval with conditions of: 1. Provide correct fee payment. 2. Revise personnel list on application. | Revision
Discussion Items
16323 | Nana Wall Systems, Inc. | Exterior Doors | Swinging Exterior Door Assemblies |  |  |  | We do not accept letters from one application for another. We also observe that there are two different shapes of gaskets and therefore need to clarify with the letter for which, or both does it apply. Also we have concerns on the comparative analysis performed. Because this two issues are clarifying and not outright deficiencies, we aill place the item on the agenda as a discussion item. | New
| Public Comment by Jaime Gascon | [5 empty] | Evaluation indicates maximum tested door height of 100 inches. TAS 201 and TAS203 section 5.1 requires full size specimen. Therefore, limit height to 100 inches. Also, if the interlocks did not conform to the requirements of l/180 deflection (FBC 1615.3(5)) when tested to TAS202, then limit width of qualified units to 4 panels maximum as tested. (Reference DCA05.DEC-219.) Else, indicate not for use in the HVHZ.
| Response by Regina L. Hoover and Allen N. Reeves, P.E. | [5 empty] | Item 1) It is our contention that all of the test specimen were full size, because we believe full size is not the same as maximum size. All parts of the test specimen were full size. We understand that the test specimen were approximately 100 inches high and we are applying for a maximum of 120 inches high. All testing laboratories who have tested full range of glazed panel sizes to TAS201 & 203 are aware that the smaller the size specimen do not perform as well as the larger ones. The reason for this is during impact the glazing can deflect more, thereby absorbing more energy, than the smaller ones. The required energy based on the weight and speed of the 2 x 4 is identical for all specimen.
| Response by Regina L. Hoover and Allen N. Reeves, P.E.(Cont.) | [5 empty] | Item 2) Limiting the number of panels in the approval to the four panels maximum as tested will not change deflections at all. Each panel transmits load through either a locking rod or a roller mechanism to the supporting frame. If, an eight panel wide unit is substituted for a four panel wide unit there will be twice as many roller mechanisms and locking rods. Each locking rod and roller mechanism will carry the same load, and thus produce the same deflection on all panels. This is why the system is called repetitive in the evaluation report.
| Commentary and Recommendation by Administrator |  |  | c | c |  | The response by evaluator on tested sizes does not comply with requirements of TAS 201 and TAS 202 and therefore not acceptable. The issue of deflection of interlock needs to be addressed. Recommend Conditional Approval with conditions of: 1. Limit sizes and to maximum size tested and remove from evaluation charts with compartive analysis showing larger sizes than tested. 2. Provide to Administrator tests reports to verify deflection compliance of interlocks. 3. Provide document verifying the gaskets used and their testing for compliance with code requirements.
16332 | Drexel Metals, Inc. | Roofing | Metal Roofing | c | c |  | On product 16332.2 the coating on metal complying with ASTM A792 is not clearly indicated. Recommend Conditional Approval with condition of: On evaluation report clarify the coating applied and its testing on metal conforming to ASTM A792. | New
Public Comments
2948-R7 | Johns Manville | Roofing | Modified Bitumen Roof System | a |  |  | Recommend Approval | Revision
| Public Comment Robert Nieminen, P.E. | [5 empty] | Johns Manville has alerted me to a mistake made by their testing laboratory (PRI) in the reporting of one of the wind uplift tests submitted to our office to facilitate revision to our Evaluation Report. The error in the laboratory report has been promulgated to an error in System No. S-47 in the ER Appendix, which should state “DynaFast 180 HW” for the base sheet rather than “DynaFast 250 HW”. Johns Manville submitted yesterday to our office the revised, corrected laboratory report from PRI that supports this correction. We formally request Conditional Approval of the subject file with the following condition: 1. Correct the base sheet reference in System S-47 to reflect “DynaFast 180 HW” in place of “DynaFast 250 HW”. 2. Update the “References” section of the Evaluation Report to include the corrected, revised report from PRI.
| Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with the conditions of: 1. Correct the base sheet reference in System S-47 to reflect “DynaFast 180 HW” in place of “DynaFast 250 HW”. 2. Update the “References” section of the Evaluation Report to include the corrected, revised report from PRI.
15218-R2 | Tag & Stick, LLC. | Roofing | Underlayments | a |  |  | Recommend Approval | Revision
| Public Comment by Jaime Gascon | [5 empty] | Suggestion to separate the HVHZ product and place in .2, and upload reference to NOA 12-1003.04. Then indicate .1 as non-HVHZ only. This will minimize potential confusion at time of permit.
| Response by Robert Nieminen, P.E. | [5 empty] | The original submittal was made inclusive of HVHZ as Tag & Stick, LLC was still working with Miami-Dade to facilitate an NOA, even though the data existed for HVHZ compliance. Now that the NOA has been issued, there is no need for the Evaluation Report or the associated Product Approval file include HVHZ, other than to make reference to the current NOA. In response to this public comment, we request Conditional Approval under the following conditions: 1. Un-check the HVHZ check-box. 2. Include a note in the “Other Limits” section referring to use of the NOA in HVHZ jurisdictions. 3, Update the Evaluation Report to include exclusion of use in HVHZ, and referring to use of the NOA in HVHZ jurisdictions.
| Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with conditions of: 1. Un-check the HVHZ check-box. 2. Include a note in the “Other Limits” section referring to use of the NOA in HVHZ jurisdictions. 3, Update the Evaluation Report to include exclusion of use in HVHZ, and referring to use of the NOA in HVHZ jurisdictions.
15514-R1 | Majestic Entries, LLC | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
| Public Comment by Jaime Gascon | [5 empty] | Section A/3 on drawing for inswing needs to describe the panel infill material and its attachment as tested. Confirm panel was impacted as required in FBC 1626.2.5.1.
| Response by Hermes F Norero | [5 empty] | The steel panels is constructed of the same 12 ga. steel thickness as the door rails and is tack welded 4” – 6” O.C. The doors were impacted in accordance with Miami-Dade County’s impact location requirements for double swinging glazed doors as posted on Miami-Dade’s website. The panels themselves, however, were not impacted. If these impact locations do not satisfy the applicable requirements of Section 1626, we’d like to request conditional approval such that FL15514.2 is revised to indicate “not for use in HVHZ”.
| Commentary and Recommendation by Administrator. |  |  | c | c |  | The steel panels are not properly detailed on Section A/3. Sect. 1626.2.5.1 was corrected to indicate Sect. 1626.2.5.2. Recommend Conditional Approval with conditions of: 1. Revise Section A/3 to properly describe the steel panel and its connection to the door frame as tested. 2. Confirm that panel was impacted as required on Sect. 1626.2.5.2 or indicate not for use within HVHZ.
16247 | Window Craftsmen Inc. | Windows | Mullions | a |  |  | Recommend Approval | New
| Public Comment by Jaime Gascon | [5 empty] | Installation instructions showing section of mullion do not match the tested mullion shown on test report (sheet 15 of 17). Tests are not for TAS201 or TAS203. General notes (at the end) indicate 'mullion clips are not required', yet they were used in the testing; see testing sheet 16 of 17 where they were used. Also, HVHZ requires l/180 for deflection per FBC 1615.3.1(5). Therefore, indicate not for use in the HVHZ
| Response by Mark A. de Stefano, PE | [5 empty] | Concerning the deflection comment of L/180 in HVHZ as quoted in Section 1615.3.1(5) the mullion as calculated will meet this requirement. In the same code section, 1615.1.1 which states “Any system, method of design or method of construction shall admit of a rational analysis in accordance with well-established principles of mechanics and sound engineering practices.” The system while tested with a similar mullion was calculated in the same method applied to both mullions as can be seen by the calculations. Both have been calculated in accordance with well-established engineering practices and principals that have been verified by two independent engineers.
| Response by Mark A. de Stefano, PE (Cont.) | [5 empty] | Further, during our findings it was determined the clips served little use in the system and in our experience these clips are not installed correctly in the field. We found the mullions would perform more consistently if in-stalled at the factory rather than in the field. In addition, we found the connection of the windows to the mullions was adequate and the connection of the frame to the substrate adequate to meet the full loading requirements for these loading requirements. This has also been documented in our calculations. In our professional opinion, we find this mullion consistent with the testing of the approved mullion and based on our comparative analysis will meet the design parameters of the Florida Building Code. We see no rational argument that this should not also be approved.
| Commentary and Recommendation by Administrator. |  |  | c | d |  | The tested and analized deflections are within the required l/180 as shown on test report and analysis. The anchors for the mullion are not indicated on the installation drawings. Because this is an impact product anchors should be as tested or better. The product was not tested to TAS 201, 202 or 203 as required for HVHZ. The evaluation report shall note any equivalency of the testing performed to the required. Recommend Deferral with condition of concent and waiver of required application time limits in order for applicant to apply for a DEC Statement on the evaluators methodology.
16293 | Hurricane Storm Panel MFG. Inc. | Shutters | Storm Panels | a |  |  | Recommend Approval | New
| Public Comment by Jaime Gascon | [5 empty] | Panel schedule note #4 on sheet 6 of 6 in installation drawings does not conform with FBC 2413.2, TAS201 section 10.6, nor TAS203 section 11.6. Provide table for glass separation based on test report measured deflections, or indicate not for use in the HVHZ.
| Response by Robert J. Amoruso, P.E. | [5 empty] | Background: FL16293 is a name change application for KD Manufacturing under FL2773. That application was/is non-HVHZ and only included testing results for ASTM E1996-02, WZ 1, 2 and 3. The FL2773 approval did not include separation tables as ASTM E1996-02 only requires separation of porous protective coverings. Additionally, no inclusion of separation requirements is consistent with guidance in Declaratory Statements DEC08-DEC-002 and DEC09-DEC-254.
| Response by Robert J. Amoruso, P.E. (Cont.) | [5 empty] | Current: FL16293 includes revisions to the product approval documents used for FL2773 extending the usage to the HVHZ and Wind Zone 4. The testing for the product included TAS 201, 202 and 203 as well as ASTM E1996-02 Wind Zone 4 with two impacts per storm panel. Response: The comment is correct in that a glass to storm panel separation table is required for HVHZ. Such a table and revision to Note 4 on sheet 6 of 6 (and similar note on Sheet 1) was prepared by this engineer but inadvertently not included on the revised drawing. That table will be added consistent with the requirements of 2010 FBC Section 2413.2 and references TAS 201 and 203 sections above.
| Response by Robert J. Amoruso, P.E. (Cont.) | [5 empty] | Response: The comment is correct in that a glass to storm panel separation table is required for HVHZ. Such a table and revision to Note 4 on sheet 6 of 6 (and similar note on Sheet 1) was prepared by this engineer but inadvertently not included on the revised drawing. That table will be added consistent with the requirements of 2010 FBC Section 2413.2 and references TAS 201 and 203 sections above.
| Public Comment by Thomas Johnston | [5 empty] | 1. ASTM Wind Zone 4 requires separation to glass. Per note 7, this engineer states that no separation from glass is necessary which would include WZ4. 2. Per the HVHZ requirements, this product must be offset from the glazing by the greatest deflection from static loading or impact, whichever is greater. I can’t find any separation to glass chart anywhere. 3. Of the greatest concern, it does not appear that this engineer did any calculations on prying action and or safety factors relating to the fastener charts. Every mounting condition uses either 12 or 12.5” of spacing no matter what the span or load. Perhaps that is a matter for the FBPE.
| Response by Robert J. Amoruso, P.E. | [5 empty] | See response above Public Comment by Jamie Gascon. ASTM E1996-02 does not require separation of non-porous shutter protective coverings. The requirement exists for porous protective coverings only. ASTM E1996-05 revised separation requirements for porous shutter systems (Section 8.3) to Essential Facilities for all Wind Zones and all impact protective systems (intrinsically including non-porous systems) in Wind Zone 4. Review of ASTM E1996-09 clarifies Porous and Non-Porous separation requirements as: (a) Section 8.3.1 Porous systems shall include separation criteria for all wind zones and (b) Section 8.3.2 non-porous systems for essential facilities in all wind zones. However, non-porous systems do not require separation for non-essential facilities per Section 8.3.2 of ASTM E1996-09. That appears to be a clarification/change from previous versions of ASTM E1996.
| Response by Robert J. Amoruso, P.E. (Cont.) | [5 empty] | Clarification can be added to the HVHZ table/note that was inadvertently omitted in the drawing (response above to Jamie Gascon Public Comment) to clarify these requirements in a manner consistent with ASTM E1996-02 upon which the approval is based and the current/latest ASTM E1996-09 in the 2010 FBC.
| Response by Robert J. Amoruso, P.E. (Cont.) | [5 empty] | In my estimation this includes the following for consistency with this product’s testing: 1) Table of separation requirements consistent with the HVHZ and Section 2413.2 of the 2010 FBC. 2) Table of separation requirements consistent with the requirements of ASTM E1996 for essential facilities with regards to this product’s testing as Wind Zone 4, Missile Level D (Table 3 of ASTM E1996). 3) Note indicating that non-essential facilities do not require separation per ASTM E1996, however a table will be included for guidance where enhanced separation by the user can be employed.
| Response by Robert J. Amoruso, P.E. (Cont.) | [5 empty] | The original calculation for FL2773 (see response above to Jamie Gascon Public Comment) prepared in 2009 included consideration for prying action. Based upon my review of that calculation, a prying factor of 1.9 was used for panel mount withdrawal loading where tension load was multiplied by a minimum of 1.9. Currently I employ the methodology promulgated in PCI Industry Handbook, 6th Edition, section 6.6.5 for unstiffened connection angles. This methodology differs from that previously used. Based on this method, a prying factor of 2.2 is calculated. To alleviate any concern over this issue, the calculation was revised to utilize this method. As such, the lower withdrawal allowable associated with two of the CMU anchors (Sammys and Powers Caulk-In) will be reduced to a spacing of 8” O.C.
| Response by Robert J. Amoruso, P.E. (Cont.) | [5 empty] | The other wood, concrete and masonry anchors shown remain acceptable for prying action at 12” O.C. as shown. The 12.5” O.C. is for the attachment of the panel to the build-out F-Tracks using 18-8 ¼”-20 track bolts of sufficient strength for applied tension loading including prying. That spacing remains consistent among the various spans is because the span table is based on testing the large, small and intermediate spans lengths and interpolating spans between those test results. Thus loading is interpolated as well and consistency in anchor spacing can be expected. Each span shown in the span tables has been engineered for anchor loading.
| Response by Robert J. Amoruso, P.E. (Cont.) | [5 empty] | The application drawing HSPM0001 will be revised as follows to address comments above. · Sheet 1 – revise general note 7 in accordance with the responses above to include differentiation of Wind Zone 1, 2, 3 and 4 as well as HVHZ requirements regarding separation. Sheet 6 – revise note 4 in accordance with the responses above to include differentiation of Wind Zone 1, 2, 3 and 4 as well as HVHZ requirements regarding separation. Sheet 6 revise anchor schedule to limit spacing for Sammys and Powers Caulk-In when used in CMU applications to 8” max. O.C. spacing. Remove All-Points Wood Bushing (no longer used). All other anchors will have 12” O.C. spacing indicated. · Sheets 2, 3 and 4 to indicate “See Anchor Schedule on Sheet 6 for Requirements” to replace nomenclature “Anchor, See Schedule. 12” OC”.
| Recommendation by Administrator |  |  | c | c |  | Recommend Conitional Approval with conditions of: 1. Provide table with proper glass sepration for Wind Zones 1, 2 and 3; Wind Zone 4; and HVHZ. 2. Provide proper anchor spacing considering proper prying action safety.
16343 | Advance Hurricane Technology Inc. | Shutters | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | New
| Public Comment by Thomas Johnston | [5 empty] | This product states that it is Non-Porous and only needs separation to glass in WZ4 per ASTM. Looking at the specifications on the top of page one at the center, for zipper and rope fabrics, the top zipper fabric indicates and openness or porosity of 5% which is acceptable per ASTM,. However that Rope fabric below does not state the openness , but refers to a shading factor of 88% which I assume is the closed percentage which is above the ASTM acceptable level of 10% open or 90% closed. The Zipper shows an airflow of 175CFM and the rope shows 300CFM. I would ask that you verify the openness of the rope mesh or require separation to glazing as per the ASTM standard.
| Response by Trevor Johnson, P.E. | [5 empty] | All the information available on the fabrics was provided in the product approval. The zipper screen fabric information included the open area of 5% and air flow of 175 CFM. The rope screen fabric information available does not provide the open area but does provide the air flow of 300 CFM. Based on equations for a gas flowing through an orifice plate, the flow rate is directly proportional to the open area. Using a comparative analysis the flow rate of twice the 5% zipper screen would be 350 CFM. Based on this, the rope screen would then have an effective open area of less than 10% with the flow rate of 300 CFM. However, we understand that the rope screen fabric would be close to the ASTM 10% open area limit. To be precautionary, we would like to request a conditional approval to allow us to revise the product application. The revision would include additional separation to glazing requirements for the rope screen.
| Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with condition of: Provide on installation instructions additional separation for the rope screen for use within Wind Zones 1, 2 and 3.