## Pr-T01
Florida Prescriptive Test | Software Name:
R402.1 R-value Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-T01 | Pass, Failure Issue or | R-Value Method
| Value | Test Result
Slab-on-grade Floor |  | Fail |  |  | 1
Roof – gable type- 5 in 12 slope No overhangs, solar absorptance = 0.75 |  | Fail |  |  | 1
Ceiling1 –flat under attic |  | Fail |  |  | 1
Skylight |  | Fail |  |  | 1
Wall 1 –faces North, CBS2 |  | Fail |  |  | 1
Door 1 - | Not applicable | Not applicable |  |  | 0
Window 1 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 2 –faces East, CBS |  | Fail |  |  | 1
Window 2 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 3 –faces South, CBS |  | Fail |  |  | 1
Window 3 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  | Fail |  |  | 1
Window 4 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 5 –faces West, CBS |  | Fail |  |  | 1
Window 5 – Vinyl Frame Low-e Double | Not applicable | Fail |  |  | 1
Infiltration |  | Fail |  |  | 1
Heating – heat pump |  | Fail |  |  | 1
Cooling – heat pump |  | Fail |  |  | 1
Ducts – supply in attic |  | Fail |  |  | 1
Ducts – return in conditioned space |  | Fail |  |  | 1
Duct Tightness |  | Fail |  |  | 1
Air Handler – in conditioned space |  | Fail |  |  | 1
Mechanical Ventilation |  | Fail |  |  | 1
Hot Water System - electric |  | Fail |  |  | 1
All Hot Water Lines |  | Fail |  |  | 1
Hot Water Circulation -none |  | Fail |  |  | 1
Lighting |  | Fail |  |  | 1
Pool and Spa - none |  | Fail |  |  | 1
Area Weighted Fenestration U-Factor Value |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Value |  | Fail |  |  | 1
Total Thermal Envelope UA Value | Not applicable | Not applicable |  |  | 0
Area Weighted Fenestration U-Factor Result |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Result |  | Fail |  |  | 1
Baseline Thermal UA Value | Not applicable | Not applicable |  |  | 0
Total Thermal Envelope UA Result | Not applicable | Not applicable |  |  | 0
House Complies? |  | Fail |  |  | 1
| Test Result for Software: | FAIL |  |  | 28
Florida Prescriptive Test | Software Name:
R402.1.3 U-Factor Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-T01 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Slab-on-grade Floor |  |  |  | Fail | 1
Roof – gable type- 5 in 12 slope No overhangs |  |  |  | Fail | 1
Ceiling1 –flat under attic |  |  |  | Fail | 1
Skylight |  | 0.65 |  | Fail | 1
Wall 1 –faces North, CBS2 |  |  |  | Fail | 1
Door 1 - |  | 0.4 | Not applicable | Not applicable | 0
Window 1 – Vinyl Frame Low-e Double |  | 0.4 | Not applicable | Not applicable | 0
Wall 2 –faces East, CBS |  |  |  | Fail | 1
Window 2 – Vinyl Frame Low-e Double |  | 0.4 | Not applicable | Not applicable | 0
Wall 3 –faces South, CBS |  |  |  | Fail | 1
Window 3 – Vinyl Frame Low-e Double |  | 0.4 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  |  |  | Fail | 1
Window 4 – Vinyl Frame Low-e Double |  | 0.4 | Not applicable | Not applicable | 0
Wall 5 –faces West, CBS |  |  |  | Fail | 1
Window 5 – Vinyl Frame Low-e Double |  | 0.4 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  | Not applicable | Not applicable | 0
Area Weighted Fenestration U-Factor Result |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal Envelope UA Value |  |  | Not applicable | Not applicable | 0
Total Thermal Envelope UA Result |  |  | Not applicable | Not applicable | 0
House Complies? |  |  |  | Fail | 1
|  |  | Test Result: | FAIL | 27
Florida Prescriptive Test | Software Name:
R402.1.4 Total UA Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-T01 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Slab-on-grade Floor |  |  | Not applicable | Fail | 1
Roof – gable type- 5 in 12 slope No overhangs |  |  | Not applicable | Fail | 1
Ceiling1 –flat under attic |  |  | Not applicable | Fail | 1
Skylight |  | 0.65 |  | Fail | 1
Wall 1 –faces North, CBS2 |  |  | Not applicable | Fail | 1
Door 1 - |  | 0.4 | Not applicable | Not applicable | 0
Window 1 – Vinyl Frame Low-e Double |  | 0.4 | Not applicable | Not applicable | 0
Wall 2 –faces East, CBS |  |  | Not applicable | Fail | 1
Window 2 – Vinyl Frame Low-e Double |  | 0.4 | Not applicable | Not applicable | 0
Wall 3 –faces South, CBS |  |  | Not applicable | Fail | 1
Window 3 – Vinyl Frame Low-e Double |  | 0.4 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  |  | Not applicable | Fail | 1
Window 4 – Vinyl Frame Low-e Double |  | 0.4 | Not applicable | Not applicable | 0
Wall 5 –faces West, CBS |  |  | Not applicable | Fail | 1
Window 5 – Vinyl Frame Low-e Double |  | 0.4 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Result |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal Envelope UA Value |  |  |  | Fail | 1
Total Thermal Envelope UA Result |  |  |  | Fail | 1
House Complies? |  |  |  | Fail | 1
|  |  | Test Result: | FAIL | 28

## Pr-T02
Florida Prescriptive Test | Software Name:
R402.1 R-value Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-T02 | Pass, Failure Issue or | R-Value Method
| Value | Test Result
Slab-on-grade Floor |  | Fail |  |  | 1
Roof – gable type- 5 in 12 slope No overhangs |  | Fail |  |  | 1
Ceiling1 –flat under attic |  | Fail |  |  | 1
Skylight |  | Fail |  |  | 1
Wall 1 –faces North, CBS2 |  | Fail |  |  | 1
Door 1 - | Not applicable | Not applicable |  |  | 0
Window 1 – Metal Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 2 –faces East, CBS |  | Fail |  |  | 1
Window 2 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 3 –faces South, CBS |  | Fail |  |  | 1
Window 3 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  | Fail |  |  | 1
Window 4 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 5 –faces West, CBS |  | Fail |  |  | 1
Window 5 – Vinyl Frame Low-e Double | Not applicable | Fail |  |  | 1
Infiltration |  | Fail |  |  | 1
Heating – heat pump |  | Fail |  |  | 1
Cooling – heat pump |  | Fail |  |  | 1
Ducts – supply in attic |  | Fail |  |  | 1
Ducts – return in conditioned space |  | Fail |  |  | 1
Duct Tightness |  | Fail |  |  | 1
Air Handler – in conditioned space |  | Fail |  |  | 1
Mechanical Ventilation |  | Fail |  |  | 1
Hot Water System - electric |  | Fail |  |  | 1
All Hot Water Lines |  | Fail |  |  | 1
Hot Water Circulation -none |  | Fail |  |  | 1
Lighting |  | Fail |  |  | 1
Pool and Spa - none |  | Fail |  |  | 1
Area Weighted Fenestration U-Factor Value |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Value |  | Fail |  |  | 1
Total Thermal Envelope UA Value | Not applicable | Not applicable |  |  | 0
Area Weighted Fenestration U-Factor Result |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Result |  | Fail |  |  | 1
Baseline Thermal UA Value | Not applicable | Not applicable |  |  | 0
Total Thermal Envelope UA Result | Not applicable | Not applicable |  |  | 0
House Complies? |  | Fail |  |  | 1
| Test Result: | FAIL |  |  | 28
Florida Prescriptive Test | Software Name:
R402.1.3 U-Factor Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-T02 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Slab-on-grade Floor |  |  |  | Fail | 1
Roof – gable type- 5 in 12 slope No overhangs |  |  |  | Fail | 1
Ceiling1 –flat under attic |  |  |  | Fail | 1
Skylight |  | 0.65 |  | Fail | 1
Wall 1 –faces North, CBS2 |  |  |  | Fail | 1
Door 1 - |  | 0.8 | Not applicable | Not applicable | 0
Window 1 – Metal Frame Low-e Double |  | 0.68 | Not applicable | Not applicable | 0
Wall 2 –faces East, CBS |  |  |  | Fail | 1
Window 2 – Vinyl Frame Low-e Double |  | 0.27 | Not applicable | Not applicable | 0
Wall 3 –faces South, CBS |  |  |  | Fail | 1
Window 3 – Vinyl Frame Low-e Double |  | 1.2 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  |  |  | Fail | 1
Window 4 – Vinyl Frame Low-e Double |  | 0.27 | Not applicable | Not applicable | 0
Wall 5 –faces West, CBS |  |  |  | Fail | 1
Window 5 – Vinyl Frame Low-e Double |  | 0.27 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  |  | Not applicable | 0
Area Weighted Fenestration U-Factor Result |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal Envelope UA Value |  |  |  | Not applicable | 0
Total Thermal Envelope UA Result |  |  |  | Not applicable | 0
House Complies? |  |  |  | Fail | 1
|  |  | Test Result: | FAIL | 27
Florida Prescriptive Test | Software Name:
R402.1.4 Total UA Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-T02 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Slab-on-grade Floor |  |  | Not applicable | Not applicable | 0
Roof – gable type- 5 in 12 slope No overhangs |  |  | Not applicable | Not applicable | 0
Ceiling1 –flat under attic |  |  | Not applicable | Not applicable | 0
Skylight |  | 0.65 |  | Fail | 1
Wall 1 –faces North, CBS2 |  |  | Not applicable | Not applicable | 0
Door 1 - |  | 0.8 | Not applicable | Not applicable | 0
Window 1 – Metal Frame Low-e Double |  | 0.68 | Not applicable | Not applicable | 0
Wall 2 –faces East, CBS |  |  | Not applicable | Not applicable | 0
Window 2 – Vinyl Frame Low-e Double |  | 0.27 | Not applicable | Not applicable | 0
Wall 3 –faces South, CBS |  |  | Not applicable | Not applicable | 0
Window 3 – Vinyl Frame Low-e Double |  | 1.2 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  |  | Not applicable | Not applicable | 0
Window 4 – Vinyl Frame Low-e Double |  | 0.27 | Not applicable | Not applicable | 0
Wall 5 –faces West, CBS |  |  | Not applicable | Not applicable | 0
Window 5 – Vinyl Frame Low-e Double |  | 0.27 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Result |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal Envelope UA Value |  |  |  | Fail | 1
Total Thermal Envelope UA Result |  |  |  | Fail | 1
House Complies? |  |  |  | Fail | 1
|  |  | Test Result: | FAIL | 20

## Pr-T03
Florida Prescriptive Test | Software Name:
R402.1 R-value Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-T03 | Pass, Failure Issue or | R-Value Method
| Value | Test Result
Slab-on-grade Floor |  | Fail |  |  | 1
Roof – gable type- 5 in 12 slope No overhangs |  | Fail |  |  | 1
Ceiling1 –flat under attic |  | Fail |  |  | 1
Skylight |  | Fail |  |  | 1
Wall 1 –faces North, Wood Frame2 |  | Fail |  |  | 1
Door 1 - | Not applicable | Not applicable |  |  | 0
Window 1 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 2 –faces East, Wood Frame |  | Fail |  |  | 1
Window 2 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 3 –faces South, Wood Frame |  | Fail |  |  | 1
Window 3 – Metal Frame, Single Pane | Not applicable | Not applicable |  |  | 0
Wall 4 –faces South, Wood Frame |  | Fail |  |  | 1
Window 4 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 5 –faces West, Wood Frame |  | Fail |  |  | 1
Window 5 – Vinyl Frame Low-e Double | Not applicable | Fail |  |  | 1
Infiltration |  | Fail |  |  | 1
Heating – heat pump |  | Fail |  |  | 1
Cooling – heat pump |  | Fail |  |  | 1
Ducts – supply in attic |  | Fail |  |  | 1
Ducts – return in conditioned space |  | Fail |  |  | 1
Duct Tightness |  | Fail |  |  | 1
Air Handler – in conditioned space |  | Fail |  |  | 1
Mechanical Ventilation |  | Fail |  |  | 1
Hot Water System - electric |  | Fail |  |  | 1
All Hot Water Lines |  | Fail |  |  | 1
Hot Water Circulation -none |  | Fail |  |  | 1
Lighting |  | Fail |  |  | 1
Pool and Spa - none |  | Fail |  |  | 1
Area Weighted Fenestration U-Factor Value |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Value |  | Fail |  |  | 1
Total Thermal Envelope UA Value | Not applicable | Not applicable |  |  | 0
Area Weighted Fenestration U-Factor Result |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Result |  | Fail |  |  | 1
Baseline Thermal UA Value | Not applicable | Not applicable |  |  | 0
Total Thermal Envelope UA Result | Not applicable | Not applicable |  |  | 0
House Complies? |  | Fail |  |  | 1
| Test Result for Software: | FAIL |  |  | 28
Florida Prescriptive Test | Software Name:
R402.1.3 U-Factor Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-T03 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Slab-on-grade Floor |  |  |  | Fail | 1
Roof – gable type- 5 in 12 slope No overhangs |  |  |  | Fail | 1
Ceiling1 –flat under attic |  |  |  | Fail | 1
Skylight |  | 0.65 |  | Fail | 1
Wall 1 –faces North, Wood Frame2 |  |  |  | Fail | 1
Door 1 - |  | 0.35 | Not applicable | Not applicable | 0
Window 1 – Vinyl Frame Low-e Double |  | 0.35 | Not applicable | Not applicable | 0
Wall 2 –faces East, Wood Frame |  |  |  | Fail | 1
Window 2 – Vinyl Frame Low-e Double |  | 0.35 | Not applicable | Not applicable | 0
Wall 3 –faces South, Wood Frame |  |  |  | Fail | 1
Window 3 – Metal Frame, Single Pane |  | 1.2 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood Frame |  |  |  | Fail | 1
Window 4 – Vinyl Frame Low-e Double |  | 0.35 | Not applicable | Not applicable | 0
Wall 5 –faces West, Wood Frame |  |  |  | Fail | 1
Window 5 – Vinyl Frame Low-e Double |  | 0.35 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  | Not applicable | Not applicable | 0
Area Weighted Fenestration U-Factor Result |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal UA Value |  |  | Not applicable | Not applicable | 0
Total Thermal Envelope UA Result |  |  | Not applicable | Not applicable | 0
House Complies? |  |  |  | Fail | 1
|  |  | Test Result: | FAIL | 27
Florida Prescriptive Test | Software Name:
R402.1.4 Total UA Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-T03 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Slab-on-grade Floor |  |  | Not applicable | Not applicable | 0
Roof – gable type- 5 in 12 slope No overhangs |  |  | Not applicable | Not applicable | 0
Ceiling1 –flat under attic |  |  | Not applicable | Not applicable | 0
Skylight |  | 0.65 |  | Fail | 1
Wall 1 –faces North, Wood Frame2 |  |  | Not applicable | Not applicable | 0
Door 1 - |  | 0.4 | Not applicable | Not applicable | 0
Window 1 – Vinyl Frame Low-e Double |  | 0.35 | Not applicable | Not applicable | 0
Wall 2 –faces East, Wood Frame |  |  | Not applicable | Not applicable | 0
Window 2 – Vinyl Frame Low-e Double |  | 0.35 | Not applicable | Not applicable | 0
Wall 3 –faces South, Wood Frame |  |  | Not applicable | Not applicable | 0
Window 3 – Metal Frame, Single Pane |  | 1.2 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood Frame |  |  | Not applicable | Not applicable | 0
Window 4 – Vinyl Frame Low-e Double |  | 0.35 | Not applicable | Not applicable | 0
Wall 5 –faces West, Wood Frame |  |  | Not applicable | Not applicable | 0
Window 5 – Vinyl Frame Low-e Double |  | 0.35 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Result |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal UA Value |  |  |  | Fail | 1
Total Thermal Envelope UA Result |  |  |  | Fail | 1
House Complies? |  |  |  | Fail | 1
|  |  | Test Result: | FAIL | 20

## Pr-M01
Florida Prescriptive Test | Software Name:
R402.1 R-value Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-M01 | Pass, Failure Issue or | R-Value Method
| Value | Test Result
Slab-on-grade Floor |  | Fail |  |  | 1
Roof – gable type- 5 in 12 slope No overhangs, solar absorptance = 0.75 |  | Fail |  |  | 1
Ceiling1 –flat under attic |  | Fail |  |  | 1
Skylight |  | Fail |  |  | 1
Wall 1 –faces North, CBS2 |  | Fail |  |  | 1
Door 1 - | Not applicable | Not applicable |  |  | 0
Window 1 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 2 –faces East, CBS |  | Fail |  |  | 1
Window 2 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 3 –faces South, CBS |  | Fail |  |  | 1
Window 3 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  | Fail |  |  | 1
Window 4 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 5 –faces West, CBS |  | Fail |  |  | 1
Window 5 – Vinyl Frame Low-e Double | Not applicable | Fail |  |  | 1
Infiltration |  | Fail |  |  | 1
Heating – heat pump |  | Fail |  |  | 1
Cooling – heat pump |  | Fail |  |  | 1
Ducts – supply in attic |  | Fail |  |  | 1
Ducts – return in conditioned space |  | Fail |  |  | 1
Duct Tightness |  | Fail |  |  | 1
Air Handler – in conditioned space |  | Fail |  |  | 1
Mechanical Ventilation |  | Fail |  |  | 1
Hot Water System - electric |  | Fail |  |  | 1
All Hot Water Lines |  | Fail |  |  | 1
Hot Water Circulation -none |  | Fail |  |  | 1
Lighting |  | Fail |  |  | 1
Pool and Spa - none |  | Fail |  |  | 1
Area Weighted Fenestration U-Factor Value |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Value |  | Fail |  |  | 1
Total Thermal Envelope UA Value | Not applicable | Not applicable |  |  | 0
Area Weighted Fenestration U-Factor Result |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Result |  | Fail |  |  | 1
Baseline Thermal UA Value | Not applicable | Not applicable |  |  | 0
Total Thermal Envelope UA Result | Not applicable | Not applicable |  |  | 0
House Complies? |  | Fail |  |  | 1
| Test Result for Software: | FAIL |  |  | 28
Florida Prescriptive Test | Software Name:
R402.1.3 U-Factor Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-M01 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Slab-on-grade Floor |  |  |  | Fail | 1
Roof – gable type- 5 in 12 slope No overhangs |  |  |  | Fail | 1
Ceiling1 –flat under attic |  |  |  | Fail | 1
Skylight |  | 0.75 |  | Fail | 1
Wall 1 –faces North, CBS2 |  |  |  | Fail | 1
Door 1 - |  | 0.65 | Not applicable | Not applicable | 0
Window 1 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 2 –faces East, CBS |  |  |  | Fail | 1
Window 2 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 3 –faces South, CBS |  |  |  | Fail | 1
Window 3 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  |  |  | Fail | 1
Window 4 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 5 –faces West, CBS |  |  |  | Fail | 1
Window 5 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  | Not applicable | Not applicable | 0
Area Weighted Fenestration U-Factor Result |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal Envelope UA Value |  |  | Not applicable | Not applicable | 0
Total Thermal Envelope UA Result |  |  | Not applicable | Not applicable | 0
House Complies? |  |  | Yes | Fail | 1
|  |  | Test Result: | FAIL | 27
Florida Prescriptive Test | Software Name:
R402.1.4 Total UA Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-M01 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Slab-on-grade Floor |  |  | Not applicable | Not applicable | 0
Roof – gable type- 5 in 12 slope No overhangs |  |  | Not applicable | Not applicable | 0
Ceiling1 –flat under attic |  |  | Not applicable | Not applicable | 0
Skylight |  | 0.75 |  | Fail | 1
Wall 1 –faces North, CBS2 |  |  | Not applicable | Not applicable | 0
Door 1 - |  | 0.65 | Not applicable | Not applicable | 0
Window 1 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 2 –faces East, CBS |  |  | Not applicable | Not applicable | 0
Window 2 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 3 –faces South, CBS |  |  | Not applicable | Not applicable | 0
Window 3 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  |  | Not applicable | Not applicable | 0
Window 4 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 5 –faces West, CBS |  |  | Not applicable | Not applicable | 0
Window 5 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Result |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal Envelope UA Value |  |  |  | Fail | 1
Total Thermal Envelope UA Result |  |  |  | Fail | 1
House Complies? |  |  |  | Fail | 1
|  |  | Test Result: | FAIL | 20

## Pr-M02
Florida Prescriptive Test | Software Name:
R402.1 R-value Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-M02 | Pass, Failure Issue or | R-Value Method
| Value | Test Result
Raised Floor1 |  | Fail |  |  | 1
Roof – gable type- 5 in 12 slope No overhangs |  | Fail |  |  | 1
Ceiling2 –flat under attic |  | Fail |  |  | 1
Skylight |  | Fail |  |  | 1
Wall 1 –faces North, Steel Frame3 | R-Value too low | Pass |  |  | 0
Door 1 - | Not applicable | Not applicable |  |  | 0
Window 1 – Vinyl Frame Impact Resistance Glass | Not applicable | Not applicable |  |  | 0
Wall 2 –faces South, Steel Frame |  | Fail |  |  | 1
Window 2 – Vinyl Frame Impact Resistance Glass | Not applicable | Not applicable |  |  | 0
Wall 3 –faces South, Steel Frame |  | Fail |  |  | 1
Window 3 – Vinyl Frame Impact Resistance Glass | Not applicable | Not applicable |  |  | 0
Wall 4 –faces South, Wood4 2x4 |  | Fail |  |  | 1
Window 4 – Vinyl Frame Impact Resistance Glass | Not applicable | Not applicable |  |  | 0
Wall 5 –faces West, Steel Frame |  | Fail |  |  | 1
Window 5 – Vinyl Frame Impact Resistance Glass | Not applicable | Fail |  |  | 1
Infiltration |  | Fail |  |  | 1
Heating – heat pump |  | Fail |  |  | 1
Cooling – heat pump |  | Fail |  |  | 1
Ducts – supply in attic | R-Value too low | Fail |  |  | 1
Ducts – return in conditioned space |  | Fail |  |  | 1
Duct Tightness |  | Fail |  |  | 1
Air Handler – in conditioned space |  | Fail |  |  | 1
Mechanical Ventilation |  | Fail |  |  | 1
Hot Water System - electric |  | Fail |  |  | 1
All Hot Water Lines |  | Fail |  |  | 1
Hot Water Circulation -none |  | Fail |  |  | 1
Lighting |  | Fail |  |  | 1
Pool and Spa - none |  | Fail |  |  | 1
Area Weighted Fenestration U-Factor Value |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Value |  | Fail |  |  | 1
Total Thermal Envelope UA Value | Not applicable | Not applicable |  |  | 0
Area Weighted Fenestration U-Factor Result |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Result |  | Fail |  |  | 1
Baseline Thermal UA Value | Not applicable | Not applicable |  |  | 0
Total Thermal Envelope UA Result | Not applicable | Not applicable |  |  | 0
House Complies? |  | Fail |  |  | 1
| Test Result for Software: | FAIL |  |  | 27
Florida Prescriptive Test | Software Name:
R402.1.3 U-Factor Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-M02 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Raised Floor |  |  |  | Fail | 1
Roof – gable type- 5 in 12 slope No overhangs |  |  |  | Fail | 1
Ceiling2 –flat under attic |  |  |  | Fail | 1
Skylight |  | 0.75 |  | Fail | 1
Wall 1 –faces North, Steel Frame3 |  |  |  | Fail | 1
Door 1 - |  | 0.65 | Not applicable | Not applicable | 0
Window 1 – Vinyl Frame Impact Resistance Glass |  | 0.65 | Not applicable | Not applicable | 0
Wall 2 –faces South, Steel Frame |  |  |  | Fail | 1
Window 2 – Vinyl Frame Impact Resistance Glass |  | 0.65 | Not applicable | Not applicable | 0
Wall 3 –faces South, Steel Frame |  |  |  | Fail | 1
Window 3 – Vinyl Frame Impact Resistance Glass |  | 0.65 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood4 2x4 |  |  |  | Fail | 1
Window 4 – Vinyl Frame Impact Resistance Glass |  | 0.65 | Not applicable | Not applicable | 0
Wall 5 –faces West, Steel Frame |  |  | U-Factor too high | Pass | 0
Window 5 – Vinyl Frame Impact Resistance Glass |  | 0.65 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  | Not applicable | Not applicable | 0
Area Weighted Fenestration U-Factor Result |  |  | Pass | Fail | 1
Area Weighted Fenestration SHGC Result |  |  | Pass | Pass | 0
Baseline Thermal Envelope UA Value |  |  | Not applicable | Not applicable | 0
Total Thermal Envelope UA Result |  |  | Not applicable | Not applicable | 0
House Complies? |  |  | Yes | Fail | 1
|  |  | Test Result: | FAIL | 25
Florida Prescriptive Test | Software Name:
R402.1.4 Total UA Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-M02 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Raised Floor1 |  |  | Not applicable | Not applicable | 0
Roof – gable type- 5 in 12 slope No overhangs |  |  | Not applicable | Not applicable | 0
Ceiling2 –flat under attic |  |  | Not applicable | Not applicable | 0
Skylight |  | 0.75 |  | Fail | 1
Wall 1 –faces North, Steel Frame3 |  |  | Not applicable | Not applicable | 0
Door 1 - |  | 0.65 | Not applicable | Not applicable | 0
Window 1 – Vinyl Frame Impact Resistance Glass |  | 0.65 | Not applicable | Not applicable | 0
Wall 2 –faces South, Steel Frame |  |  | Not applicable | Not applicable | 0
Window 2 – Vinyl Frame Impact Resistance Glass |  | 0.65 | Not applicable | Not applicable | 0
Wall 3 –faces South, Steel Frame |  |  | Not applicable | Not applicable | 0
Window 3 – Vinyl Frame Impact Resistance Glass |  | 0.65 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood4 2x4 |  |  | Not applicable | Not applicable | 0
Window 4 – Vinyl Frame Impact Resistance Glass |  | 0.65 | Not applicable | Not applicable | 0
Wall 5 –faces West, Steel Frame |  |  | Not applicable | Not applicable | 0
Window 5 – Vinyl Frame Impact Resistance Glass |  | 0.65 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Result |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal Envelope UA Value |  |  |  | Fail | 1
Total Thermal Envelope UA Result |  |  |  | Fail | 1
House Complies? |  |  |  | Fail | 1
|  |  | Test Result: | FAIL | 20

## Pr_M03
Florida Prescriptive Test | Software Name:
R402.1 R-value Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-M03 | Pass, Failure Issue or | R-Value Method
| Value | Test Result
Slab-on-grade Floor |  | Fail |  |  | 1
Roof – gable type- 5 in 12 slope No overhangs |  | Fail |  |  | 1
Ceiling1 –flat under attic |  | Fail |  |  | 1
Skylight |  | Fail |  |  | 1
Wall 1 –faces North, CBS2 |  | Fail |  |  | 1
Door 1 - | Not applicable | Not applicable |  |  | 0
Window 1 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 2 –faces East, CBS |  | Fail |  |  | 1
Window 2 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 3 –faces South, CBS |  | Fail |  |  | 1
Window 3 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  | Fail |  |  | 1
Window 4 – Vinyl Frame Low-e Double | Not applicable | Not applicable |  |  | 0
Wall 5 –faces West, CBS |  | Fail |  |  | 1
Window 5 – Vinyl Frame Low-e Double | Not applicable | Fail |  |  | 1
Infiltration |  | Fail |  |  | 1
Heating – heat pump |  | Fail |  |  | 1
Cooling – heat pump |  | Fail |  |  | 1
Ducts – supply in attic |  | Fail |  |  | 1
Ducts – return in conditioned space |  | Fail |  |  | 1
Duct Tightness |  | Fail |  |  | 1
Air Handler – in conditioned space |  | Fail |  |  | 1
Mechanical Ventilation |  | Fail |  |  | 1
Hot Water System - electric |  | Fail |  |  | 1
All Hot Water Lines |  | Fail |  |  | 1
Hot Water Circulation -none |  | Fail |  |  | 1
Lighting |  | Fail |  |  | 1
Pool and Spa - none |  | Fail |  |  | 1
Area Weighted Fenestration U-Factor Value |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Value |  | Fail |  |  | 1
Total Thermal Envelope UA Value | Not applicable | Not applicable |  |  | 0
Area Weighted Fenestration U-Factor Result |  | Fail |  |  | 1
Area Weighted Fenestration SHGC Result |  | Fail |  |  | 1
Baseline Thermal UA Value | Not applicable | Not applicable |  |  | 0
Total Thermal Envelope UA Result | Not applicable | Not applicable |  |  | 0
House Complies? |  | Fail |  |  | 1
| Test Result for Software: | FAIL |  |  | 28
Florida Prescriptive Test | Software Name:
R402.1.3 U-Factor Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-M03 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Slab-on-grade Floor |  |  |  | Fail | 1
Roof – gable type- 5 in 12 slope No overhangs |  |  |  | Fail | 1
Ceiling1 –flat under attic |  |  |  | Fail | 1
Skylight |  | 0.75 |  | Fail | 1
Wall 1 –faces North, CBS2 |  |  |  | Fail | 1
Door 1 - |  | 0.65 | Not applicable | Not applicable | 0
Window 1 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 2 –faces East, CBS |  |  |  | Fail | 1
Window 2 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 3 –faces South, CBS |  |  |  | Fail | 1
Window 3 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  |  |  | Fail | 1
Window 4 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 5 –faces West, CBS |  |  |  | Fail | 1
Window 5 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  | Not applicable | Not applicable | 0
Area Weighted Fenestration U-Factor Result |  |  |  | Fail | 1
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal Envelope UA Value |  |  | Not applicable | Not applicable | 0
Total Thermal Envelope UA Result |  |  | Not applicable | Not applicable | 0
House Complies? |  |  |  | Fail | 1
|  |  | Test Result: | FAIL | 27
Florida Prescriptive Test | Software Name:
R402.1.4 Total UA Alternative Method
Enter software result in yellow highlighted areas. |  | Grey cells do not need entries
Test results in pale green indicate if software produced expected results.
House Pr-M03 | U-Factor |  | Pass, Failure Issue or | U-Factor Calculation
| Calculation Method | U-Factor | Value | Method Test Result
Slab-on-grade Floor |  |  | Not applicable | Not applicable | 0
Roof – gable type- 5 in 12 slope No overhangs |  |  | Not applicable | Not applicable | 0
Ceiling1 –flat under attic |  |  | Not applicable | Not applicable | 0
Skylight |  | 0.75 |  | Fail | 1
Wall 1 –faces North, CBS2 |  |  | Not applicable | Not applicable | 0
Door 1 - |  | 0.65 | Not applicable | Not applicable | 0
Window 1 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 2 –faces East, CBS |  |  | Not applicable | Not applicable | 0
Window 2 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 3 –faces South, CBS |  |  | Not applicable | Not applicable | 0
Window 3 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 4 –faces South, Wood3 2x4 framing fraction =0.25 |  |  | Not applicable | Fail | 1
Window 4 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Wall 5 –faces West, CBS |  |  | Not applicable | Not applicable | 0
Window 5 – Vinyl Frame Low-e Double |  | 0.65 | Not applicable | Not applicable | 0
Infiltration |  |  |  | Fail | 1
Heating – heat pump |  |  |  | Fail | 1
Cooling – heat pump |  |  |  | Fail | 1
Ducts – supply in attic |  |  |  | Fail | 1
Ducts – return in conditioned space |  |  |  | Fail | 1
Duct Tightness |  |  |  | Fail | 1
Air Handler – in conditioned space |  |  |  | Fail | 1
Mechanical Ventilation |  |  |  | Fail | 1
Hot Water System - electric |  |  |  | Fail | 1
All Hot Water Lines |  |  |  | Fail | 1
Hot Water Circulation -none |  |  |  | Fail | 1
Lighting |  |  |  | Fail | 1
Pool and Spa - none |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Value |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Value |  |  |  | Fail | 1
Total Thermal Envelope UA Value |  |  |  | Fail | 1
Area Weighted Fenestration U-Factor Result |  |  |  | Not applicable | 0
Area Weighted Fenestration SHGC Result |  |  |  | Fail | 1
Baseline Thermal Envelope UA Value |  |  |  | Fail | 1
Total Thermal Envelope UA Result |  |  |  | Fail | 1
House Complies? |  |  |  | Fail | 1
|  |  | Test Result: | FAIL | 21

## Selections
Floor | Roof | Ceiling | Skylight | Wall | Window | Door | Infiltration | Heating | Cooling | SupplyDucts | ReturnDucts | DuctTightness | AIrHandler | MechanicalVent | HotWaterSystem | HotWaterLines | HotWaterCirculation | Lighting | PoolandSpa | OverallFenU | OverallFenSHGC | TotalUA
Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass
R-Value too low | R-Value too low | R-Value too low | SHGC too high | R-Value too low | SHGC too high | U-Value too high | Leakage too high | AFUE too low | SEER too low | R-Value too low | R-Value too low | Leakage too high | Location not allowed | Ventilation too low | EF too low | Insulation too low | Insufficient controls | Less than required effiency | Heater Efficiency too low | Average U too high | Average SHGC too high | Total UA too high
U-Factor too high | U-Factor too high | U-Factor too high | U-Factor too high | U-Factor too high | U-Factor too high | Not applicable | Not part of software | HSPF too low | Not part of software | Not part of software | Not part of software | Not part of software | Leakage too high | Ventilation too high | Not part of software | Not part of software | Not part of software | Not part of software | No cover |  |  | Not applicable
| Solar Absorptance too high |  |  |  | Not applicable |  |  | Not part of software |  |  |  |  | Not part of software | Not part of software |  |  |  |  | Not part of software
UCalcMethod | Complies
Isothermal-Planes | Yes
Modified Zone | No
Parallel and Series
Parallel Path