## EnGauge Summit using DOE2.1-E
STANDARD 140 OUTPUT FORM - RESULTS |  |  |  | Sec5-2out.XLS
EnergyGauge Summit v 4.0 using DOE 2.1-E
INSTRUCTIONS:
1) Use specified units.
2) All radiation data is for sum of direct and diffuse solar radiation.
3) Format dates using the appropriate two-digit date followed by a three-digit
month code and two-digit hour code (24 hour clock), as shown below.
MONTH |  | CODE
January |  | Jan
February |  | Feb
March |  | Mar
April |  | Apr
May |  | May
June |  | Jun
July |  | Jul
August |  | Aug
September |  | Sep
October |  | Oct
November |  | Nov
December |  | Dec
For example, a peak occuring on Jan 4 during the 15th hour interval (2-3 PM),
should be input as:
DATE HOUR
04-Jan 15
4) Data entry is restricted to Column B or Columns B,C,D. Enter appropriate
output in the proper column(s) for the case or hour listed in column A. This
worksheet extends down to Row 901. Note that the protection option has been
used in this worksheet to help assure that data is input to the correct cells.
ANNUAL HEATING LOADS (COLUMN B)
PROGRAM:
VERSION:
CASE# | MWh
600 | 4.994
610 | 5.042
620 | 5.144
630 | 5.508
640 | 2.995
650 | 0
900 | 1.301
910 | 1.559
920 | 3.312
930 | 4.249
940 | 0.838
950 | 0
960 | 2.216
195 | 5.536
200
210
215
220 | 7.717
230 | 11.128
240 | 6.436
250 | 5.817
270
280
290
300
310
320
395 | 5.472
400 | 7.659
410 | 9.38
420 | 8.074
430 | 6.309
440
800 | 5.353
810
ANNUAL COOLING LOADS (COLUMN B)
PROGRAM:
VERSION:
CASE# | MWh
600 | 8.054
610 | 5.874
620 | 5.256
630 | 3.235
640 | 7.713
650 | 6.678
900 | 3.39
910 | 1.738
920 | 3.169
930 | 1.823
940 | 3.272
950 | 0.749
960 | 0.855
195 | 0.353
200
210
215
220 | 0.558
230 | 0.861
240 | 0.878
250 | 4.284
270
280
290
300
310
320
395 | 0.001
400 | 0.016
410 | 0.035
420 | 0.105
430 | 1.106
440
800 | 0.323
810
ANNUAL HOURLY INTEGRATED PEAK HEATING LOADS (COLUMNS B,C,D)
PROGRAM:
VERSION:
CASE# | kW | DATE | TIME
600 | 3.767 | 2006-01-04 | 5
610 | 3.755 | 2006-01-04 | 5
620 | 3.785 | 2006-01-04 | 5
630 | 3.762 | 2006-01-04 | 5
640 | 5.656 | 2006-01-04 | 5
650 | 0
900 | 3.248 | 2006-01-04 | 7
910 | 3.256 | 2006-01-04 | 7
920 | 3.508 | 2006-01-04 | 7
930 | 3.536 | 2006-01-04 | 7
940 | 5.322 | 2006-01-04 | 8
950 | 0
960 | 2.603 | 2006-01-04 | 8
195 | 2.294 | 2006-01-04 | 3
200
210
215
220 | 3.245 | 2006-01-04 | 5
230 | 4.743 | 2006-01-04 | 2
240 | 3.062 | 2006-01-04 | 5
250 | 3.245 | 2006-01-04 | 5
270
280
290
300
310
320
395 | 2.301 | 2006-01-04 | 3
400 | 3.255 | 2006-01-04 | 5
410 | 4.002 | 2006-01-04 | 5
420 | 3.819 | 2006-01-04 | 5
430 | 3.819 | 2006-01-04 | 5
440
800 | 3.634 | 2006-01-04 | 7
810
ANNUAL HOURLY INTEGRATED PEAK COOLING LOADS (COLUMNS B,C,D)
PROGRAM:
VERSION:
CASE# | kW | DATE | TIME
600 | 6.965 | 2006-10-17 | 13
610 | 6.482 | 2006-01-13 | 14
620 | 4.679 | 2006-07-26 | 17
630 | 3.834 | 2006-07-26 | 17
640 | 6.903 | 2006-10-16 | 14
650 | 6.843 | 2006-10-16 | 14
900 | 3.778 | 2006-10-17 | 14
910 | 2.703 | 2006-10-17 | 15
920 | 3.342 | 2006-07-26 | 17
930 | 2.638 | 2006-07-26 | 17
940 | 3.778 | 2006-10-17 | 14
950 | 2.917 | 2006-09-02 | 15
960 | 1.408 | 2006-07-26 | 16
195 | 0.689 | 2006-07-27 | 15
200
210
215
220 | 1.032 | 2006-07-27 | 15
230 | 1.545 | 2006-07-27 | 15
240 | 1.214 | 2006-07-27 | 15
250 | 3.173 | 2006-08-26 | 14
270
280
290
300
310
320
395 | 0.175 | 2006-07-27 | 17
400 | 0.407 | 2006-07-27 | 16
410 | 0.559 | 2006-07-27 | 16
420 | 0.792 | 2006-07-27 | 15
430 | 2.113 | 2006-08-26 | 14
440
800 | 1.267 | 2006-08-16 | 14
810
FREE-FLOAT CASE TEMPERATURE OUTPUT
MAX ANNUAL HOURLY ZONE TEMP (COLUMNS B,C,D)
PROGRAM:
VERSION:
CASE# | TEMP (C) | DATE | TIME
600FF | 73.4 | 2006-10-17 | 15
900FF | 45.5 | 2006-10-17 | 15
650FF | 71.7 | 2006-10-17 | 15
950FF | 37.1 | 2006-09-02 | 15
960 | 51.6 | 2006-10-17 | 15
MIN ANNUAL HOURLY ZONE TEMP
PROGRAM:
VERSION:
CASE# | TEMP (C) | DATE | TIME
600FF | -17.7 | 2006-01-04 | 8
900FF | -2 | 2006-01-04 | 8
650FF | -21 | 2006-01-04 | 2
950FF | -17.8 | 2006-01-04 | 7
960 | 6 | 2006-02-06 | 7
AVG ANNUAL HOURLY ZONE TEMP (COLUMN B ONLY)
PROGRAM:
VERSION:
CASE# | TEMP (C)
600FF | 26.993
900FF | 27.0563
650FF | 20.4281
950FF | 15.0742
960 | 30.0216
SOLAR RADIATION
ANNUAL INCIDENT TOTAL
CASE 600
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
SURFACE | kWh/m2
= | = | = | =
NORTH | 450.2906
EAST | 1165.8275
WEST | 1088.9381
SOUTH | 1579.3093
HORZ. | 1830.85
= | = | = | =
SOLAR RADIATION
UNSHADED ANNUAL TRANSMITTED
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
CASE# | kWh/m2
= | = | = | =
920WEST | 704.776
900SOUTH | 1004.936
= | = | = | =
SOLAR RADIATION
SHADED ANNUAL TRANSMITTED
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
CASE# | kWh/m2
= | = | = | =
930WEST | 462.231
910SOUTH | 803.901
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION CLOUDY DAY, MARCH 5
CASE 600 OR 900
SOUTH SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
HOUR | Wh/m2
= | = | = | =
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 1.49
8 | 12.47
9 | 29.43
10 | 45.63
11 | 58.57
12 | 64.28
13 | 66.18
14 | 62.33
15 | 51.13
16 | 36.61
17 | 18.91
18 | 4.59
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION CLOUDY DAY, MARCH 5
CASE 600 OR 900
WEST SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
HOUR | Wh/m2
= | = | = | =
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 1.8
8 | 14.01
9 | 32.07
10 | 45.58
11 | 57.08
12 | 62
13 | 63.93
14 | 61.32
15 | 51.08
16 | 36.25
17 | 15.95
18 | 2.32
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION, CLEAR DAY, JULY 27
CASE 600
SOUTH SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
HOUR | Wh/m2
= | = | = | =
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 21.25
7 | 73.53
8 | 110.86
9 | 212.63
10 | 334.38
11 | 425.82
12 | 465.2
13 | 478.4
14 | 433.75
15 | 357.6
16 | 238.77
17 | 121.87
18 | 71.71
19 | 20.51
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION, CLEAR DAY, JULY 27
CASE 600
WEST SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
HOUR | Wh/m2
= | = | = | =
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 21.16
7 | 69.31
8 | 100.74
9 | 119.05
10 | 130.25
11 | 139.62
12 | 142.54
13 | 244.31
14 | 461.98
15 | 662.1
16 | 782.66
17 | 651.77
18 | 231.93
19 | 38.33
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 600FF JAN 4
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
HOUR | TEMP (C)
= | = | = | =
1 | -10.4
2 | -12.4
3 | -13.8
4 | -14.9
5 | -15.8
6 | -16.7
7 | -17.4
8 | -17.7
9 | -13.3
10 | -5.7
11 | 6.1
12 | 17.2
13 | 26.8
14 | 34.6
15 | 39.4
16 | 39.4
17 | 32.5
18 | 24.8
19 | 18.4
20 | 13
21 | 8.3
22 | 4.5
23 | 1.2
24 | -1.5
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 900FF JAN 4
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
HOUR | TEMP (C)
= | = | = | =
1 | 1.5
2 | 0.8
3 | 0.3
4 | -0.1
5 | -0.6
6 | -1.1
7 | -1.6
8 | -2
9 | -0.9
10 | 0.9
11 | 3.9
12 | 6.3
13 | 8.5
14 | 10.3
15 | 11.2
16 | 11
17 | 9.2
18 | 7.7
19 | 6.8
20 | 6.1
21 | 5.5
22 | 5
23 | 4.5
24 | 4
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 650FF JULY 27
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
HOUR | TEMP (C)
= | = | = | =
1 | 22
2 | 21
3 | 20.1
4 | 19.3
5 | 19
6 | 19.7
7 | 22.4
8 | 24.8
9 | 28.5
10 | 32.8
11 | 37.6
12 | 42.6
13 | 46.8
14 | 49.8
15 | 51.6
16 | 51.9
17 | 51.1
18 | 48.8
19 | 34.7
20 | 31.4
21 | 28.9
22 | 26.6
23 | 25.6
24 | 23.9
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 950FF JULY 27
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
HOUR | TEMP (C)
= | = | = | =
1 | 24.6
2 | 23.9
3 | 23.3
4 | 22.7
5 | 22.4
6 | 22.8
7 | 24.6
8 | 27.2
9 | 28.3
10 | 29.4
11 | 30.7
12 | 32
13 | 33.1
14 | 33.9
15 | 34.3
16 | 34.5
17 | 34.5
18 | 34
19 | 30.4
20 | 29.5
21 | 28.6
22 | 27.5
23 | 27.2
24 | 26
= | = | = | =
HOURLY HEATING & COOLING LOAD DATA (COLUMN B ONLY)
CASE 600 JAN 4
[USE (-) FOR COOLING]
PROGRAM:
VERSION:
HOUR | kWh
= | = | = | =
1 | 3.645
2 | 3.75
3 | 3.74
4 | 3.765
5 | 3.767
6 | 3.758
7 | 3.764
8 | 3.558
9 | 2.157
10 | 0.335
11 | -0.194
12 | -2.459
13 | -3.689
14 | -4.172
15 | -3.874
16 | -2.522
17 | 0
18 | 0.203
19 | 1.823
20 | 2.603
21 | 3.029
22 | 3.214
23 | 3.256
24 | 3.304
= | = | = | =
HOURLY HEATING & COOLING LOAD DATA (COLUMN B ONLY)
CASE 900 JAN 4
[USE (-) FOR COOLING]
PROGRAM:
VERSION:
HOUR | kWh
= | = | = | =
1 | 2.774
2 | 2.912
3 | 2.968
4 | 3.064
5 | 3.132
6 | 3.187
7 | 3.248
8 | 3.21
9 | 2.636
10 | 1.828
11 | 0.588
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0.036
19 | 0.52
20 | 0.858
21 | 1.158
22 | 1.38
23 | 1.547
24 | 1.735
= | = | = | =
FREE-FLOAT CASES
HOURLY ANNUAL ZONE TEMPERATURE BIN DATA
CASE 900FF
(USE COLUMN B ONLY)
PROGRAM:
VERSION:
TEMP (C) | # HOURS
= | = | = | =
-50 | 0
-49 | 0
-48 | 0
-47 | 0
-46 | 0
-45 | 0
-44 | 0
-43 | 0
-42 | 0
-41 | 0
-40 | 0
-39 | 0
-38 | 0
-37 | 0
-36 | 0
-35 | 0
-34 | 0
-33 | 0
-32 | 0
-31 | 0
-30 | 0
-29 | 0
-28 | 0
-27 | 0
-26 | 0
-25 | 0
-24 | 0
-23 | 0
-22 | 0
-21 | 0
-20 | 0
-19 | 0
-18 | 0
-17 | 0
-16 | 0
-15 | 0
-14 | 0
-13 | 0
-12 | 0
-11 | 0
-10 | 0
-9 | 0
-8 | 0
-7 | 0
-6 | 0
-5 | 0
-4 | 0
-3 | 0
-2 | 3
-1 | 7
0 | 6
1 | 8
2 | 15
3 | 16
4 | 19
5 | 17
6 | 19
7 | 29
8 | 26
9 | 29
10 | 50
11 | 57
12 | 75
13 | 95
14 | 120
15 | 140
16 | 154
17 | 188
18 | 226
19 | 252
20 | 324
21 | 336
22 | 335
23 | 375
24 | 414
25 | 362
26 | 402
27 | 400
28 | 430
29 | 441
30 | 427
31 | 448
32 | 404
33 | 370
34 | 342
35 | 318
36 | 275
37 | 189
38 | 189
39 | 154
40 | 109
41 | 80
42 | 47
43 | 23
44 | 13
45 | 2
46 | 0
47 | 0
48 | 0
49 | 0
50 | 0
51 | 0
52 | 0
53 | 0
54 | 0
55 | 0
56 | 0
57 | 0
58 | 0
59 | 0
60 | 0
61 | 0
62 | 0
63 | 0
64 | 0
65 | 0
66 | 0
67 | 0
68 | 0
69 | 0
70 | 0
71 | 0
72 | 0
73 | 0
74 | 0
75 | 0
76 | 0
77 | 0
78 | 0
79 | 0
80 | 0
81 | 0
82 | 0
83 | 0
84 | 0
85 | 0
86 | 0
87 | 0
88 | 0
89 | 0
90 | 0
91 | 0
92 | 0
93 | 0
94 | 0
95 | 0
96 | 0
97 | 0
98 | 0
= | = | = | =
= | = | = | =
= | = | = | =
= | = | = | =