Mo,

I know you have taken the language from the bill verbatim and do not know if the TAC can vary the language. However, I have a question or a point to consider. As shown, I believe the provision would allow equipment to be replaced without complying with the elevation requirements, if there is no refoofing. It seems a comma should be placed after the added phrase "during reroofing".

102.8 Existing mechanical equipment. An agency or local government may not require that

existing mechanical equipment located on or above the surface of a roof be installed in compliance  with the requirements of the Florida Building Code except during reroofing, when the equipment is being replaced or moved during reroofing and is not in compliance with the provisions of the Florida Building Code relating to roof-mounted mechanical units.