## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 984 | 12 | Revision | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-16 15:06 | a
2 | 1559 | 10 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-15 14:27 | a
3 | 3443 | 21 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:13 | a
4 | 3915 | 22 | Revision | Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-29 15:40 | a
5 | 4930 | 13 | Revision | Seaman Corporation | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:14 | a
6 | 5259 | 26 | Revision | POLYGLASS USA | Roofing | Underlayments | Recommend Approval | 2016-02-16 17:26 | a
7 | 5680 | 18 | Revision | GAF | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-01-20 10:24 | a
8 | 6964 | 5 | Revision | DBCI | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval | 2016-02-19 14:23 | a
9 | 9274 | 11 | Revision | Sika Sarnafil, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-01-20 10:43 | a
10 | 9777 | 9 | Revision | Owens Corning | Roofing | Underlayments | Recommend Approval | 2016-02-19 19:25 | a
11 | 10015 | 7 | Revision | Pella Corporation | Windows | Casement | Recommend Approval | 2016-02-17 15:15 | a
12 | 10022 | 7 | Revision | Pella Corporation | Windows | Fixed | Recommend Approval | 2016-02-18 23:00 | a
13 | 10026 | 7 | Revision | Pella Corporation | Windows | Awning | Recommend Approval | 2016-01-15 13:31 | a
14 | 10084 | 4 | Revision | Graham Architectural Products | Windows | Fixed | Recommend Approval | 2016-02-14 14:39 | a
15 | 10238 | 4 | Revision | Kane Manufacturing Corporation | Impact Protective Systems | Operable | Recommend Approval | 2016-02-15 12:25 | a
16 | 10703 | 7 | Revision | Mule-Hide Products Co., Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 15:03 | a
17 | 11141 | 16 | Revision | Associated Materials Inc. | Windows | Horizontal Slider | Recommend Approval | 2016-02-09 14:43 | a
18 | 12194 | 4 | Revision | Aluminum Coils, Inc. | Panel Walls | Soffits | Recommend Approval | 2016-02-16 15:09 | a
19 | 12772 | 4 | Revision | Mule-Hide Products Co., Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 14:01 | a
20 | 12979 | 5 | Revision | Windoor Incorporated | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:11 | a
21 | 13157 | 3 | Revision | Graham Architectural Products | Windows | Horizontal Slider | Recommend Approval | 2016-02-19 21:28 | a
22 | 13993 | 3 | Revision | Tuff Industries, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-18 09:58 | a
23 | 14218 | 9 | Revision | YKK AP America | Panel Walls | Storefronts | Recommend Approval | 2016-02-16 17:24 | a
24 | 14475 | 6 | Revision | Hope's Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-14 10:45 | a
25 | 14692 | 2 | Revision | Loewen Windows | Windows | Double Hung | Recommend Approval | 2016-02-03 10:07 | a
26 | 14693 | 2 | Revision | Loewen Windows | Windows | Single Hung | Recommend Approval | 2016-02-16 19:48 | a
27 | 14694 | 2 | Revision | Loewen Windows | Windows | Fixed | Recommend Approval | 2016-01-24 15:19 | a
28 | 15413 | 4 | Revision | NewSouth Window Solutions | Windows | Mullions | Recommend Approval | 2016-01-24 15:32 | a
29 | 15417 | 4 | Revision | Doers Window Manufacturing, LLC | Windows | Mullions | Recommend Approval | 2016-02-08 21:31 | a
30 | 15505 | 3 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 09:53 | a
31 | 15894 | 13 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 19:04 | a
32 | 16039 | 10 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-05 16:13 | a
33 | 16111 | 1 | Revision | Merchant & Evans, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-05 16:22 | a
34 | 16280 | 2 | Revision | Pella Corporation | Windows | Fixed | Recommend Approval | 2016-02-05 16:46 | a
35 | 16503 | 2 | Revision | KAYCAN LTD | Panel Walls | Soffits | Recommend Approval | 2016-02-02 21:36 | a
36 | 16722 | 2 | Revision | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | Recommend Approval | 1899-12-31 | a
37 | 16732 | 8 | Revision | GAF | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-15 21:11 | a
38 | 16734 | 3 | Revision | Dorma USA, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-01 10:12 | a
39 | 16739 | 10 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 13:11 | a
40 | 16755 | 3 | Revision | Windoor Incorporated | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 11:58 | a
41 | 16758 | 9 | Revision | Johns Manville | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 12:56 | a
42 | 16853 | 5 | Revision | Doers Window Manufacturing, LLC | Windows | Horizontal Slider | Recommend Approval | 2016-02-18 18:47 | a
43 | 17136 | 3 | Revision | Door Engineering and Manufacturing LLC | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-19 13:03 | a
44 | 17322 | 3 | Revision | Atlas Roofing Corporation | Roofing | Underlayments | Recommend Approval | 2016-02-08 21:22 | a
45 | 17323 | 2 | Revision | SR Products | Roofing | Liquid Applied Roof Systems | Recommend Approval | 2016-02-19 21:29 | a
46 | 17671 | 1 | Revision | Clopay Building Products Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-19 21:30 | a
47 | 17680 | 1 | Revision | USP Structural Connectors, a MiTek Company | Structural Components | Wood Connectors | Recommend Approval | 2016-02-18 15:42 | a
48 | 17955 | 2 | Revision | Southeastern Metals Mfg. Co. | Roofing | Metal Roofing | Recommend Approval | 2016-02-19 14:05 | a
49 | 17999 | 2 | Revision | Euro-Wall Systems, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:10 | a
50 | 18596 | 1 | Revision | Marvin Windows and Doors | Windows | Mullions | Recommend Approval | 2016-02-16 15:12 | a
51 | 19566 | 1 | Revision | Mule-Hide Products Co., Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-01-05 11:27 | a
52 | 19958 | 1 | Revision | CGI Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-15 14:30 | a
53 | 19968 | 1 | Revision | Mule-Hide Products Co., Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:08 | a
54 | 20325 | 3 | Revision | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-01-14 22:00 | a
55 | 20424 | 0 | New | CH Machine, Inc. | Structural Components | Wood Connectors | Recommend Approval | 2016-01-19 19:18 | a
56 | 20461 | 1 | Revision | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-01-14 22:23 | a
57 | 20678 | 2 | Revision | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-01-19 18:59 | a
58 | 20701 | 1 | Revision | Enviralum Industries Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 11:48 | a
59 | 21074 | 2 | Revision | Ridged Systems, LLC | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-15 14:25 | a
60 | 21082 | 1 | Revision | Dynamic Metals | Roofing | Metal Roofing | Recommend Approval | 2016-02-19 12:40 | a
61 | 21167 | 1 | Revision | US Aluminum Inc. - Division of CR Laurence | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-29 18:48 | a
62 | 21388 | 1 | Revision | Dynamic Metals | Roofing | Metal Roofing | Recommend Approval | 2015-12-31 14:24 | a
63 | 21554 | 0 | New | Pro Guard Coatings,Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 08:23 | a
64 | 21835 | 1 | Revision | E.S. Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-19 14:35 | a
65 | 21869 | 0 | New | Doorscapes, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 08:37 | a
66 | 21873 | 0 | New | DSA Master Crafted Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-12 15:47 | a
67 | 21891 | 1 | Revision | MILLWORK 360 | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-13 15:47 | a
68 | 21901 | 0 | New | Impact Hurricane Systems Inc. | Shutters | Roll-up | Recommend Approval | 2016-02-14 15:47 | a
69 | 21961 | 0 | New | DAYBAR INDUSTRIES LIMITED | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-15 15:47 | a
70 | 21969 | 1 | Revision | Construction Specialties, Inc. | Panel Walls | Wall Louver | Recommend Approval | 2016-02-17 15:47 | a
71 | 21986 | 0 | New | Windoor Incorporated | Windows | Mullions | Recommend Approval | 2016-02-19 15:47 | a
72 | 21993 | 0 | New | Kolbe Windows and Doors - Wausau | Windows | Fixed | Recommend Approval | 2016-02-21 15:47 | a
73 | 22005 | 0 | New | Paragon Windows and Doors, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-22 15:47 | a
74 | 22026 | 0 | New | N.R. Architectural Products, Inc. | Windows | Fixed | Recommend Approval | 2016-02-23 15:47 | a
75 | 22027 | 0 | New | YKK AP America Residential | Windows | Mullions |  | 2016-02-24 15:47 | a
76 | 22036 | 0 | New | Tri County Metals | Roofing | Metal Roofing | Recommend Approval | 2016-02-25 15:47 | a
77 | 22046 | 0 | New | Tecnoglass LLC. | Windows | Projected | Recommend Approval | 2016-02-26 15:47 | a
78 | 22211 | 0 | New | Tell Manufacturing, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-27 15:47 | a
79 | 22212 | 0 | New | Tell Manufacturing, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-28 15:47 | a
80 | 22216 | 0 | New | Tremco Incorporated | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-29 15:47 | a
81 | 22217 | 0 | New | Tremco Incorporated | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-03-01 15:47 | a
82 | 22218 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-03-03 15:47 | a
83 | 22223 | 0 | New | Graham Architectural Products | Windows | Single Hung | Recommend Approval | 2016-03-04 15:47 | a
84 | 22224 | 0 | New | Weiland Sliding Doors and Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-05 15:47 | a
85 | 22225 | 0 | New | Weiland Sliding Doors and Windows, Inc. | Windows | Fixed | Recommend Approval | 2016-03-06 15:47 | a
86 | 22226 | 0 | New | Reed Metals, Inc. | Structural Components | Roof Deck | Recommend Approval | 2016-03-07 15:47 | a
87 | 22227 | 0 | New | Rogue Valley Door | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-08 15:47 | a
88 | 22228 | 0 | New | YKK AP America | Panel Walls | Storefronts | Recommend Approval | 2016-03-09 15:47 | a
89 | 22232 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-03-10 15:47 | a
90 | 22244 | 0 | New | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-03-11 15:47 | a
91 | 22245 | 0 | New | Sunshine Metal Supply, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-03-12 15:47 | a
92 | 22248 | 0 | New | Construction Concepts Unlimited, Inc. | Panel Walls | Wall Louver | Recommend Approval | 2016-03-13 15:47 | a
93 | 22250 | 0 | New | E.S. Windows, Inc. | Windows | Single Hung | Recommend Approval | 2016-03-14 15:47 | a
94 | 22251 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-03-16 15:47 | a
95 | 22254 | 0 | New | BASF Corporation | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-03-18 15:47 | a
96 | 22255 | 0 | New | New Age Windows & Doors, Corp. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-20 15:47 | a
97 | 22256 | 0 | New | ICP Adhesives & Sealants, Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-03-21 15:47 | a
98 | 22257 | 0 | New | Enviralum Industries Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-22 15:47 | a
99 | 22259 | 0 | New | Beacon Sales Acquisitions, Inc. c/o Owens Corning Roofing and Asphalt LLC | Roofing | Underlayments | Recommend Approval | 2016-03-23 15:47 | a
100 | 22264 | 0 | New | Crawford Glass Door | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-03-24 15:47 | a
101 | 22266 | 0 | New | E.S. Windows, Inc. | Windows | Projected | Recommend Approval | 2016-03-25 15:47 | a
102 | 22267 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-03-26 15:47 | a
103 | 22270 | 0 | New | Eastern Metal Supply | Shutters | Storm Panels | Recommend Approval | 2016-03-27 15:47 | a
Test Report
104 | 21971 | 0 | New | Petersen Aluminum Corporation | Panel Walls | Siding | Recommend Approval | 2016-02-16 15:58 | a
COMMENTS
Architect and Engineer Evaluation Method
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146