## Sheet1
RCCIW Comments - FBC, Residential Code
Mod | Name | Comment type | Comment
S8952 (Overlap) | Brian Walsh | Provided cost analysis | The cost of the testing should not be limited to the purchase price of the test itself. The cost of labor to preform the test as well as carry costs should be included. I believe a more accurate cost for testing is $500-$600 per home.
P9412 | Bill Smock | Provided cost analysis | The added language to this appendix will all more options which may or may not reduce the cost of construction.
P8459 (Flood) | Bill Smock | Provided cost analysis | The corrected definition will reduce the cost of construction in areas where the previous definition was being implemented.
P9771 | Bill Smock | No cost impact | Brings the code consistent with NFPA. No cost impact
P8490 | Bill Smock | Provided cost analysis | I disagree with the supporting documents that this will reflect in a cost savings to construction. For the very few days that Florida will see temperatures below freezing each year, the code already allows for testing by compressed air at a level that would not damage the pipes in freezing conditions. Adding a vacuum test does not add savings.
SP8699 | Brian Walsh | Provided cost analysis | This can have cost implications, but would very widely based on the situation and build. I cannot put a dollar amount at this time.
P8815 | Bill Smock | Provided cost analysis | By correcting this issue, this revision will reduce costs to plumbing systems in areas where the inspectors had been enforcing the modified clean out language during the last code cycle. In those areas a savings of $30-$150 could be recognized on an average sized home.
P8818 | Bill Smock | Provided cost analysis | This modification improves options and sets standards in addressing the failed drainage system in an existing residence/property. This only increases options to property owners and may save them money. More importantly it brings a level of standard to this field and should protect property owners.
S8792 | Mike Keesee | No Cost impact | [mk] no cost impact
S8793 | Mike Keesee | No Cost impact | [mk] no cost impact
S8795 | Mike Keesee | No Cost impact | [mk] no cost impact
S8864 | Mike Keesee | No Cost impact | [mk] no cost impact
S8865 | Mike Keesee | No Cost impact | [mk] no cost impact
S8892 | Mike Keesee | No Cost impact | [mk] no cost impact
S8888 | Mike Keesee | No Cost impact | [mk] no cost impact
S8891 | Mike Keesee | No Cost impact | [mk] no cost impact
S887 | Mike Keesee | No Cost impact | [mk] no cost impact
S8890 | Mike Keesee | No Cost impact | [mk] no cost impact
S8866 | Mike Keesee | No Cost impact | [mk] no cost impact
S8867 | Mike Keesee | No Cost impact | [mk] no cost impact
S8876 | Mike Keesee | No Cost impact | [mk] no cost impact
S8883 | Mike Keesee | No Cost impact | [mk] no cost impact
P9398 | Bill Smock | Cost Analysis | In homes where fire sprinkler systems have been selected for use, there will be a cost savings as the sloped ceiling design option will save on costs, but in general will not have an impact on construction costs as fire sprinkler systems are not required in the FBC.
P9408 | Bill Smock | Cost Analysis | Because the vast majority of homes constructed in Florida locate the water heater in the garage or tankless eater on the exterior wall, this will have a major impact on the distribution design which will require the installation of a re-circulation system. the average system will cost $1,200 to $1,800 installed correctly with an insulated loop and pump system.
EN8955 | Drew Smith | Provided cost analysis | There will be a cost for whole house ventilation ranging from $200 - $1,500 depending on the type of system installed.
EN8576 | Drew Smith | Provided cost analysis | This could be a potential cost increase of up to $1/sqft to insulate the edges of a concrete floor slab and possibly stem walls.
EN8992 | Drew Smith | Provided cost analysis | This proposal will add an additional cost of at least $150 to what the builders are paying for pull down attic stairs.
EN8996 | Drew Smith | Provided cost analysis | This change will increase cost of construction for builders currently using this method of construction. The estimated cost increase would be approx. $1/sqft of living area.
EN9017 | Drew Smith | Provided cost analysis | While this change will increase the energy efficiency of a home by tightening the envelope leakage, This change will result in a $75 - $300/home cost increase due to upgraded boxes. Based on a 2000 sqft home.
EN9036 | Drew Smith | Provided cost analysis | Due to the types of WH used in Florida by builders, this will be a cost increase of $500 - $2,000/home
EN9040 | Drew Smith | Provided cost analysis | The code change proposal will increase the cost of construction but only in subset of buildings that may have been designed to include drain water heat recovery but not in accordance with the specified standard. Cost impact $200/home
EN9042 | Drew Smith | Provided cost analysis | Increases cost of construction from $150 - $2500 depending on system used.
EN9047 | Drew Smith | Provided cost analysis | For buildings that are currently using standard AHU/Furnace fan motors as their mechanical ventilation fan, the cost of construction will increase approx $500 on a 2,000 sqft home as they will need to adjust their mechanical ventilation design strategy in order to comply.
EN9041 | Drew Smith | Provided cost analysis | This change will increase cost of construction from $50- $100/home
EN9058 | Drew Smith | Provided cost analysis | This change will add approx $.20/sqft to the cost of construction on low rise multifamily projects.
EN9060 | Drew Smith | Provided cost analysis | The cost increase will range from $50 - $100/home
EN8922 | Drew Smith | Provided cost analysis | Will increase construction costs from $1,000 - at least $1,500/home
EN9057 | Drew Smith | Provided cost analysis | This change will increase cost of construction by $500+/home
EN9070 | Drew Smith | Provided cost analysis | This will add approx $100 to provide additional report.
EN9082 | Drew Smith | Provided cost analysis | This change will add apprx $50 -100/home to the cost
EN9083 | Drew Smith | Provided cost analysis | This proposal impacts who may claim the environmental attributes of an onsite-renewable energy system. Cost unknown
EN8936 | Drew Smith | Provided cost analysis | The cost impact will be the cost of allocating 8 sqft of living space.
M9332 | Alan Gremillion | Provided cost analysis | Unable to determine cost impact, but if this change reduces the volume of air that is required to be brought into the home, then this could potentially lower construction and operating costs.
M9334 | Alan Gremillion | Provided cost analysis | If a window will now satisfy this code requirement and we can eliminate kitchen ventilation to the exterior, then this will decrease the cost of construction. Cost decrease = $150. If we are now required to run kitchen exhaust to the exterior in lieu of recirculation ventilation, then this will increase construction cost. Cost Increase = $150
M9335 | Alan Gremillion | Provided cost analysis | Cost increase = $10
M9314 | Alan Gremillion | Provided cost analysis | Cost increase = $40 Mechanical contractor will now be required to install blocks on or near the equipment pad to strap the refrigerant line to in lieu of laying the lines on the ground or floating them above the ground from the condenser to the home
M9338 | Alan Gremillion | Provided cost analysis | Cost increase = $300 - $500 (Dependent upon length of run)
EN9200 (Overlap) | Drew Smith | Provided cost analysis | Cost impact < $100/home based on $2,000sqft home.
EN8980(Overlap) | Drew Smith | Provided cost analysis | Will increase cost of construction on a 2000 sqft home approx $2,800
EN8981 (Overlap) | Drew Smith | Provided cost analysis | This could increase cost of construction on a 2000 sqft home by approx $2,500
EN8982(Overlap) | Drew Smith | No Cost Impact | PC-1 will not increase cost and keep aligned with Energy Star
F8895 | Alan Gremillion | Provided cost analysis | Additional fire testing will increase upfront costs for the product manufacturer, but we are unable to determine the cost impact that these additional tests will have on material pricing to be paid by the consumer.
M9339 | Alan Gremillion | Provided cost analysis | The change will increase the cost of construction. Unfortunately, oil-fired appliances are not common in the Florida market, so we were not able to find any contractors or distributors to provide pricing for a blocked vent automatic burner shutoff switch.
F8470 | Lee Arsenault | Note - need to be added to the system | Possible - Definition is more specifie
F8474 | Lee Arsenault | Note - need to be added to the system | Possible - Definition is more specifie
F8610 (Overlap) | Lee Arsenault | Note - need to be added to the system | Possible - Correct misleading language
F8662 (Overlap) | Lee Arsenault | Note - need to be added to the system | Will require adding a detector when there is fuel burning mech equipment