## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 620 | 13 | Revision | GAF | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 15:06 | a
2 | 928 | 2 | Revision | MQ Window and Door | Windows | Casement | Recommend Approval | 2016-02-15 14:27 | a
3 | 3915 | 20 | Revision | Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-16 15:13 | a
4 | 6067 | 6 | Revision | Silverline Building Products Corp. | Windows | Mullions | Recommend Approval | 2016-02-16 17:25 | a
5 | 6332 | 7 | Revision | ICP Adhesives & Sealants, Inc. | Roofing | Roof Tile Adhesives | Recommend Approval | 2016-02-29 15:40 | a
6 | 6587 | 4 | Revision | E.F. Bavis and Associates, Inc. | Windows | Fixed | Recommend Approval | 2016-02-16 15:14 | a
7 | 7230 | 2 | Revision | Loadmaster Systems, Inc. | Roofing | Roofing Tiles | Recommend Approval | 2016-02-19 07:12 | a
8 | 7360 | 2 | Revision | MQ Window and Door | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 17:26 | a
9 | 7751 | 6 | Revision | Benjamin Obdyke Incorporated | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-01-20 10:24 | a
10 | 7873 | 8 | Revision | USA Shutter Company LLC | Shutters | Roll-up | Recommend Approval | 2016-02-19 14:19 | a
11 | 8042 | 4 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-19 14:23 | a
12 | 8262 | 6 | Revision | Mule-Hide Products Co., Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-19 14:25 | a
13 | 8693 | 3 | Revision | A.R.B.S. alternative blocking | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-01-20 10:43 | a
14 | 8926 | 6 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-25 10:59 | a
15 | 9100 | 3 | Revision | A.R.B.S. alternative blocking | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-15 14:28 | a
16 | 9274 | 9 | Revision | Sika Sarnafil, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:49 | a
17 | 9909 | 11 | Revision | Associated Materials Inc. | Windows | Fixed | Recommend Approval | 2016-02-16 11:43 | a
18 | 10088 | 6 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-15 14:31 | a
19 | 10093 | 6 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-16 11:38 | a
20 | 10124 | 18 | Revision | GAF | Roofing | Asphalt Shingles | Recommend Approval | 2016-02-19 19:25 | a
21 | 10352 | 4 | Revision | Bovard Studio, Inc. | Shutters | Storm Panels | Recommend Approval | 2016-02-17 15:15 | a
22 | 10746 | 2 | Revision | Bovard Studio, Inc. | Shutters | Storm Panels | Recommend Approval | 2016-02-16 15:05 | a
23 | 10980 | 5 | Revision | La Cantina Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-18 23:00 | a
24 | 11141 | 14 | Revision | Associated Materials Inc. | Windows | Horizontal Slider | Recommend Approval | 2016-02-16 15:51 | a
25 | 11291 | 6 | Revision | Storm Smart Industries | Shutters | Fabric Storm Panel | Recommend Approval | 2016-01-15 13:31 | a
26 | 11720 | 14 | Revision | Associated Materials Inc. | Windows | Double Hung | Recommend Approval | 2016-02-14 14:39 | a
27 | 11727 | 9 | Revision | Englert Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-19 14:09 | a
28 | 12078 | 5 | Revision | Associated Materials Inc. | Windows | Mullions | Recommend Approval | 2016-02-15 12:25 | a
29 | 12366 | 9 | Revision | GAF | Roofing | Roofing Slate | Recommend Approval | 2016-02-19 15:03 | a
30 | 12941 | 4 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-08 11:04 | a
31 | 12942 | 4 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-19 07:21 | a
32 | 13806 | 12 | Revision | Soprema, Inc. | Roofing | Liquid Applied Roof Systems | Recommend Approval | 2016-02-09 14:43 | a
33 | 14040 | 3 | Revision | Wausau Window and Wall Systems | Windows | Casement | Recommend Approval | 2016-02-16 15:09 | a
34 | 14046 | 3 | Revision | Wausau Window and Wall Systems | Windows | Awning | Recommend Approval | 2016-02-19 14:01 | a
35 | 14064 | 3 | Revision | Wausau Window and Wall Systems | Windows | Projected | Recommend Approval | 2016-02-16 15:11 | a
36 | 14083 | 12 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 21:28 | a
37 | 14091 | 3 | Revision | Wausau Window and Wall Systems | Windows | Fixed | Recommend Approval | 2016-02-18 09:58 | a
38 | 14165 | 5 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 17:24 | a
39 | 14207 | 12 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-14 10:45 | a
40 | 14215 | 9 | Revision | Soprema, Inc. | Roofing | Waterproofing | Recommend Approval | 2016-02-03 10:07 | a
41 | 14318 | 5 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-29 16:57 | a
42 | 14632 | 2 | Revision | Eastern Architectural Systems | Windows | Mullions | Recommend Approval | 2016-02-16 19:48 | a
43 | 14818 | 4 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-16 15:54 | a
44 | 15070 | 1 | Revision | Arcadia Architectural Products Inc | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:56 | a
45 | 15384 | 6 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-01-24 15:19 | a
46 | 15450 | 4 | Revision | Doers Window Manufacturing, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-01-24 15:32 | a
47 | 15533 | 3 | Revision | Faour Glass Technologies | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-08 21:31 | a
48 | 15545 | 2 | Revision | Tremco Incorporated | Roofing | Liquid Applied Roof Systems | Recommend Approval | 2016-02-16 09:53 | a
49 | 15819 | 8 | Revision | Wincore Window Company, LLC | Windows | Double Hung | Recommend Approval | 2016-02-02 21:16 | a
50 | 15908 | 2 | Revision | Andersen Corporation | Windows | Casement | Recommend Approval | 2016-02-19 19:01 | a
51 | 15909 | 2 | Revision | Andersen Corporation | Windows | Awning | Recommend Approval | 2016-02-19 19:04 | a
52 | 15910 | 2 | Revision | Andersen Corporation | Windows | Fixed | Recommend Approval | 2016-02-05 16:13 | a
53 | 15936 | 3 | Revision | API (American Products Inc.) | Panel Walls | Storefronts | Recommend Approval | 2016-02-05 16:22 | a
54 | 15937 | 3 | Revision | API (American Products Inc.) | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-05 16:46 | a
55 | 16039 | 8 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-02 21:36 | a
56 | 16214 | 2 | Revision | JELD-WEN | Windows | Mullions | Recommend Approval | 1899-12-31 | a
57 | 16226 | 3 | Revision | Atlas Roofing Corporation | Roofing | Underlayments | Recommend Approval | 2016-02-15 21:04 | a
58 | 16299 | 3 | Revision | KAYCAN LTD | Panel Walls | Siding | Recommend Approval | 2016-02-15 21:11 | a
59 | 16354 | 2 | Revision | La Cantina Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-01 10:12 | a
60 | 16438 | 2 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 11:58 | a
61 | 16440 | 8 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 12:56 | a
62 | 16442 | 2 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 12:50 | a
63 | 16443 | 8 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-10 20:43 | a
64 | 16542 | 3 | Revision | Wincore Window Company, LLC | Windows | Mullions | Recommend Approval | 2016-02-16 11:31 | a
65 | 16634 | 3 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-18 18:47 | a
66 | 16644 | 1 | Revision | IMETCO | Panel Walls | Siding | Recommend Approval | 2016-02-19 13:03 | a
67 | 16645 | 1 | Revision | The Garland Company, Inc. | Panel Walls | Siding | Recommend Approval | 2016-02-08 21:22 | a
68 | 16743 | 1 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-29 10:20 | a
69 | 16746 | 0 | New | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-19 21:29 | a
70 | 16758 | 8 | Revision | Johns Manville | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 21:30 | a
71 | 16781 | 1 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-18 15:42 | a
72 | 16785 | 0 | New | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-19 14:05 | a
73 | 16786 | 0 | New | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-16 15:10 | a
74 | 16787 | 0 | New | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-16 15:12 | a
75 | 16854 | 3 | Revision | Doers Window Manufacturing, LLC | Windows | Single Hung | Recommend Approval | 2016-01-05 11:27 | a
76 | 17088 | 4 | Revision | Wincore Window Company, LLC | Windows | Single Hung | Recommend Approval | 2016-02-25 12:39 | a
77 | 17104 | 2 | Revision | La Cantina Doors, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-15 14:30 | a
78 | 17649 | 2 | Revision | GAF | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 15:08 | a
79 | 17655 | 2 | Revision | Aldora Aluminum and Glass Products inc | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-19 14:06 | a
80 | 17700 | 1 | Editorial Change | Whirlwind Steel Buildings | Structural Components | Roof Deck | Recommend Approval | 2016-01-14 22:00 | a
81 | 17702 | 1 | Editorial Change | Whirlwind Steel Buildings | Structural Components | Structural Wall | Recommend Approval | 2016-01-19 19:18 | a
82 | 17704 | 1 | Editorial Change | Whirlwind Steel Buildings | Roofing | Metal Roofing | Recommend Approval | 2016-01-14 22:23 | a
83 | 17868 | 1 | Revision | JELD-WEN | Windows | Mullions | Recommend Approval | 2016-01-19 18:59 | a
84 | 17992 | 1 | Revision | Capital Metal Supply, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-01-24 15:15 | a
85 | 18362 | 1 | Editorial Change | RectorSeal | Structural Components | Pre-engineered AC Stands | Recommend Approval | 2016-02-15 14:33 | a
86 | 18449 | 1 | Revision | GAF/LL Building Products, Inc sub of GAF | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-17 15:18 | a
87 | 18588 | 1 | Revision | Florida Iron Doors LTD | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-08 21:30 | a
88 | 18726 | 0 | New | Global Performance Window d.b.a. Epsylon USA | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-16 11:48 | a
89 | 19277 | 2 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-15 14:25 | a
90 | 19278 | 2 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-19 12:40 | a
91 | 19597 | 1 | Revision | Englert Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-29 18:48 | a
92 | 19700 | 0 | New | Commercial Residential Aluminum | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval | 2015-12-31 14:24 | a
93 | 19947 | 2 | Revision | Soprema, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 08:23 | a
94 | 19959 | 0 | New | Global Performance Window d.b.a. Epsylon USA | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-19 14:35 | a
95 | 19999 | 1 | Revision | Berridge Manufacturing Co. | Roofing | Metal Roofing | Recommend Approval | 2016-02-16 08:37 | a
96 | 20147 | 0 | New | Capital Metal Supply, Inc. | Structural Components | Roof Deck | Recommend Approval | 2016-02-12 15:47 | a
97 | 20148 | 0 | New | Capital Metal Supply, Inc. | Structural Components | Structural Wall | Recommend Approval | 2016-02-18 20:06 | a
98 | 20321 | 1 | Revision | Berridge Manufacturing Co. | Roofing | Metal Roofing | Recommend Approval | 2016-02-09 12:07 | a
99 | 20325 | 1 | Revision | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-01-04 15:00 | a
100 | 20358 | 0 | New | Barricade Building Products | Structural Components | Structural Wall | Recommend Approval | 2016-02-19 12:26 | a
101 | 20395 | 1 | Revision | Storm Smart Industries | Shutters | Fabric Storm Panel | Recommend Approval | 2016-02-19 12:31 | a
102 | 20448 | 0 | New | EFCO Corporation | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-23 11:53 | a
103 | 20451 | 0 | New | Metal Sales Manufacturing Corporation | Structural Components | Roof Deck | Recommend Approval | 2016-02-19 12:44 | a
104 | 20452 | 0 | New | Metal Sales Manufacturing Corporation | Roofing | Metal Roofing | Recommend Approval | 2016-02-19 12:50 | a
105 | 20453 | 0 | New | Kingspan Insulated Panels | Structural Components | Structural Wall | Recommend Approval | 2016-02-12 10:40 | a
106 | 20466 | 0 | New | Hurricane Protection Manufacturers Association | Shutters | Accordion | Recommend Approval | 2016-02-25 12:31 | a
107 | 20474 | 0 | New | H M Sure Rock | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-03 21:22 | a
108 | 20478 | 0 | New | Edco Products, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-03 21:19 | a
109 | 20484 | 0 | New | UNION CORRUGATING COMPANY | Roofing | Metal Roofing | Recommend Approval | 2016-02-19 10:06 | a
110 | 20500 | 0 | New | Kawneer Company, Inc. | Windows | Casement | Recommend Approval | 2016-02-16 12:02 | a
111 | 20516 | 0 | New | Hartman Windows and Doors, LLC | Windows | Casement | Recommend Approval | 2016-01-28 08:21 | a
112 | 20517 | 0 | New | Hartman Windows and Doors, LLC | Windows | Mullions | Recommend Approval | 2016-02-16 13:01 | a
113 | 20519 | 0 | New | Surplus & Salvage of Chipley | Roofing | Metal Roofing | Recommend Approval | 2016-02-16 13:16 | a
114 | 20651 | 0 | New | N.R. Architectural Products, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 13:04 | a
115 | 20652 | 0 | New | Hartman Windows and Doors, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 12:12 | a
116 | 20656 | 0 | New | SIW Impact Windows, LLC. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 13:07 | a
117 | 20657 | 0 | New | Tremco Incorporated | Roofing | Liquid Applied Roof Systems | Recommend Approval |  | a
118 | 20662 | 0 | New | Air Master Awning, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
119 | 20663 | 0 | New | GAF | Roofing | Liquid Applied Roof Systems | Recommend Approval |  | a
120 | 20664 | 0 | New | Tremco Incorporated | Roofing | Liquid Applied Roof Systems | Recommend Approval |  | a
121 | 20673 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
122 | 20674 | 0 | New | BOSTIK,INC | Roofing | Roof Tile Adhesives | Recommend Approval |  | a
123 | 20676 | 0 | New | CENTRIA | Panel Walls | Siding | Recommend Approval |  | a
124 | 20678 | 0 | New | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
125 | 20683 | 0 | New | Slate Security | Windows | Fixed | Recommend Approval |  | a
126 | 20692 | 0 | New | E.S. Windows, Inc. | Windows | Casement | Recommend Approval |  | a
127 | 20698 | 0 | New | Endura Products | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
128 | 20700 | 0 | New | Fenex Corp USA, Inc. | Windows | Fixed | Recommend Approval | 2016-02-12 08:10 | a
129 | 20701 | 0 | New | Enviralum Industries Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-10 20:26 | a
130 | 20702 | 0 | New | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-02-11 10:57 | a
131 | 20703 | 0 | New | Global Performance Window d.b.a. Epsylon USA | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-15 14:43 | a
132 | 20716 | 0 | New | American Shutter Systems Association, Inc. | Shutters | Roll-up | Recommend Approval | 2016-02-11 12:30 | a
133 | 20728 | 0 | New | Detex Corporation | Exterior Doors | Exterior Door Components | Recommend Approval |  | a
134 | 20732 | 0 | New | Ceramica Manauara, LTDA | Roofing | Roofing Tiles | Recommend Approval |  | a
135 | 20735 | 0 | New | Green American Home | Roofing | Metal Roofing | Recommend Approval |  | a
136 | 20736 | 0 | New | Schlage Lock Company, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
137 | 20742 | 0 | New | Plycem USA LLC | Panel Walls | Siding | Recommend Approval |  | a
138 | 20743 | 0 | New | TAFCO Corporation | Windows | Horizontal Slider | Recommend Approval |  | a
139 | 20744 | 0 | New | Storm Smart Industries | Windows | Mullions | Recommend Approval | 2016-02-19 17:58 | a
140 | 20745 | 0 | New | Extreme Metal Fabricators, LLC. | Structural Components | Roof Deck | Recommend Approval | 2016-02-18 17:27 | a
141 | 20761 | 0 | New | heroal - Johann Henkenjohann GmbH & Co. KG | Shutters | Roll-up | Recommend Approval | 2016-02-16 15:45 | a
142 | 20762 | 0 | New | heroal - Johann Henkenjohann GmbH & Co. KG | Impact Protective Systems | Operable | Recommend Approval | 2016-02-18 08:52 | a
143 | 20764 | 0 | New | All-Lite | Panel Walls | Wall Louver | Recommend Approval | 2016-02-24 10:48 | a
144 | 20765 | 0 | New | N.R. Architectural Products, Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a
145 | 20766 | 0 | New | Pottorff | Panel Walls | Wall Louver | Recommend Approval |  | a
Test Report
146 | 19326 | 0 | New | EFCO Corporation | Windows | Single Hung | Recommend Approval | 2016-02-16 15:58 | a
147 | 19327 | 0 | New | EFCO Corporation | Windows | Double Hung | Recommend Approval | 2016-01-30 09:43 | a
148 | 19330 | 0 | New | EFCO Corporation | Windows | Fixed | Recommend Approval |  | a
149 | 20432 | 0 | New | Petersen Aluminum Corporation | Panel Walls | Siding | Recommend Approval |  | a
150 | 20446 | 0 | New | Kawneer Company, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a
151 | 20667 | 0 | New | Fidelity Manufacturing | Panel Walls | Products Introduced as a Result of New Technology | Recommend Approval | 2016-02-23 11:47 | a
COMMENTS