TAC
Total Mods for reports:  8
Swimming Pool
TAC:
 1 
Swimming Pool
Total Mods for Approved as Modified:
SubCode:
Energy Conservation
4‑[CE] ‑ Commercial Energy Efficiency
404.2
 6261 
Provides clarity that geothermal pool heat pumps are not required to meet AHRI 1160. The performance of these units has no relationship to air temperature and currently there is no AHRI standard that applies to geothermal swimming pool heat pumps.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM

AS

W

Glitch Criteria:
4
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

TAC:
 7 
Swimming Pool
Total Mods for Approved as Submitted:
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
454.1.3.1.9
 6272 
Adds (s) to door, correcting the sentence.  No substantive change.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS

W

Glitch Criteria:
4
Chapter
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  8
Swimming Pool
TAC:
 7 
Swimming Pool
Total Mods for Approved as Submitted:
454.2.6.1
 6266 
Corrects standard references to match the appropriate name, as standards have been updated NSPI has been replaced with APSP.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS

W

Glitch Criteria:
4
Chapter
(d.) Equivalency of standards;
X
TAC: 

35‑Referenced Standards
35
 6265 
Corrects standard references to match date/edition/name information as published.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS

W

Glitch Criteria:
35
Chapter
(d.) Equivalency of standards;
X
TAC: 

SubCode:
Energy Conservation
4‑[RE] ‑ Residential Energy Efficiency
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  8
Swimming Pool
TAC:
 7 
Swimming Pool
Total Mods for Approved as Submitted:
403.9.1.2
 6262 
Provides clarity that geothermal pool heat pumps are not required to meet AHRI 1160. The performance of these units has no relationship to air temperature and currently there is no AHRI standard that applies to geothermal swimming pool heat pumps.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS

W

Glitch Criteria:
4
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

5‑[RE] ‑ Referenced Standards
5
 6263 
Corrects standard reference to match date/edition/name information as published.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS

W

Glitch Criteria:
5
Chapter
(d.) Equivalency of standards;
X
TAC: 

SubCode:
Residential
42‑Swimming Pools
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  8
Swimming Pool
TAC:
 7 
Swimming Pool
Total Mods for Approved as Submitted:
4201.6.1
 6267 
Corrects standard references to match the appropriate name, as standards have been updated the NSPI has been replaced with APSP/ICC.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS

W

Glitch Criteria:
42
Chapter
(d.) Equivalency of standards;
X
TAC: 

45‑Referenced Standards
45
 6264 
Corrects standard references to match date/edition/name information as published.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS

W

Glitch Criteria:
45
Chapter
(d.) Equivalency of standards;
X
TAC: 

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
SW
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend: