## Commission (8)
FL# | R # | Type | Manufacturer | Category | Subcategory | Comment | DBPR | POC | FBC
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
620 | 6 | Revision | GAF | Roofing | Cements-Adhesives-Coatings | Recommend Approval | a | a | a
1654 | 13 | Revision | POLYGLASS USA | Roofing | Modified Bitumen Roof System | Recommend Approval | a | a | a
3443 | 11 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | a | a | a
3915 | 14 | Revision | Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval | a | a | a
4031 | 5 | Revision | Schlage Lock Company, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
5259 | 19 | Revision | POLYGLASS USA | Roofing | Underlayments | Recommend Approval | a | a | a
5293 | 14 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | a | a | a
8551 | 5 | Revision | Eagle Window and Door, Inc | Windows | Casement | Recommend Approval | a | a | a
8554 | 5 | Revision | Eagle Window and Door, Inc | Windows | Awning | Recommend Approval | a | a | a
10291 | 8 | Revision | POLYGLASS USA | Roofing | Cements-Adhesives-Coatings | Recommend Approval | a | a | a
10758 | 5 | Revision | Owens Corning | Roofing | Roofing Accessories/Integral | Recommend Approval | a | a | a
10980 | 3 | Revision | La Cantina Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
11720 | 12 | Revision | Associated Materials Inc. | Windows | Double Hung | Recommend Approval | a | a | a
12278 | 6 | Revision | Solar Innovations, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
13061 | 2 | Revision | Kaba Ilco Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | a | a | a
13407 | 4 | Revision | Solar Innovations, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
13597 | 2 | Revision | API (American Products Inc.) | Panel Walls | Storefronts | Recommend Approval | a | a | a
13707 | 2 | Revision | API (American Products Inc.) | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
13806 | 8 | Revision | Soprema, Inc. | Roofing | Liquid Applied Roof Systems | Recommend Approval | a | a | a
14083 | 6 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | a | a | a
14179 | 2 | Revision | API (American Products Inc.) | Panel Walls | Storefronts | Recommend Approval | a | a | a
14207 | 6 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | a | a | a
14372 | 2 | Revision | API (American Products Inc.) | Panel Walls | Curtain Walls | Recommend Approval | a | a | a
14417 | 2 | Revision | Wasco Products, Inc. | Sky Lights | Skylight | Recommend Approval | a | a | a
14529 | 4 | Revision | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a | a
15210 | 4 | Revision | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
15212 | 4 | Revision | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a | a
15734 | 2 | Revision | ALUCOM, LLC | Roofing | Metal Roofing | Recommend Approval | a | a | a
15819 | 4 | Revision | Wincore Window Company, LLC | Windows | Double Hung | Recommend Approval | a | a | a
15853 | 4 | Revision | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a | a
15861 | 2 | Revision | JELD-WEN | Windows | Mullions | Recommend Approval | a | a | a
15905 | 3 | Revision | Andersen Corporation | Windows | Fixed | Recommend Approval | a | a | a
15992 | 2 | Revision | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a | a
16039 | 4 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | a | a | a
16107 | 4 | Revision | Clopay Building Products Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a | a
16216 | 6 | Revision | Wincore Window Company, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | a | a | a
16429 | 2 | Revision | POLYGLASS USA | Roofing | Modified Bitumen Roof System | Recommend Approval | a | a | a
16440 | 2 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | a | a | a
16443 | 2 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | a | a | a
16468 | 6 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
16499 | 0 | New | EFCO Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
16660 | 2 | Revision | Haas Door Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a | a
16668 | 1 | Revision | YKK AP America | Panel Walls | Curtain Walls | Recommend Approval | a | a | a
16708 | 2 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
16724 | 1 | Revision | Henry Company | Roofing | Underlayments | Recommend Approval | a | a | a
16730 | 2 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | a | a | a
16739 | 2 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | a | a | a
16770 | 1 | Revision | Englert Inc. | Structural Components | Structural Wall | Recommend Approval | a | a | a
16903 | 1 | Revision | American Shutter Systems Association, Inc. | Shutters | Roll-up | Recommend Approval | a | a | a
16971 | 0 | New | Petersen Aluminum Corporation | Panel Walls | Soffits | Recommend Approval | a | a | a
16973 | 1 | Revision | POLYGLASS USA | Roofing | Cements-Adhesives-Coatings | Recommend Approval | a | a | a
16994 | 1 | Revision | Southeastern Metals Mfg. Co. | Roofing | Roofing Accessories /Integral | Recommend Approval | a | a | a
17021 | 0 | New | Bennett Building Systems | Structural Components | Structural Wall | Recommend Approval | a | a | a
17023 | 0 | New | NCFI Div. of Barnhardt Mfg. Co. | Roofing | Spray Applied Polyurethane Roof System | Recommend Approval | a | a | a
17024 | 0 | New | Englert Inc. | Structural Components | Structural Wall | Recommend Approval | a | a | a
17031 | 0 | New | Bennett Building Systems | Structural Components | Roof Deck | Recommend Approval | a | a | a
17037 | 0 | New | Royal Building Products | Panel Walls | Siding | Recommend Approval | a | a | a
17038 | 0 | New | Millwork Artisans, LLC | Windows | Double Hung | Recommend Approval | a | a | a
17053 | 0 | New | Kawneer Company, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
17079 | 0 | New | Expert Shutter Services, Inc. | Impact Protective Systems | Operable | Recommend Approval | a | a | a
17080 | 0 | New | Folding Shutter Corporation | Impact Protective Systems | Operable | Recommend Approval | a | a | a
17082 | 0 | New | Dixie Building Supply Co., Inc. | Roofing | Metal Roofing | Recommend Approval | a | a | a
17083 | 0 | New | Kawneer Company, Inc. | Panel Walls | Curtain Walls | Recommend Approval | a | a | a
17084 | 0 | New | RESISTO, a division of Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval | a | a | a
17086 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
17088 | 0 | New | Wincore Window Company, LLC | Windows | Single Hung | Recommend Approval | a | a | a
17089 | 0 | New | Custom Window Systems Inc. | Windows | Fixed | Recommend Approval | a | a | a
17093 | 0 | New | Hope's Windows, Inc. | Windows | Fixed | Recommend Approval | a | a | a
17094 | 0 | New | Tri County Metals | Roofing | Metal Roofing | Recommend Approval | a | a | a
17096 | 0 | New | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a | a
17097 | 0 | New | YKK AP America | Windows | Casement | Recommend Approval | a | a | a
17098 | 0 | New | YKK AP America | Windows | Projected | Recommend Approval | a | a | a
17099 | 0 | New | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a | a
17101 | 0 | New | KST Coatings, A Business Unit of the Sherwin-Williams Company | Roofing | Liquid Applied Roof Systems | Recommend Approval | a | a | a
17103 | 0 | New | La Cantina Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a | a
17104 | 0 | New | La Cantina Doors, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | a | a | a
17117 | 0 | New | Shwinco Architectural Products, LLC. | Windows | Fixed | Recommend Approval | a | a | a
17118 | 0 | New | Shwinco Architectural Products, LLC. | Windows | Mullions | Recommend Approval | a | a | a
Test Report
2894 | 5 | Editorial Change | G.A.P. Roofing | Roofing | Underlayments | Recommend Approval | a | a | a
14140 | 3 | Editorial Change | G.A.P. Roofing | Roofing | Underlayments | Recommend Approval | a | a | a
14449 | 3 | Editorial Change | G.A.P. Roofing | Roofing | Underlayments | Recommend Approval | a | a | a
17075 | 0 | New | Mid-States Asphalt & Cant Strip, Inc. | Roofing | Underlayments | Recommend Approval | a | a | a
Applications with comments
16839 | 0 | New | Sol-A-Trol Aluminum Products | Windows | Casement | Recommend Approval | c | c | c
|  |  | Gascon Comment | Evaluation report is not indicative of being tested to TAS202 for use in the HVHZ as required in the FBC section 1715.5.2. If not tested per TAS202, indicate not for use in the HVHZ. Note that the referenced standards in the BCIS list TAS201, TAS202 and TAS203, and impact resistance indicates "No". Correlate with evaluation and test.
|  |  | Todzey Response | Yes, we will correct the application as per the comments and request conditional approval for the application.
|  |  | POC Recommendation | Recommends conditional approval to correct the application to If not tested per TAS202, indicate not for use in the HVHZ. Note that the referenced standards in the BCIS list TAS201, TAS202 and TAS203, and impact resistance indicates "No". Correlate with evaluation and test. Commission Affirmed
17035 | 1 | Revision | Tubelite Inc. | Panel Walls | Curtain Walls | Recommend Approval | c | c | c
|  |  | Gascon Comment | Confirm that ATI test report B3664.04-450-18 by Architectural Testing Lab covers all 4 curtain wall systems in this approval: SSG Impact, SSG non-Impact, Captured Impact, and Captured non-Impact. All 4 evaluation reports reference the same single test report. If each system has not been tested to the required TAS protocols, then indicate not for use in the HVHZ.
|  |  | Turner Response | I didn’t reference all iterations of the report in the evaluations for the captured products that were added for this round of approvals. The reports were B3864.01-450-18, B3864.03-450-18, and B3864.04-450-18. These are the reports I reviewed for the evaluations, and they do qualify all four iterations of the curtain wall represented in FL17035-R1, but I missed the .01 and .03 designations originally on the eval reports and they need to be referenced in the captured iterations. The SSG versions were approved in the first upload of FL 17035 (rev 0) referencing only the .04 report which is appropriate since the .01 and .03 were only needed to bring in the captured. if you can please send these to the POC for conditional approval with the condition of adding in the .01 and .03 reports in the two Captured evaluation reports. Please feel free to call for discussion.
|  |  | POC Recommendation | Recommends conditional approval to upload new evaluation reports with the .01 and .03 references Commission Affirmed
17055 | 0 | New | JM Eagle | Exterior Doors | Exterior Door Components | Recommend Approval | c | c | c
|  |  | Gascon Comment | The product's material in the evaluation is only described as "composite" and does not mention what material(s) are used. The product is described on the BCIS as "PF" Composite. The drawing section on sheet 7 of 7 shows different parts but does not describe them; i.e. cover vs. core materials. The approval should at a minimum state the material(s) comprising the "composite" so that Building Officials can apply the corresponding life safety provisions of the code when permitting use of this product.
|  |  | Rick Wright Response | The “PF®” Composite Jamb consists of a wood flour/PVC mixture. The product has met the plastic requirements for the HVHZ and Non-HVHZ as evidenced by the listed test reports. The term “PF” is a registered trademark and has no connotations of the materials contained within the product. We are asking for a conditional approval to add the “wood flour/PVC” in the BOM and the trademark symbol where appropriate.
|  |  | POC Recommendation | Recomends Conditional approval to allow the upload of the corrected evaluation report to include "wood flour/PVC" in the BOM and the trademark symbol where appropriate Commission Affirmed
17090 | 0 | New | Cornell Iron Works, Inc. | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval | a | a | a
Please note that applications 17090 and 17092 reference test report D2662 which states in section 3.1 “in accordance with Florida Building Code for High Velocity Hurricane Zone and Miami Dade requirements”. The bottom bar measurements are required for HVHZ. PS: ATI test report D2662 has the title “MIAMI-DADE COUNTY PERFORMANCE TEST REPORT” which is a bold claim of compliance. We ask that applications 17090 and 17092 which mention Miami-Dade County Notification No. ATI 13008 be subject to review by Miami-Dade County during the Florida approval process and warrant further discussion by the program oversight committee. These applications may be intended to appeal to the many authorities outside of Miami-Dade County and / or insurance companies that place a high value on TAS compliance presuming oversight by Miami-Dade County.
|  |  | Maggio Response | This application was not submitted requesting approval for use in the HVHZ. The title "MIAMI-DADE COUNTY PERFORMANCE TEST REPORT" is not a claim of compliance but simply the title of the test report used by the lab to describe what the test was for. This is no different than if the report was titled ASTM E330 PERFORMANCE TEST REPORT. It is also the same title used on other reports for products being tested to the Miami-Dade County test protocols. The Miami-Dade County Notification No. is only confirming that the lab notified Dade County that a test was being performed.
|  |  | POC Recommendation | Staff agrees with applicant . No further action needed. Commission Affirmed
17091 | 0 | New | Alucore LLC | Shutters | Accordion | Recommend Approval | a | c | c
|  |  | Manufacturer Comment | The manufacturer requests conditional approval to change address and name on block of documentation
|  |  | POC Recommendation | POC recommends conditional approval as requested by the applicant . The applicant requested conditional approval to allow for correction of the name and address and clarification of terminology in the note pertaining to "all permits". Commission Affirmed
17092 | 0 | New | Cookson Company, The | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval | a | a | a
Please note that applications 17090 and 17092 reference test report D2662 which states in section 3.1 “in accordance with Florida Building Code for High Velocity Hurricane Zone and Miami Dade requirements”. The bottom bar measurements are required for HVHZ. PS: ATI test report D2662 has the title “MIAMI-DADE COUNTY PERFORMANCE TEST REPORT” which is a bold claim of compliance. We ask that applications 17090 and 17092 which mention Miami-Dade County Notification No. ATI 13008 be subject to review by Miami-Dade County during the Florida approval process and warrant further discussion by the program oversight committee. These applications may be intended to appeal to the many authorities outside of Miami-Dade County and / or insurance companies that place a high value on TAS compliance presuming oversight by Miami-Dade County.
|  |  | Maggio Response | This application was not submitted requesting approval for use in the HVHZ. The title "MIAMI-DADE COUNTY PERFORMANCE TEST REPORT" is not a claim of compliance but simply the title of the test report used by the lab to describe what the test was for. This is no different than if the report was titled ASTM E330 PERFORMANCE TEST REPORT. It is also the same title used on other reports for products being tested to the Miami-Dade County test protocols. The Miami-Dade County Notification No. is only confirming that the lab notified Dade County that a test was being performed.
|  |  | Staff Analysis | Staff agrees with applicant . No further action needed. Commission Affirmed
17106 | 0 | New | Quick Tie Products, Inc. | Structural Components | Structural Wall | Recommend Approval | n/a | d | d
|  |  | Shackelford Comment | 1. Combinations of wind loading have been reduced using a 0.75 “Probability Factor”, which is stated to come from ASCE 7, Figure 27.4-8. This table is only for combining Windward and Leeward wind loads, not lateral and uplift loads as done in the evaluation report. Also, this Figure only applies when using the “All Heights” wind loading method, but the report does not restrict design to that method only. 2. Section 5.11.2.1 states that the 2011 version of ACI 530/TMS 402 is used for the evaluation. This is not the version of the standard adopted by the Florida Building Code. 3. ACI 530/TMS402 requires that steel shall be “stainless steel or protected from corrosion by hot-dip galvanized coating or epoxy coating.” The evaluation report states that the wire is only galvanized to 0.1 ounces of zinc per square foot which is not hot-dipped galvanized.
|  |  | Grundahl Response | See response below
|  |  | Shackelford Response | See response below
|  |  | POC Recommendation | Recommends deferral to next POC Meeting to allow for more time for further review Commission affirmed
17108 | 0 | New | YKK AP America | Panel Walls | Curtain Walls | Recommend Approval | c | c | c
|  |  | Spahr Comment | We’d like to request that the installation instructions for FL17108.1 are re-uploaded to the FPA website such that the error in the pdf document on sheet 24 of 30 is amended and viewable in the browser
|  |  | POC Recommendation | Recommends Conditional Approval and agrees with applicants comments to upload the corrected installation instructions for 17108.1 Commission Affirmed
17116 | 0 | New | Derbigum Americas, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval | a | c | c
|  |  | Gascon Comment | Gascon - Evaluation is missing steel deck side lap attachment details of the 'as tested' condition per requirements in TAS114 Appendix J - section 5, so that the tested conditions are not exceeded.
|  |  | Priest Response | Mr. Gascon has provided Code references in TAS 114, wherein he is requesting the side lap fastening for the steel deck “as tested” condition to be included to ensure the side lap fastening is not exceeded. During my evaluation, I conducted the review of the deck side lap fastening details for the testing versus HVHZ code requirements to ensure the Mr. Gascon’s concerns were addressed. In all cases, the deck side lap fastening was equal to or less stringent than the HVHZ code requirements. Per Section 2222.4, the HVHZ requires the following: “The spacing of edge fasteners between panels, and between panels and supporting members, parallel to the direction of span, where continuous interlock is not otherwise provided shall be not more than 12 inches (305 mm) on centers.” Based on this review and the requirement for by Code that the deck is rationally designed, separately from my evaluation, I believe his concerns are appropriately addressed. Furthermore, the inclusion of the side lap fastening detail at density that is lesser than the Code requires, could lead to misinterpretation of this information and therefore misuse. My intent is to provide an evaluation that fosters the use of accurate test information as well as supports appropriate design for the deck and deck attachments in accordance with the Code. In the instances here, I believe the addition of this information would not be supportive of this end objective, but would likely detract by providing information that could be misinterpreted and misused. In summary, the above rationale provides further clarification to the design intent of the product evaluation in question. It is my belief that the methodology for the specification of the roof components in my original evaluation best serves the interest of public safety and complies with the Code.
|  |  | POC Recommendation | POC Recommends Conditional Approval to allow applicant to add steel side lap attachment details of the "as tested" Commission Affirmed with adding "including spacing"
17106
Kirk Grundahl Response Received 7/25/2014 |  |  | 1. Combinations of wind loading have been reduced using a 0.75 “Probability Factor”, which is stated to come from ASCE 7, Figure 27.4-8. This table is only for combining Windward and Leeward wind loads, not lateral and uplift loads as done in the evaluation report. Also, this Figure only applies when using the “All Heights” wind loading method, but the report does not restrict design to that method only.
The 0.75 factor is not specified directly by the building codes. Use of this factor is based on engineering judgment that is in accordance with the procedures and commentary to ASCE 7. In addition to the use of a 0.75 factor in Figure 6-9, the commentary to Section 2.4 (Combining Nominal Loads Using Allowable Stress Design of ASCE 7 states the following:
“The load combinations listed cover those loads for which specific values are given in other parts of this standard. However, these combinations are not all-inclusive, and designers will need to exercise judgment in some situations.”
This means that engineers may need to apply their own experience and expertise to determine if the loads given by the standard are appropriate and will result in satisfactory performance. The commentary further states that:
“Most loads, other than dead loads, vary significantly with time. When these variable loads are combined with dead loads, their combined effect should be sufficient to reduce the risk of unsatisfactory performance to an acceptably low level. However, when more than one variable load is considered, it is extremely unlikely that they will all attain their maximum value at the same time. Accordingly, some reduction in the total of the combined load effects is appropriate. This reduction is accomplished through the 0.75 load combination factor. The 0.75 factor applies only to the variable loads, not to the dead load.”
Hence, a factor of 0.75 is identified as a reasonable reduction factor for combined loading. Given that the maximum uplift load and the maximum lateral loads are not likely to occur at the same point in time and under winds from the same direction, the use of this factor is quite reasonable and meets the intent of ASCE 7.
Finally, the commentary in ASCE 7 on the wind load cases (Section C6.5.12.3) states the following:
“In buildings with some structural systems, more severe loading can occur when the resultant wind load acts diagonally to the building. To account for this effect and the fact that many buildings exhibit maximum response in the across-wind direction (the standard currently has no analytical procedure for this case), a structure should be capable of resisting 75 percent of the design wind load applied simultaneously along each principal axis as required by Case 3 in Fig. 6-9.”
This further supports the use of a 0.75 factor for winds loads from more than one direction being applied simultaneously.
2. Section 5.11.2.1 states that the 2011 version of ACI 530/TMS 402 is used for the evaluation. This is not the version of the standard adopted by the Florida Building Code.
The equation for the more recent version of ACI530/TMS 402 is used in Section 5.11.2.1 as it provides improved estimates of the tendon stresses at ultimate capacity. According to the article “Design Provisions for Post Tensioned Masonry Walls Loaded Out-of-Plane” by Jennifer R. Bean Popehn
and Arturo E. Schultz published in The Masonry Society Journal “When comparisons are made between the proposed (i.e. formula in MSJC 2011) and MSJC 2008 formulas over the entire database of walls, the proposed formula provides better estimates for the experimental database, and slightly more conservative results for the finite element data.” It was opted to use the most recent equation in the TMS 402 as it is the more conservative option.
3. ACI 530/TMS402 requires that steel shall be “stainless steel or protected from corrosion by hot-dip galvanized coating or epoxy coating.” The evaluation report states that the wire is only galvanized to 0.1 ounces of zinc per square foot which is not hot-dipped galvanized.
Section 4.9 of TMS 402 outlines the requirements for corrosion protection of prestressing tendons and does not require “hot-dipped galvanized coating or epoxy coatings” on the tendon. Instead, methods of corrosion protections are addressed in the specifications (i.e. TMS 602). Article 2.4G of TMS 602 provides guidance on corrosion protections and 2.4G.3 allows alternative methods of corrosion protection. In addition to the individual wires in the quick tie cable being galvanized, a PVC vinyl coating is added to cable to prevent corrosion.
If there are further questions regarding our approach to the issues/concerns provided by the public commenter, we can provide the reference details that support our engineering thought process and would be more than happy to hold a GoToMeeting to discuss in greater detail the thoughts behind what we believe is sound and accepted engineering practice. We’d certainly enjoy the opportunity to discuss the engineering details with the public commenter.
Response received 8/6/2014
Shackelford |  |  | Attached is further information for consideration by the PA POC at tomorrow’s meeting for application FL17106. I have considered the response to my comments and have the following rebuttal. Mr. Grundahl’s response to #3 was as follows: Section 4.9 of TMS 402 outlines the requirements for corrosion protection of prestressing tendons and does not require “hot-dipped galvanized coating or epoxy coatings” on the tendon. Instead, methods of corrosion protections are addressed in the specifications (i.e. TMS 602). Article 2.4G of TMS 602 provides guidance on corrosion protections and 2.4G.3 allows alternative methods of corrosion protection. In addition to the individual wires in the quick tie cable being galvanized, a PVC vinyl coating is added to cable to prevent corrosion.
My responses: 1. Section 4.9 of ACI 530 (TMS402) requires that “Prestressing tendons, anchorages, couplers, and end fittings in exterior walls exposed to earth or weather, or walls exposed to a mean relative humidity exceeding 75 percent, shall be corrosion-protected.”. Although “corrosion-protected” is not defined here, it is defined in 1.15.4.3. That section states that “Wall ties, sheet-metal anchors, steel plates and bars, and inserts exposed to earth or weather, or exposed to a mean relative humidity exceeding 75 percent shall be stainless steel or protected from corrosion by hot-dip galvanized coating or epoxy coating.” The products in this report do not meet that.
2. If instead as the responder suggest, ACI 530.1 (TMS 602) should govern, then Section 2.4G.2 states that “Coat unbonded tendons with a material complying with Article 2.4 G.2b and covered with a sheathing complying with Article 2.4 G.2a. Acceptable materials include a corrosion-inhibiting coating material with a tendon covering (sheathing).” 2.4 G.2b specifies the corrosion resistance of the cable itself, and 2.4 G.2a specifies the covering (sheathing).
a. 2.4 G.2a states to “Provide a sheathing of medium-density or high-density polyethylene or polypropylene with the following properties:” If as the responder suggests, the cables are coated with a PVC vinyl coating, I do not believe poly vinyl chloride (PVC) is the same as polyethylene or polypropylene. However, whether it complies or not, we do not believe the cable is coated with ANYTHING at all. Attached are three pieces of evidence to support that.
i. Pictures taken today of Quick Tie cables clearly showing that there is no vinyl coating. ii. The current Evaluation Report from Quick Tie’s Florida Product Approval. This differs in its description of the cables from the new report, and it does not indicate any coating iii. The current Quick Tie catalog, downloaded today. Page 4 does not indicate any coating on the cables.
b. 2.4 G.2b specifies the corrosion-inhibiting material required. It lists 8 requirements that the coating must meet. Among them, #5 states that the coating must be “An organic coating with appropriate polar-moisture displacing and corrosion-preventative additives.” There is no such coating referenced in the evaluation report. Further, #8 states “Provide test results in accordance with Table 6 for the corrosion-inhibiting coating material.”. No such test reports were submitted.
c. The response states that 2.4 G3 permits alternative methods of corrosion protection, which is true. But it clearly states “Alternative methods of corrosion protection that provide a protection level equivalent to Articles 2.4G.1 and 2.4 G.2 are permitted. Stainless steel prestressing tendons or tendons galvanized according to ASTM A153/A153M, Class B, are acceptable alternative methods. If galvanized, further evidence must be provided that the coating will not produce hydrogen embrittlement of the steel.” The minimum coating for Class B for items over 15” in length is 1.5 ounces per square foot, where according to the Evaluation Report, the coating is only 0.1 ounces per square foot.
So we stand by our comment. The cable itself does not meet the corrosion resistance requirements, and the stated PVC coating is NOT being supplied, and even if it were, it does not meet the requirements of ACI 530.1 either.