## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 620 | 13 | Revision | GAF | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 15:06 | a
2 | 928 | 2 | Revision | MQ Window and Door | Windows | Casement | Recommend Approval | 2016-02-15 14:27 | a
3 | 3915 | 20 | Revision | Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-16 15:13 | a
4 | 6067 | 6 | Revision | Silverline Building Products Corp. | Windows | Mullions | Recommend Approval | 2016-02-16 17:25 | a
5 | 6332 | 7 | Revision | ICP Adhesives & Sealants, Inc. | Roofing | Roof Tile Adhesives | Recommend Approval | 2016-02-29 15:40 | a
6 | 6587 | 4 | Revision | E.F. Bavis and Associates, Inc. | Windows | Fixed | Recommend Approval | 2016-02-16 15:14 | a
7 | 7230 | 2 | Revision | Loadmaster Systems, Inc. | Roofing | Roofing Tiles | Recommend Approval | 2016-02-19 07:12 | a
8 | 7360 | 2 | Revision | MQ Window and Door | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 17:26 | a
9 | 7751 | 6 | Revision | Benjamin Obdyke Incorporated | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-01-20 10:24 | a
10 | 7873 | 8 | Revision | USA Shutter Company LLC | Shutters | Roll-up | Recommend Approval | 2016-02-19 14:19 | a
11 | 8042 | 4 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-19 14:23 | a
12 | 8262 | 6 | Revision | Mule-Hide Products Co., Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-19 14:25 | a
13 | 8693 | 3 | Revision | A.R.B.S. alternative blocking | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-01-20 10:43 | a
14 | 8926 | 6 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-25 10:59 | a
15 | 9100 | 3 | Revision | A.R.B.S. alternative blocking | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-15 14:28 | a
16 | 9274 | 9 | Revision | Sika Sarnafil, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:49 | a
17 | 9909 | 11 | Revision | Associated Materials Inc. | Windows | Fixed | Recommend Approval | 2016-02-16 11:43 | a
18 | 10088 | 6 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-15 14:31 | a
19 | 10093 | 6 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-16 11:38 | a
20 | 10124 | 18 | Revision | GAF | Roofing | Asphalt Shingles | Recommend Approval | 2016-02-19 19:25 | a
21 | 10352 | 4 | Revision | Bovard Studio, Inc. | Shutters | Storm Panels | Recommend Approval | 2016-02-17 15:15 | a
22 | 10746 | 2 | Revision | Bovard Studio, Inc. | Shutters | Storm Panels | Recommend Approval | 2016-02-16 15:05 | a
24 | 11141 | 14 | Revision | Associated Materials Inc. | Windows | Horizontal Slider | Recommend Approval | 2016-02-16 15:51 | a
25 | 11291 | 6 | Revision | Storm Smart Industries | Shutters | Fabric Storm Panel | Recommend Approval | 2016-01-15 13:31 | a
26 | 11720 | 14 | Revision | Associated Materials Inc. | Windows | Double Hung | Recommend Approval | 2016-02-14 14:39 | a
27 | 11727 | 9 | Revision | Englert Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-19 14:09 | a
28 | 12078 | 5 | Revision | Associated Materials Inc. | Windows | Mullions | Recommend Approval | 2016-02-15 12:25 | a
29 | 12366 | 9 | Revision | GAF | Roofing | Roofing Slate | Recommend Approval | 2016-02-19 15:03 | a
30 | 12941 | 4 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-08 11:04 | a
31 | 12942 | 4 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-19 07:21 | a
32 | 13806 | 12 | Revision | Soprema, Inc. | Roofing | Liquid Applied Roof Systems | Recommend Approval | 2016-02-09 14:43 | a
33 | 14040 | 3 | Revision | Wausau Window and Wall Systems | Windows | Casement | Recommend Approval | 2016-02-16 15:09 | a
34 | 14046 | 3 | Revision | Wausau Window and Wall Systems | Windows | Awning | Recommend Approval | 2016-02-19 14:01 | a
35 | 14064 | 3 | Revision | Wausau Window and Wall Systems | Windows | Projected | Recommend Approval | 2016-02-16 15:11 | a
36 | 14083 | 12 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 21:28 | a
37 | 14091 | 3 | Revision | Wausau Window and Wall Systems | Windows | Fixed | Recommend Approval | 2016-02-18 09:58 | a
38 | 14165 | 5 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 17:24 | a
39 | 14207 | 12 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-14 10:45 | a
40 | 14215 | 9 | Revision | Soprema, Inc. | Roofing | Waterproofing | Recommend Approval | 2016-02-03 10:07 | a
41 | 14318 | 5 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-29 16:57 | a
42 | 14632 | 2 | Revision | Eastern Architectural Systems | Windows | Mullions | Recommend Approval | 2016-02-16 19:48 | a
43 | 14818 | 4 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-16 15:54 | a
44 | 15070 | 1 | Revision | Arcadia Architectural Products Inc | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:56 | a
45 | 15384 | 6 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-01-24 15:19 | a
46 | 15450 | 4 | Revision | Doers Window Manufacturing, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-01-24 15:32 | a
47 | 15533 | 3 | Revision | Faour Glass Technologies | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-08 21:31 | a
48 | 15545 | 2 | Revision | Tremco Incorporated | Roofing | Liquid Applied Roof Systems | Recommend Approval | 2016-02-16 09:53 | a
49 | 15819 | 8 | Revision | Wincore Window Company, LLC | Windows | Double Hung | Recommend Approval | 2016-02-02 21:16 | a
50 | 15908 | 2 | Revision | Andersen Corporation | Windows | Casement | Recommend Approval | 2016-02-19 19:01 | a
51 | 15909 | 2 | Revision | Andersen Corporation | Windows | Awning | Recommend Approval | 2016-02-19 19:04 | a
52 | 15910 | 2 | Revision | Andersen Corporation | Windows | Fixed | Recommend Approval | 2016-02-05 16:13 | a
53 | 15936 | 3 | Revision | API (American Products Inc.) | Panel Walls | Storefronts | Recommend Approval | 2016-02-05 16:22 | a
55 | 16039 | 8 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-02 21:36 | a
56 | 16214 | 2 | Revision | JELD-WEN | Windows | Mullions | Recommend Approval | 1899-12-31 | a
57 | 16226 | 3 | Revision | Atlas Roofing Corporation | Roofing | Underlayments | Recommend Approval | 2016-02-15 21:04 | a
58 | 16299 | 3 | Revision | KAYCAN LTD | Panel Walls | Siding | Recommend Approval | 2016-02-15 21:11 | a
59 | 16354 | 2 | Revision | La Cantina Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-01 10:12 | a
60 | 16438 | 2 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 11:58 | a
61 | 16440 | 8 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 12:56 | a
62 | 16442 | 2 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 12:50 | a
63 | 16443 | 8 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-10 20:43 | a
64 | 16542 | 3 | Revision | Wincore Window Company, LLC | Windows | Mullions | Recommend Approval | 2016-02-16 11:31 | a
65 | 16634 | 3 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-18 18:47 | a
67 | 16645 | 1 | Revision | The Garland Company, Inc. | Panel Walls | Siding | Recommend Approval | 2016-02-08 21:22 | a
68 | 16743 | 1 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-29 10:20 | a
69 | 16746 | 0 | New | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-19 21:29 | a
70 | 16758 | 8 | Revision | Johns Manville | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 21:30 | a
71 | 16781 | 1 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-18 15:42 | a
72 | 16785 | 0 | New | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-19 14:05 | a
73 | 16786 | 0 | New | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-16 15:10 | a
74 | 16787 | 0 | New | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-16 15:12 | a
75 | 16854 | 3 | Revision | Doers Window Manufacturing, LLC | Windows | Single Hung | Recommend Approval | 2016-01-05 11:27 | a
76 | 17088 | 4 | Revision | Wincore Window Company, LLC | Windows | Single Hung | Recommend Approval | 2016-02-25 12:39 | a
77 | 17104 | 2 | Revision | La Cantina Doors, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-15 14:30 | a
78 | 17649 | 2 | Revision | GAF | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 15:08 | a
79 | 17655 | 2 | Revision | Aldora Aluminum and Glass Products inc | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-19 14:06 | a
80 | 17700 | 1 | Editorial Change | Whirlwind Steel Buildings | Structural Components | Roof Deck | Recommend Approval | 2016-01-14 22:00 | a
81 | 17702 | 1 | Editorial Change | Whirlwind Steel Buildings | Structural Components | Structural Wall | Recommend Approval | 2016-01-19 19:18 | a
82 | 17704 | 1 | Editorial Change | Whirlwind Steel Buildings | Roofing | Metal Roofing | Recommend Approval | 2016-01-14 22:23 | a
83 | 17868 | 1 | Revision | JELD-WEN | Windows | Mullions | Recommend Approval | 2016-01-19 18:59 | a
84 | 17992 | 1 | Revision | Capital Metal Supply, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-01-24 15:15 | a
85 | 18362 | 1 | Editorial Change | RectorSeal | Structural Components | Pre-engineered AC Stands | Recommend Approval | 2016-02-15 14:33 | a
86 | 18449 | 1 | Revision | GAF/LL Building Products, Inc sub of GAF | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-17 15:18 | a
87 | 18588 | 1 | Revision | Florida Iron Doors LTD | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-08 21:30 | a
88 | 18726 | 0 | New | Global Performance Window d.b.a. Epsylon USA | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-16 11:48 | a
89 | 19277 | 2 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-02-15 14:25 | a
90 | 19278 | 2 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-19 12:40 | a
91 | 19597 | 1 | Revision | Englert Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-29 18:48 | a
92 | 19700 | 0 | New | Commercial Residential Aluminum | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval | 2015-12-31 14:24 | a
93 | 19947 | 2 | Revision | Soprema, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 08:23 | a
94 | 19959 | 0 | New | Global Performance Window d.b.a. Epsylon USA | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-19 14:35 | a
95 | 19999 | 1 | Revision | Berridge Manufacturing Co. | Roofing | Metal Roofing | Recommend Approval | 2016-02-16 08:37 | a
96 | 20147 | 0 | New | Capital Metal Supply, Inc. | Structural Components | Roof Deck | Recommend Approval | 2016-02-12 15:47 | a
97 | 20148 | 0 | New | Capital Metal Supply, Inc. | Structural Components | Structural Wall | Recommend Approval | 2016-02-18 20:06 | a
98 | 20321 | 1 | Revision | Berridge Manufacturing Co. | Roofing | Metal Roofing | Recommend Approval | 2016-02-09 12:07 | a
99 | 20325 | 1 | Revision | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-01-04 15:00 | a
100 | 20358 | 0 | New | Barricade Building Products | Structural Components | Structural Wall | Recommend Approval | 2016-02-19 12:26 | a
101 | 20395 | 1 | Revision | Storm Smart Industries | Shutters | Fabric Storm Panel | Recommend Approval | 2016-02-19 12:31 | a
102 | 20448 | 0 | New | EFCO Corporation | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-23 11:53 | a
103 | 20451 | 0 | New | Metal Sales Manufacturing Corporation | Structural Components | Roof Deck | Recommend Approval | 2016-02-19 12:44 | a
104 | 20452 | 0 | New | Metal Sales Manufacturing Corporation | Roofing | Metal Roofing | Recommend Approval | 2016-02-19 12:50 | a
105 | 20453 | 0 | New | Kingspan Insulated Panels | Structural Components | Structural Wall | Recommend Approval | 2016-02-12 10:40 | a
106 | 20466 | 0 | New | Hurricane Protection Manufacturers Association | Shutters | Accordion | Recommend Approval | 2016-02-25 12:31 | a
107 | 20474 | 0 | New | H M Sure Rock | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-03 21:22 | a
108 | 20478 | 0 | New | Edco Products, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-03 21:19 | a
109 | 20484 | 0 | New | UNION CORRUGATING COMPANY | Roofing | Metal Roofing | Recommend Approval | 2016-02-19 10:06 | a
110 | 20500 | 0 | New | Kawneer Company, Inc. | Windows | Casement | Recommend Approval | 2016-02-16 12:02 | a
111 | 20516 | 0 | New | Hartman Windows and Doors, LLC | Windows | Casement | Recommend Approval | 2016-01-28 08:21 | a
112 | 20517 | 0 | New | Hartman Windows and Doors, LLC | Windows | Mullions | Recommend Approval | 2016-02-16 13:01 | a
113 | 20519 | 0 | New | Surplus & Salvage of Chipley | Roofing | Metal Roofing | Recommend Approval | 2016-02-16 13:16 | a
116 | 20656 | 0 | New | SIW Impact Windows, LLC. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 13:07 | a
117 | 20657 | 0 | New | Tremco Incorporated | Roofing | Liquid Applied Roof Systems | Recommend Approval |  | a
118 | 20662 | 0 | New | Air Master Awning, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
119 | 20663 | 0 | New | GAF | Roofing | Liquid Applied Roof Systems | Recommend Approval |  | a
120 | 20664 | 0 | New | Tremco Incorporated | Roofing | Liquid Applied Roof Systems | Recommend Approval |  | a
121 | 20673 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
122 | 20674 | 0 | New | BOSTIK,INC | Roofing | Roof Tile Adhesives | Recommend Approval |  | a
123 | 20676 | 0 | New | CENTRIA | Panel Walls | Siding | Recommend Approval |  | a
124 | 20678 | 0 | New | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
125 | 20683 | 0 | New | Slate Security | Windows | Fixed | Recommend Approval |  | a
126 | 20692 | 0 | New | E.S. Windows, Inc. | Windows | Casement | Recommend Approval |  | a
127 | 20698 | 0 | New | Endura Products | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
128 | 20700 | 0 | New | Fenex Corp USA, Inc. | Windows | Fixed | Recommend Approval | 2016-02-12 08:10 | a
129 | 20701 | 0 | New | Enviralum Industries Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-10 20:26 | a
130 | 20702 | 0 | New | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-02-11 10:57 | a
131 | 20703 | 0 | New | Global Performance Window d.b.a. Epsylon USA | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-15 14:43 | a
132 | 20716 | 0 | New | American Shutter Systems Association, Inc. | Shutters | Roll-up | Recommend Approval | 2016-02-11 12:30 | a
133 | 20728 | 0 | New | Detex Corporation | Exterior Doors | Exterior Door Components | Recommend Approval |  | a
135 | 20735 | 0 | New | Green American Home | Roofing | Metal Roofing | Recommend Approval |  | a
137 | 20742 | 0 | New | Plycem USA LLC | Panel Walls | Siding | Recommend Approval |  | a
138 | 20743 | 0 | New | TAFCO Corporation | Windows | Horizontal Slider | Recommend Approval |  | a
139 | 20744 | 0 | New | Storm Smart Industries | Windows | Mullions | Recommend Approval | 2016-02-19 17:58 | a
140 | 20745 | 0 | New | Extreme Metal Fabricators, LLC. | Structural Components | Roof Deck | Recommend Approval | 2016-02-18 17:27 | a
141 | 20761 | 0 | New | heroal - Johann Henkenjohann GmbH & Co. KG | Shutters | Roll-up | Recommend Approval | 2016-02-16 15:45 | a
142 | 20762 | 0 | New | heroal - Johann Henkenjohann GmbH & Co. KG | Impact Protective Systems | Operable | Recommend Approval | 2016-02-18 08:52 | a
144 | 20765 | 0 | New | N.R. Architectural Products, Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a
Test Report
146 | 19326 | 0 | New | EFCO Corporation | Windows | Single Hung | Recommend Approval | 2016-02-16 15:58 | a
147 | 19327 | 0 | New | EFCO Corporation | Windows | Double Hung | Recommend Approval | 2016-01-30 09:43 | a
148 | 19330 | 0 | New | EFCO Corporation | Windows | Fixed | Recommend Approval |  | a
149 | 20432 | 0 | New | Petersen Aluminum Corporation | Panel Walls | Siding | Recommend Approval |  | a
150 | 20446 | 0 | New | Kawneer Company, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a
151 | 20667 | 0 | New | Fidelity Manufacturing | Panel Walls | Products Introduced as a Result of New Technology | Recommend Approval | 2016-02-23 11:47 | a
COMMENTS
Architect and Engineer Evaluation Method
| 10980 | 5 | Revision | La Cantina Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a | c
|  |  | H. Makar Comment | Limit configuration to the test frame area per FBC 2411.3.2.4 (i) (1) and ii (1) .
|  |  | Lomas response | Applicant requested a conditional approval in order to limit items 1 and 2 in the application to the tested frame area.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by the applicant to limit items 1 and 2 in the application to the tested frame area. |  |  | c
| 15937 | 3 | Revision | API (American Products Inc.) | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a | c
|  |  | H. Makar comment | Clarify insulated glass A spacer material and specify dry glazing gasket compliance to FBC 2411.3.4.
|  |  | Z. Rubin response | Applicant requested a conditional approval in order to to revise the application as per comment.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by applicant to revise the application to Clarify insulated glass A spacer material and specify dry glazing gasket compliance to FBC 2411.3.4. |  |  | c
| 16644 | 1 | Revision | IMETCO | Panel Walls | Siding | Recommend Approval | 2015-12-18 23:27 | a | c
|  |  | S. Moore comment | Upon review of the installation instructions submitted under FL16644.1, manufacturer’s technical representatives have noted that the specified reveal measurement of 1” would not accurately represent the product they typically produce and install, rather the majority of panels are produced with a ¾” reveal. The referenced test report indicates the panel was tested with a 1” reveal and we would like to add a ¾” reveal to consider variances in tolerance between fabrication and installation. The manufacturer has confirmed that the ¼” difference in the reveal would in no way affect the engagement of the panel ends into the clips, or the overall panel height, rather the ¼” difference is the result of a variation of the coverage dimension of the raised panel. Attached are the installation details that we intend to upload with the proposed changes including these measurements specified. We believe this to be an allowable change based on the fact that the overall panel size is unaffected, resulting in the same tributary area for the fastener, making the ¼” variation negligible. We’d like to request a conditional approval such that revised installation instructions be uploaded to FL16644.1 for consideration within this FPA Deadline Cycle. All other aspects of the approval shall remain as currently shown. .
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by applicant to revise installation instructions to add a ¾” reveal to consider variances in tolerance between fabrication and installation. |  |  | c
| 20651 | 0 | New | N.R. Architectural Products, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a | c
|  |  | H. Makar comment | Clarify insulated glass spacer material compliance to FBC 2411.3.4
|  |  | T.Groves response | Applicant requested conditional approval to make the corrections as necessary.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by applicant to revise installation instructions to clarify insulated glass spacer material compliance to FBC 2411.3.4. |  |  | a
| 20652 | 0 | New | Hartman Windows and Doors, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a | a
|  |  | H. Makar comment | For FL 20652.1,FL 20652.2,FL 20652.3,FL 20652.4,FL 20652.5,FL 20652.6,FL 20652.7,and FL 20652.8; Method of construction and attachment for actual use to comply tested specimen per FBC TAS 202, 201 & 203 section 5.1
|  |  | J.Ahmad response | The approvals presented are as previously approved by Miami-Dade NOAs 13-0207.05, 13-0207.06, 13-0627.11, 13-0627.12, 13-0627.13, and 13-0627.14 to FBC 2010, but with the addition of more anchors to comply with FBC 2014 code requirements. 15-0624.05 and 15-0624.06 are NOAs approved to FBC 2014 as of earlier this year (and are identical to the corresponding approvals uploaded to FBC). Any deviations shown which are not as described above fall within the described FBC provisions for testing and product approval and are also shown through supporting calculations which were reviewed and approved by a validator.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification. |  |  | a
| 20732.1 | 0 | New | Ceramica Manauara, LTDA | Roofing | Roofing Tiles | Recommend Approval | 2015-12-18 23:27 | a | a
|  |  | H. Makar comment | Missing the identification mark on the tile. Inspectors need this information to verify it’s the correct tile.
|  |  | T.Berman response | The evaluation report on the limits of use indicates: All tiles shall bear the imprint “Portuguesa, Ceramica Manauara, Made in Brazil. In addition, there is a requirement on the section Quality Assurance that all tiles shall be labeled in accordance with QA Agency requirements
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification. |  |  | a
| 20736.1 | 0 | New | Schlage Lock Company, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a | c
|  |  | H. Makar comment | FL20736.1;Method of construction and attachment for actual use to comply with tested specimen per TAS 202, 201 & 203 section 5.1. Item #2 (Von Duprin 9954 w/Rim panic doesn't match mullion in sheet #1 nor the panic devices in sheet #7). FL 20736.2; Method of construction and attachment for actual use to comply tested specimen per FBC TAS 202, 201 & 203 section 5.1.
|  |  | S>Moore response | Regarding the Von Duprin Hardware, we agree the Von Duprin Hardware option shown as Item #2 on the BOM of FL20736.1 should be excluded from the BOM. We will make the appropriate edit to the drawing and resubmit updated installation instructions and would like to request a conditional approval to make this change.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by applicant to revise installation instructions to excludethe Von Duprin Hardware option shown as Item #2 on the BOM of FL20736.1 should be excluded from the BOM |  |  | c
| 20766 | 0 | New | Pottorff | Panel Walls | Wall Louver | Recommend Approval | 2015-12-18 23:27 | a | c
1. FL20766.1; (Regarding AMCA 550 Statements, Possible Misprint): FPA 20766 has two louver models under it. It appears that the PE Evaluation Report for the louver in 20766.2 was used as a template report for the louver in 20766.1, and the report for 20766.1 shows additional information that was supposed to have been deleted when updating the report to the 20766.1 louver’s credentials. Specifically, under Item 5 Support Documents, Testing, the last line “AMCA 550-09 High Velocity Wind Driven Rain Resistance” should have been deleted. The below is a snap shot from the 20766.1 PE report: Reasoning: a. The louver in 20766.1 is an acoustical louver and (from my 9+ years of industry experience) does not have a design capable of passing the ANSI/AMCA Standard 550-09 (Test Method for High Velocity Wind Driven Rain Resistant Louvers) test, where it simulates 8 in/hr of rain being blown at wind velocities of up to 110 mph. b. Having a product that pass the AMCA 550 test is something that manufactures boast about, and the FPA 20766 website application detail page does not state such performance, only TAS-201, 202, and 203 (see picture below). Nor is there any mention of AMCA 550 under the specific line item of FPA 20766.1 on the website application (see picture below).
e. The FPA 20766.1 Installation Instructions (a not yet Approved NOA) also does not have any mention of passing AMCA 550. However it does state on page 1, note 1, the louver as meeting the requirements of TAS-201, 202, and 203 as well as AMCA 540 (AMCA 540 is an impact standard) (see picture below). Similar wording is found in the 20766.1 PE Evaluation report, page 1, item 3 (see picture below).
f.
g.
h. The FPA 20766.1 Installation Instructions, on page 1, item 9 (see picture below), as well as 20766.1 PE Evaluation Report on page 2, item 6-4 (see picture below), both have almost identical statements that are required when a louver does not meet the wind driven rain test of AMCA 550 or the similar wind driven rain test of TAS-100A. The noted statements would not be needed/required if the louver actually passed AMCA 550.
i.
j.
AMCA 550 is called out as a requirement (when applicable) in FBC, Mechanical chapters, Ch. 4 Ventilation, 401.5, and in Ch. 5 Exhaust Systems, 501.3.2, for louvers protecting outdoor air intake and exhaust openings. It is suggested that conditional approval of product FL 20766 be based on the condition that the applicant revises the 20766.1 PE Evaluation Report to remove the AMCA 550 Statement or provide proof of passing AMCA 550.
2. Public Comment on FPA 20766.1 (Regarding AMCA 540 Statements, Impact Level): FPA 20766.1 has Instillation drawings and a PE Evaluation Report that lists the louver as being tested to and meeting requirement of AMCA 540 (Test Method for Louvers Impacted by Wind Borne Debris), however, there is no mention of which “impact level” the louver was tested to (Basic level “D” of 50 fps impact speed and/or Enhanced level “E” of 80 fps impact speed). It is noted that the FPA 20766 website application detail page does not state any 540 performance, only TAS-201, 202, and 203 (see picture below). Nor is there any mention of AMCA 540 under the specific line item of FPA 20766.1 on the website application (see picture below). While not being a reason to deny an FPA Application, having a product that pass the AMCA 540 test is something that manufactures boast about, and the absence of it from the FPA application is unusual. Nonetheless, since the PE Report and Instillation Instructions DO reference AMCA 540 (see pictures below), then the end consumer needs to know which level of impact resistance the product meets in order to be confident the product is used in the correct application.
FPA 20766 website application detail page:
FPA 20766.1 PE Report, page 1 with AMCA 540 reference:
FPA 20766.1 Installation Instructions, page 1 with AMCA 540 reference:
AMCA 540 with Enhanced Impact Level E (80 fps) is specifically called out as a requirement (when applicable) in FBC, Building, Ch. 16 Structural Design, 1626.2.4 “The large missile shall impact the surface of each test specimen at a speed of 50 feet per second (15.2 m/s); 80 feet per second (24.38 m/s) for Risk Category IV— essential facility buildings or structures.” It is suggested that conditional approval of product FL 20766 be based on the condition that the applicant revises the 20766.1 Evaluation Report and the Installation Instructions to state the AMCA 540 impact resistance level the product is rated to (Basic level “D” of 50 fps impact speed and/or Enhanced level “E” of 80 fps impact speed).
|  |  | M.steele comment | Public Comment on FPA 20766.2 (Regarding AMCA 550 Statements: “All Variations”): FPA 20766.2 has Instillation Instructions on page 1, item 3, state that “All variations are high velocity wind driven rain resistant per AMCA 550” (Test Method for High Velocity Wind Driven Rain Resistant Louvers). However, the 550 test report given in the PE Evaluation No. C8133.01-801-18 (attached) only tested one variation. Page 14 of the Instillation Instructions shows the available louver frame shape profiles (triangular, circular, etc.), and calls out two different jamb profiles of E-1 (for vertical jambs) and E-9 (for sloped or curved jambs). The test report only tested one setup, and is presumed to be the profile of E-1 (for vertical jambs) (see picture below). The specific shapes of E-1 and E-9 can be seen on Instillation Instructions pages 15 and 18 respectfully. The Instillation Instructions do not make it aware to the consumer that some of the shown shapes are not AMCA 550 tested. Also the statement of “all variations” is not true.
FPA 20766.2 Installation Instructions, page 14 example of a frame shape with two jamb profiles called out: . Similarly, each frame corner construction style should also be tested to AMCA 550 as a change in construction method can make a drastic change in rain resistance performance. As seen in the above picture (and page 14 of the Instillation Instructions) the E-1 jamb to sill construction (jamb attached to top of sill) is different than the E-9 jamb to sill construction (jamb attached to side of sill). Please be aware that this louver goes by several different nameplates, and all nameplated louvers reference the same AMCA 550 test report where a single test was done on a single louver model. AMCA 550 is called out as a requirement (when applicable) in FBC, Mechanical chapters, Ch. 4 Ventilation, 401.5, and in Ch. 5 Exhaust Systems, 501.3.2, for louvers protecting outdoor air intake and exhaust openings. It is suggested that conditional approval of product FL 20766 be based on the condition that the applicant revises the 20766.2 PE Evaluation Report to include the additional test report that covers the additional testing of the other jamb profile and corner construction method, or update the Instillation Instructions to specifically state and make clear to the consumer which frame shape(s) (triangular, circular, etc.) and which jamb profile was tested to AMCA 550.
|  |  | T.Berman response | We hereby request a conditional approval on the subject Florida product approval applications with the following conditions: On 20766.1 on the evaluation report remove the statement: AMCA 550-09 High Velocity Wind Driven Rain Resistance On 20766.2 On the installation instruction drawings revise as follows: Sht 1 of 19: Revise note 3. to read: "All variations, excepts "shapes" as depicted on Sht 14 of 19, are high velocity wind driven...." Sht 14 of 19 Add Note 3. "Performance of depicted shapes do not comply with high velocity wind driven rain resistance perAMCA 550.” .
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by applicant to revise On 20766.1 on the evaluation report remove the statement: "AMCA 550-09 High Velocity Wind Driven Rain Resistance " On 20766.2 On the installation instruction drawings revise as follows: Sht 1 of 19: Revise note 3. to read: "All variations, excepts "shapes" as depicted on Sht 14 of 19, are high velocity wind driven...." Sht 14 of 19 Add Note 3. "Performance of depicted shapes do not comply with high velocity wind driven rain resistance perAMCA 550.” |  |  | c
| 20764 | 0 | New | All-Lite | Panel Walls | Wall Louver
|  |  | M.Steele comment | Public Comment on FPA 20764.1 (Regarding AMCA 550 Statements: “All Variations”): Just like “FPA Public Comment on 20766.2 (Regarding AMCA 550 Statements: “All Variations”)”, FPA 20764.1 has Instillation Instructions on page 1, item 3, state that “All variations are high velocity wind driven rain resistant per AMCA 550” (Test Method for High Velocity Wind Driven Rain Resistant Louvers). However, the 550 test report given in the PE Evaluation No. C8133.01-801-18 (attached) only tested one variation. Page 14 of the Instillation Instructions shows the available louver frame shape profiles (triangular, circular, etc.), and calls out two different jamb profiles of E-1 (for vertical jambs) and E-9 (for sloped or curved jambs). The test report only tested one setup, and is presumed to be the profile of E-1 (for vertical jambs) (see picture below). The specific shapes of E-1 and E-9 can be seen on Instillation Instructions pages 15 and 18 respectfully. The Instillation Instructions do not make it aware to the consumer that some of the shown shapes are not AMCA 550 tested. Also the statement of “all variations” is not true. FPA 20764.1 Installation Instructions, page 14 example of a frame shape with two jamb profiles called out:
Similarly, each frame corner construction style should also be tested to AMCA 550 as a change in construction method can make a drastic change in rain resistance performance. As seen in the above picture (and page 14 of the Instillation Instructions) the E-1 jamb to sill construction (jamb attached to top of sill) is different than the E-9 jamb to sill construction (jamb attached to side of sill). Please be aware that this louver goes by several different nameplates, and all nameplated louvers reference the same AMCA 550 test report where a single test was done on a single louver model. AMCA 550 is called out as a requirement (when applicable) in FBC, Mechanical chapters, Ch. 4 Ventilation, 401.5, and in Ch. 5 Exhaust Systems, 501.3.2, for louvers protecting outdoor air intake and exhaust openings. It is suggested that conditional approval of product FL 20764 be based on the condition that the applicant revises the 20764.1 PE Evaluation Report to include the additional test report that covers the additional testing of the other jamb profile and corner construction method, or update the Instillation Instructions to specifically state and make clear to the consumer which frame shape(s) (triangular, circular, etc.) and which jamb profile was tested to AMCA 550.
|  |  | T.Berman response | We hereby request a conditional approval on the subject Florida product approval applications with the following conditions: On the installation instruction drawings revise as follows: Sht 1 of 19: Revise note 3. to read: "All variations, excepts "shapes" as depicted on Sht 14 of 19, are high velocity wind driven...." Sht 14 of 19 Add Note 3. "Performance of depicted shapes do not comply with high velocity wind driven rain resistance perAMCA 550.”
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by applicant to revise On the installation instruction drawings revise as follows: Sht 1 of 19: Revise note 3. to read: "All variations, excepts "shapes" as depicted on Sht 14 of 19, are high velocity wind driven...." Sht 14 of 19 Add Note 3. "Performance of depicted shapes do not comply with high velocity wind driven rain resistance perAMCA 550.” |  |  | c