## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 1654 | 21 | Revision | POLYGLASS USA | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
2 | 2533 | 18 | Revision | CertainTeed Corporation-Roofing | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
3 | 2569 | 12 | Revision | Soprema, Inc. (Canada) | Roofing | Underlayments | Recommend Approval |  | a | a
4 | 5444 | 11 | Revision | CertainTeed Corporation-Roofing | Roofing | Asphalt Shingles | Recommend Approval |  | a | a
5 | 6267 | 13 | Revision | GAF | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a | a
6 | 8637 | 9 | Revision | Fenetex | Impact Protective Systems | Removable | Recommend Approval |  | a | a
7 | 9930 | 8 | Revision | Johns Manville | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
8 | 11475 | 7 | Revision | Johns Manville | Roofing | Single Ply Roof Systems | Recommend Approval |  | a | a
9 | 12145 | 4 | Revision | RKW Finland LTD | Roofing | Underlayments | Recommend Approval |  | a | a
10 | 12194 | 5 | Revision | Aluminum Coils, Inc. | Panel Walls | Soffits | Recommend Approval |  | a | a
11 | 13339 | 5 | Revision | Attic Breeze | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a | a
12 | 13653 | 2 | Revision | All Metal Roofing and Siding | Roofing | Metal Roofing | Recommend Approval |  | a | a
13 | 14818 | 5 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval |  | a | a
14 | 14823 | 6 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval |  | a | a
15 | 14969 | 4 | Revision | Worldwide Door Components Inc. | Exterior Doors | Exterior Door Components | Recommend Approval |  | a | a
16 | 15384 | 7 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval |  | a | a
17 | 15476 | 2 | Editorial Change | ITW Polymer Sealants | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a | a
18 | 16048 | 5 | Revision | Tri-Built Materials Group, LLC | Roofing | Underlayments | Recommend Approval |  | a | a
19 | 16305 | 5 | Revision | Atlas Roofing Corporation | Roofing | Asphalt Shingles | Recommend Approval |  | a | a
20 | 16429 | 7 | Revision | POLYGLASS USA | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
21 | 16546 | 8 | Revision | Clopay Building Products Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a | a
22 | 16634 | 4 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval |  | a | a
23 | 16717 | 4 | Revision | POLYGLASS USA | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
24 | 16718 | 4 | Revision | POLYGLASS USA | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
25 | 17010 | 2 | Revision | ASI Building Products/Lansing Building Products Company | Roofing | Metal Roofing | Recommend Approval |  | a | a
26 | 17084 | 5 | Revision | RESISTO, a division of Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
27 | 17116 | 3 | Revision | Derbigum | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
28 | 17173 | 2 | Revision | Reilly Windows & Doors | Windows | Casement | Recommend Approval |  | a | a
29 | 17678 | 3 | Revision | Drexel Metals, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a | a
30 | 17679 | 2 | Revision | Drexel Metals, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a | a
31 | 18355 | 3 | Revision | TAMKO Building Products, Inc. | Roofing | Asphalt Shingles | Recommend Approval |  | a | a
32 | 18514 | 2 | Revision | HercuWall Inc. | Structural Components | Insulation Form Systems | Recommend Approval |  | a | a
33 | 20325 | 4 | Revision | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a | a
34 | 20391 | 2 | Revision | Porcelanosa | Panel Walls | Siding | Recommend Approval |  | a | a
35 | 20692 | 1 | Revision | E.S. Windows, Inc. | Windows | Casement | Recommend Approval |  | a | a
36 | 20698 | 1 | Revision | Endura Products | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
37 | 20873 | 1 | Revision | Novatech Doors Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
38 | 21463 | 1 | Revision | Sun Metals Systems, Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
39 | 21582 | 1 | Revision | US Aluminum Inc. - Division of CR Laurence | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
40 | 21833 | 1 | Revision | Reilly Windows & Doors | Windows | Fixed | Recommend Approval |  | a | a
41 | 21841 | 1 | Revision | CertainTeed Corporation-Roofing | Roofing | Underlayments | Recommend Approval |  | a | a
42 | 21849 | 1 | Revision | Assura Windows & Doors | Windows | Horizontal Slider | Recommend Approval |  | a | a
43 | 21851 | 1 | Revision | Assura Windows & Doors | Windows | Single Hung | Recommend Approval |  | a | a
44 | 21864 | 1 | Revision | Assura Windows & Doors | Windows | Fixed | Recommend Approval |  | a | a
45 | 21890 | 1 | Revision | E.S. Windows, Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
46 | 22025 | 0 | New | SALTO SYSTEMS, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval |  | a | a
47 | 22209 | 0 | New | Winco Window Company | Windows | Single Hung | Recommend Approval |  | a | a
48 | 22244 | 1 | Revision | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a | a
49 | 22250 | 1 | Revision | E.S. Windows, Inc. | Windows | Single Hung | Recommend Approval |  | a | a
50 | 22267 | 1 | Revision | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
51 | 22271 | 0 | New | JELD-WEN | Structural Components | Structural Wall | Recommend Approval |  | a | a
52 | 22282 | 0 | New | Hope's Windows, Inc. | Windows | Fixed | Recommend Approval |  | a | a
53 | 22309 | 0 | New | Babcock-Davis | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
54 | 22315 | 0 | New | Avenere Cladding | Panel Walls | Siding | Recommend Approval |  | a | a
55 | 22327 | 0 | New | Tremco Incorporated | Roofing | Metal Roofing | Recommend Approval |  | a | a
56 | 22330 | 0 | New | McElroy Metal, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a | a
57 | 22337 | 0 | New | Pli-Dek Systems, Inc. | Roofing | Waterproofing | Recommend Approval |  | a | a
58 | 22347 | 0 | New | Southeastern Sash & Door | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
59 | 22364 | 0 | New | Panfab Design USA Corp | Panel Walls | Siding | Recommend Approval |  | a | a
60 | 22388 | 0 | New | Faour Glass Technologies | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
61 | 22390 | 0 | New | St. Cloud Window, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
62 | 22393 | 0 | New | All Phase Custom Mill Shop | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
63 | 22395 | 0 | New | Outdoor Venture Corp. | Structural Components | Roof Deck | Recommend Approval |  | a | a
64 | 22396 | 0 | New | Outdoor Venture Corp. | Structural Components | Structural Wall | Recommend Approval |  | a | a
65 | 22397 | 0 | New | Kingspan Insulated Panels, Inc. | Structural Components | Structural Wall | Recommend Approval |  | a | a
66 | 22403 | 0 | New | Tremco Incorporated | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a | a
67 | 22409 | 0 | New | Atlantic Coated Papers | Roofing | Underlayments | Recommend Approval |  | a | a
68 | 22412 | 0 | New | Carolina Carports,Inc. | Structural Components | Structural Wall | Recommend Approval |  | a | a
69 | 22413 | 0 | New | Amerikooler | Structural Components | Exterior Coolers-Freezers | Recommend Approval |  | a | a
70 | 22512 | 0 | New | SIW Impact Windows, LLC. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
71 | 22514 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a | a
72 | 22516 | 0 | New | C.T. Windows, LLC. formerly C.T. Windows, Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
73 | 22524 | 0 | New | Eco Window Systems | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
74 | 22525 | 0 | New | Dow Chemical | Roofing | Roof Tile Adhesives | Recommend Approval |  | a | a
75 | 22526 | 0 | New | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a | a
76 | 22527 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
77 | 22528 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a | a
78 | 22538 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Storefronts | Recommend Approval |  | a | a
79 | 22542 | 0 | New | Dynamic Metals | Roofing | Metal Roofing | Recommend Approval |  | a | a
80 | 22554 | 0 | New | Ruskin Company | Panel Walls | Wall Louver | Recommend Approval |  | a | a
81 | 22555 | 0 | New | TerraCORE Panels | Panel Walls | Siding | Recommend Approval |  | a | a
82 | 22561 | 0 | New | Steel Building and Structures, Inc. | Structural Components | Roof Deck | Recommend Approval |  | a | a
83 | 22562 | 0 | New | Steel Building and Structures, Inc. | Structural Components | Structural Wall | Recommend Approval |  | a | a
Test Report
84 | 17353 | 1 | Revision | Georgia Metals, Inc | Roofing | Metal Roofing | Recommend Approval |  | a | a
Architect and Engineer Evaluation Method
85 | 3915 | 23 | Revision | Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval |  | c | c
|  |  | R.Nieminen's request | We request conditional approval so as to correct the attachment requirements for systems set forth in Table 1B, which should be 1 per 1.78 ft2 (18 parts per board) rather than 1 per 2.13 ft2 (15 parts per board) listed today.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to correct the attachment requirements for systems set forth in Table 1B, which should be 1 per 1.78 ft2 (18 parts per board) rather than 1 per 2.13 ft2 (15 parts per board) listed today.
86 | 18320 | 1 | Revision | SIW Impact Windows, LLC. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | H. Makar's comment- Miami-Dade | For FL18320.2; “Provide setting blocks per FBC 2411.3.3.1 for transom fixed lite.”
|  |  | Y.Poyato's response | In response to the public comments regarding FL 18320-R1, we have the following response: - FL 18320.2: The installation instructions will be revised to provide setting blocks for the transom fixed lite as per FBC 2411.3.3.1. We hope that our response above will be sufficient to meet your approval.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to revise the installation instructions to provide setting blocks for the transom fixed lite as per FBC 2411.3.3.1.
87 | 21892 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | H. Makar's comment- Miami-Dade | “Setting blocks shall meet durometer hardness requirements of FBC 2411.3.3.1“
|  |  | T. Groves's response | We revised the bill of materials on the drawing (page 21) to show the durometer hardness for the setting blocks. The revised drawings are included for your reference and we will upload them as necessary. We give consent to be considered for conditional approval to upload the correct drawing
|  |  | Staff analysis | POC recommends conditional approval to allow the applicant to upload the corrected installation instructions that provides the durometer hardness for the setting blocks on bills of materials (page 21).
88 | 22227 | 1 | Revision | Rogue Valley Door | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | H. Makar's comment- Miami-Dade | “ FL22227.5; Provide setting blocks per FBC 2411.3.3.1 for transom fixed lite. “
|  |  | R.Wright's response | We would like a conditional approval to amend the drawing as required to satisfy the public comment.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to revise the drawing to provide setting blocks for the transom fixed lite as per FBC 2411.3.3.1 as per comment.
89 | 22334 | 0 | New | Ruskin Company | Panel Walls | Wall Louver | Recommend Approval |  | a | a
|  |  | M.Steele's comment | 22334.1 1) I believe the norm is that the test standard “year” as listed on the application is the year as referenced in the FBC. The application lists a year of 2013 for the AMCA 540 test, but the 5th Ed. FBC-Building, Ch. 35, lists the AMCA 540 test standard year as 2008. The application does provide a valid equivalency of standards document for the 540 test. Please change the AMCA 540 test year on the application from “2013” to “2008”.
|  |  | T.Berman's response | When an applicant goes through the process of inputting the information on-line on Page 2 the website indicates "Enter the Referenced Standard and Year (of Standard):” As appropriate AMCA 540 and year 2013 were entered. This was the testing standard tested. Next, the screen indicates the following: If Standard and/or Standard Year listed above, is not in the Code, then certify equivalency using one of the following Entities: Listed is: Florida Licensed Licensed Professional Engineer or Architect. An equivalency of standards was certified between AMCA 540-13 and AMCA 540-08 (the adopted standard under 2014 FBC) by a Florida Licensed PE. The equivalency of standards was uploaded on the application. The website instructions clearly indicate that a standard not adopted in the Code could be noted if the proper certificate of equivalency is uploaded. Therefore the application should approved as is.
|  |  | POC recommendation | POC recommends approval based on the applicant's clarification.
90 | 22404 | 0 | New | Northeast Building Products Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
|  |  | H. Makar's comment- Miami-Dade | “ FL 22404.1, .2, .3, and .4; Engineer of record on drawings appears as engineer signing TAS 201/202/203 test reports in evaluation report.”
|  |  | R.Wright's response | : FL22404 public comment The test report in question (TEL 01390365.1) as signed by Lyndon F. Schmidt, Florida P.E. was for products as tested by Plastpro Inc. and originally reported on June 20, 2011. The report was utilized in the Plastpro approval number FBC 15210: FL15210 (R5) approved 6/23/15 FL15210 (R4) approved 4/24/15 FL15210 (R3) approved 7/01/14 FL15210 (R2) approved 5/02/13 FL15210 (R1) approved 2/25/13 FL15210 (New) approved 6/22/12 On or about May 05, 2015 Plastpro sold the product as represented in the above referenced test report to a window manufacturer and they applied for and obtained FBC approval under number 15631: FL15631 (New) approved 5/01/15 FL15631 (R1) approved 6/23/15 I reviewed Testing Application Standard 301 (Testing Laboratory) and found the following:
|  |  | R.Wright's response | Section 3.1 – Each test facility shall have sufficient personnel, having the necessary education, training, technical knowledge and experience for their assigned functions. Testing Evaluation Laboratories, Inc. has met the requirements of the IAS Accreditation Criteria for Testing Laboratories (AC89), has demonstrated compliance with ISO/IEC Standard 17025:2005, General requirements for the competence of testing and calibration laboratories, and has been accredited, commencing August 6, 2015 (current certificate) and the original certificate issued commencing October 1, 2005. Testing Evaluation Laboratories is currently listed with the FBC and approved (TST 4317). Based on the above documentation TEL meets the requirements of Section 3.1.
|  |  | R.Wright's response continues… | Section 3.4 – A Florida registered professional engineer proficient in the discipline required for the test, shall be part of the laboratory’s permanent staff or under laboratory’s contract to witness and certifying the test performed. (This professional engineer shall not be involved in any manner in the design of the specimen being tested and/or the test requestor or the manufacturer). Lyndon Schmidt is proficient in the various disciplines as required and is not involved in the design of any products as tested by Testing Evaluation Laboratories. Based on the above information, there is no basis for this objection.
|  |  | POC recommendation | POC agrees the application as submitted complies with rule 61G20-3.009 Criteria for Certification of Independence. Therefore, POC recommends approval.
91 | 22551 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | H. Makar's comment- Miami-Dade | “Heat strengthened glass not permitted as exterior lite at heights above 30'.”
|  |  | Y. Poyato's response | In response to the public comments regarding FL 22551, we have the following response: - FL 22551.1: The note “Heat strengthened glass not permitted as exterior lite at heights above 30’.” will be added to the drawings in reference to glass type ‘A1’. We hope that our response above will be sufficient to meet your approval
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to revise the drawing to add The note “Heat strengthened glass not permitted as exterior lite at heights above 30’to the drawings in reference to glass type ‘A1’.
92 | 22560 | 0 | New | Ruskin Company | Panel Walls | Wall Louver | Recommend Approval |  | c | c
|  |  | M.Steele's comment | FL22560.1 1) I believe the norm is that the test standard “year” as listed on the application is the year as referenced in the FBC. The application lists a year of 2013 for the AMCA 540 test, but the 5th Ed. FBC-Building, Ch. 35, lists the AMCA 540 test standard year as 2008. The application does provide a valid equivalency of standards document for the 540 test. Please change the AMCA 540 test year on the application from “2013” to “2008”. 2) It appears there is a typo in the Model name where it shows two “D”s in EME6625DDFL, where I believe it is supposed to only have one “D”. The supporting documents of Eng. Evaluation Report, Equivalency of Standards, and Installation Instructions all show only one “D” in the model name. Please change the Model name as shown on the application to “EME6625DFL”. 3) Under Limits of Use, Other, the applicant claims an impact level of “E” (enhanced impact level of 80 fps), which is greater than the typical impact level of “D” (Basic impact level of 50 fps). The Evaluation Report (which normally states the exact impact level), Equivalence of Standards report, nor the Installation Instructions do not indicate the higher “E” level of impact resistance. Please have the Validator confirm to the Committee the higher “E” level of impact resistance.
|  |  | T.Berman's response | When an applicant goes through the process of inputting the information on-line on Page 2 the website indicates "Enter the Referenced Standard and Year (of Standard):” As appropriate AMCA 540 and year 2013 were entered. This was the testing standard tested. Next, the screen indicates the following: If Standard and/or Standard Year listed above, is not in the Code, then certify equivalency using one of the following Entities: Listed is: Florida Licensed Licensed Professional Engineer or Architect. An equivalency of standards was certified between AMCA 540-13 and AMCA 540-08 (the adopted standard under 2014 FBC) by a Florida Licensed PE. The equivalency of standards was uploaded on the application. The website instructions clearly indicate that a standard not adopted in the Code could be noted if the proper certificate of equivalency is uploaded. Therefore the application should approved as is.
|  |  | T.Berman's response | We agree with this public comment and request that the application be given a conditional approval based on the following: 2. On the face of the application correct a typo and on the section: Model, Number or Name indicate EME6625DFL. On the second comment about the level impact “E” it is been shown on the face of application and on the installation instructions Page 1 it is also indicated. To clarify as per the comment we request a conditional approval to: 3. On the evaluation report: 5. Supporting Documents: indicate AMCA 540 Level “E" and on 6. Limits and conditions of Use: 3. …….AMCA 540 Level “E” These added indication of the level of impact does not change the performance of the product but indicates in all instances the testing performed.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to correct a typo and on the section: Model, Number or Name indicate EME6625DFL and indicate AMCA 540 Level “E" on the evaluation report: item 5. Supporting Documents and on item 6. Limits and conditions of Use: item 3. …….AMCA 540 Level “E”.