## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 620 | 17 | Revision | GAF | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
2 | 2533 | 20 | Revision | CertainTeed Corporation-Roofing | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
3 | 2689 | 6 | Revision | KELLY CO-2001 INC. | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
4 | 3443 | 25 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
5 | 3481 | 6 | Revision | CENTRIA | Structural Components | Structural Wall | Recommend Approval |  | a
6 | 5293 | 29 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
7 | 5444 | 14 | Revision | CertainTeed Corporation-Roofing | Roofing | Asphalt Shingles | Recommend Approval |  | a
8 | 5822 | 6 | Revision | Smart Vent Products, Inc. | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval |  | a
9 | 7873 | 9 | Revision | USA Shutter Company DBA Maestroshield | Shutters | Roll-up | Recommend Approval |  | a
10 | 8097 | 5 | Revision | Kirsch Buiding Products | Roofing | Underlayments | Recommend Approval |  | a
11 | 9274 | 14 | Revision | Sika Sarnafil, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
12 | 9759 | 7 | Revision | DECRA Roofing Systems, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
13 | 10238 | 6 | Revision | Kane Manufacturing Corporation | Impact Protective Systems | Operable | Recommend Approval |  | a
14 | 10626 | 14 | Revision | GAF | Roofing | Underlayments | Recommend Approval |  | a
15 | 10690 | 5 | Revision | United Structurs of America, Inc. | Panel Walls | Siding | Recommend Approval |  | a
16 | 11269 | 6 | Revision | Berridge Manufacturing Co. | Roofing | Metal Roofing | Recommend Approval |  | a
17 | 11422 | 6 | Revision | Berridge Manufacturing Co. | Roofing | Metal Roofing | Recommend Approval |  | a
18 | 11602 | 6 | Revision | Owens Corning Roofing and Asphalt, LLC | Roofing | Underlayments | Recommend Approval |  | a
19 | 11727 | 12 | Revision | Englert Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
20 | 12492 | 3 | Revision | Butler Manufacturing Company | Structural Components | Roof Deck | Recommend Approval |  | a
21 | 12493 | 3 | Revision | Butler Manufacturing Company | Panel Walls | Siding | Recommend Approval |  | a
22 | 12926 | 5 | Revision | YKK AP America | Panel Walls | Storefronts | Recommend Approval |  | a
23 | 13364 | 4 | Revision | USA Steel Buildings Inc | Structural Components | Roof Deck | Recommend Approval |  | a
24 | 13599 | 3 | Revision | EFCO Corporation | Panel Walls | Storefronts | Recommend Approval |  | a
25 | 14029 | 1 | Revision | Green Product Technologies, LLC | Structural Components | Structural Wall | Recommend Approval |  | a
26 | 14215 | 11 | Revision | Soprema, Inc. | Roofing | Waterproofing | Recommend Approval |  | a
27 | 14317 | 9 | Revision | Boral Roofing / MonierLifetile | Roofing | Underlayments | Recommend Approval |  | a
28 | 14381 | 7 | Revision | SR Products | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
29 | 14425 | 4 | Revision | Janus International Group, LLC. | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval |  | a
30 | 14428 | 5 | Revision | Derby Building Products Inc. | Panel Walls | Siding | Recommend Approval |  | a
31 | 14580 | 2 | Revision | Ross Manufacturing, LLC | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a
32 | 14823 | 9 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval |  | a
33 | 14918 | 6 | Editorial Change | Silver Line Building Products Corp. | Windows | Fixed | Recommend Approval |  | a
34 | 14998 | 4 | Revision | Silver Line Building Products Corp. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
35 | 15012 | 6 | Revision | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
36 | 15067 | 5 | Revision | Mid-States Asphalt & Cant Strip, Inc. | Roofing | Underlayments | Recommend Approval |  | a
37 | 15074 | 6 | Revision | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
38 | 15260 | 6 | Revision | ODL/Western Reflections | Exterior Doors | Exterior Door Components | Recommend Approval |  | a
39 | 15449 | 8 | Revision | NewSouth Window Solutions | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
40 | 15450 | 9 | Revision | Doers Window Manufacturing, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
41 | 15518 | 3 | Revision | Royal Building Products, A Westlake Company | Panel Walls | Soffits | Recommend Approval |  | a
42 | 15559 | 3 | Revision | EFCO Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
43 | 15752 | 5 | Revision | Andersen Corporation | Windows | Double Hung | Recommend Approval |  | a
44 | 15768 | 5 | Revision | Soft-Lite LLC | Windows | Fixed | Recommend Approval |  | a
45 | 15780 | 8 | Revision | Soft-Lite LLC | Windows | Double Hung | Recommend Approval |  | a
46 | 16236 | 2 | Revision | Pella Corporation | Windows | Single Hung | Recommend Approval |  | a
47 | 16311 | 8 | Revision | GAF | Roofing | Roofing Insulation | Recommend Approval |  | a
48 | 16547 | 2 | Revision | CENTRIA | Panel Walls | Curtain Walls | Recommend Approval |  | a
49 | 16634 | 7 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval |  | a
50 | 16660 | 9 | Revision | Haas Door Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
51 | 16730 | 16 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
52 | 16739 | 14 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
53 | 16953 | 5 | Revision | Soft-Lite LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
54 | 17096 | 4 | Revision | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
55 | 17127 | 2 | Revision | Elite Solar Systems, Inc. | Roofing | Products Introduced as a Result of New Technology | Recommend Approval |  | a
56 | 17188 | 3 | Revision | Mid-States Asphalt & Cant Strip, Inc. | Roofing | Underlayments | Recommend Approval |  | a
57 | 17345 | 4 | Revision | Oliveri Millworks | Windows | Double Hung | Recommend Approval |  | a
58 | 17440 | 3 | Revision | Sika Corporation | Roofing | Waterproofing | Recommend Approval |  | a
59 | 17750 | 3 | Revision | Varitile Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
60 | 17955 | 4 | Revision | Southeastern Metals Mfg. Co. | Roofing | Metal Roofing | Recommend Approval |  | a
61 | 20311 | 3 | Revision | SFS GROUP USA, Inc. | Roofing | Roofing Fasteners | Recommend Approval |  | a
62 | 20325 | 8 | Revision | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
63 | 20381 | 1 | Revision | CENTRIA | Structural Components | Structural Wall | Recommend Approval |  | a
64 | 20448 | 2 | Revision | EFCO Corporation | Panel Walls | Curtain Walls | Recommend Approval |  | a
65 | 20663 | 3 | Revision | GAF | Roofing | Liquid Applied Roof Systems | Recommend Approval |  | a
66 | 20678 | 6 | Revision | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
67 | 20800 | 1 | Revision | International Wood Trade | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
68 | 21047 | 1 | Revision | Global Innovation, LLC | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a
69 | 21082 | 2 | Revision | Dynamic Metals | Roofing | Metal Roofing | Recommend Approval |  | a
70 | 21138 | 2 | Revision | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
71 | 21359 | 2 | Revision | Weyerhaeuser | Structural Components | Engineered Lumber | Recommend Approval |  | a
72 | 21379 | 1 | Revision | Resolite A Division of Stabilit America | Shutters | Storm Panels | Recommend Approval |  | a
73 | 21388 | 2 | Revision | Dynamic Metals | Roofing | Metal Roofing | Recommend Approval |  | a
74 | 21423 | 3 | Revision | Sunlast Metal | Roofing | Metal Roofing | Recommend Approval |  | a
75 | 21471 | 5 | Revision | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
76 | 21835 | 3 | Revision | E.S. Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
77 | 21841 | 4 | Revision | CertainTeed Corporation-Roofing | Roofing | Underlayments | Recommend Approval |  | a
78 | 22209 | 1 | Revision | Winco Window Company | Windows | Single Hung | Recommend Approval |  | a
79 | 22216 | 2 | Revision | Tremco Incorporated | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
80 | 22217 | 2 | Revision | Tremco Incorporated | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
81 | 22222 | 1 | Revision | Owens Corning | Roofing | Underlayments | Recommend Approval |  | a
82 | 22330 | 1 | Revision | McElroy Metal, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
83 | 22526 | 3 | Revision | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a
84 | 22558 | 2 | Revision | American Shutter Systems Association, Inc. | Impact Protective Systems | Operable | Recommend Approval |  | a
85 | 22696 | 1 | Revision | Drexel Metals, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a
86 | 23225 | 1 | Revision | Petersen Aluminum Corporation | Panel Walls | Siding | Recommend Approval |  | a
87 | 23505 | 1 | Revision | Soft-Lite LLC | Windows | Single Hung | Recommend Approval |  | a
88 | 23801 | 0 | New | Rollingdoors.com | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval |  | a
89 | 24174 | 1 | Revision | Andersen Corporation | Windows | Fixed | Recommend Approval |  | a
90 | 24537 | 3 | Revision | Mid-America Door | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
91 | 25570 | 2 | Revision | Andersen Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
92 | 25605 | 1 | Revision | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
93 | 26354 | 1 | Revision | Air Master Awning, LLC | Windows | Single Hung | Recommend Approval |  | a
94 | 26460 | 1 | Revision | VERSCENE, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
95 | 26559 | 0 | New | E.S. Windows, Inc. | Windows | Fixed | Recommend Approval |  | a
96 | 26933 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
97 | 27003 | 1 | Revision | Gaco Western, Inc. | Roofing | Waterproofing | Recommend Approval |  | a
98 | 27051 | 0 | New | Aldora Aluminum and Glass Products inc | Windows | Fixed | Recommend Approval |  | a
99 | 27080 | 0 | New | Sierra Pacific Windows | Windows | Mullions | Recommend Approval |  | a
100 | 27101 | 0 | New | Mr Glass Doors & Windows Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a
101 | 27105 | 0 | New | Accella Polyurethane Systems | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
102 | 27106 | 0 | New | Accella Polyurethane Systems | Roofing | Spray Applied Polyurethane Roof System | Recommend Approval |  | a
103 | 27134 | 0 | New | Paragon Windows and Doors, LLC | Windows | Casement | Recommend Approval |  | a
104 | 27135 | 0 | New | Paragon Windows and Doors, LLC | Windows | Fixed | Recommend Approval |  | a
105 | 27136 | 0 | New | Paragon Windows and Doors, LLC | Windows | Horizontal Slider | Recommend Approval |  | a
106 | 27137 | 0 | New | Paragon Windows and Doors, LLC | Windows | Single Hung | Recommend Approval |  | a
107 | 27138 | 0 | New | Paragon Windows and Doors, LLC | Windows | Double Hung | Recommend Approval |  | a
108 | 27149 | 0 | New | INTEGRITY METALS | Roofing | Metal Roofing | Recommend Approval |  | a
109 | 27152 | 0 | New | RESISTO, a division of Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
110 | 27162 | 0 | New | Impact Precious Wood | Windows | Casement | Recommend Approval |  | a
111 | 27196 | 0 | New | McElroy Metal, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
112 | 27197 | 0 | New | McElroy Metal, Inc. | Structural Components | Roof Deck | Recommend Approval |  | a
113 | 27199 | 0 | New | Master Panel, S.L. | Structural Components | Structural Wall | Recommend Approval |  | a
114 | 27201 | 0 | New | Protecto Wrap Company | Roofing | Waterproofing | Recommend Approval |  | a
115 | 27203 | 0 | New | Goldin Metals, Inc. | Structural Components | Roof Deck | Recommend Approval |  | a
116 | 27204 | 0 | New | Goldin Metals, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
117 | 27399 | 0 | New | Kenyon Glass | Windows | Fixed | Recommend Approval |  | a
118 | 27401 | 0 | New | Mr Glass Doors & Windows Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a
119 | 27402 | 0 | New | Carports Anywhere | Structural Components | Roof Deck | Recommend Approval |  | a
120 | 27403 | 0 | New | Carports Anywhere | Structural Components | Structural Wall | Recommend Approval |  | a
121 | 27406 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
122 | 27408 | 0 | New | Boral Roofing / Boral Steel | Roofing | Metal Roofing | Recommend Approval |  | a
123 | 27409 | 0 | New | KM Coatings, A Division of Polyglass USA, Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
124 | 27421 | 0 | New | ROSS ROOF GROUP USA INC. DBA TILCOR NORTH AMERICA | Roofing | Metal Roofing | Recommend Approval |  | a
125 | 27441 | 0 | New | Carports Anywhere | Roofing | Metal Roofing | Recommend Approval |  | a
126 | 27442 | 0 | New | Bison Innovative Products | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval |  | a
127 | 27451 | 0 | New | Bison Innovative Products | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval |  | a
128 | 27453 | 0 | New | Bison Innovative Products | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval |  | a
129 | 27455 | 0 | New | Inland Coatings Corp. | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
130 | 27456 | 0 | New | PGT Industries | Windows | Horizontal Slider | Recommend Approval |  | a
131 | 27459 | 0 | New | Fabral | Roofing | Metal Roofing | Recommend Approval |  | a
132 | 27460 | 0 | New | Omnimax International, Inc. | Panel Walls | Siding | Recommend Approval |  | a
133 | 27479 | 0 | New | Windoor Incorporated | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
134 | 27483 | 0 | New | Tri-Built Materials Group, LLC | Roofing | Underlayments | Recommend Approval |  | a
135 | 27499 | 0 | New | Dynamic Metals | Roofing | Metal Roofing | Recommend Approval |  | a
136 | 27502 | 0 | New | Elite Structures inc. | Panel Walls | Siding | Recommend Approval |  | a
137 | 27503 | 0 | New | Elite Structures inc. | Roofing | Metal Roofing | Recommend Approval |  | a
138 | 27506 | 0 | New | Tubelite Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a
139 | 27509 | 0 | New | alucorp sa de cv | Panel Walls | Storefronts | Recommend Approval |  | a
140 | 27514 | 0 | New | Mullets Aluminum | Roofing | Metal Roofing | Recommend Approval |  | a
141 | 27515 | 0 | New | Alliance Group | Roofing | Metal Roofing | Recommend Approval |  | a
142 | 27516 | 0 | New | alucorp sa de cv | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
Test Report
143 | 12087 | 3 | Revision | Mitsubishi Chemical Composites America | Panel Walls | Products Introduced as a Result of New Technology | Recommend Approval |  | a
144 | 22853 | 2 | Revision | G.A.P. Roofing | Roofing | Underlayments | Recommend Approval |  | a
145 | 27077 | 0 | New | GlassCraft Door Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
146 | 27482 | 0 | New | Carriage House Door Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
Architect and Engineer Evaluation Method and Test Report Method Applications with comments
147 | 14996 | 4 | Revision | Silver Line Building Products Corp. | Windows | Double Hung | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Glass doesn't comply w/2411.1.11
|  |  | S. Moore's response | HVHZ approved drawings have limitation notes stating that for 30' above grade units shall meet safety glazing requirements per FBC Ch 24 or be covered with impact protective system to meet intent of 2411.1.11.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
148 | 16851 | 7 | Revision | NewSouth Window Solutions | Windows | Single Hung | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Glass doesn't comply w/2411.1.11
R.Wright's response
|  |  | R.Wright's response | The above referenced code section makes an exception for Large Missile Impact glazed assemblies. The products as listed in subsections .5, .6, .11 and .12 were tested in accordance with TAS 201/203 for Large Missile Impact.
|  |  | R.Wright's response | Section 2410.2
|  |  | R.Wright's response | There is a note prominently placed on sheet 1 in our documents stating:
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
149 | 16853 | 8 | Revision | Doers Window Manufacturing, LLC | Windows | Horizontal Slider | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Glass doesn't comply w/2411.1.11
R.Wright's response
|  |  | R.Wright's response | The above referenced code section makes an exception for Large Missile Impact glazed assemblies. The products as listed in subsections .5, .6, .11, .12, .25 and .26 were tested in accordance with TAS 201/203 for Large Missile Impact.
|  |  | R.Wright's response | Section 2410.2
There is a note prominently placed on sheet 1 in our documents stating:
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
150 | 16854 | 8 | Revision | Doers Window Manufacturing, LLC | Windows | Single Hung | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Glass doesn't comply w/2411.1.11
R.Wright's response
|  |  | R.Wright's response | The above referenced code section makes an exception for Large Missile Impact glazed assemblies. The products as listed in subsections .5, .6, .11 and .12 were tested in accordance with TAS 201/203 for Large Missile Impact.
Section 2410.2
There is a note prominently placed on sheet 1 in our documents stating:
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
151 | 17112 | 5 | Revision | Goldbrecht USA, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Limit the panel and frame area to 1.5 the tested specimen per FBC 2411.3.2.4(2).
|  |  | S.Wolters's response | The maximum frame widths are listed in the Design Pressure chart on Sheet 1, and meet the requirements of Section 2411.3.2.4(i)(2). Please note: (a) When tested, the doors with Type I vertical door stiles and steel reinforcing met the L/180 deflection criteria. Per section 2411.3.2.4(i)(2), The overall frame width is unlimited. The max. width per panel is listed in the chart. (b) Doors with Type I vertical door stiles and no steel reinforcing did not meet the L/180 deflection criteria. They were tested as 6 panel doors. The frame width has been limited to 9 panels overall per section 2411.3.2.4(i)(2). (c) Doors with Type II vertical door stiles and steel reinforcing did not meet the L/180 deflection requirement. They were tested as 4 panel doors. The frame width has been limited to 6 panels overall per section 2411.3.2.4(i)(2).
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
152 | 17767 | 3 | Editorial Change | Silver Line Building Products Corp. | Windows | Fixed | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Glass doesn't comply w/2411.1.11
|  |  | S.Moore's response | HVHZ approved drawings have limitation notes stating that for 30' above grade units shall meet safety glazing requirements per FBC Ch 24 or be covered with impact protective system to meet intent of 2411.1.11.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
153 | 18368 | 2 | Revision | US Aluminum Inc. - Division of CR Laurence(FL) | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c
|  |  | H. Makar's comment (Miami-DADE) | The comments for the FL18368-R2 (DH-350) (18368.2) are as follows: 1) The design pressure should be limited to +/- 70 psf for door with transom for base size 84Wx 108H tested. 2) Bill of material item #2 should be 6005-T5 Alloy (not 6063-T5), also calculation shall be revised accordingly.
|  |  | V.Bencid's response | 1) The design pressure will be limited to +/-70 psf for the unreinforced door with transom for sizes 84x108. 2) Bill of Material and corresponding charts will be updated to the alloy used by the manufacturer 6063-T6 which is qualified by calculations. The door was tested to 6063-T5 which is a weaker temper, therefore the structural performance of the door is not compromised. We hope with the above the application can be set for Conditional Approval and subsequent Approval after the above items have been provided.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to revise the alloy of the door/transom frame head member and adjust the corresponding chart to match calculations for that alloy type.
154 | 21335 | 3 | Revision | Silver Line Building Products Corp. | Windows | Casement | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Glass doesn't comply w/2411.1.11
|  |  | S.Moore's response | HVHZ approved drawings have limitation notes stating that for 30' above grade units shall meet safety glazing requirements per FBC Ch 24 or be covered with impact protective system to meet intent of 2411.1.11. No changes required.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
155 | 24163 | 2 | Revision | EFCO Corporation | Windows | Casement | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Glass doesn't comply w/2411.1.11.”
|  |  | R. Amoruso's response | Please accept the following formal response to the public comment. The Limits of Use, Other section refers the user to the Glazing Details.PDF file uploaded under the test reports section. That PE sealed document allows two glazing configurations: 3/16" TEMPERED ‐ 1/2" Air Space ‐ Lami (3/16" HS ‐ 0.090" SP ‐ 3/16" HS) ‐ Exterior Sacrificial Lite Tempered in accordance with 2017 FBC, Section 2411.3.3.7. Applicable to HVHZ and Non‐HVHZ locations. and 3/16" HS ‐ 1/2" Air Space ‐ Lami (3/16" HS ‐ 0.090" SP ‐ 3/16" HS) ‐ Used in Testing. Applicable to Non‐HVHZ locations only. The section of the code sighted in the public comment and which is only applicable to the HVHZ reads: 2411.1.11 Exterior lite of glass in an insulated glass unit shall be safety glazed. Exceptions: 1. Large missile impact-resistant glazed assemblies. 2. Nonmissile impact units protected with shutters.
|  |  | R. Amoruso's response | Section of the code I refer to states the following in the Glazing Details.PDF document: 2411.3.3.7 Exterior lite of glass in an insulated glass unit shall be safety glazed. Exceptions: 1. Large missile impact-resistant glazed assemblies. 2. Nonmissile impact units protected with shutters. Both sections are applicable. I feel the Glazing Details.PDF document and its reference to 2411.3.3.7 satisfies the commenters concern.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
156 | 27060 | 0 | New | BMI Roofing Systems, S.L.U. | Roofing | Roofing Tiles | Recommend Approval |  | c
|  |  | H. Makar's comment (Miami-DADE) | NO - Evaluation does not include any of the data that is used in Section E of the Uniform Permit Application.”
|  |  | J.Royce's response | We request that the application be given a conditional approval and we will add the requested calculations to the application.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to add the data that is used in Section E of the Uniform Permit Application on the evalution report.
157 | 27154 | 0 | New | US Aluminum Inc. - Division of CR Laurence | Windows | Horizontal Slider | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Glass doesn't comply w/2411.1.11
|  |  | R.Lomas's response | We received the public comment in the email below. This was addressed already; the following statement was added to the application itself: WHEN UNITS ARE INSTALLED HIGHER THAN 30FT ABOVE GROUND LEVEL, OUTER GLASS PANE MUST BE SAFETY GLASS
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
158 | 27156 | 0 | New | US Aluminum Inc. - Division of CR Laurence | Windows | Fixed | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Glass doesn't comply w/2411.1.11
|  |  | R.Lomas's response | We received the public comment in the email below. This was addressed already; the following statement was added to the application itself: WHEN UNITS ARE INSTALLED HIGHER THAN 30FT ABOVE GROUND LEVEL, OUTER GLASS PANE MUST BE SAFETY GLASS
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
159 | 27194 | 0 | New | QINGDAO SEA NOVA BUILDING PROFILES PRODUCTS CO LTD | Exterior Doors | Exterior Door Components | Recommend Approval |  | c
|  |  | R.Wright's comment | We are requesting a Conditional Approval for the above referenced application. In the Bill of materials (Subsection .1) we have listed a brand name for the weather-strip (item 7).
This should have been generic as shown in subsection .2 since this is a component application and the weather-strip is an element called out in the appropriate system application.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to edit the weather strip name on the bill of materials.
160 | 27423 | 0 | New | Euro-Wall Systems, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
|  |  | H. Makar's comment (Miami-DADE) | Limit the panel and frame area to 1.5 the tested specimen per FBC 2411.3.2.4(2).”
|  |  | S.moore's response | The approval documentation limits the panel area to the tested panel area. Test units comply with deflection criteria of 1616.3.1(6), therefore the frame area limitation of 1.5x tested frame area is not applicable. No changes are necessary per the comments.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.