## WeeklyCommisionReport (38)
| FL# | Revision # | Category | Subcategory | Manufacturer | Application Type | DBPR | POC | FBC | Comments
Certification Mark or Listing
1 | 107 | 22 | WINDOWS | Casement | Simonton/Ply Gem Windows | REV | a
2 | 1747 | 15 | STRUCT | Roof Deck | McElroy Metal, Inc. | EDIT_CHG | a
3 | 1832 | 14 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
4 | 2358 | 11 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
5 | 2998 | 13 | EXTDOORS | Exterior Door Components | Sargent Manufacturing Company | REV | a
6 | 3063 | 9 | EXTDOORS | Exterior Door Components | Yale Security Inc. | REV | a
7 | 3067 | 10 | EXTDOORS | Exterior Door Components | Corbin Russwin Inc. | REV | a
8 | 3595 | 9 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Lomanco, Inc | REV | a
9 | 3792 | 12 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Lomanco, Inc | REV | a
10 | 5167 | 31 | WINDOWS | Double Hung | Simonton/Ply Gem Windows | REV | a
11 | 5177 | 29 | WINDOWS | Fixed | Simonton/Ply Gem Windows | REV | a
12 | 5179 | 27 | WINDOWS | Horizontal Slider | Simonton/Ply Gem Windows | REV | a
13 | 5185 | 9 | WINDOWS | Awning | Simonton/Ply Gem Windows | REV | a
14 | 5419 | 19 | WINDOWS | Double Hung | Simonton/Ply Gem Windows | REV | a
15 | 7612 | 19 | EXTDOORS | Sliding Exterior Door Assemblies | Simonton/Ply Gem Windows | REV | a
16 | 8051 | 10 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
17 | 8885 | 10 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
18 | 10160 | 18 | WINDOWS | Horizontal Slider | Simonton/Ply Gem Windows | REV | a
19 | 10680 | 12 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
20 | 11646 | 12 | EXTDOORS | Sliding Exterior Door Assemblies | Atrium Windows & Doors | REV | a
21 | 12600 | 10 | WINDOWS | Double Hung | Pella Corporation | REV | a
22 | 13647 | 9 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
23 | 14593 | 5 | WINDOWS | Double Hung | Eastern Architectural Systems | EDIT_CHG | a
24 | 14604 | 9 | WINDOWS | Single Hung | Eastern Architectural Systems | REV | a
25 | 14605 | 9 | EXTDOORS | Sliding Exterior Door Assemblies | Eastern Architectural Systems | EDIT_CHG | a
26 | 14608 | 10 | WINDOWS | Fixed | Eastern Architectural Systems | EDIT_CHG | a
27 | 14609 | 6 | WINDOWS | Casement | Eastern Architectural Systems | EDIT_CHG | a
28 | 14610 | 7 | WINDOWS | Horizontal Slider | Eastern Architectural Systems | EDIT_CHG | a
29 | 14885 | 4 | STRUCT | Anchors | Aerosmith Fastening Systems | REV | a
30 | 15577 | 7 | WINDOWS | Horizontal Slider | Viwinco Inc. | REV | a
31 | 16085 | 4 | WINDOWS | Double Hung | JELD-WEN | REV | a
32 | 16094 | 7 | EXTDOORS | Swinging Exterior Door Assemblies | Plastpro Inc. / Nanya Plastics Corp. | REV | a
33 | 16100 | 7 | WINDOWS | Single Hung | Ply Gem Windows | EDIT_CHG | a
34 | 16102 | 7 | WINDOWS | Horizontal Slider | Ply Gem Windows | EDIT_CHG | a
35 | 16103 | 14 | WINDOWS | Single Hung | Ply Gem Windows | EDIT_CHG | a
36 | 16389 | 4 | WINDOWS | Horizontal Slider | Simonton/Ply Gem Windows | EDIT_CHG | a
37 | 16477 | 3 | WINDOWS | Horizontal Slider | Shwinco Architectural Products, LLC | REV | a
38 | 16520 | 4 | EXTDOORS | Sliding Exterior Door Assemblies | Shwinco Architectural Products, LLC | REV | a
39 | 16606 | 8 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
40 | 16804 | 4 | WINDOWS | Horizontal Slider | Eastern Architectural Systems | EDIT_CHG | a
41 | 16944 | 3 | WINDOWS | Awning | Kolbe & Kolbe Millwork Co., Inc. | REV | a
42 | 17134 | 3 | WINDOWS | Single Hung | Vi Win Tech | EDIT_CHG | a
43 | 17531 | 7 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
44 | 17676 | 13 | WINDOWS | Single Hung | MI Windows and Doors | EDIT_CHG | a
45 | 17707 | 4 | PANEL | Storefronts | Aldora Aluminum and Glass Products | REV | a
46 | 17905 | 5 | ROOFING | Metal Roofing | McElroy Metal, Inc. | EDIT_CHG | a
47 | 19702 | 4 | WINDOWS | Fixed | Atrium Windows & Doors | REV | a
48 | 20100 | 10 | WINDOWS | Single Hung | Atrium Windows & Doors | REV | a
49 | 20471 | 8 | WINDOWS | Fixed | Atrium Windows & Doors | REV | a
50 | 21705 | 3 | EXTDOORS | Sliding Exterior Door Assemblies | JELD-WEN | REV | a
51 | 22034 | 4 | EXTDOORS | Sliding Exterior Door Assemblies | Eastern Architectural Systems | EDIT_CHG | a
52 | 22203 | 2 | WINDOWS | Single Hung | Eastern Architectural Systems | EDIT_CHG | a
53 | 22204 | 2 | WINDOWS | Fixed | Eastern Architectural Systems | EDIT_CHG | a
54 | 22281 | 5 | WINDOWS | Fixed | JELD-WEN | REV | a
55 | 22355 | 2 | EXTDOORS | Sliding Exterior Door Assemblies | Northeast Building Products Inc. | REV | a
56 | 24399 | 0 | ROOFING | Underlayments | Barricade Building Products | NEW | a
57 | 27944 | 1 | ROOFING | Products Introduced as a Result of New Technology | V2T IP, LLC | REV | a
58 | 29284 | 1 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Lomanco, Inc | REV | a
59 | 29656 | 1 | WINDOWS | Casement | Marvin | REV | a
60 | 31300 | 2 | EXTDOORS | Sliding Exterior Door Assemblies | Lincoln Wood Products, Inc. | REV | a
61 | 31316 | 0 | ROOFING | Liquid Applied Roof Systems | AguaSeal Waterproofing Systems USA LLC | NEW | a
62 | 31728 | 0 | WINDOWS | Fixed | Co.Me.P Infissi SRL | NEW | a
63 | 31786 | 1 | WINDOWS | Horizontal Slider | Regency Plus Inc | REV | a
64 | 31793 | 1 | WINDOWS | Awning | JELD-WEN | REV | a
65 | 31794 | 1 | WINDOWS | Casement | JELD-WEN | REV | a
66 | 31799 | 1 | EXTDOORS | Sliding Exterior Door Assemblies | Renaissance Windows & Doors | REV | a
67 | 32089 | 0 | WINDOWS | Double Hung | Sierra Pacific Windows | NEW | a
68 | 32104 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Pella Corporation | NEW | a
69 | 32108 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Pella Corporation | NEW | a
70 | 32109 | 0 | WINDOWS | Fixed | Pella Corporation | NEW | a
71 | 32117 | 0 | WINDOWS | Awning | Regency Plus Inc | NEW | a
72 | 32118 | 0 | WINDOWS | Casement | Regency Plus Inc | NEW | a
73 | 32119 | 0 | WINDOWS | Fixed | Regency Plus Inc | NEW | a
74 | 32150 | 0 | WINDOWS | Fixed | MI Windows and Doors | NEW | a
75 | 32154 | 0 | WINDOWS | Projected | Continental Glass Systems, LLC | NEW | a
76 | 32155 | 0 | WINDOWS | Casement | Continental Glass Systems, LLC | NEW | a
77 | 32156 | 0 | WINDOWS | Fixed | Continental Glass Systems, LLC | NEW | a
78 | 32157 | 0 | WINDOWS | Projected | Continental Glass Systems, LLC | NEW | a
79 | 32163 | 0 | WINDOWS | Single Hung | Regency Plus Inc | NEW | a
80 | 32165 | 0 | WINDOWS | Single Hung | MI Windows and Doors | NEW | a
81 | 32178 | 0 | SKY_LITE | Skylight | Solatube International, Inc | NEW | a
82 | 32361 | 0 | WINDOWS | Casement | EFCO Corporation | NEW | a
Evaluation Report from a Product Evaluation Entity
83 | 5117 | 3 | ROOFING | Wood Shingles and Shakes | Teal Cedar Products (1977) Ltd | REV | a
84 | 24423 | 1 | ROOFING | Metal Roofing | Petersen Aluminum Corporation | REV | a
85 | 31708 | 0 | ROOFING | Metal Roofing | Tefute Building Materials Co.LLC | NEW | a
86 | 32148 | 0 | STRUCT | Structural Wall | EPI 04 Inc. dba Extrutech Plastics Inc. | NEW | a
Certification and Evaluation Entity Method
87 | 31310 | 0 | WINDOWS | Casement | Peerless Products, Inc. | NEW | a
| Helmy Makar's comment (Miami Dade) |  | Drawings are not Signed and Sealed by Florida P.E.
| C.Lambs's Response (Peerless Product ,Inc) |  | Method 1a approvals do not require stamped installation details unless the drawings include instructions for conditions not found in the tested product. In this case the details show installation into a 2x wood buck. This is consistent with the description in the test report, therefore a PE stamp is not required.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
88 | 31776 | 0 | WINDOWS | Fixed | Peerless Products, Inc. | NEW | a
| Helmy Makar's comment (Miami Dade) |  | Drawings are not Signed and Sealed by Florida P.E.
| C.Lambs's Response (Peerless Product ,Inc) |  | Method 1a approvals do not require stamped installation details unless the drawings include instructions for conditions not found in the tested product. In this case the details show installation into a 2x wood buck. This is consistent with the description in the test report, therefore a PE stamp is not required.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
89 | 32036 | 1 | STRUCT | Roof Deck | Nucor - Vulcraft SC | EDIT_CHG | a
| Helmy Makar's comment (Miami Dade) |  | 1. No code comformance statement. 2. No installation drawing/detail. 3. No design pressures.
| J.Buckner's Response |  | We will be making a revision to this application to address the comments
| Staff analysis |  | As per the applicant’s response the application is being revised to address the public comment. No further action is needed.
90 | 32083 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Ceco Door Products | NEW | a
| Helmy Makar's comment (Miami Dade) |  | Drawings are not Signed and Sealed by Florida P.E.
| J.Badgett's Respons (Ceco Door Products-ASSA Abloy) |  | Response to FL32083 public comment; Installation instructions were reviewed by the certification agency (UL LLC) as per 61G20-3.005(7) prior to posting.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
91 | 32087 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | CURRIES Division of AADG, Inc | NEW | a
| Helmy Makar's comment (Miami Dade) |  | Drawings are not Signed and Sealed by Florida P.E.
| T. Rattay's Respons (Curries Division of AADG-ASSA Abloy) |  | Response to FL32087 public comment; Installation instructions were reviewed by the certification agency (UL LLC) as per 61G20-3.005(7) prior to posting.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
92 | 32177 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Weather Shield Mfg., Inc. | NEW | a
| Helmy Makar's comment (Miami Dade) |  | Drawings are not Signed and Sealed by Florida P.E.
| V.Bach's response |  | After reviewing FL32177 I have found there is no need to revise the installation instructions for this application. FL32177 are impact products with the tested installation instructions that are not signed/sealed including the following note to address Section 2411.1.11:
5. LARGE AND SMALL MISSILE IMPACT RESISTANT. WINDOW AND DOOR UNITS REQUIRED TO MEET SMALL MISSILE IMPACT WIND-BORNE DEBRIS PROTECTION REQUIRE THE EXTERIOR LITE OF AN INSULATED UNIT TO BE TEMPERED PER FBC, SECTION 2411.3.3.7.
| V.Bach's response |  | Since Weather Shield certifies via Method 1, Option A we are not required to have our installation instructions signed and sealed since the third party certified test lab and WDMA have already validated the installation instructions match the method of installation tested. The Alternate Anchorage documents which were prepared by a P.E. are signed/sealed by a registered Florida P.E. In addition, there is no requirement (to my knowledge) that requires a manufacturer to include a corner construction detail on the installation instructions. I trust this response addresses the concerns noted below. Please let me know if there is anything else you need.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.