## Sheet1
ID | Manufacturer | Category | Subcategory | A&A | POC | FBC | Comments | Stat.
Certification Method - POC Recommends Approval
239-R5 | PGT Industries | Windows | Single Hung | c | a |  | Recommend Approval | Revision
242-R3 | PGT Industries | Windows | Horizontal Slider | c | a |  | Recommend Approval | Revision
243-R4 | PGT Industries | Windows | Fixed | c | a |  | Recommend Approval | Revision
245-R4 | PGT Industries | Windows | Casement | c | a |  | Recommend Approval | Revision
251-R4 | PGT Industries | Exterior Doors | Sliding Exterior Door Assemblies | c | a |  | Recommend Approval | Revision
253-R3 | PGT Industries | Exterior Doors | Swinging Exterior Door Assemblies | c | a |  | Recommend Approval | Revision
261-R3 | PGT Industries | Windows | Mullions | a | a |  | Recommend Approval | Revision
331-R3 | PGT Industries | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
928 | MQ Window and Door | Windows | Casement | a | a |  | Recommend Approval | New
1973-R1 | Regency Plus Incorporated | Windows | Single Hung | a | a |  | Recommend Approval | Revision
2192-R2 | Metal-Era, Inc. | Roofing | Roofing accessories that are an integral part of the roofing system | a | a |  | Recommend Approval | Revision
2385-R2 | PALM CITY MILLWORK, INC. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
2766-R5 | PGT Industries | Windows | Projected | c | a |  | Recommend Approval | Revision
2769-R4 | PGT Industries | Windows | Single Hung | a | a |  | Recommend Approval | Revision
3816-R2 | Tremco Incorporated | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | Revision
4659-R1 | PGT Industries | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
4992-R1 | Diversified Window Solutions, Inc. | Windows | Fixed | a | a |  | Recommend Approval | Revision
5723-R1 | Gallina USA, LLC | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
5868-R1 | Regency Plus Incorporated | Windows | Fixed | a | a |  | Recommend Approval | Revision
5872-R1 | Regency Plus Incorporated | Windows | Casement | a | a |  | Recommend Approval | Revision
6228-R1 | PHILIPS PRODUCTS INC. | Windows | Single Hung | a | a |  | Recommend Approval | Revision
6662-R1 | Atrium Windows and Doors - Texas | Windows | Single Hung | a | a |  | Recommend Approval | Revision
6961 | American Buildings Company | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
7072-R1 | PGT Industries | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
7141 | Weather Shield Mfg., Inc. | Windows | Casement | a | a |  | Recommend Approval | New
7150 | Marvin Windows and Doors | Windows | Fixed | a | a |  | Recommend Approval | New
7151 | Marvin Windows and Doors | Windows | Fixed | a | a |  | Recommend Approval | New
7312 | JELD-WEN | Windows | Fixed | a | a |  | Recommend Approval | New
7359 | Kawneer Company, Inc. | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
7360 | MQ Window and Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7361 | MQ Window and Door | Windows | Fixed | a | a |  | Recommend Approval | New
7373 | Traco Windows and Doors, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
7394 | MQ Window and Door | Windows | Single Hung | a | a |  | Recommend Approval | New
7400 | Cane Proof Windows and Doors llc | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
7415 | Metal Sales Manufacturing Corporation | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
7421 | Kolbe and Kolbe Millwork | Windows | Casement | a | a |  | Recommend Approval | New
7422 | Master Security Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7440 | Willard Shutter Co. | Shutters | Colonial | a | a |  | Recommend Approval | New
7441 | Willard Shutter Co. | Panel Walls | Wall Louver | a | a |  | Recommend Approval | New
7443 | Aimtech LLC DBA AimShutters | Shutters | Accordion | a | a |  | Recommend Approval | New
7453 | American Warming and Ventilating | Panel Walls | Wall Louver | a | a |  | Recommend Approval | New
7460 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Awning | a | a |  | Recommend Approval | New
7461 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Casement | a | a |  | Recommend Approval | New
7462 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
7467 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7468 | American Warming and Ventilating | Panel Walls | Wall Louver | a | a |  | Recommend Approval | New
7472 | Arrow United Industries | Panel Walls | Wall Louver | a | a |  | Recommend Approval | New
7474 | Action Windoor Technology | Windows | Fixed | a | a |  | Recommend Approval | New
7485 | Simonton Windows | Windows | Single Hung | a | a |  | Recommend Approval | New
7492 | Simonton Windows | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
7494 | Greenheck Fan Corporation | Panel Walls | Wall Louver | a | a |  | Recommend Approval | New
7495 | Simonton Windows | Windows | Fixed | a | a |  | Recommend Approval | New
7499 | Simonton Windows | Windows | Casement | a | a |  | Recommend Approval | New
7501 | Hurd Windows and Doors, Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
7506 | Hurd Windows and Doors, Inc. | Windows | Casement | a | a |  | Recommend Approval | New
7512 | YKK AP America | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
7537 | Whirlwind Building Systems | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
7538 | M W Manufacturers Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
7542 | Windsor Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7560 | American Weather-Seal | Windows | Single Hung | a | a |  | Recommend Approval | New
7563 | American Weather-Seal | Windows | Fixed | a | a |  | Recommend Approval | New
7575 | Storm Depot Of America, Inc. dba Storm-Busters | Shutters | Storm Panels | a | a |  | Recommend Approval | New
7581 | JELD-WEN | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
7582 | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7590 | MI Windows and Doors | Windows | Single Hung | a | a |  | Recommend Approval | New
7591 | H-R Windows | Windows | Fixed | a | a |  | Recommend Approval | New
7592 | Atrium Windows and Doors - Texas | Windows | Fixed | a | a |  | Recommend Approval | New
7594 | Atrium Windows and Doors - Texas | Windows | Single Hung | a | a |  | Recommend Approval | New
7600 | American Weather-Seal | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
7603 | MI Windows and Doors | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
7604 | Atrium Windows and Doors, NC | Windows | Fixed | a | a |  | Recommend Approval | New
7605 | MI Windows and Doors | Windows | Fixed | a | a |  | Recommend Approval | New
7611 | GAF Materials Corporation | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | New
7612 | Simonton Windows | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
7614 | Atrium Windows and Doors, NC | Windows | Awning | a | a |  | Recommend Approval | New
7617 | Atlantic Windows and Doors, Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
7618 | Atlantic Windows and Doors, Inc. | Windows | Double Hung | a | a |  | Recommend Approval | New
7623 | American Weather-Seal | Windows | Casement | a | a |  | Recommend Approval | New
7629 | THERMOPLAST | Windows | Awning | a | a |  | Recommend Approval | New
7631 | THERMOPLAST | Windows | Fixed | a | a |  | Recommend Approval | New
7632 | THERMOPLAST | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
7633 | THERMOPLAST | Windows | Double Hung | a | a |  | Recommend Approval | New
7635 | THERMOPLAST | Windows | Double Hung | a | a |  | Recommend Approval | New
Certification Method - POC Recommends Conditional Approval
7433 | DESIGNER WINDOWS OF PALM BEACH, INC. | Windows | Fixed | c | c |  | Recommend Conditional Approval - Indicate "No" for use outside HVHZ or on limits of use indicate for outside HVHZ max. performance tested. Certification Agency did not certify pressures on installation drawings, | New
2388-R2 | PALM CITY MILLWORK, INC. | Windows | Single Hung | c | c |  | Recommend Conditional Approval - Certification agency to verify compliance with 2004 FBC. | Revision
7664 | PALM CITY MILLWORK, INC. | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Certification agency to verify compliance with 2004 FBC. | New
7424 | W. P. Hickman Co. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | c |  | Recommend Conditional Approval - Submit an equivalency of standards between TAS 111 and SPRI ES-98 or indicate not for use in HVHZ. | New
7448 | GE Silicone | Roofing | Cements-Adhesives-Coatings | c | c |  | Recommend Conditional Approval - There is a single product, consolidate information into one. Certification agency to verify installation instructions. | New
7507 | M W Manufacturers Inc. | Windows | Casement | c | c |  | Recommend Conditional Approval - There is no structural load test on application and on several of the certifications. | New
7540 | M W Manufacturers Inc. | Windows | Fixed | c | c |  | Recommend Conditional Approval - There is no structural load test on application and on several of the certifications. | New
7541 | M W Manufacturers Inc. | Windows | Fixed | c | c |  | Recommend Conditional Approval - Certification is for a mulled assembly, not for a mullion. Window assembly needs to be tested in accordance with Sect. 1714.5.2.1. | New
7596 | Galaxy Window and Door, Inc. | Windows | Casement | c | c |  | Recommend Conditional Approval - Standard year for ASTM E 1886/1996 should be 2002. Certificate has 2004. Provide equivalency of standards. | New
7628 | Masonite International | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Florida Professional Engineer or Registered Architect to verify Installation Instructions. Indicate in limits of use "no impact". | New
Certification Method - POC Recommends Deferral
7595 | Galaxy Window and Door, Inc. | Windows | Double Hung | d | d |  | Recommend Deferral - Standard year for ASTM E 1886/1996 should be 2002. Certificate has 2004. Provide equivalency of standards. There is a typo under Model/Number. Application has S-3350/4350; Certificate has S-3350/43250. Installation Instructions illegible. | New
7598 | Galaxy Window and Door, Inc. | Windows | Fixed | d | d |  | Recommend Deferral - Standard year for ASTM E1886/1996 and ASTM E330 should be 2002. Standard year for ASTM E331 should be 2000. Standard ASTM E283-91 is not in Chapter 35, FBC. On Product 7598.1, Installation Instructions are illegible. On Product 7598.2, Design Pressure should be +/- 55 psf. | New
Evaluation by Engineer/ Architect - POC Recommends Approval
1833-R1 | Superior Roof Tile Manufacturing Inc. | Roofing | Roofing Tiles | a | a |  | Recommend Approval | Revision
2334-R2 | Raymond Building Supply Shutter Division | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
2534-R3 | IB Roof Systems | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
4065-R3 | Silverline Building Products Corp. | Windows | Single Hung | a | a |  | Recommend Approval | Revision
4543 | Imperial Doors LLC | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
4672-R1 | IB Roof Systems | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
4800-R2 | Englert Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
5019-R2 | Englert Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
5351-R1 | Eastern Metal Supply | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
5945-R1 | Structall Building Systems, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Editorial Change
6064-R1 | Alside, Inc., Division of AMI | Windows | Fixed | a | a |  | Recommend Approval | Revision
6231-R1 | Structall Building Systems, Inc. | Structural Components | Structural Wall | a | a |  | Recommend Approval | Editorial Change
6407-R1 | Alside, Inc., Division of AMI | Windows | Single Hung | a | a |  | Recommend Approval | Revision
6413-R2 | Alside, Inc., Division of AMI | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
7038-R1 | Hurst Awning Company Inc. | Shutters | Accordion | a | a |  | Recommend Approval | Revision
7096 | MI Windows and Doors | Windows | Mullions | a | a |  | Recommend Approval | New
7230 | Loadmaster Systems | Roofing | Roofing Tiles | a | a |  | Recommend Approval | New
6931 | J. Mila Enterprises, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7231 | Metal Sales Manufacturing Corporation | Panel Walls | Siding | a | a |  | Recommend Approval | New
7266 | Royal Group Technologies, Inc. | Panel Walls | Soffits | a | a |  | Recommend Approval | New
7346 | American Weather-Seal | Windows | Mullions | a | a |  | Recommend Approval | New
7393 | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | New
7395 | ACI Building Systems | Panel Walls | Siding | a | a |  | Recommend Approval | New
7396 | ACI Building Systems | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
7403 | Resolite A Division of Stabilit America | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
7411 | Resolite A Division of Stabilit America | Structural Components | Structural Wall | a | a |  | Recommend Approval | New
7416 | Metal Sales Manufacturing Corporation | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7429 | Silverline Building Products Corp. | Windows | Single Hung | a | a |  | Recommend Approval | New
7434 | International Cold Storage | Structural Components | Exterior Coolers-Freezers | a | a |  | Recommend Approval | New
7442 | American Weather-Seal | Windows | Single Hung | a | a |  | Recommend Approval | New
7455 | VEKA Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7456 | VEKA Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
7463 | Surewood Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7465 | Surewood Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7466 | Surewood Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7471 | F&l aluminum Parts, inc | Structural Components | Pre-engineered AC Stands | a | a |  | Recommend Approval | New
7473 | EAGLE ROOFING PRODUCTS FLORIDA LLC | Roofing | Roofing Tiles | a | a |  | Recommend Approval | New
7490 | Metal Sales Manufacturing Corporation | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
7500 | American Concrete Tile, Inc. | Roofing | Roofing Tiles | a | a |  | Recommend Approval | New
7505 | VEKA Inc. | Windows | Mullions | a | a |  | Recommend Approval | New
7508 | Johns Manville | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | New
7511 | THERMO-KOOL | Structural Components | Exterior Coolers-Freezers | a | a |  | Recommend Approval | New
7516 | VEKA Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
7517 | VEKA Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
7518 | Wheeling Corrugating Company | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7519 | Englert Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7520 | Folsom Metals, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7530 | American Weather-Seal | Windows | Fixed | a | a |  | Recommend Approval | New
7545 | RC Aluminum Industries, Inc. | Windows | Single Hung | a | a |  | Recommend Approval | New
7546 | VEKA Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
7547 | Petersen Aluminum Corporation | Panel Walls | Soffits | a | a |  | Recommend Approval | New
7548 | Trident Building Systems Inc. | Structural Components | Structural Wall | a | a |  | Recommend Approval | New
7549 | Regal Decks, Inc. | Roofing | Waterproofing | a | a |  | Recommend Approval | New
7550 | Crawford Tracey Corporation | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
7555 | General Aluminum Company | Windows | Mullions | a | a |  | Recommend Approval | New
7559 | MILLENNIUM METALS INC. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | New
7561 | Elite Aluminum Corporation | Roofing | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | New
7564 | American Weather-Seal | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
7565 | YKK AP America | Windows | Awning | a | a |  | Recommend Approval | New
7568 | YKK AP America | Windows | Casement | a | a |  | Recommend Approval | New
7569 | YKK AP America | Windows | Fixed | a | a |  | Recommend Approval | New
7576 | RC Aluminum Industries, Inc. | Windows | Casement | a | a |  | Recommend Approval | New
7583 | Action Fasteners | Roofing | Roofing Fasteners | a | a |  | Recommend Approval | New
7584 | American Weather-Seal | Windows | Fixed | a | a |  | Recommend Approval | New
7585 | All Points Tile and Slate / El Aguila | Roofing | Roofing Tiles | a | a |  | Recommend Approval | New
7599 | Silverline Building Products Corp. | Windows | Double Hung | a | a |  | Recommend Approval | New
7602 | Trident Building Systems Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
7606 | YKK AP America | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
7607 | RC Aluminum Industries, Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
7609 | American Weather-Seal | Windows | Fixed | a | a |  | Recommend Approval | New
7624 | mockingbird woodworks | Shutters | Storm Panels | a | a |  | Recommend Approval | New
7626 | YKK AP America | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
7627 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7637 | Surewood Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7638 | Silverline Building Products Corp. | Windows | Fixed | a | a |  | Recommend Approval | New
Evaluation by Engineer/ Architect - POC Recommends Conditional Approval
812-R1 | Armor Screen Corp. | Shutters | Products Introduced as a Result of New Technology | c | c |  | Recommend Conditional Approval - Indicate glass separation. | Revision
7041-R1 | Hurst Awning Company Inc. | Shutters | Accordion | c | c |  | Recommend Conditional Approval - Indicate glass separation. | Revision
957-R2 | Kinco, Ltd. | Windows | Mullions | c | c |  | Recommend Conditional Approval - Provide impact location on tests. | Revision
4069-R1 | Novatech Glass | Exterior Doors | Sliding Exterior Door Assemblies | y | c |  | Recommend Conditional Approval - Provide testing lab AIR-INS, Inc. accreditation by an approved Accreditation Agency. | Revision
6410-R1 | Folding Shutter Corporation | Shutters | Accordion | c | c |  | Recommend Conditional Approval - Design pressure on plan at tested span exceeds test value. Provide analysis of deflection on spans longer than tested for impact. Glass separation is not indicated. | Revision
6412-R1 | Folding Shutter Corporation | Shutters | Bahama | c | c |  | Recommend Conditional Approval - Design pressure on plan exceeds test value. Glass separation is not indicated. | Revision
6414-R1 | Folding Shutter Corporation | Shutters | Colonial | c | c |  | Recommend Conditional Approval - When indicating no glass separation specify that structure has to be designed as semi-enclosed. | Revision
6423-R1 | Folding Shutter Corporation | Shutters | Storm Panels | c | c |  | Recommend Conditional Approval - Missing hardcopy of evaluation report signed and sealed by evaluator. When indicating no glass separation specify that structure has to be designed as semi-enclosed. Test not witnessed by accredited PE s. Design pressure higher than tested. If deflection is such that the glass will break, then indicate "No" for HVHZ. | Revision
6636 | Structall Building Systems, Inc. | Structural Components | Roof Deck | c | c |  | Recommend Conditional Approval - The evaluation report does not refer to testing to ASTM E1592 (provided as a stand alone document). Provide new evaluation report. The installation instructions include wall panels that are a separate subcategory and evaluation. Remove wall installation instructions. | New
7405 | T.M. Window and Door, LLC. | Exterior Doors | Sliding Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Design Pressure on application exceeds evaluation. Applicant removed comparative analysis. Applicant may reintroduce the comparative analysis, and then design pressure will comply. | New
7459 | T.M. Window and Door, LLC. | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Design Pressure on application exceeds evaluation. Applicant removed comparative analysis. Applicant may reintroduce the comparative analysis, and then design pressure will comply. | New
7041-R1 | Hurst Awning Company Inc. | Shutters | Accordion | c | c |  | Recommend Conditional Approval - Provide glass separation. | Revision
7353 | MBCI, L.P. | Structural Components | Roof Deck | c | c |  | Recommend Conditional Approval - Evaluation Report uses a design load Safety Factor of 1.71. Provide detailed analysis of test results to support this Safety Factor. The evaluation report does not refer to the G 154 (remove). | New
7432 | USA Aluminum Industry LLC | Shutters | Roll-up | c | c |  | Recommend Conditional Approval - Adopted year standard for ASTM E1886/1996 is 2002. Provide equivalency of standards. | New
7476 | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | c |  | Recommend Conditional Approval - On products 7476.4 and .5 indicate HVHZ "No" and Impact Resistant "No" | New
7551 | Pella Entry Systems | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Submit hardcopy of evaluation report signed and sealed by evaluator. On product 7551.35 design pressure exceeds evaluation. Installation instructions do not indicate attachment of products to structure. | New
7586 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | c |  | Recommend Conditional Approval - Revise Drawing to correct the Bill of Materials | New
7610 | Stanek Windows | Windows | Mullions | c | c |  | Recommend Conditional Approval - Submit hardcopy of evaluation report signed and sealed by evaluator. | New
7613 | Folding Shutter Corporation | Shutters | Accordion | c | c |  | Recommend Conditional Approval - On glass separation note remove span of shutter larger than tested. Distance separation is not enough for impact condition. | New
7621 | Elite Aluminum Corporation | Roofing | Products Introduced as a Result of New Technology | a | c |  | Recommend Conditional Approval - Contains an OSB strand board that is not allowed for use in HVHZ, therefore, indicate "No for HVHZ. | New
Evaluation by Engineer/ Architect - POC Recommends Deferral
5500-R1 | Elite Aluminum Corporation | Roofing | Other | c | d |  | Recommend Deferral - Use Subcategory Roof Deck. Indicate for each test report on evaluation the scope of the testing standard. Demonstrate compliance with plastics requirements for HVHZ Ch 26. If used as enclosed structure, needs to comply TAS 125, TAS 100, or indicate "No" for HVHZ. | Revision
7536 | Mon-Ray, Inc. | Windows | Mullions | a | d |  | Recommend Deferral - Indicate "No" for HVHZ. Tested as an assembly, but applied for anchor and mullion as stand-alone applications. Deferred to re-evaluate. | New
7552 | Mon-Ray, Inc. | Structural Components | Anchors | a | d |  | Recommend Deferral - Indicate "No" for HVHZ. Tested as an assembly, but applied for anchor and mullion as stand-alone applications. Deferred to re-evaluate. | New
7625 | CAT-5 Protection, Inc. | Shutters | Products Introduced as a Result of New Technology | c | d |  | Recommend Deferral - Design pressure exceeds tested values. Not tested for plastics requirements in HVHZ indicate "No" for use within HVHZ. Deflection is in question, does it break the glazing? Is material porous, non-porous? Defer to Structural TAC. | New
Evaluation by Engineer/ Architect - POC Recommends Denial
7378 | TimberTech | Structural Components | Roof Deck | y | y |  | Recommend Denial - There is no evaluation report from a PE/RA. The letter uploaded is not an evaluation report. On limits of use indicate that railing system is not a part of this application. If there is rational analysis performed for the evaluation the validator shall be a FL Professional Engineer. | New
Evaluation by Test Report - POC Recommends Approval
6391-R1 | TEMO Sunrooms, Inc. | Structural Components | Structural Wall | a | a |  | Recommend Approval | Editorial Change
6763 | Mon-Ray, Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
7152 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | New
7153 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | New
7170 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | New
7192 | Vistawall Group | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | New
7239 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7301 | Frey-Moss Structures, Inc. | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | New
7390 | GlassCraft Door Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7431 | Dae Myung Hwa Sung Company Limited | Panel Walls | Siding | a | a |  | Recommend Approval | New
7438 | Southwest Sheet Metal | Panel Walls | Siding | a | a |  | Recommend Approval | New
7457 | Mon-Ray, Inc. | Windows | Double Hung | a | a |  | Recommend Approval | New
7478 | St. Cloud Window, Inc. | Windows | Double Hung | a | a |  | Recommend Approval | New
7489 | Special-Lite, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7514 | NEXGEN HOMES | Structural Components | Structural Wall | a | a |  | Recommend Approval | New
7515 | G.A.P. Roofing | Roofing | Underlayments | a | a |  | Recommend Approval | New
7521 | Pella Entry Systems | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
7522 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7523 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7524 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7525 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7526 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7527 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7533 | YKK AP America Residential | Windows | Double Hung | a | a |  | Recommend Approval | New
7544 | Cyclone Storm Protection | Shutters | Storm Panels | a | a |  | Recommend Approval | New
7554 | Mon-Ray, Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
7579 | TRIAD CORRUGATED METALS | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7587 | Anvil, LLC. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
7601 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
Evaluation by Test Report - POC Recommends Conditional Approval
6331-R1 | URoll Shutters | Shutters | Roll-up | c | c |  | Recommend Conditional Approval - Set to approved in order to revise application. When FL6331-R2 is compliant, it will replace this application, if not it will be denied. | Editorial Change
Evaluation by Test Report - POC Recommends Deferral
7534 | St. Cloud Window, Inc. | Windows | Horizontal Slider | d | d |  | Recommend Deferral - On application describe window size tested. Remove on 7534.1 file AAMA 101 that is a different window. 7534.1 Not tested to window requirements. On 7534 model number differs from tested and is not ASTM E1300 compliance. Provide testing for PVC and laminate. | New
7535 | St. Cloud Window, Inc. | Windows | Fixed | d | d |  | Recommend Deferral - On application describe window size tested. Remove on 7535.1 file AAMA 101 that is a different window. 7535.2 not tested to window requirements. On 7535.2 model number differs from tested and is not ASTM E1300 compliant. Provide testing for PVC and laminate. | New
Evaluation by Evaluation Entity - POC Recommends Approval
3751-R1 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors | a | a |  | Recommend Approval | Revision
7155 | Jager Building Systems, Inc | Structural Components | Engineered Lumber | a | a |  | Recommend Approval | New
7420 | Stark Truss Co., Inc. | Structural Components | Engineered Lumber | a | a |  | Recommend Approval | New
7580 | Plasti-Fab Ltd. | Structural Components | Insulation Form Systems | a | a |  | Recommend Approval | New
Evaluation by Evaluation Entity - POC Recommends Conditional Approval
7305 | LP | Structural Components | Structural Wall | c | c |  | Recommend Conditional Approval - Certificate of Independence from the Evaluation Entity (ICC) shall be placed on "Certificate of Independence" section of application. | New
7387 | Graystone Of Florida Inc. | Structural Components | Products Introduced as a Result of New Technology | c | c |  | Recommend Conditional Approval - Indicate "No" for Impact Resistant. Move information on application from "Testing Standards" to "Sections of the Code". | New
7417 | VP Buildings, Inc. | Roofing | Metal Roofing | c | c |  | Recommend Conditional Approval - Category should be "Structural Components" Subcategory Roof Deck. There are evaluation reports from ICC and Miami-Dade. ICC evaluations are in accordance with 1997 UBC. Remove ICC evaluations and use Miami-Dade as evaluation and installation. Testing standards on application not supported by evaluations. | New
Certification Method - POC Recommends Revocation of Affirmation Application
2359-R1 | PALM CITY MILLWORK, INC. | Windows | Casement | revk affirm | revk affirm |  | There has been a change on the 2004 Florida Building Code that could affect the compliance of your product (not to use of the 1/3 allowable stress increase). The certification agency needs to verify the compliance with this new requirement in the 2004 Florida Building Code. Applicant could not provide verification by the Certification Agency that product complies with the 2004 FBC. | Affirmation
2377-R1 | PALM CITY MILLWORK, INC. | Windows | Fixed | revk affirm | revk affirm |  | There has been a change on the 2004 Florida Building Code that could affect the compliance of your product (not to use of the 1/3 allowable stress increase). The certification agency needs to verify the compliance with this new requirement in the 2004 Florida Building Code. Applicant could not provide verification by the Certification Agency that product complies with the 2004 FBC. | Affirmation
2378-R1 | PALM CITY MILLWORK, INC. | Windows | Other | revk affirm | revk affirm |  | There has been a change on the 2004 Florida Building Code that could affect the compliance of your product (not to use of the 1/3 allowable stress increase). The certification agency needs to verify the compliance with this new requirement in the 2004 Florida Building Code. Applicant could not provide verification by the Certification Agency that product complies with the 2004 FBC. | Affirmation
3097-R1 | PALM CITY MILLWORK, INC. | Windows | Casement | revk affirm | revk affirm |  | The product is not identified. The product has no certification. The application has no limits of use. | Affirmation
Entities Application - POC Recommends Approval
QUA 1963 | Timber Products Inspection, Inc. | Product Quality Assurance Entity |  | a | a |  | Recommend Approval | Renewal
QUA 5912 | Spec Testing, Inc., dba Specialized Testing | Product Quality Assurance Entity |  | a | a |  | Recommend Approval | New
TST 5878 | PRI Construction Materials Technologies, LLC | Product Testing Laboratory |  | a | a |  | Recommend Approval | New
TST 5913 | Spec Testing, Inc., dba Specialized Testing | Product Testing Laboratory |  | a | a |  | Recommend Approval | New